Editorial comments:
Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. The JoVE editor will not copy-edit your manuscript and any errors in the submitted revision may be present in the published version.

The manuscript has been proofread and all spelling and grammar issues resolved.
2. Please remove the embedded figure(s) from the manuscript. All figures should be uploaded separately to your Editorial Manager account. Each figure must be accompanied by a title and a description after the Representative Results of the manuscript text.

Each figure has been uploaded as a separate file.
3. Figure 1: Please use SI abbreviations for time: h instead of hr, etc.

The appropriate SI abbreviations have been installed.
4. Figure 2: Please remove the GE logo and branding.

The GE logo has been removed.
5. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.

All commercial language has been removed from the manuscript.
6. Please include a Summary that clearly describes the protocol and its applications in complete sentences between 10-50 words: “Here, we present a protocol to …”

A summary has been included.
7. For in-text formatting, corresponding reference numbers should appear as numbered superscripts after the appropriate statement(s).

All references numbers are displayed as superscripts.
8. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.” However, notes should be concise and used sparingly. Please include all safety procedures and use of hoods, etc.

The protocol language has been updated to reflect the imperative tense.
9. Please convert centrifuge speeds to centrifugal force (x g) instead of revolutions per minute (rpm).

The centrifuge speeds are now expressed as centrifugal force.
10. Please provide all experimental parameters. What are the parameters used for the gamma counter?

Experimental parameters for the gamma counter have been included
11. Please reference all figures in the manuscript text. Where is Figure 2 referenced?

Figure 2 is now referenced in the manuscript.
12. Please highlight 2.75 pages or less of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. Remember that non-highlighted Protocol steps will remain in the manuscript, and therefore will still be available to the reader.

All essential steps in the protocol are highlighted.
13. Please ensure that the highlighted steps form a cohesive narrative with a logical flow from one highlighted step to the next. Please highlight complete sentences (not parts of sentences). Please ensure that the highlighted part of the step includes at least one action that is written in imperative tense.

All essential steps in the protocol are highlighted as specified.
14. Please discuss some limitations of the protocol in the Discussion.

Limitations in the protocol are discussed.
____________________________________
Reviewers' comments:
Reviewer #1:
Manuscript Summary:
The manuscript by Parker et al a descriptive and informative report of the chemistry and in vitro use of 11C - Methionine. This will be helpful to newcomers to the field or for established investigators unused to working with very short-live nuclides.

Major Concerns:
1. The CGMP details in 2A are not relevant for preparation of the radiopharmaceutical for rapid in vitro studies. If they are required in the authors facility, a note saying this isn't necessary for the preclinical use could be included.

The CGMP details have been removed.
2. Is the DMet loop program something that comes with the module or was written in house? Need some description.

The loop program is adapted from a standard protocol of the module and a description is provided.
3. A schematic of the organic chemistry would be helpful.

A schematic of the chemistry has been included.

Minor Concerns:
4. All acronyms should be defined at first use (SWFI)

All acronyms are defined.
5. The sources for all materials and equipment should be given.

Sources for all equipment are provided.
6. Page 2: 11-carbon should be carbon-11 (also in some places it is capitalized and some places not)

The nomenclature for carbon-11 is consistent throughout the manuscript.
7. Page 3: radio tracer should be one word

This has been corrected.
8. Page 3: is 0.5M NaOH the final concentration of the solution or of the water used in 50%?

0.5 M NaOH is the concentration of the solution component so the final concentration of NaOH is 0.25M.
9. Page 4: vales should be valves

This has been corrected.
10. Page 6: net day should be next day

This has been corrected.
11. Page 5: It should be noted which type of cyclotron this is for. Many other machines require a more manual start up. Might just say - start up cyclotron according to machine specific procedures.

This has been corrected.
12. Page 6: "needs to be within a designated" should be "need to be within a designated"

This has been corrected.
13. Page 7: milliCurie (µCi) - one of these is incorrect

This has been corrected.


Reviewer #2:
Manuscript Summary:
This methods paper describes the synthesis and QC of D-[11C]methionine. The radiochemistry is of basic level and the synthesis has been described before in ACS Infect. Dis. 2020, 6, 43−49 by the same group. Besides, synthesis of L-[methyl-11C]-methionine is described elsewhere e.g. in J. Label Compd. Radiopharm 2008, 51 83-8). For education purposes, this paper can be useful.

Major Concerns:
None

Minor Concerns:
the correct phrasing is: D-[methyl-11C]-methionine.

This has been corrected.
Are dead bacteria used as a negative control?

Yes, D-[11C]methionine is a metabolic tracer so dead (non-metabolically active bacteria) are used as a control.
The curves of the bacterial uptake, how are these standardized as QC?

The uptake is reproducible across several experiments using different batches of radiotracer.
Why is the LB broth changed by Ham's F12 media?

The F12 media provides more consistent reproduction of behavior across multiple experiments executed on different days with different batches of radiotracer.
The optical density is used to convert to the concentration of colony-forming units (CFU/mL) for bacteria where ~1 OD600 corresponds to 8 x108 CFU/mL. This is not correct as you also measure the dead and non-replicating bacteria. CFU is determined after plating.

We routinely plate the bacteria from experiments to determine the CFU/mL to relate the OD with CFU.