## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
1/4" Plastic Barbed Tube Fitting | McMaster Carr | 5372K111
10 um Filter Paper | Fisher | 1093-110
1um Fluorescent Polystyrene Particles | Polysciences | 15702-10
1um Non-Fluorescent Polystyrene Particles | Polysciences | 8226
2-Propanol | Fisher | A516-4 | Referred to in protocol as "IPA"
3/8" Plastic Barbed Tube Fitting | McMaster Carr | 5372K117
Air Flow Meter (1 - 280 mL/min) | McMaster Carr | 41695K32 | Referred to in protocol as "flow meter"
Carbon M1 3D Printer | Carbon 3D |  | https://www.carbon3d.com/, Associated software referred to in protocol as "slicing software"
Collison Jet Nebulizer | CH Technologies | ARGCNB0008 (CN-25) | 6 Jet MRE style horizontal collision with glass jar, Referred to in protocol as "nebulizer", http://chtechusa.com/Manuals/MRE_Collison_Manual.pdf
Convection Oven | Yamato | DKN602
Copley Critical Flow Controller TPK2000 Reve 120V | MSP Corp | 0001-01-9810 | Referred to in protocol as "flow controller"
Copley High Capacity Pump Model HCP5 | MSP Corp | 0001-01-9982 | Referred to in protocol as "vacuum pump"
Cytation | BioTek | CYT5MPV | Multifunctional Spectrophotometer/Fluorescent imager equiped with 4x/20x/40x objectives and DAPI/GFP/TexasRed laser/filter cubes
EPU40 Resin | Carbon 3D |  | https://www.carbon3d.com/materials/epu-elastomeric-polyurethane/, Referred to in protocol as "soft resin"
Filter for vacuum pump | Whatman | 6722-5000
Flow Meter Model DFM 2000 | MSP Corp | 0001-01-8764 | Referred to in protocol as "electronic flow meter"
ImageJ Software | ImageJ |  | https://imagej.nih.gov/ij/download.html
Inline Air Flow Control Valve (Push-to-Connect) | McMaster Carr | 62005K333 | Referred to in protocol as "valve"
Inline Filter Devices | Whatman | WHA67225000
Marine-Grade Plywood Sheet | McMaster Carr | 62005K333 | Referred to in protocol as "wooden board"
Materialise Mimics Software | Materialise |  | https://www.materialise.com/en/medical/mimics-innovation-suite, Referred to in protocol as "CT scan software"
Meshmixer Software | Autodesk |  | http://www.meshmixer.com/, Referred to in protocol as "mesh editing software"
Methanol | Fisher | A454-4
Opticure LED Cube | APM Technica | 102843 | Referred to in protocol as "UV oven"
PR25 Resin | Carbon 3D |  | https://www.carbon3d.com/materials/uma-urethanemethacrylate, /Referred to in protocol as "hard resin"
PVC Tube for Chemicals | McMaster Carr | 5231K161 | 1/4" ID
Screws
SolidWorks Software | Dassault Systèmes SolidWorks Corporation |  | https://www.solidworks.com/, Referred to in protocol as "3D modeling software"
Straight Flow Rectangular Manifold | McMaster Carr | 1125T31
Tubing to Flow Controller | McMaster Carr | 5233K65 | 3/8" ID
Wire