# Editorial comments #E

Protocol Details #E-1

Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please ensure that all specific details (e.g. button clicks for software actions, numerical values for settings, etc) have been added to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol. Some examples:

Concern #E-1.1

1.1: “decide for the juxtaposition participants” unclear what this means.

Answer #E-1.1

The cited protocol step was removed in accordance with our changes regarding Concern #2-6. Throughout the manuscript, we replaced the term “juxtaposition participants” by either “line”, “recorded embryo(s)” or “sublines”.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #E-1.2

3.1: Unclear what the imaging culture is.

Answer #E-1.2

We changed the term “imaging culture” to “egg collection culture” in Step 3.1 (the Drosophila embryo collection) as well as in Step 4.1 (the Tribolium embryo collection step) for reasons of consistency and rephrased the sentences slightly. Please consider also Concern #3-11 regarding the use of the term “culture”.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #E-1.3

4.1: Do you mean “refresh” the growth medium? What is the medium composition?

Answer #E-1.3

This concern has been addressed by the changes that we made regarding Concern #E-1.3.

Concern#E-2.1

Please adjust the numbering of your protocol section to follow JoVE’s instructions for authors, 1. should be followed by 1.1. and then 1.1.1. if necessary and all steps should be lined up at the left margin with no indentations.

Answer #E-2.1

We adjusted the numbering according to the instructions for authors.

Concern #E-2.2

Add a one-line space between each protocol step.

Answer #E-2.2

We added a one-line space between each step.

Concern #E-3.1

After you have made all of the recommended changes to your protocol (listed above), please re-evaluate the length of your protocol section. There is a 10-page limit for the protocol text, and a 3- page limit for filmable content. Please highlight ~2.5 pages or less of text (which includes headings and spaces) in yellow, to identify which steps should be visualized to tell the most cohesive story of your protocol steps.

The highlighting must include all relevant details that are required to perform the step. For example, if step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be included in the highlighting.

Answer #E-3.1

After all adjustments to our protocol, there are now nearly exactly 2.5 pages highlighted for filming.

Concern #E-3.2

The highlighted steps should form a cohesive narrative, that is, there must be a logical flow from one highlighted step to the next.

Answer #E-3.2

We (all three authors as well as one not directly involved colleague) have ensured that the sections to be filmed provide a coherent narrative.

Concern #E-3.3

Please highlight complete sentences (not parts of sentences). Include sub-headings and spaces when calculating the final highlighted length.

Answer #E-3.3

Done as requested.

Concern #E-3.4

Notes cannot be filmed and should be excluded from highlighting.

Answer #E-3.4

Done as requested.

Concern #E-4

JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

Answer #E-4

We are sure that we cover all mentioned points adequately, especially troubleshooting (calibration guideline), limitations (minimum interval, analysis of compounds, very high throughput), significance (increased throughput without large sacrifices, addressing the ambient noise problem) and future applications (RNAi knockdown embryos, other species).

Concern #E-5

Fig 3: Scale bar on fig 3 is hard to see.

Answer #E-5

The scale bars on all microscopy images have been enlarged and were moved slightly further away from the edge of the images. The labels were removed and scale bar dimensions are now annotated in the respective figure legends.

Concern #E-6

Please spell out journal names.

Answer #E-6

Journal names in the reference section are spelled out now.

Commercial Language #E-7

JoVE is unable to publish manuscripts containing commercial sounding language, including trademark or registered trademark symbols (TM/R) and the mention of company brand names before an instrument or reagent. Examples of commercial sounding language in your manuscript are Nutrifly.

Answer #E-7

We replaced the “Nutrifly” term within the manuscript (and the Materials table) by “custom-made or commercially available Drosophila medium”. These changes also address Concern #3-9.

Respective changes are annotated in the manuscript via the “track changes” function.

Table of Materials #E-8

Sort the list alphabetically.

Answer #E-8

Done as requested. In addition, we added a comment for each consumable that is only required for either Drosophila or Tribolium to simplify the protocol for laboratories that are only interested in either species.

# Reviewer #1

Concern #1-1 (Minor)

In a certain way, this manuscript is a complement of a previous publication from the same author (Strobl, Klees & Stelzer 2017) in JoVE. I have to mention that points 4, 5 and 8 from the Protocol section are almost the same that appear in this paper. I' am not totally sure about the need to repeat this part in this manuscript except to maintain the integrity of the protocol in each publication.

Answer #1-1

Live imaging in light sheet-based fluorescence microscopes is a vast and complex topic, and this protocol was written with a considerably different focus so that new and thus complementary aspects are spotlighted (2017: technical background of LSFM, multiple mounting methods, stained embryos – 2020: microscope calibration, comparative live imaging, Drosophila and Tribolium, sample data).

We believe that a protocol must be self-contained (and assume that this is also in the interests of JoVE), thus a slight overlap is unavoidable. However, as our methods are constantly under improvement, the respective workflows became more streamlined over the last 3-4 years and hence, the descriptions also became more advanced/concise.

Concern #1-2 (Minor)

Introduction.
Line-120 Only a commentary: It is surprising not to mention that one of the main differences between Drosophila and Tribolium is that the fly presents a long germ development and this beetle develops as short germ embryos.

Answer #1-2

We focused on the extra-embryonic membranes here because our Tribolium sample data is based on a transgenic line in which exactly this tissue is labeled. But we agree with Reviewer #1 here that it would be argumentatively convenient to mention more differences. We do now briefly mention the differences in segmentation.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #1-3 (Minor)

Protocol.
1. Preparation work.

Given that you recommend choosing illumination lens/detection lens/camera combination as well as the number of embryos (participants) considering the scientific question, it would be very helpful to mention some recommendations regarding these decisions. In addition, you can explain/justify your decisions in the case of the examples presented both with Drosophila and Tribolium. Do you think it can be possible to mount dissected Tribolium embryos? Please comment.

Answer #1-3

This is an important concern, but the JoVE protocol guidelines do recommend not too many statements/sentences per step. We consider the addition of a table (new Table 1, old Table 1 is now Table 2) as the only convenient solution here.

We have not tested in how far LSFM and dissected embryos synergize, but we know from previous studies that such an approach works well with confocal microscopes and that the germbands still elongate for several hours (see Sarrazin et al. 2012, Science and Macaya et al. 2016, Development Genes and Evolution).

We agree that it is a good idea to inform the reader of this approach, but we are limited in text space here. We have therefore decided to mention this approach in the new Table 1 as an example case for the usage of high magnification  (with the two references mentioned above).

We also turned the “Fill the sample chamber…” sentence (last sentence of Step 1.1) into an individual step (now Step 1.2).

Concern #1-4 (Minor)

6. Mounting of multiple embryos using the cobweb holder.

Do you think that the incorporation of some compounds (drugs, small molecules, etc.) into the mounting medium (agarose/buffer) can reach embryos' cells during live imaging in order to exert their function? Any comment about this?

Answer #1-4

In principle, this is possible, but unlike in RNAi or knockdown assays for instance, no elegant control embryo can be simultaneously imaged. We consider this a limitation that is worth discussing and added a brief paragraph to the discussion.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #1-5 (Minor)

8. Retrieval and further cultivation of imaged embryos.

Can you explain when is it important to recover the imaged embryos, estimate their full embryogenesis, rear them until adulthood and check for progeny?

Answer #1-5

Reviewer #1 raises an important concern here, and we agree that this had not been explained sufficiently in our first submission. We added another brief paragraph to the Representative Results section that explains the importance of embryo retrieval with regard to our sample data.

Respective changes are annotated in the manuscript via the “track changes” function.

# Reviewer #2

Concern #2-1 (Minor)

I suggest that the authors highlight why it is difficult to image several embryos in parallel on a light sheet microscope, as compared to a confocal, for example. This prepares the novice users of light sheet microscopy to the difficulties ahead and highlights the value of the study.

Answer #2-1

Reviewer #2 points out correctly that this may not be directly obvious for LSFM novices. We added a respective explanation to the second-to-last paragraph of the introduction. These changes also address Concern #2-5.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #2-2 (Minor)

At the beginning of the Protocol section, would be better to add a protocol overview before delving into the details.

Answer #2-2

This minor concern aligns with the major concern of Reviewer #3. Please see Answer #3-1.

Concern #2-3 (Minor)

Line 114: "Drosophila is mainly of academic interest". What does this mean? Is imaging embryonic development currently of interest to industry? If so, would be nice to give examples.

Answer #2-3

Please see Concern and Answer #3-7.

Concern #2-4 (Minor)

Line 133-134: "similar to our previous Tribolium-associated studies methodology". A complex sentence. Maybe better: similar to our previous work on Tribolium.

Answer #2-4

We agree with Reviewer #2 here and changed the sentence accordingly.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #2-5 (Minor)

Line 134-135: "built around the specimen". Unclear to non-experts.

Answer #2-5

This concern has been addressed by the changes that we made regarding Concern #2-1.

Concern #2-6 (Minor)

Line 159: unnecessary.

Answer #2-6

In accordance with the confusion about the term “juxtaposition participants” (see Concern and Answer #E-1.1), we removed Step 1.1 entirely.

Respective changes are annotated in the manuscript via the “comment” function.

Concern #2-7 (Minor)

Lines 161-163: Better dividing to two sentences: The size of the field of view is the quotient of the camera chip size and the magnification of the detection lens. The illumination lens should be chosen so that the entire field of view is covered by a roughly planar light sheet.

Answer #2-7

Done as suggested.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #2-8 (Minor)

Line 165 "To prepare agarose aliquots and retrieval dishes". That came suddenly without mentioning what retrieval dishes are what are they used for. This could be fixed by mentioning this in a protocol overview at the beginning.

Answer #2-8

With the addition of the suggested protocol overview (please see Concerns and Answers #2-2 and #3-1), this step should now be self-explanatory.

Concern #2-9 (Minor)

Maybe expand the LSFM preparation step (Lines 160-164) if there are any differences between your protocol and standard LSFM protocols.

Answer #2-9

This is a little bit tricky. The LSFM field, with its many custom-built instruments, is much more diverse than for example the confocal microscopy field with its many commercial solutions. In our opinion, there are no standard protocols and also never will be due to the traditional LSFM-associated “customize-it” idea ( "built around the specimen"). Such claims would also be against the current spirit within the LSFM community. With agreement of Reviewer #2 and the editor, we would refrain from citing protocols as "standard" or referring to our protocol as the new "standard".

Concern #2-10 (Minor)

Line 183: Better to mention somewhere beforehand in the protocol why calibration is important and what you are calibrating. Again, writing an overview of the protocol is highly recommended.

Answer #2-10

We added a brief note to Step 2 that explains why calibration is important. About the overview, please see Concern #3-1.

Concern #2-11 (Minor)

Line 189: Explain what the cobweb holder is and why it is used.

Answer #2-11

The cobweb holder is now described in Subfigure B and C of the new Figure 1.

Concern #2-12 (Minor)

Lines 295-298: Would be nice to suggest some parameter values or ranges to start with, if possible.

Answer #2-12

Parameter values depend on many different criteria (scientific question, irradiation tolerance of the specific species and transgenic line) and also cannot be chosen completely arbitrary, as a high laser power only functions with a long interval between the time points. Hence, we decided to reference the imaging metadata-associated supplementary table.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #2-13 (Minor)

Line 308: "As this time point approaches" ?

Answer #2-13

We changed the sentence to “As the hatching time point approaches”.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #2-14 (Minor)

Line 368: "two latter scenarios". Better: the last two scenarios.

Answer #2-14

We adopted the suggestion regarding the sentence structure as proposed.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #2-15 (Minor)

Line 372: I think you mean Figure 3.

Answer #2-15

We are grateful to Reviewer #2 for pointing out this typo.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #2-16 (Minor)

Lines 372-374: better to mention that these are different promoters.

Answer #2-16

We changed singular to plural throughout the whole sentence and added the term “different”.

Respective changes are annotated in the manuscript via the “track changes” function.

# Reviewer #3

Concern #3-1 (Major)

There is a lack of flow within the protocol, specifically with the overview of the steps necessary to complete the imaging approach (i.e. sample preparation / collection, calibration of the LSFM, collection of samples, imaging, and post-imaging processing). Inclusion of an outline / organizational chart would greatly help the reader in the steps necessary towards understanding the protocol.

Answer #3-1

We agree with Reviewer #3 that more visual information is needed. We added a new figure (Figure 1), which includes a comprehensive overview of our protocol. The overview is color coded, contains concise bullet point-style reminder text and roughly indicates the time required for every steps.

Concern #3-2 (Major)

The authors present an approach to conduct comparative studies with an emphasis on eliminating experimental variation between samples. Although the experimental approach outlined does address the problem of experimental variation between sequential samples, the experimental design does not support a framework for quantitative comparative studies. For use in quantitative comparative studies, the authors should consider emphasizing the imaging of 3 embryos of the same strain, which would provide a comparative framework for quantitative analysis. While, the authors touch upon this possibility in the results section, it may be more useful to include this in the abstract or introduction, as many readers will likely be interesting in using this protocol to facilitate quantitative analysis.

Answer #3-2

We are glad that Reviewer #3 sees potential for our protocol in terms of quantitative comparative studies. We followed his suggestions and included a brief remark in the abstract in the introduction.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #3-3 (Major)

Each section possess a difficulty in understanding how the steps work together. Inclusion of diagrams, especially in the calibration of sample chamber-based LSFMs using fluorescent microspheres, Collection of Tribolium embryos, and Sodium hypochlorite-based dechorionation, could really use diagrams to help the reader follow the steps.

Answer #3-3

Besides the overview (see Concern #3-1), we added two more schemes (Figure3A and B), one for the Tribolium embryo collection procedure and one for the sodium hypochlorite-based dechorionation process (which also includes one large and two small photographs, Figure 3C).

Concern #3-4 (Major)

In the Image data processing and metadata documentation, the authors contend that these images can be opened using FIJI, however a serious detractor in use of LSFM is the size of the data sets. The authors should include some discussion of the size of the data sets and ways to reduce or deal with large sizes, as large file sizes tend to crash FIJI.

Answer #3-4

This concern is important, but also rather dependent on e.g. the available hardware (especially available RAM). We added another paragraph to the discussion that addresses this and Concern #3-5 sufficiently so that the reader/viewer gets a basic overview, but a comprehensive elaboration lies beyond the scope of this protocol. It would be worth thinking about another JoVE video that exclusively covers LSFM assembly, calibration, performance evaluation and data management/storage.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #3-5 (Minor)

Since you are imaging multiple embryos, it would be helpful to know more about the acquisition settings. How many stacks are produced? What is the time interval between stacks? How long does it take to image all 3 embryos? How much storage in terms of memory are necessary for one experiment? These are important considerations for the reader to know about so that they may adapt this protocol to suit their biological question.

Answer #3-5

This concern is now answered throughout the whole manuscript. (i) We do now, quite often, refer to Supplementary Table 1, which contains a lot of numbers which provides especially LSFM novices with a certain impression of the “magnitudes” in the LSFM world. (ii) The third paragraph of the discussion suggest on how to estimate the time required to image one/all embryos and thus the minimal possible interval between two time points (just answer the question the other way round: how many embryos can be imaged when the interval is fixed?). (iii) The new fourth paragraph of the discussion exemplifies how to estimate raw dataset size and mentions the storage saving potential via cropping and compression.

Concern #3-6 (Minor)

Sparse telecentric arrangements is mentioned twice in abstract and introduction; however, it is not well covered why sparse telecentric arrangements are beneficial or essential for this protocol. To this end, it may not be necessary to mention detail regarding the optical engineering behind the imaging modality.

Answer #3-6

We agree with Reviewer #3 and as we stated I Answer #1-1, we do not focus on the technical background of LSFM in this article. Hence, we rephrased the sentences and removed the term “sparse telecentric arrangement”.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #3-7 (Minor)

Line 114 - 117 "Drosophila is mainly of academic interest, and working with only one species does not provide insights into the evolution of development. To embed the vast "fly knowledge" into the phylogenetic context, intensive research has been conducted with alternative insect model organisms." The phrasing here implies that research is done just to transfer "fly knowledge" onto other organisms, which is largely not how "fly knowledge" is transferred or applied to other organisms. Consider rephrasing with an emphasis for the questions phylogenetic studies are asking - such as the evolution of certain proteins and their functions.

Answer #3-7

The intention was more to point out that some insect species (Tribolium for example) have become scientific model organisms due to their classification as pests. We have rephrased the two first sentences of the respective paragraph.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #3-8 (Minor)

Line 163-64: use of imaging buffer - autoclaved tap water is recommended, however does the buffer need to match the NA of the objectives? Most LSFM systems use objectives that are water based, but a mention of this would be helpful, as imaging of embryogenesis will sometimes use buffers that contain a different refractive index.

Answer #3-8

We added a brief “water-dipping objective/refractive index” annotation to the table description of the new Table 1 since we think that this is the most suitable location.

Concern #3-9 (Minor)

Line 170: use of Nutrifly media - why nutrifly? Can any Drosophila media be used?

Answer #3-9

This concern has already been addressed.

Please see Answer #E-7.

Concern #3-10 (Minor)

Line 199: There is a mention of beads, not sure what is meant here. What are these beads?

Answer #3-10

In the field of fluorescence microscopy, “beads” is a slightly more informal term for fluorescent microspheres. For consistency reasons alone, we changed from the former to the latter term.

Respective changes are annotated in the manuscript via the “track changes” function.

Concern #3-11 (Minor)

Line 209: There is a reference to imaging cultures, does the authors mean the parental fly lines that are crossed to collect embryos? In discussion of transgenic fly lines, please refer to them as lines, as cultures indicates an aqueous - cell culture based approach and can confuse the reader.

Answer #3-11

We understand the slight confusion here, but our terminology is as follows: A fly/beetle laboratory can have one or more (transgenic) Drosophila and/or Tribolium lines (=stocks). Of these lines, one or more cultures may exist: a “backup culture” (usually kept at lower temperatures to slow down development), an “imaging culture” (primarily to collect embryos for live imaging assays e.g. in the morning), an “in situ” culture (primarily to collect embryos for in situ hybridizations e.g. in the afternoon) and a “progeny” culture that mainly consists of larvae and pupae that will be used in the near future to replace aged cultures.

We adopted our terminology from the Bloomington Drosophila Stock Center standard that can be found on their Care & Information Website (https://bdsc.indiana.edu/information/fly-culture.html). For “Live Culture Stockkeeping”, they write:

“Most stocks can be successfully cultured by periodic mass transfer of adults to fresh food. Bottles or vials are tapped on the pounding pad to shake flies away from the plug, the plug is rapidly removed and the old culture inverted over a fresh bottle or vial. Flies are tapped into the new vessel, or some shaken back into the old one, as necessary, and the two are rapidly separated and replugged.”

as well as

“If the quality of your fly food is unreliable it is wise to have at least two cultures for each stock, staggered to assure the use of different batches of medium (at least until you find a new cook).”

Also, Ashburner and Roote, who wrote the “Maintenance of a Drosophila Laboratory: General Procedures” Cold Spring Harbor Laboratories protocol (doi:10.1101/pdb.ip35) use the term “culture” similar to us.

Hence, we would therefore prefer to retain the term, but are also quite dispirited by this inconsistent use.

Concern #3-12 (Minor)

Line 253: ...embryo containing cell strainer. Is this the same as used in above (Line 238) in collection of tribolium embryos? Please clarify.

Answer #3-12

We now reference the respective steps (Step 3.4 and 4.4) of the Drosophila/Tribolium egg collection procedure.

Respective changes are annotated in the manuscript via the “track changes” function.