## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
1 ml Serological Pipettes | Labclinics | PLC91001
1.5 ml Eppendorfs | Thermo Fisher Scientific | 3451 | Dark eppendorfs are preferred for MTT long-term storage
10 μl Pipette tips w/o filter | Biologix | 20-0010
100 ml glass bottle |  |  | With cap, autoclavable
1000 μl Pipette tips w/ filter | Labclinics | LAB1000ULFNL
1000 μl Pipette tips w/o filter | Biologix | 20-1000
15 ml Conical tubes | VWR | 525-0400
2 ml Serological Pipettes | Labclinics | PLC91002
200 μl Pipette tips w/ filter | Labclinics | FTR200-96
5 ml Serological Pipettes | Labclinics | PLC91005
50 ml Conical Tubes | VWR | 525-0304
Acetone | PanReac AppliChem | 211007 | Used for 3D structure fixation prior to immunofluorescent labelling
Agar | Sigma-Aldrich | A1296 | Used for anchorage assay
Anti-Claudin 4 antibody | Abcam | 15104, RRID:AB_301650 | Working dilution 1:100, host: rabbit
Anti-Cytokeratin 14 [RCK107] antibody | Abcam | 9220, RRID:AB_307087 | Working dilution 1:100, host: mouse
Anti-mouse Cyanine Cy3 antibody | Jackson ImmunoResearch Inc. | 115-165-146, RRID:AB_2338690 | Working dilution 1:500, host: goat
Anti-rabbit Alexa Fluor 488 antibody | Thermo Fisher Scientific | A-11034, RRID:AB_2576217 | Working dilution 1:500, host: goat
Autoclave
BioVoxxel Toolbox |  | RRID:SCR_015825
Cell culture 24-well Plate | Labclinics | PLC30024 | Used for 3D cultures in Matrigel. Flat Bottom
Cell culture 6-well Plate | Labclinics | PLC30006 | Used for anchorage assay
Cell incubator (37 ºC and 5 % CO2)
Cell Strainers | Fisherbrand | 11587522 | Mesh size: 40 μm
CellSense software | Olympus |  | Used to image acquisition
Centrifuge
Cholera Toxin from Vibrio cholerae | Sigma-Aldrich | C8052 | Used to supplement cell culture medium
Class II Biological Safety Cabinet | Herasafe | HAEREUS HS12
Confocal inverted Microscope | Leica | TCS SP5
Cover glasses | Witeg Labortechnik GmbH | 4600122 | 22 X 22 mm, thickness 0.13 - 0.17 mm
DAPI |  |  | 2-(4-amidinophenyl)-1H -indole-6-carboxamidine
Fetal Bovine Serum | Biowest | S1810 | Used to inactivate trypsine action
Fiji software (ImageJ) | National Institutes of Health | RRID:SCR_002285 | Free download, no license needed
Glass Pasteur Pipettes
Glass slides | Fisherbrand | 11844782
Goat Serum | Biowest | S2000 | Used for immunofluorescence of 3D structures
Heat-Resistant Gloves |  |  | Used for agar manipulation after autoclave
Heater bath (37 ºC) |  |  | Used to temper solutions prior to cell subculture
Heater bath (42 ºC) |  |  | Used to keep agar warm
Heating plate |  |  | Used for Matrigel dehydration
Humid chamber |  |  | Used for the incubation of antibodies during immunofluorescence
Ice |  |  | Used during Matrigel manipulation
Ice-box
Inverted Optic Microscope | Olympus | IX71
Matrigel Matrix | Becton Dickinson | 354234 | Store at -20 ºC and keep cold when in use. Referred to as basement membrane matrix
Methanol | PanReac AppliChem | 131091 | Used for 3D structure fixation prior to immunofluorescent labelling
Micropipette |  |  | p1000, p200 and p10
Microsoft Office Excel | Microsoft | RRID:SCR_016137 | Used to calculate population doubling and to obtain growth rate equation
MilliQ water |  |  | Referred to as ultrapure water
Nail Polish |  |  | Used to seal samples after mounting
Parafilm M | Bemis | PM-999 | Used to cover antibody solution during incubation
PBS pH 7.4 (w/o calcium & magnesium) | Gibco | 10010-056 | Sterile. Used for cell subculture
PBS tablets | Sigma-Aldrich | P4417 | Dilute in milliQ water. No sterility required. Used for immunofluorescence
Pipette Aid
Primaria T25 flasks | Corning | 353808 | Used for BPEC culture
Scepter Automated Cell Counter | Millipore | PHCC20060 | Alternatively, use an haemocytometer
Scissors |  |  | Used to cut pipette tips and parafilm
Sterile filters 0.22 μm | Millipore | SLGP033RS | Used to filter MTT solution
Thiazolyl Blue Tetrazolium Bromide (MTT) | Sigma-Aldrich | M2128 | Store at -20 ºC
Triton X-100 | Sigma-Aldrich | T8787 | Used for immunofluorescence of 3D structures
Trypsin-EDTA 10X | Biowest | X0930 | Dilute in PBS to obtain 3X solution
Vectashield Antifade Mounting Medium | Vector Laboratories | H-1000
WIT-P-NC Culture Medium | Stemgent | 00-0051 | Used for primary BPEC culture
WIT-T Culture Medium | Stemgent | 00-0047 | Used for transformed BPEC culture