# Submission ID #:  61733

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18828613

# Title:   Cryogenic Sample Loading into a Magic Angle Spinning Nuclear Magnetic Resonance Spectrometer that Preserves Cellular Viability

# Authors and Affiliations:

Rupam Ghosh1*, Jaka Kragelj1*, Yiling Xiao1*, Kendra K. Frederick1,2

1Department of Biophysics, University of Texas Southwestern Medical Center, Dallas, TX, USA

2Center for Alzheimer’s and Neurodegenerative Disease and Center for Systems Biology, University of Texas Southwestern Medical Center, Dallas, TX, USA

# * These authors contributed equally.

# Corresponding Authors:

# Kendra K. Frederick	(kendra.frederick@utsouthwestern.edu)

# Email Addresses for All Authors:

rupam.ghosh@utsouthwestern.edu

yiling.xiao@utsouthwestern.edu

# jaka.kragelj@utsouthwestern.edu

# kendra.frederick@utsouthwestern.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations?   Yes, 0.5 miles between wet lab and NMR facility

Current Protocol Length

Number of Steps:  17

Number of Shots:  32

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Rupam Ghosh: The sensitivity of DNP-assisted MAS NMR spectroscopy allows us to characterize proteins inside intact cells at their endogenous concentrations. This application requires careful sample handling.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Jaka Kragelj: Cell morphology is preserved and cells are viable when they are cryogenically transferred into the spectrometer using this protocol.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Yiling Xiao: Introduction of the cold rotor can cause moisture and ice buildup, which can mechanically prevent sample spinning. This demonstration will guide experimenters to perform the cryogenic transfer with confidence.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

# Protocol

- Cryopreservation of Mammalian Cells in an NMR Rotor

  - To begin, place a cushion made with a piece of tissue or paper towel under the lid and at the bottom of the cryogenic vial [1].

    - Talent placing the cushion under the lid and at the bottom of the cryogenic vial.

  - Place the 3.2-millimeter sapphire rotor into the cryogenic vial, padded with the tissue paper, with the marked end facing the bottom of the vial [1].

    - Talent placing the rotor into the vial.

  - Slow freeze the rotor by placing the vial into a controlled rate cooling container [1-TXT] and place the container in a negative 80-degree Celsius freezer for a minimum of 3 hours [2].

    - Talent placing the vial into the controlled rate cooling container. TEXT: -1 °C / minute

    - Talent putting the container in the freezer and closing the door.

  - Then, transfer the cryogenic vial with the frozen rotor to liquid nitrogen for storage [1].

    - Talent putting the cryogenic vial into liquid nitrogen.

- Cryogenic Transfer of a Frozen Sample into the NMR Spectrometer

  - Transfer the cryogenic vial containing the frozen rotor to a small vacuum flask filled with liquid nitrogen [1]. Fill a dry, thermally insulated wide mouth foam vacuum flask with 500 milliliters to 1 liter of liquid nitrogen [2].

    - Talent transferring the vial to the Dewar flask.

    - Talent filling anther Dewar with liquid nitrogen.

  - Take the cryogenic vial from the transfer flask and hold it just above the surface of the liquid nitrogen to protect it from the atmosphere [1]. While holding the cryogenic vial with the mouth pointing slightly downwards, unscrew the cap and let the rotor slide into the liquid nitrogen bath [2].

    - Talent holding the vial above the liquid nitrogen surface.

    - Talent unscrewing the cap and the rotor sliding into the liquid nitrogen.

  - Prechill a 1.5-milliliter microcentrifuge tube by submerging it in the liquid nitrogen [1]. Under the surface of the liquid nitrogen bath, use tweezers to transfer the rotor into the microcentrifuge tube with the drive tip facing the bottom of the tube and the markings facing the opening [2]. Videographer: This step is important!

    - Talent submerging the tube in the liquid nitrogen.

    - Talent transferring the rotor to the tube.

  - Use tweezers to hold the tube containing the rotor under liquid nitrogen by its neck. With a second pair of tweezers, submerge the NMR sample catcher in the liquid nitrogen bath and hold it so that it is inclined at an acute angle with respect to the microcentrifuge tube [1]. Videographer: This step is important!

    - Talent holding the sample catcher in position while holding the tube with the rotor under the surface.

  - To transfer the rotor from the NMR sample catcher to the NMR spectrometer, place the cryocabinet in ejection mode by pressing EJECT [1]. Videographer: This step is important!

    - Talent pressing eject.

  - Insert the open end of the NMR sample catcher into the microcentrifuge tube while still under the surface of the liquid nitrogen [1]. Lift both the microcentrifuge tube and the NMR sample catcher to allow the rotor to fall into the catcher. Shake the sample catcher and the tube if the rotor gets stuck on the rim [2]. Videographer: This step is difficult and important!

    - Talent inserting the sample catcher into the tube.

    - Talent transferring the rotor into the sample catcher, shaking if necessary.

  - Leave the empty microcentrifuge tube on top of the NMR sample catcher to shield the rotor from air [1]. Remove the other empty sample catcher from the probe and lay it on the floor [2]. Videographer: This step is important!

    - Tube on top of the sample catcher.

    - Talent removing the empty sample catcher.

  - Transfer the NMR sample catcher containing the rotor to the other hand [1], then remove the microcentrifuge tube and insert it immediately into the probe [2]. Signal the person operating the cryocabinet to press STOP EJECT and INSERT [3]. Spin up the sample to the desired spinning rate by adjusting the bearing and driving flow pressure [4]. Videographer: This step is difficult and important!

    - Talent transferring the sample catcher to the other hand.

    - Talent inserting the rotor into the probe.

    - Talent signaling to the person operating the cryocabinet.

    - Talent spinning up the sample.

- Cryogenic Removal of the Sample from the NMR Spectrometer

  - Pour 500 milliliters to 1 liter of liquid nitrogen into a wide mouth foam vacuum flask [1] and place the bath under the spectrometer [2]. Submerge the empty cryogenic vial containing a piece of tissue paper in the liquid nitrogen bath [3].

    - Talent pouring liquid nitrogen into the flask.

    - Talent placing the bath under the spectrometer.

    - Talent submerging the vial in the bath.

  - Reduce the spinning rate to 0 kilohertz by ramping down the driving and bearing gas flow [1] and eject the rotor by switching to the ejection mode [2]. While keeping the ejection mode on, remove the sample catcher from the probe [3] and drop the rotor directly into the wide mouth foam flask containing liquid nitrogen [4].

    - Talent reducing the spinning rate.

    - Talent ejecting the rotor.

    - Talent removing the sample catcher from the probe.

    - Talent dropping the rotor into the flask with liquid nitrogen.

  - Using pre-chilled tweezers, transfer the rotor into the pre-chilled cryogenic vial under the surface of the liquid nitrogen [1].

    - Talent transferring the rotor into the pre-chilled vial.

  - Prechill the cryogenic vial cap by dipping it into liquid nitrogen [1].  Remove the vial containing the rotor and liquid nitrogen from the bath and cap the tube with the prechilled cap [2].

    - Talent dipping the cap into the liquid nitrogen.

    - Talent capping the vial.

  - Re-submerge the cryogenic vial in liquid nitrogen. The sample can be transferred to longer term liquid nitrogen storage or unpacked immediately for further analysis [1].

    - Talent re-submerging the vial.

# Results

- Results: Cryogenic Insertion of a Pre-frozen Sample of Mammalian Cells Results in Cellular Intactness Similar to Never-frozen Mammalian Cell Samples

  - Cryogenic insertion of pre-frozen samples of mammalian cells into the NMR spectrometer supports viability throughout the NMR experiment. Using this protocol, the trypan blue permeability of mammalian cells after MAS NMR is similar to that of cells not exposed to any temperature change [1].

    - LAB MEDIA: Figure 2.

  - If cells are slow frozen, then warmed to room temperature before insertion, cellular viability decreases to less than 10% [1]. Meanwhile, cryogenic insertion of frozen samples of mammalian cells supports cell viability throughout the NMR experiment [2].

    - LAB MEDIA: Figure 2. Video Editor: Emphasize the bar on the right.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize the bar in the center.

# Conclusion

- Conclusion Interview Statements

  - Yiling Xiao: When attempting this protocol, request assistance with pressing EJECT and spinning up the sample so that it can be transferred to the probe before it warms up. Making sure that no moisture is introduced into the probe assures that the spectrometer can run cold for many weeks.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 3.6.1, 3.6.2.

  - Jaka Kragelj: This protocol is applicable to any system where temperature fluctuations may compromise sample integrity such as freeze quenched reactions for characterization of trapped reaction intermediates, enzymology or protein folding.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.