- 0:45 sec-0-50sec – Could we change to the following:

Dilute the sample appropriately in the filtered water – for this sample of 60nm gold colloid dispersion, dilute volumetrically by a factor of 50

- 1:27 sec – There is a missing bit about “inserting the inlet tubing to the waste bottle and flush 900 μL of cleaning solution ….” Or we could just say : Next flush 900 μl of cleaning solution liquid through the inlet Tubing …”

- 2:30 sec on-screen text : Repeat cleaning or water filter if >3 particles present.

-suggestion: Check with new filtered water, or repeat cleaning if > 3 particles present

-or: If > 3 particles are present, repeat cleaning with filtered, particle free water

- 2:38 sec  - needs a tiny explanation what we are doing next. E.G.  “To clean the system replace the syringe with a syringe full of air only ….”

- 4:21-4:35 – Could we show actual particle tracking for longer?

- 4:50 sec –Start with : “After data processing is complete, export…” Also show the end of processing when we actually have intensity and 3D plots visible