# Submission ID #: 61758

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18836238

Title:   Preparation of Nanoparticles for ToF-SIMS and XPS Analysis

Authors and Affiliations: Francesca Bennet1, Anja Müller1, Joerg Radnik1, Yves Hachenberger2, Harald Jungnickel2, Peter Laux2, Andreas Luch2, and Jutta Tentschert2

1Federal Institute for Material Research and Testing (BAM), Division of Surface Analysis and Interfacial Chemistry

2German Federal Institute for Risk Assessment (BfR), Department of Chemical and Product Safety

# Corresponding Authors:

Jörg Radnik

joerg.radnik@bam.de

# Jutta Tentschert

# jutta.tentschert@bfr.bund.de

# Co-Authors:

francesca.bennet@bam.de

anja.mueller@bam.de

yves.hachenberger@bfr.bund.deYves.Hachenberger@bfr.bund.de

harald.jungnickel@bfr.bund.de

peter.laux@bfr.bund.de

andreas.luch@bfr.bund.de

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

Protocol Length

Number of Shots: 39

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Francesca Bennet: Because of the unique properties of the nanoparticles, the sample preparation has a significant influence on the surface analysis measurements [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Francesca Bennet: These methods provide several different options for sample preparationdepending on the analytical question at hand and the form in which the nanoparticles are available [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Yves Hachenberger: The main concerns are safety and contamination. Since these methods can and should be modified as appropriate to the experiment, it is important to verify each step with other analytical techniques [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

- Nanoparticle Suspension Preparation, Drop-Dry Deposition, and Spin Coating Deposition

  - For the preparation of nanoparticles from a suspension, weigh 15 milligrams of nanoparticle powder into a 10-milliliter tube [1-TXT] followed by the addition of 8 milliliters of ultrapure water [2].

    - WIDE: Talent adding powder to tube Videographer: Important step TEXT: Inhalation is most common nanoparticle exposure route

    - Talent adding water to tube Videographer: Important step

  - After capping, pack the tube in a 50-milliliter centrifuge tube with paper towels [1] and place the tube in a vortexer at 3000 revolutions for 15 minutes [2].

    - Talent packing tube into 50-milliliter tube

    - Talent placing tube into vortexer

  - To perform the “drop-dry” method, first transfer a prepared silicon wafer to the UV-ozone cleaner for 30 minutes [1-TXT] before placing the wafer into one half of the wafer holder [2].

    - Talent placing wafer into cleaner TEXT: See text for wafer preparation details

    - Talent placing wafer into half of wafer holder

  - Place a 3-microliter drop of nanoparticle suspension into the center of the ring [1] and mount a 6.07-millimeter diameter O-ring on the wafer around the droplet, taking care that the ring does not touch the droplet [2].

    - Talent placing drop into center or ring Videographer: Important step

    - Talent mounting ring onto wafer Videographer: Important step

  - Place the wafer in a vacuum desiccator at 4 millibars of vacuum pressure for 15 minutes to dry the wafer [1] and view the wafer under light microscopy to assess the particle distribution across the surface of the wafer [2].

    - Talent placing wafer into desiccator Videographer: Important step

    - Talent at microscope, viewing wafer

  - Then repeat the drop-drying until a homogeneous layer of particles is observed [1].

    - Suspension being added to center of ring

  - To prepare nanoparticle suspensions by spin coating, place a prepared wafer into the UV-ozone cleaner for 30 minutes [1-TXT] and program the spin-coater as indicated [2-TXT].

    - Talent placing wafer into cleaner Videographer: Important step

    - Talent programming spin-coater TEXT: e.g., 500 rpm/s ramp -> 1,000 rpm 5 s; 1000 rpm/s ramp -> 2000 rpm 3 min; deceleration at 2000 rpm/s -> 0 rpm

  - At the end of the treatment, insert the wafer into the spin-coater [1] and switch on the vacuum for fixation [2].

    - Talent placing wafer into spin-coater

    - Talent switching on vacuum

  - Deposit 80 microliters of the suspension onto the wafer [1] and start the program [2].

    - Talent depositing suspension onto wafer

    - Talent starting program

  - At the end of the deposition, transfer the sample to a clean wafer tray [1] and analyze the sample by scanning electron microscopy to confirm gapless coverage of the substrate [2].

    - Talent placing sample into tray

    - Talent loading sample onto SEM sample holder

- Nanoparticle Powder Deposition

  - For deposition of the nanoparticles from a powder, fix a piece of double-sided adhesive tape to the sample holder [1] and remove the liner [2].

    - WIDE: Talent fixing tape to holder

    - Talent removing liner

  - Next, collect a spatula-tip of nanoparticle powder [1] and place the sample onto the adhesive [2].

    - Talent collecting powder

    - Talent placing sample onto adhesive

  - Use the spatula to spread the sample over the adhesive [1] before firmly pressing the sample onto the adhesive until as much of the sample is adhered as possible [2].

    - Sample being spread Videographer: Important step

    - Sample being pressed onto adhesive Videographer: Important step

  - Invert and tap the sample holder [1] and blow a stream of gas across the sample to confirm that the powder is fixed to the tape [2].

    - Talent inverting and tapping holder

    - Talent blowing gas across sample

  - Alternatively, place a spatula-tip of powder onto a cleaned surface [1] and press the holder with the adhesive onto the powder from above [2].

    - Powder being added to wafer surface

    - Holder being pressed onto powder

  - Then check that the powder is fixed on the tape as just demonstrated [1].

    - Talent inverting and tapping holder and blowing powder

- Nanoparticle Suspension Cryofixation

  - For cryofixation of the deposited nanoparticle suspension, fill the main chamber of a fast-freeze device with liquid nitrogen [1] and fill a cooled fast-freeze chamber with the cryogen [2].

    - WIDE: Talent filling chamber with liquid nitrogen

    - Talent filling chamber with cryogen

  - When the fast-freeze device has cooled to its operating temperature, use a pipette to drop-cast 10-20 microliters of nanoparticle suspension onto a clean silicon wafer [1].

    - Talent adding suspension onto wafer

  - Holding the wafer with fixing tweezers, place the wafer inside the plunge freeze device [1] and move the tweezers to the plunge position [2].

    - Talent placing wafer into device Videographer: Important step

    - Talent moving tweezers to plunge position Videographer: Important step

  - Press the button to drop the sample into the cryogen [1] and wait several seconds for the sample to be completely frozen [2].

    - Talent pressing button

    - Shot of sample freezing/frozen sample

  - As soon as the sample is frozen, transfer the wafer into a cooled environment [1] and place the cryofixed silicon wafer sample into the sample holder [2].

    - Talent placing wafer into cooled environment

    - Talent placing sample into holder

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

2.1., 2.4., 2.5., 2.7., 3.3., 4.3.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

n/a

# Results

- Results: Representative Nanoparticle Preparation for Time-of-Flight Secondary Ion Mass Spectrometry (ToF-SIMS) and X-Ray Photoelectron Spectroscopy (XPS) Analysis

  - Enhancing the surface wettability via UV or ozone treatment [1] avoids the coffee-ring effect, resulting in a more homogeneous distribution of the nanoparticles [2].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize top row of images

  - Scanning electron microscopy imaging shows significant deformation of the 60-nanometer gold-silver nanoparticles after dialysis [1], while centrifuged and re-dispersed particles remained intact [2].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize nanoparticles in Figure 4B

    - LAB EMDIA: Figure 4 Video Editor: please emphasize nanoparticles in Figure 4C

  - Nanoparticle drop-casting usually requires repeated applications to obtain a layer with full coverage [1].

    - LAB MEDIA: Figure 5 Video Editor: please sequentially add/emphasize images from 1 drop to 13 drops

  - This representative film cast from a 90 milligram/milliliter suspension [1] shows a thick and gapless multilayer coverage [2] as well as a notable absence of silicon peaks in the XPS (X-P-S) spectra, making it an ideal sample for surface analysis [3].

    - LAB MEDIA: Figure 7 Video Editor: please outline top row

    - LAB MEDIA: Figure 7 Video Editor: please emphasize top image

    - LAB MEDIA: Figure 7 Video Editor: please emphasize lack of SI peaks in top graph

  - This sample cast from a 9 milligram/milliliter suspension [1] shows particles in small single-layer agglomerates that do not completely cover the surface [2], making it unsuitable for surface analysis of the nanoparticles but ideal for analyzing, for example, particle size distribution [3].

    - LAB MEDIA: Figure 7 Video Editor: please outline middle row

    - LAB MEDIA: Figure 7 Video Editor: please emphasize middle image

    - LAB MEDIA: Figure 7 Video Editor: please emphasize middle graph

  - The sample cast from a 0.9 milligram/milliliter concentration [1] does not provide either continuous coverage [2] or sufficient particle density to make it suitable for either surface chemistry or particle size distribution analysis [3].

    - LAB MEDIA: Figure 7 Video Editor: please outline bottom row

    - LAB MEDIA: Figure 7 Video Editor: please emphasize bottom image

    - LAB MEDIA: Figure 7 Video Editor: please emphasize right graph

  - As well as preserving larger structures within the suspension, cryofixation avoids coffee ring effects, resulting in a reduction in the signals [1] which can be attributed to salts or other contaminants observed using other sample preparation methods [2].

    - LAB MEDIA: Figure 9 Video Editor: please outline bottom spectrum and/or emphasize reduced signals in bottom spectrum

    - LAB MEDIA: Figure 9 Video Editor: please outline top spectrum and/or emphasize signals in top spectrum

# Conclusion

- Conclusion Interview Statements

  - Yves Hachenberger: When performing surface analysis of the nanoparticles, remember to cross-validate the method using other analytical techniques, to consistently prepare the methods, and to accurately document the results [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Francesca Bennet: These preparation methods are an important part of a reliable nanoparticle surface characterization and are necessary for a detailed understanding of how nanoparticles interact with their environment [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera