## Table of Materials
Name of Material/Equipment | Company | Catalog Number | Comments/Description
4-figure Laboratory balance | Kern & Sohn GmbH | ADB200-4A
5 mm Pellet die | Specac | GS03060
Alkali glass cleaning solution | Sigma-Aldrich | HellmanexTM III Z805939 | Special cleaning solution for cuvettes
Carbon adhesive tabs | Plano | "Leit-Tabs" G3347
Clean laboratory beakers | any |  | e.g. 300 mL
Cryo-freezer | Electron Microscopy Sciences | EMS-002 Cryo Workstation
Dialysis tube with fasteners | Medicell Membranees Ltd | DTV12000.06.30 | Molecular weight cut-off (MWCO) 12-14 kDa
Die press | any |  | Capable of 2 kN force
Disposable syringe, 1 mL, Luer-slip | TH Geyer | Labsolute 7657545 | Any appropriate volume can be used
Double-sided adhesive | 3M | Removable Repositionable Tape 665
Dry ice | Linde AG | ICEBITZZZ® | For short term storage/cooling
Eppendorf transfer pipette and tips | Eppendorf | various | Check correct size for planned pipetting volume
Ethanol, ACS grade | Merck KGaA | 1009832500
FFP2 or FFP3 mask | various |  | For working with nanoparticles from non-hazardous materials, when not in a fume hood or glove box
Isopropanol, ACS grade | Merck KGaA | 1096342500
Lab coat, gloves and goggles | any
Laboratory centrifuge | Eppendorf | Centrifuge 5430
Laboratory fume hood | any |  | necessary for working with nanoparticles
Laboratory stirrer & stirrer bar | NeoLab | D-6010
Lint-free wipes | Kimberley Clark Professional | Kimtech Science Precision wipes | Recommended for working with Si wafers
Liquid Nitrogen | Linde AG | Stickstoff flüssig 5.0 | Only for cooling of the cryogen.
Microtube/centrifuge tube 1,5 mL | T.H. Geyer GmbH & Co. KG | Labsolute 7696751
Nitrogen 5.0 | any |  | 99.999% purity
Pasteur pipette, PE, plastic 3 mL | TH Geyer | Labsolute 7 691 203
Pasteur pipette, PE, plastic 3 mL | TH Geyer | Labsolute 7 691 203
Powder sample holder | BAM workshop |  | "Home-made" sample holder
Propane | Sigma-Aldrich | 769037 | The cryogen should be of highest possible purity.
Sample vial or centrifuge tube 1 mL | Greiner Bio-One GmbH | Cellstar 188 261 | Should be capable of being fixed in the Vortexer
Silicon wafers | any |  | ideally 1cm2 pre-cut
Spin-coater | SPS Europe | SPIN150i-NPP
Syringe filter 0,45 µm | Th Geyer | Labsolute 7699803 | For smaller samples; larger versions exist for larger sample volumes
ToF-SIMS | IONTOF GmbH | ToF-SIMS IV or V, equipped with Bi LMIG and flood gun
Tweezers for handling Si wafers | any
ultrapure water | TKA | MicroPure 08.1202
Ultrasonicator | Bandelin | Sonorex Super
UV/Ozone cleaner | NanoBioAnalytics | UVC-1014
Vacuum dessicator | any
Vacuum pump (membrane/diaphragm) | Vacuubrand GmbH | Type MD-4T
Viton O-ring 6.07 x 1.78 mm | Betech GmbH | 2-010, FKM 80
Vortexer | Heathrow Scientific | Vortexer HS120212
Wafer Holder 25mm coin style | Semiconductor Production Systems Europe | eWB0091-ASSY-1
XPS | Kratos | Kratos Axis Ultra DLD
Note on E35: [Kommentarthread] Ihre Version von Excel gestattet Ihnen das Lesen dieses Kommentarthreads. Jegliche Bearbeitungen daran werden jedoch entfernt, wenn die Datei in einer neueren Version von Excel geöffnet wird. Weitere Informationen: https://go.microsoft.com/fwlink/?linkid=870924. Kommentar: Which water grade do we use?