# Submission ID #: 61759

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18836543

Title: Quantifying the Effects of Antimicrobials on In vitro Biofilm Architecture Using COMSTAT Software

Authors and Affiliations: Amanda J. Morris1, Alvin Li1, Lindsay Jackson1, Yvonne C. W Yau1,2, and Valerie Waters1,3

1Translational Medicine, Hospital for Sick Children

2Microbiology, Department of Pediatric Laboratory Medicine, Hospital for Sick Children

3Infectious Diseases, Department of Pediatrics, Hospital for Sick Children

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

Amanda J. Morris

amanda.morris@sickkids.ca

# Co-Authors:

Authors: Please include the co-author email addresses here.

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 18

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Confocal Microscopy Imaging and COMSTAT Analysis

  - To image the P. aeruginosa cultures, place the plate onto the stage of a confocal microscope equipped with the appropriate laser excitation wavelengths and filter sets [1] and use a 20-25x water immersion lens to capture at least six, layered z-stack images from the substratum to the top of each biofilm segment in 0.3-micrometer increments [2].

    - WIDE: Talent placing plate onto microscope stage

    - Talent capture z-stack, with monitor visible in frame

  - Then save the images as OME-TIFFs for COMSTAT analysis [1-TXT].

    - SCREEN: To be provided by Authors: Image(s) being saved TEXT: Image 3 replicates/isolate

  - When all of the images have been acquired, open the Comstat2 package in ImageJ [1-TXT] and create a source folder on the desktop [2].

    - Talent opening package in ImageJ, with monitor visible in frame TEXT: http://www.comstat.dk/

    - SCREEN: To be provided by Authors: Folder being created

  - Add a single OME-TIFF to the folder and open OME-TIFF from the source folder. Delete any empty layers containing no biomass [1-TXT].

    - SCREEN: To be provided by Authors: File being added then opened, then layer(s) being deleted TEXT: Biomass-free layers typically first and/or last z-stack layers

  - Select File, Import, and Image Sequence to import the file into ImageJ. Locate and highlight the source folder without opening it and click Select. A Sequence Options window will appear. Click OK [1].

    - SCREEN: To be provided by Authors: File, Import, and Image Sequence being selected/file being imported, folder being highlighted, Select being clicked, window appearing and OK being clicked

  - Select Image, Transform, and Flip Z to flip the orientation of the biofilm so that the substratum is at the top of the stack [1].

    - SCREEN: To be provided by Authors: Image, Transform, and Flip Z being selected/biofilm orientation being flipped

  - To define the image properties, select Image and Properties. A Source window will appear. Specify the Unit of Length as micron, define the Voxel Depth as 0.3, and click OK [1].

    - SCREEN: To be provided by Authors: Image and Properties being selected, window opening, properties being set, OK being clicked

  - Select Image, Adjust, and Threshold to adjust the image threshold. In the Threshold window, position the lower slider to the far right to manually set the maximum threshold value and user the upper slider to set minimum threshold [1].

    - SCREEN: To be provided by Authors: Image, Adjust, and Threshold being selected, window opening, sliders being positioned

  - When threshold values have been set, use the slider in the image window to scroll through each layer to ensure that the background noise is sufficiently removed throughout the stack and select Set to fix the lower threshold value [1].

    - SCREEN: To be provided by Authors: Layers being scrolled, then Set being clicked

  - In the Set Threshold Levels window, select OK and Set and fix the maximum threshold value in the same manner [1].

    - SCREEN: To be provided by Authors: Ok and Set being clicked, then layers being scrolled and Set being clicked

  - Select Apply, click Ok in the Convert Stack to Binary window that appears, and exit the Threshold window [1].

    - SCREEN: To be provided by Authors: Apply, OK, and window being exited

  - Select Plugins, Bio-Formats, and Bio-Formats Exporter to save the file with a new file name in the source folder. A Bio-Formats Exporter-Multiple Files window will appear. Select OK. A Bio-Formats Exporter Options window will appear. Select OK again [1].

    - SCREEN: To be provided by Authors: Plugins, Bio-Formats, and Bio-Formats Explorer being selected, then file being renamed and save, window appearing, OK being clicked, new window appearing, and OK being clicked

  - To run COMSTAT, select Plugins and Comstat2. An About window will appear. Select OK [1].

    - SCREEN: To be provided by Authors: Plugins and Comstat2 being selected, then About window appearing and OK being clicked

  - In the Observed Directories window, select Add. Locate and highlight the source folder, highlight, and click Choose. An Images in Directories window will appear that lists the OME-TIFFs to be analyzed [1].

    - SCREEN: To be provided by Authors: Add being selected, folder being highlighted, Choose being clicked, then window appearing

  - On the Comstat 2.1 window, de-select Automatic thresholding Otsu’s method to ensure that the software uses threshold values previously set up for individual OME-TIFFs and de-select Connected Volume Filtering to ensure that very thin parts of the biofilm, as well as free floating cells or biomass found within voids of the biofilm structure, are included in the analysis [1].

    - SCREEN: To be provided by Authors: Automatic thresholding and CVF being deselected

  - In the Comstat 2.1 window, select Bio Mass, Thickness Distribution, and Surface Area and click Go to run the program. The output data will be shown in the Log window. The measurements will be automatically saved as TXT files in the source folder [1].

    - SCREEN: To be provided by Authors: Features being selected Video Editor: please emphasize Log window when mentioned

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 127. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Quantification of Antimicrobial Effects on In Vitro Biofilm Architecture

  - In this representative analysis, a P. aeruginosa isolate cultured from an infected cystic fibrosis patient was used to demonstrate the strengths of this approach in accurately quantifying antimicrobial-induced changes in in vitro biofilm architecture [1].

    - LAB MEDIA: Figure 4A Video Editor: please emphasize top left image

  - Live-cell imaging can also be used to visualize changes in P. aeruginosa biofilm structure before and after biofilm-specific monoclonal and tobramycin treatment [1].

    - LAB MEDIA: Figure 4A Video Editor: please emphasize red signal in bottom right image

  - COMSTAT data analysis revealed significant differences [1] between treated biofilm structures [2] compared to control cultures [3].

    - LAB MEDIA: Figures 4B-D Video Editor: please emphasize black data bars

    - LAB MEDIA: Figures 4B-D Video Editor: please emphasize grey data bars

  - In tobramycin-treated cultures, a clear reduction in the average thickness and biomass was observed [1].

    - LAB MEDIA: Figures 4B-4D Video Editor: please emphasize black PA in Figures 4B and 4C

  - However, in the presence of antibody, the P. aeruginosa biofilm was resistant to these tobramycin-induced structural changes [1].

    - LAB MEDIA: Figures 4B-4D Video Editor: please emphasize black PA + Psl0096 data bars in Figures 4B-4C

  - When examining the surface-to-biovolume ratio [1], a significant reduction was observed in the presence of antibody in both tobramycin-exposed [2] and unexposed biofilms, indicating the formation of aggregates in antibody-treated cultures [3].

    - LAB MEDIA: Figures 4B-4D

    - LAB MEDIA: Figures 4B-4D Video Editor: please emphasize black Psl0096 data bars in Figure 4D

    - LAB MEDIA: Figures 4B-4B Video Editor: please emphasize grey Psl0096 data bars in Figure 4D

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.