Response to Reviewers Comments

Thank you for your positive response to our journal submission. We appreciate the constructive feedback. Changes in the manuscript are shown in red. The responses for the different comments are the following:

Editorial Comments:

- Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammatical errors.

- Avoid punctuating the title.

- Please list a minimum of 6 keywords/phrases

- Thank you for your comments, the manuscript has been thoroughly reviewed to make sure it is correctly written and does not contain any grammatical errors.

- Title was revised accordingly.

- A list of 6 keywords has been updated in the manuscript.

• Protocol Language: Please ensure that ALL text in the protocol section is written in the imperative voice/tense as if you are telling someone how to do the technique (i.e. “Do this”, “Measure that” etc.) Any text that cannot be written in the imperative tense may be added as a “Note”, however, notes should be used sparingly and actions should be described in the imperative tense wherever possible.
1) Some examples NOT in the imperative: 1.1, 2.1.1, etc.

The protocol has been thoroughly reviewed and changed to imperative tense.

• Protocol Detail: Please note that your protocol will be used to generate the script for the video, and must contain everything that you would like shown in the video. Please ensure that all specific details (e.g. button clicks for software actions, numerical values for settings, etc) have been added to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

The protocol has been reviewed and modified to ensure that all specific details are clear, so the viewers can easily understand and replicate the protocol by following the guidelines.

• Protocol Highlight: P lease highlight ~2.5 pages or less of text (which includes headings and spaces) in yellow, to identify which steps should be visualized to tell the most cohesive story of your protocol steps.

1) The highlighting must include all relevant details that are required to perform the step. For example, if step 2.5 is highlighted for filming and the details of how to perform the step are given in steps 2.5.1 and 2.5.2, then the sub-steps where the details are provided must be included in the highlighting.
2) The highlighted steps should form a cohesive narrative, that is, there must be a logical flow from one highlighted step to the next.
3) Please highlight complete sentences (not parts of sentences). Include sub-headings and spaces when calculating the final highlighted length.

Key parts of the protocol have been highlighted to include all the relevant details and following a cohesive story to make the protocol easy to follow and replicate for all the viewers.

• Results: Split the representative results into a separate section.

Results section has been split from discussion.

• Discussion: JoVE articles are focused on the methods and the protocol, thus the discussion should be similarly focused. Please ensure that the discussion covers the following in detail and in paragraph form (3-6 paragraphs): 1) modifications and troubleshooting, 2) limitations of the technique, 3) significance with respect to existing methods, 4) future applications and 5) critical steps within the protocol.

Discussion has been rewritten to cover all previously suggested aspects as followed:

There are a large number of methods available to characterise nanoscale related properties, such as Analytical Ultracentrifugation (AUC), Scanning/Transmission Electron Microscopy (SEM/TEM), and Dynamic Light Scattering (DLS)10,11. However, these techniques differ from the simplicity of the Ultraviolet-Visible Spectroscopy (UV-Vis) to obtain primary results in the characterization of NMs12,13. UV-Vis is a common instrument existing even in not-so-well equipped laboratories, making it an unbeatable tool for the characterizations of nanomaterials (NMs)6.

When characterising NMs, it is important to consider the limitations, strengths, and weaknesses of applied techniques. In the UV-Vis spectrometer, the light beam passes through the sample compartment resulting in absorption values; as a result, external vibrations, outside light, contaminants, and the user’s performance may interfere with the measurement and results4,12. Similarly, when building a calibration curve to determine the size of an unknown sample, it is important to register all the measurements needed to build the calibration, as missing factors may contribute to variations among measurements and users. For example, the high variation for the overall Absmax mean of the unknown sample might be linked to differences between the laboratories due to the dependence between the beam intensity, position, and the instrument itself 17,18. Furthermore, the missing data for 100 nm size for laboratory 5, due to a contamination problem, may also contribute to higher differences between the results, as the missing data may affected the calibration curve and the plotted polynomial equation used to calculate the size of the unknown AuNP suspension.

Certainly, reproducibility between protocols and laboratories can be complicated, as many factors might contribute to the lack of consistency in laboratory activities, and resulting in researchers being occasionally unable to reproduce findings from other labs; leading to slower scientific progress, wasted time, money, and resources19. The successful characterization of nanomaterial physicochemical properties, particularly size, requires an easy to execute method by all participating laboratories, which can mostly be addressed by following a systematic and conceptual replication, such as the creation of a Standard Operating Procedure (SOP), instrument training, and avoiding the use of misidentified or cross-contaminated samples15,19. Similarly, the quality and stability of the colloid suspension is also an important factor to consider, as changes in their physicochemical properties may lead to different outcomes, therefore to ensure their stability for longer periods, nanoparticle suspensions should be stored in the dark at 4 °C. Likewise, during the shipping process, the aliquoted samples should be kept cold, as long periods at room temperature may lead to significant aggregation20. Additionally, to overcome failures in NM characterisation, it is necessary to provide access to the original data, protocols, and key research materials between collaborating labs; especially, when assessing the proficiency, consistency, and reliability through an Interlaboratory comparison (ILC)15. Making these factors clear and accessible is key to achieve a successful NM characterisation by any laboratory or equipment. Disregarding these aspects might result in a lack of reproducibility, accuracy, and misleading or erroneous results15.

UV-Vis spectroscopy has demonstrated to be the gold standard in the NMs characterisation, however, UV-Vis can be exploited in many other fields, as it allows quantitative determination of an extended dynamic range of solutions in both inorganic and organic compounds6,21. Besides, UV-Vis methods can be easily combined with other tools to measure a large variety of attributes, increasing the quality of any analysis 22. Based on these features, UV-Vis is widely used in many areas,  such as in the biopharmaceutical field by measuring UV-Vis spectra in high concentration protein solutions, in environmental control, when comparing similarities between contaminants and their product-related impurities in real-time, industrial wastewater treatments plants, as part of regulations for wastewater colour determination and acceptability level and many more22,23. Certainly, as technology progresses and more advanced features and experience is gathered in the spectrophotometry field, further broadening of the applications and parameters that can be measured using this technique are likely to increase22. For example, in field applications,  on-line UV-Vis spectrometry, is a valuable tool for monitoring numerous parameters in real time and in various types of liquids, which is an exceptional feature among online sensor systems22.

• Figures: 1) Please remove the embedded figures from the manuscript. Figure legends, however, should remain within the manuscript text, directly below the Representative Results text.
2) Remove the legends text from the figure files.

- The figures have been removed from the manuscript, keeping only the captions.

- The text from the figure files has been removed.

• Tables: 1) Please remove the embedded Tables from the manuscript. All tables should be uploaded to the Editorial Manager site in the form of Excel files. A description of the table should be included with the Figure legends.

The tables have been updated to Excel files and keeping the legend at the manuscript.

• Commercial Language: JoVE is unable to publish manuscripts containing commercial sounding language, including trademark or registered trademark symbols (TM/R) and the mention of company brand names before an instrument or reagent. Examples of commercial sounding language in your manuscript are BBI Solutions OEM Ltd., Bijou Containers, (Thermofisher, 129A, Jenway 6800 spectrophotometer, UV-1800 Shimadzu, Hellma Ultra-Micro-cuvette 105.201-QS, Agilent Cary 5000, Agilent, Varian Cary 50,
1) Please use MS Word’s find function (Ctrl+F), to locate and replace all commercial sounding language in your manuscript with generic names that are not company-specific. All commercial products should be sufficiently referenced in the table of materials/reagents. You may use the generic term followed by “(see table of materials)” to draw the readers’ attention to specific commercial names.
2) Please remove product names from Table 1.

The commercial language has been rewritten to a more generic language in the manuscript, followed by a reference to check the list of materials.

• Table of Materials: Please sort in alphabetical order.

The table of materials has been sorted in alphabetical order.

Comments from Peer-Reviewers: 

Reviewer #1:

This manuscript describes a simple and inexpensive method to characterize the size of gold nanoparticles. Standard gold (Au) colloid suspensions of different sizes (ranging 5 -100 nm) were characterised by UV-Vis firstly. A calibration curve was created with the average of the λmax (nm) (y-axis) against their known nanoparticle size (nm) (5, 20, 40, 60 and 100 nm). The unknown AuNP sample can be calculated based on the fitted quadratic formula. The manuscript is suitable for publication in Journal of Visualized Experiments.

Thank you for your comment, we appreciate that the paper is suitable for JoVE publications.

Reviewer #2: 
Manuscript Summary:
Journal of Visualized Experiments

Article Type: Methods Article - JoVE Produced Video
Manuscript Number: JoVE61764
Full Title: Characterisation of Nanomaterials in Aqueous Media: protocol optimisation for UV-Vis spectroscopy
Authors:
Ana C. Quevedo, Emily Guggenheim, Sophie M. Briffa, Jessica Adams, Stephen
Lofts, Minjeong Kwak, Tae Geol Lee, Colin Johnston, Stephan Wagner, Timothy R.
Holbrook, Yves U. Hachenberger, Jutta Tentschert6, and Eugenia Valsami-Jones

I begin with congratulating all authors for this much awaited piece of work.

They have rightly pointed out that, in the manufacturing of NM bearing products the time, reliable and repeatable characterisation are indispensable parameters to ensure safety and quality. They have chosen Ultraviolet-Visible Spectroscopy (UV-Vis) which is a well-established, simple to use and inexpensive technique that provides non-invasive and fast real-time screening evaluation of NM size, concentration, and aggregation state. I do agree with the claim of authors as stated, 'Such features make UV-Vis an ideal methodology to assess the Proficiency Testing Schemes (PTS) of a validated Standard Operating Procedure (SOP), intending to evaluate the performance, and reproducibility of a characterisation method'.
Fortunately, this technique can be exploited in the any simplest laboratories without using high end sophisticated instrument(s).
Though, one has to use high end instruments techniques to reveal morphology features such as TEM, HR-TEM, AFM, STM, the significance of UV-vis spectroscopy to get primary result has been unbeatable especially in the characterizations of nanomaterials. Moreover, we can identify type of nanoparticles along with completion of reaction or else other way around.

In Conclusion: This article would be very useful in characterization of nanomaterials as a basic tool.

Major Concerns:
None

Minor Concerns:
1. Page 4, Line 141; '……………and stored at 4 ºC upon arrival'.
Few samples are temperature sensitive did you check for any changes in the quality of result on storage of sample at 4 ºC and immediately upon arrival?

Thank you for your feedback, we have included a couple of sentences to specify the importance of temperature control in the stability of the nanoparticles. Please see page 5, line 147: ‘Send the samples to each participating lab in 7 mL Polystyrene containers with gel packs to maintain a suitable temperature during the shipping. Once the samples are received, store them at 4 ºC immediately’. ‘Page 10, line 327: Similarly, the quality and stability of the colloid suspension is also an important factor to consider, as changes in their physicochemical properties may lead to different outcomes, therefore to ensure their stability for longer periods, nanoparticle suspensions should be stored in the dark at 4 °C. Likewise, during the shipping process, the aliquoted samples should be kept cold, as long periods at room temperature may lead to significant aggregation20’.

2. Page 6, Line 216; 1.5 mL; polystyrene, micro 10 mm pathlength cuvettes were used, cost wise it is absolutely fine, nonetheless if Quartz cuvettes would have been used that could be a better choice for good quality report.

Quartz cells may improve quality report, also they are typically used for the analysis and detection of low sample concentrations with a larger range of wavelengths (340–2500 nm). Though, polystyrene cuvettes were used in the study due to cost wise and for their common  use in the analysis of wavelength range of visible light 380–780 nm, which involved the expected range of the AuNPs. However, we appreciate your comment and we will consider the use quartz cuvettes for our next study to improve good quality report.

3. Page 8 Line 264; I couldn't get why 'AUmax' abbreviation is used; this may be Amax or else Absmax

The term ‘AUmax’ has been changed to ‘Absmax’ in the manuscript.

4. In figure in addition to presented figures the authors could have added 'Absorbance Vs Wavelength (nm)' plots, I am wondering why these plots are not added in the text?
I think, the stated plots would have been quick catchy rather than the presented data.

An 'Absorbance Vs Wavelength (nm)' plot has been added in the protocol section ‘reporting results-5.3’ as figure 1 to complement the instructions to calculate the unknow size of the sample.

5. I think Ref No. 3 is not complete.
6. In Ref 7 Name of the journal JOM need to be expanded.
7. I think references are not uniform, if feasible do add few more relevant references too.

The references have been updated. The manuscript has also been reviewed and more relevant references have been added, mainly as part of the introduction and discussion.