Reviewers' comments:

Reviewer #1:

Manuscript Summary:

Plasma lipoprotein fractionation and the study of their properties and functionality are relevant in the context of lipid disorders, atherosclerosis and cardiovascular disease. Fan et al. describe a classical ultracentrifugation method based on floatability that allows recovering the fractions intact and functional, thus permit a wide range of downstream analysis and applications. Particularly, the authors show how to fractionate a small amount of plasma from rabbit in seven density layers containing the main lipoprotein types and subtypes and further i) removing the KBr to make them able for functional studies; ii) applying commercial kits to identify lipids in the sample; iii) using the common lab technique SDS-PAGE and western-blotting to identify and estimate its lipoprotein content and purity.

The title and abstract are appropriate to the protocol. This is a long protocol; in the counterpart the authors obtain high quality and purity of a wide range of plasma lipid fractions able for any functional study. The authors apply the method into plasma from rabbit but foresee its use in human and mouse plasma as well. The scheme and images are clarifying and an appropriate support to the text. The bibliography is adequate and denotes expertise in the field

Major Concerns:

The described protocol is long (i.e. to centrifuge in a 6-round-in-a-row for 2h30 min) and requires fungible material like quite expensive plastic (i.e. to carefully cut tubs at each step). Thus, the "practical" adjective used along the manuscript is misleading and should be reconsidered.

Thank you for your comment. We have modified the manuscript (Lines 25, 34, 42, 61, 376).

In line with this comment, I suggest to mention in the protocol in which steps the protocol can be paused (i.e. by storing the sample at 4°C) for several hours, if this applies to the protocol. If not, mention as well that all the procedure should be performed with the fresh sample and briefly justify.

We greatly appreciate your comment. It is possible to pause and store the samples at 4°C after a round of ultracentrifugation. We have included the note to indicate the steps and time for the stop and storage in the text (Lines 118-9).

Line 40 and 64: I suggest to including clinical applications of the protocol, as it is pointed out as promising (e.g. to perform a functional study of cholesterol efflux, lipidomics of the fractions to determine deficiencies?). Is there any advantage of this method in front of conventional automated lab determination of lipids and lipoproteins (in clinics) that are worth the time required to achieve those fractions?

Thank you for your suggestion. We have added clinical applications in the text (Lines 359-63).

Figure 4B:

- Regarding the ApoA-I (first blot) image, there is ApoA-I, thus HDL content, in all the fractions. Is that a contamination? Can you justify? Otherwise, the purity of the fractions is in doubt.

Thank you for your question. It is true that very small amount of apoA-I is contained in apoB-containing particles in cholesterol-fed rabbits. Without apoE, apoA-I is distributed in all lipoproteins in both apoE KO rabbits (Niimi M et al. Atherosclerosis, 2016; 245:187-193) and mice (Zhang SH et al. Science. 1992;258:468-71).

- In general, the gradient profile of wild type rabbit with high cholesterol diet from 4A do not match with 4B, particularly the ApoA-I blot should be improved (loading error?)

Thank you for your comment. We have replaced the Western blotting image of a wild type rabbit fed a cholesterol diet in the current version (Figure 4B).

Minor Concerns:

Introduction: Other methods to isolate certain lipoproteins are not mentioned i.e. PEG-precipitation of ApoB to generate ApoB-depleted serum.

Thank you for your comment. We have included other methods in the text (Line 55-6).

Line 114: Is there any alternative to 2h30min centrifugation that you may consider to reduce time for the protocol?

The floatation time of lipoprotein is defined by rpm and radius of the rotor. High-speed centrifugation can shorten the time as described in the revised version (Lines 364-7).

Lines 224-241: The lipid analysis chapter does not include which analyses are relevant to perform (TC, TG…). It is clarifying for the reader to mention which lipids are analysed with the commercial kits, although the details of the brand come later in the materials.

We have mentioned the lipid analysis methods in the text (Lines 204-7, 211-3).

Line 401: An 80% recovery yield of lipid particles is very acceptable for such a small volume of plasma. Is there any trick you could point out in order not to lose sample during the cutting of the tube and the dialysis (lipids normally stick to the dialysis bags very hard in my experience)? I suggest to highlight in which steps the yield may be reduced and how to improve yield in general.

Thank you for your comment. In our experience, there are three critical points that will affect the recovery rate, including dissolving the viscous precipitate left in the bottom fraction completely, slicing tubes, and collecting the samples from a dialysis bag. We have described these points in the text (Lines 367-70).

Figure 1: The scheme only shows 4 fractions. It would be clarifying for the reader to identify in the figure how from the small dots two other lipoprotein fractions are produced to reach the 7 fractions you mention along the manuscript.

Thanks for your suggestion. We have modified the scheme in Figure 1.

Figure 4B: It would be clarifying to include the antibody used for each blot below the images. Can you explain the presence (small but visible) of fraction 1.08 with ApoB?

We used a “cocktail antibodies” containing anti apoA-I, apoB, and apoE for the Western blotting which has been described in the Figure 4 legend.

We speculate that very small amount of apoB-48 in 1.08 fraction was either HDL1 remnant or contamination caused by ultracentrifugation.

Application: It is very relevant that you proceed to eliminate KBr from the samples. Is there any other downstream analysis you may suggest to perform?

In addition to analyzing lipids and proteins in the fractions, we can also these fractions for other analyses. Using apoB-containing particles, we can compare their oxdizability, uptake by macrophages or hepatocyte in vitro, or label them with isotope or fluorescence to perform kinetics study in vivo. We can also use different HDLs to investigate their anti-inflammatory activity, cholesterol efflux from macrophages and proteomics (Lines 359-63).

Reviewer #2:

Manuscript Summary:

The protocol described in the current manuscript is a laborious technique to obtain various lipoprotein fractions and subfractions. The obtained fractions were characterized for their lipid and apolipoprotein A-I, E, and B content.

Major Concerns:

It is not mentioned the advantages of this long and laborious method consisting in 7 successive ultracentrifugations (a total of 19 h of ultracentrifugation) in comparison with the classical method of gradient ultracentrifugation/precipitation method with heparin/Mn/dextran sulfate to obtain the two major subfractions, large buoyant HDL2 (d = 1.063-1.125 g/ml) and small dense HDL3 (d = 1.125-1.210 g/ml).

Thank you for your comment. The main advantage of the current method is that we can make more detailed analyses of lipoproteins by fractionated them into seven individual fractions. For example, we can divide apoB-containing particles into VLDL, IDL, LDL and small LDL whereas we can divide HDLs into HDL1, HDL2 and HDL3. In addition, we can use these samples to perform many in vitro and in vivo studies as we described.

The fractions obtained are not identified by other methods, such as electron microscopy.

The density lipoprotein fractions can also apply for particle size analysis using negatively-stained electron microscopy as we showed before (Fan J et al. J Biol Chem. 2001;276:40071-9, Koike T et al. Arterioscler Thromb Vasc Biol 2009, 29:2047-2053) (Line 361-2).

The necessary time of this method (3 days) and expensive equipment required for these techniques are disadvantageous for the processing of the large numbers of samples used in epidemiological studies, by clinicians. Thus, only researchers could use this protocol, but they probably would prefer a simple alternative method, if no major advantage is explained (e.g. various oxidative or enzymatic potential, specific miRNAs, etc).

We agree with you that the current study is not suitable for analysis of a large number of samples such as epidemiological studies because the current method is designed for the mechanism studies. Of course, any methods would have advantages and disadvantages and researchers can choose each method for their purposes. In the revised manuscript, we have described the advantages and disadvantages of this method (Lines 359-67, 372-5).

Mention if all this successive centrifugations should be done in one day, or if one can keep the fractions and stop the protocol at a specific time. 19 centrifugation hours plus 4-7 hours for starting and stopping the centrifuge is a very long working day.

The same concern was also raised by the Reviewer 1. It is possible for one to perform all procedures by one day if you work efficiently. It is also possible to pause and store the sample at 4ºC after a round of ultracentrifugation. We have described this point in the text (Lines 118-9).

Minor Concerns:

R38: the procedure to analyze apolipoproteins is done to verify the fractions, and is not a direct aim of the paper.

Thank you for your comment. We agree with you that it is not a direct aim to analyze these apolipoproteins but it may be useful for those who are interested in analyzing apolipoproteins using these fractions.

R62: Which is the advantage to obtain two fractions of LDL (at 1.04 and 1.06 g/ml)? In Fig 4 they have the same pattern.

Thank you for your question. The size of these two LDLs is different as they are named as large LDLs and small dense LDLs. In general, small and dense LDLs are more atherogenic. In human plasma, these small LDLs are contained Lp(a) as well.

R231: mention the lipid analyzed.

We have added the note of lipid analysis in the text (Lines 204-7, 211-3).

R346: mention Fig 3B in the text.

We have mentioned Figure 3B in the text (Lines 296-300).

Fig 1. Fill in all the centrifugation steps and the fractions obtained.

The same comment was also raised by the Reviewer 1. We have modified Figure 1 and included all the steps.

Fig 2. Why the last two tubes in 2A are different? Explain how the top fraction is delimitated.

Thank you for your question. The last two tubes are plasma collected from hyperlipidemic rabbits. The blade position of the tube slicer defines the borderline of the top and bottom fractions. In the method, the blade is set at the line separating 200 μL of the top fraction and 800 μL of the bottom fraction. We have added the note in the text (Lines 112-3).

Fig 3. Name the fractions in the graphs. Mentions the diet in the figure (NS diet - upper HC diet - lower.)

We have added the diet info in the Figure 3 legend.

Fig 4. Add the gel electrophoresis for apoE deficient rabbit. ApoA-I is not present in WT rabbit with a normal standard diet?

ApoA-I is not detectable in d<1.006 fraction of WT rabbit fed a normal standard diet. We added the Western blotting of a WT rabbit fed a normal standard diet (Figure 4B).