# Submission ID #: 61795

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18847523

Title: Simultaneous Application of Transcranial Direct Current Stimulation During Virtual Reality Exposure

Authors and Affiliations: Mascha van ‘t Wout-Frank1,2,3 and Noah S Philip1,2,3

1VA RR&D Center for Neurorestoration and Neurotechnology, Providence VA Medical Healthcare System

2Department of Psychiatry and Human Behavior, Alpert Brown Medical School

3COBRE Center for Neuromodulation, Butler Hospital

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

Mascha van ’t Wout-Frank

mascha_vant_wout@brown.edu

# Co-Authors:

noah_philip@brown.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 48

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

Ethics Title Card

  - Procedures involving human subjects have been approved by the Institutional Review Board (IRB) or equivalent body at insert Institutional Name.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Transcranial Direct Current Stimulation (tDCS) Study Visit Setup and Administration

  - To prepare a Participant for tDCS, after placing the head strap on the Participant [1-TXT], stand behind the Participant to establish the location for the cathodal electrode using the previously calculated 10% of head circumference [2] and measure this distance out from the inion of the head to the right [3].

    - WIDE: Talent adjusting head strap TEXT: See text for full head strap placement and preparation details

    - Talent measuring cathodal electrode location

    - Distance being measured Video Editor: please emphasize inion when mentioned as possible

  - Place the cathodal electrode according to the measurements such that it is approximately behind the right ear on the mastoid process [1] and move in front of the Participant [2].

    - Electrode being placed

    - Talent moving to front of Participant

  - To establish the location for the anodal electrode, measure out the previously calculated 10% of head circumference from the nasion up [1], and the previously calculated 5% of head circumference to the right [2].

    - Circumference from nasion up being measured

    - Circumference to right being measured

  - Place the anodal electrode [1] and verify that the anode is touching the 10-20 EEG electrode AF3-Fp1 (A-F-three-F-P-one) locations [2].

    - Electrode being placed

    - Location being verified

  - When the electrodes have been placed, turn on the tDCS device [1] and plug in the electrodes [2].

    - Talent turning on device

    - Talent plugging in electrode(s)

  - To load Setting A, press the top right button to exit out of study mode [1] and use the top and bottom left buttons to enter the master code of the device [2].

    - Talent pressing top right button, with monitor visible in frame

    - SCREEN: To be provided by Authors: Master code being entered

  - Click OK and make sure the arrow is pointing at trigger. Use the top right button to move through the settings until load setting appears [1].

    - SCREEN: To be provided by Authors: OK being clicked, shot of arrow pointing at trigger, and load … setting being selected

  - Use the left arrows to scroll the arrow to the bottom of the screen and use the top right arrow to move through all the settings back to setting A [1].

    - SCREEN: To be provided by Authors: Arrow being scrolled, then setting A being reselected

  - Click the top left arrow to load setting A [1] and press the top right and bottom left buttons together to check the impedance to confirm that there is adequate contact between the tDCS electrodes and the Participant’s skull [2-TXT].

    - SCREEN: To be provided by Authors: Top left arrow being clicked/setting A being loaded

    - Talent pressing top right and bottom left buttons/impedance being checked TEXT: Record initial impedance

  - Start the stimulation and record the impedance prior, during, and after the stimulation [1]. At the completion of the stimulation, remove the electrodes from the device [2] before turning off the device [3].

    - SCREEN: To be provided by Authors: Impedance being recorded

    - Talent removing electrodes from device

    - Talent turning off device

  - Place two, self-adhesive, disposable electrodermal activity electrode patches on the thenar region of the Participant’s non-dominant hand [1] and open the electrodermal activity-galvanic skin response data acquisition software [2].

    - Talent placing electrode patch(es)

    - Talent opening software, with monitor visible in frame

  - Open the previously generated data acquisition template and click Create-Record to create a new experiment [1].

    - SCREEN: To be provided by Authors: Template being opened, then Create/Record being clicked

  - To calibrate the electrodermal activity signal, attach an electrode to an electrode patch [1] and follow the software instructions to calibrate one electrode at a time [2].

    - Talent attaching electrode

    - SCREEN: To be provided by Authors: Calibration instructions being followed

  - When both of the electrodes have been calibrated, ask the Participant to take a deep breath in and to hold it for 10 seconds before breathing out to ensure an adequate galvanic skin response signal [1].

    - Talent gesturing/Participant taking/holding deep breath

- tDCS Study Visit Administration

  - To administer the tDCS, have an Assistant turn on the virtual reality system [1] and open the Patient Application program [2].

    - WIDE: Talent turning on VR system

    - Talent opening program, with monitor visible in frame

  - Check that the screen resolution is set to 1280 x 720 and click Play. Open the Clinician Controller program and select the driving scenario based on the scene that is most relevant to the Participant’s deployment [1-TXT].

    - SCREEN: To be provided by Authors: Screen resolution being checked, play being clicked, Program being opened, scenario being selected TEXT: e.g., Iraq or Afghanistan Rural

  - Under the patient avatar window, select the Driver position and set the sound volume to 65% of maximum [1].

    - SCREEN: To be provided by Authors: Position being selected and volume being set

  - With assistance of the Participant, have the Assistant place the head-mounted display on the Participant’s head, taking care that the display does not dislocate the electrodes [1] and check for comfort [2].

    - Participant and Talent placing display onto Participant’s head

    - Talent checking Participant comfort

  - Have the Assistant place the headphones on the Participant’s head [1] and check for comfort [2].

    - Talent placing headphones onto Participant head

    - Talent checking Participant comfort

  - Instruct the Participant to sit quietly for 2 minutes to allow the baseline electrodermal activity data to be collected [1] and press F1 to mark the beginning of the baseline period [2].

    - Talent instructing/Participant sitting quietly

    - Talent pressing F1

  - After 2 minutes, press F3 to make the end of the baseline period [1]. After completion of the baseline electrodermal activity collection, turn on the tDCS device [2] and plug the electrodes back in [3].

    - Talent pressing F2

    - Talent turning on device

    - Talent plugging in electrodes

  - The device should be in study mode for Setting B. Click OK to confirm that Setting B is programmed and to apply a 2-milliamp intensity for a total of 25 minutes with a 30-second ramp up and 30-second ramp down [2].

    - SCREEN: To be provided by Authors: Shot of device in study mode and Setting B, ok being clicked/shot of program parameters

  - Enter the participant-specific randomization code retrieved from the randomization software and click OK. Press the top left button to indicate Yes to start the stimulation and click Off to start the drive [1].

    - SCREEN: To be provided by Authors: Code being entered, OK being clicked, Yes being press, and Off being clicked

  - Ensure that each drive-through starts with at least 30 seconds of driving only in the VR environment [1].

    - SCREEN: To be provided by Authors: Shot of driving scene with no event

  - For the first session, guide the Participant through the occurrence of VR events using a verbal prompt during the first drive-through [1], such as “Up ahead there will be a road ambush. In 3…2…1… go”, while selecting the appropriate scene in the VR menu [2][3][4].

    - Talent instructing Participant about event, with Participant visible in frame

    - Talent speaking the above Video Editor: please use sound only to he played while 3.11.3. is shown

    - SCREEN: To be provided by Authors: Road ambush scene appearing in view

    - SCREEN: To be provided by Authors: Scene being selected in VR menu Video Editor: please use as inset in 3.11.3. as possible; can show after “go” as separate shot as necessary

  - Administer each VR event with a minimum of 10 seconds of driving between each event [1-TXT].

    - Talent selecting next event, with monitor visible in frame TEXT: See Appendix 1 VR events timing in both Afghanistan and Iraq driving scenarios

  - While the VR events are being administered, have an Assistant press F2 on the keyboard every time a VR event is administered to monitor the skin conductance data acquisition [1-TXT].

    - Assistant pressing F2 when even administered TEXT: After 1st session, participant performs drive without verbal prompting

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 181. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Raw Skin Conductance Data

  - Based on visual inspection of the skin conductance traces [1], participant A appears to show signs of between-session habituation from the first VR session [2] to the midpoint of the protocol during the third VR session [3] to the final, sixth VR session [4].

    - LAB MEDIA: Figure 1

    - LAB MEDIA: Figure 1 Video Editor: please emphasize top data line

    - LAB MEDIA: Figure 1 Video Editor: please emphasize middle data line

    - LAB MEDIA: Figure 1 Video Editor: please emphasize bottom data line

  - Visual inspection of the raw skin conductance tracing for participant B [1] appears to indicate within-session habituation when comparing the first drive-through [2] to the third drive-through [3].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please emphasize red square/data line within red square

    - LAB MEDIA: Figure 2 Video Editor: please emphasize green square/data line within green square

  - Visual inspection of the raw skin conductance data for participant C [1] appears to show a less stark habituation profile compared to participant A [2].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 1

  - Nonetheless, participant C [1] demonstrates both between- [2] and within-session habituation [3].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Authors: which data shows between-session habituation?

    - LAB MEDIA: Figure 3 Authors: which data shows within-session habituation?

  - Furthermore, and similar to participant A [1], the skin conductance level is numerically higher during the first VR session [2] compared to the remaining five sessions [3].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize top row of data

    - LAB MEDIA: Figure 3 Video Editor: please emphasize rows 2-6

  - Raw skin conductance data from participant D [1] demonstrate a skin conductance level that can be considered too low for proper analyses, with an absence of visually detectable skin conductance responses [2].

    - LAB MEDIA: Figure 4

    - LAB MEDIA: Figure 4 Video Editor: please emphasize red data lines outside of rectangle and ovals OR no animation

  - Even with the presence of artifacts [1] and electrode signal loss [2], the persistently low skin conductance levels and absence of visually detectable skin conductance responses are still apparent for this individual [3].

    - LAB MEDIA: Figure 4 Video Editor: please emphasize ovals

    - LAB MEDIA: Figure 4 Video Editor: please emphasize rectangle

    - LAB MEDIA: Figure 4

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.