# Submission ID #:  61797

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18848133

# Title:   Carrier-assisted One-pot Sample Preparation for Targeted Proteomics Analysis of Small Numbers of Human Cells

# Authors and Affiliations:

Kendall Martin1, Tong Zhang1, Pengfei Zhang2, William B. Chrisler1, Fillmore L. Thomas3, Fen Liu4, Tao Liu1, Wei-Jun Qian1, Richard D. Smith1, Tujin Shi1

1Biological Sciences Division, Pacific Northwest National Laboratory, Richland, Washington, USA

2NHC Key Laboratory of Cancer Proteomics, Department of Oncology, Xiangya Hospital,

Central South University, Changsha, Hunan, P.R. China

3Environmental Molecular Sciences Laboratory, Pacific Northwest National Laboratory, Richland, Washington, USA

4Department of Critical Care Medicine, The First Affiliated Hospital of Nanchang University, Nanchang, Jiangxi, P.R. China

☐   All author names and affiliations are correct.

# Corresponding Authors:

# Tujin Shi		(tujin.shi@pnnl.gov)

# Email Addresses for All Authors:

kendall.martin@pnnl.gov

tong.zhang@pnnl.gov

078101001@csu.edu.cn

william.chrisler@pnnl.gov

thomas.fillmore@pnnl.gov

ndyfyicu@email.ncu.edu.cn

tao.liu@pnnl.gov

weijun.qian@pnnl.gov

dick.smith@pnnl.gov

tujin.shi@pnnl.gov

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  10

Number of Shots:  23

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- FACS Sorting

  - Begin by pretreating the PCR tubes [1]. Add 100 microliters of nonhuman cell lysate digests at 0.2 micrograms per microliter to each tube and incubate them at room temperature overnight [2].

    - WIDE: Establishing shot of talent at the lab bench preparing to pretreat the tubes.

    - Talent adding nonhuman cell lysate digests to a tube.

  - On the next day, remove the cell lysate digests by pipetting [1], rinse the PCR tubes with HPLC-grade water 3 times [2], and airdry the tubes in a fume hood [3].

    - Talent removing the cell lysate digests.

    - Talent rinsing the tube.

    - Talent placing the tubes in the hood.

  - Place the coated PCR tubes into a 96-well PCR tube rack [1] and sort desired numbers of human breast cells into the precoated tubes [2]. Immediately centrifuge the sorted breast cells at 100 x g for 10 minutes at 4 degrees Celsius to avoid potential cell loss [3].

    - Talent placing the tubes in a rack.

    - Talent sorting cells into the tubes.

    - Talent centrifuging the tubes.

  - Add 4 microliters of 25 millimolar ammonium bicarbonate and 1 microliter of 10 nanogram per microliter BSA in ammonium bicarbonate into the PCR tubes containing the collected cells [1]. Then, add 0.3 microliters of 100 femtomole per microliter crude heavy peptide standards into each tube [2].

    - Talent adding ammonium bicarbonate and BSA into a tube.

    - Talent adding crude heavy peptide standards into the tube.

- Cell Lysis and Trypsin Digestion

  - Sonicate the FACS-sorted cells on ice for 1 minute with 1-minute intervals for a total of 5 cycles at a 70% amplitude and 0.5 Hertz [1].

    - Talent sonicating the cells.

  - When finished, incubate the samples at 90 degrees Celsius for 1 hour for protein denaturation using a PCR thermocycler with the heated-lid option [1], then cool to room temperature with centrifugation at 1500 x g for 3 minutes [2].

    - Talent putting the samples in a PCR thermocycler and programming it.

    - Talent putting the samples in the centrifuge and closing the lid.

  - To perform trypsin digestion, reduce the sample volume to approximately 4 microliters using a Speed Vac concentrator [1]. Add 9 microliters of 25 millimolar ammonium bicarbonate and 1 to 3 microliters of 15 nanograms per microliter trypsin for a final trypsin concentration of 1 to 3 nanograms per microliter [2].

    - Talent using a Speed Vac.

    - Talent adding sodium bicarbonate and trypsin to a sample.

  - Mix gently at 100 x g for 3 minutes [1] and incubate overnight at 37 degrees Celsius [2].

    - Talent mixing the sample.

    - Talent putting the sample in the incubator and closing the door.

  - Add 0.5 microliters of 5% formic acid to stop the enzymatic reaction [1]. Centrifuge the sample for 1 hour at 1500 x g [2] and store in a -80-degree Celsius freezer until further LC-SRM analysis or in a 4-degree Celsius freezer for immediate analysis [3].

    - Talent adding formic acid to the sample.

    - Talent putting the sample in the centrifuge and closing the lid.

    - Talent storing the sample in a freezer or fridge.

  - To prepare the sample for direct LC-SRM analysis, remove the cap of the PCR tube that was used for collection and processing of FACS-sorted breast cells [1], insert the tube into an LC vial [2], and close the vial [3].

    - Talent removing the cap from the PCR tube.

    - Talent inserting the tube into the LC vial.

    - Talent closing the vial.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 200. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Sensitivity and Accuracy of cLC-SRM for Multiplexed Quantification of EGFR/MAPK Pathway Proteins

  - Extracted ion chromatograms clearly show detection of SRM transitions for ATADDELSFK derived from GRB2 present at 220,000 copies per MCF7 cell. Using cLC-SRM (spell out ‘C-L-C-S-R-M’), it was possible to quantify endogenous ATADDELSFK down to 5 MCF7 cell equivalents [1]. Authors: How should ATADDELSFK be pronounced for voiceover narration?

    - LAB MEDIA: Figure 2 A.

  - The resultant calibration curves displayed excellent linearity with limits of quantification of 5 cells for high-abundance GRB2 protein and 20 cells for moderate-abundance PTPN11 protein. The median SRM technical coefficient of variation for all target peptides across all the data points was approximately 9% [1].

    - LAB MEDIA: Figure 2 B.

  - cLC-SRM was also applied to measure EGFR pathway proteins in 10 and 100 intact MCF7 cells sorted by FACS. High- and moderate-abundance proteins were detected in 10 intact MCF7 cells [1].

    - LAB MEDIA: Figure 2 C.

  - Extracted ion chromatograms show endogenous detection of VLTPTQVK peptide derived from PEBP1 at approximately 744,000 copies per cell in single MCF10A cells with a signal to noise ratio of 5 and 1,240 zeptomole of quantification sensitivity [1]. Authors: How should VLTPTQVK be pronounced for voiceover narration?

    - LAB MEDIA: Figure 3 A. Video Editor: Emphasize the endogenous 1 cell plot.

  - When the cell number increased to 50 and 75, stronger SRM signal was observed with detection of all three transitions [1], which have the same pattern as its corresponding heavy internal standard [2]. The calibration curve was linear with an R-squared value of 0.89 [3].

    - LAB MEDIA: Figure 3 A. Video Editor: Emphasize the endogenous 50 and 75 cell plots.

    - LAB MEDIA: Figure 3 A. Video Editor: Emphasize the heavy 50 and 75 cell plots.

    - LAB MEDIA: Figure 3 B.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.