# Submission ID #: 61799

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18848743

Title: Semi-Quantitative Analysis of Peptidoglycan by Liquid Chromatography Mass Spectrometry and Bioinformatics

Authors and Affiliations: Erin M. Anderson1, Neil A. Greenwood1, Dyanne Brewer2, and Cezar M. Khursigara1

1Department of Molecular and Cellular Biology

2Mass Spectrometry Facility, University of Guelph

# Corresponding Author:

# Cezar M. Khursigara

# ckhursig@uoguelph.ca

# Co-Authors:

eander01@uoguelph.ca

ngreen05@uoguelph.ca

dbrewer@uoguelph.ca

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload screen captured video file for 5.4.1. to your project page as soon as reasonably possible.

Videographer: All other screen capture files provided, do not film

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   N

Protocol Length

Number of Shots: 17

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Erin Anderson: Peptidoglycomics uses advanced mass spectrometry combined with high-powered bioinformatic data analysis to examine peptidoglycan composition in fine detail [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Erin Anderson: Using bioinformatic algorithms enables the analysis, extraction, and comparison of mass spec data across a collection of data files simultaneously, decreasing the workload and increasing the accuracy [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Neil Greenwood: Understanding the diverse variations and modifications of peptidoglycan has implications in understanding cellular processes, including growth and division, host immune evasion, and antimicrobial resistance [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Neil Greenwood: We recommend preparing and analyzing a small subset of samples first to become familiar with the protocol and to act as a pilot project to assess the experimental parameters [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Cezar Khursigara: As mass spectrometry data analysis software often varies in the definitions that are used when describing features and functions, visual demonstration will aid users in applying this protocol across platforms [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

- Peptidoglycan Sacculi Extraction

  - For peptidoglycan sacculi extraction, resuspend frozen cell pellets at approximately 1:10 of the original culture volume in 20-millimolar sodium phosphate at 4 degrees Celsius [1] before adding the cell suspension dropwise to boiling 8% SDS (S-D-S) in 20-millimolar sodium phosphate to a final 1:1 volume [2-TXT].

    - WIDE: Talent adding sodium phosphate to cells, with sodium phosphate container visible in frame Videographer: Important step

    - Talent adding cells to SDS, with SDS container visible in frame Videographer: Important step TEXT: SDS: sodium dodecyl sulfate

  - Maintain a gentle boil for 30 minutes to 3 hours with stirring to ensure complete membrane dissociation [1].

    - Solution boiling and being stirred

  - The resulting mixture should be completely clear with no remaining cell clumps or viscosity [1-TXT].

    - Shot of resulting mixture TEXT: Longer boiling guarantees complete dissociation

  - When the solution has cooled to room temperature, collect the sacculi by ultracentrifugation [1-TXT] followed by 5-7 washes in approximately 50 milliliters of room temperature 20-millimolar sodium phosphate per wash [2] until the wash buffer has an SDS concentration of approximately 0.001% as determined by colorimetric dye [3].

    - Talent placing tube into ultracentrifuge TEXT: 40 min, 70,000 x g, 25 °C

    - Shot of pellet if visible, then sodium phosphate being added to tube, with sodium phosphate container visible in frame

    - Wash buffer SDS concentration being checked by colorimetric dye

  - After the last wash, resuspend the sacculi in 5-10 milliliters of room temperature 20-millimolar sodium phosphate [1] and supplement the sample with 50 micrograms/milliliter of amylase, DNase, and RNase, and 10-millimolar magnesium sulfate for a 1-hour incubation with agitation or nutation at 37 degrees Celsius [2].

    - Talent adding sodium phosphate to tube, with sodium phosphate container visible in frame

    - Talent adding reagent(s) to tube, with reagent containers visible in frame

  - At the end of the incubation, digest the reaction overnight with 100 micrograms/milliliter of pronase at 37 degrees Celsius [1].

    - Talent adding pronase to tube, with pronase container visible in frame

  - The next morning, after ultracentrifugation, boil the sample for 1 hour in 25 milliliters of 2% SDS in 20-millimolar sodium phosphate in a steamer [1].

    - Talent placing sample into steamer

  - At the end of the incubation, wash the sample 5-7 times with 50 milliliters of room temperature double distilled water as demonstrated [1].

    - Talent placing tube(s) into centrifuge

  - When the SDS concentration reaches approximately 0.001%, resuspend the pellet in a sufficient quantity of double distilled water to obtain a sacculi suspension to wash the container [1].

    - Talent adding water to tube

  - After overnight storage at minus 80 degrees Celsius, lyophilize the frozen sample [1] before diluting the sacculi to a 10 milligrams of peptidoglycan/milliliter of double distilled water-concentration [2].

    - Talent lyophilizing sample

    - Talent adding water to sample

- Liquid Chromatography-Mass Spectrometry (LC-MS) Chromatogram Spectral Processing

  - For LC-MS (L-C-M-S) analysis, start a new project in the instrument software [1] and assign the appropriate LC-MS QTOF (Q-toff) data files to the experimental condition of interest [2].

    - WIDE: Talent starting new project

    - SCREEN: 3.1.2: 00:16-00:40 Video Editor: please speed up TEXT: QTOF: quadrupole-time of flight

  - Run the data processing wizard Batch recursive feature extraction and set the data processing filters to match the parameters of the LC-MS conditions and instrumentation to accurately identify, group, and verify mass-to-charge peaks representing individual muropeptides [1].

    - SCREEN: 3.2.1: 00:16-01:45 Video Editor: please speed up

  - Review the results at the end of the feature extraction [1]. If a significant number of features failed to align in a group, adjust the recursive filtering parameters to broaden or restrict the detection window as necessary [2].

    - SCREEN: 3.3.1-3.3.2: 00:02-00:14 Video Editor: please speed up

    - SCREEN: 3.3.1-3.3.2: 00:35-01:04 Video Editor: please speed up

  - Then export the data as a compound exchange file [1].

    - SCREEN: 3.4.1: 00:03-00:23 Video Editor: please speed up

- Differential Spectral Feature Analysis

  - For differential spectral feature analysis, start a new project in the system software [1] and follow the instructions for data import [2].

    - WIDE: Talent starting new project, with monitor visible in frame

    - SCREEN: 4.1.2-4.2.1: 00:02-02:18 Video Editor: please speed up

  - During the data analysis, select the significance and fold change for differential analysis and set the baseline data to the median intensity across all of the data files [1].

    - SCREEN: 4.1.2-4.2.1: 02:29-02:58 Video Editor: please speed up

  - Once the analysis is complete, examine the resulting graphical and statistical analyses to identify muropeptides that demonstrate a significant abundance change between the tested experimental conditions [1].

    - SCREEN: 4.3.1: 00:05-00:15

  - Under the project navigator, right-click on the various analyses and select an export option to save the feature details as a .csv file [1].

    - SCREEN: 4.4.1: 00:02-00:36 Video Editor: please speed up

- Muropeptide Annotation spectral features

  - Within the differential analysis software, under results interpretation, select ID browser [1], add a library of expected muropeptide structures, and select similar parameters as demonstrated for the feature extraction to produce a predicted muropeptide annotation for each identified feature [2].

    - WIDE: Talent selecting ID browser, with monitor visible in frame

    - SCREEN: 5.1.2: 00:03-01:56 Video Editor: please speed up

  - To manually confirm the predicted muropeptide annotation, compare the mass-to-charge ratio peaks of the tandem mass spectrometry chromatogram to the predicted mass-to-charge ratio of all of the possible fragmentations of a known muropeptide structure [1].

    - SCREEN: 5.2.1: 00:23-00:36 Video Editor: please speed up

  - Use a molecular editor to draw the predicted muropeptide structure, using the mass fragmentation tool to show the mass-to-charge ratio of the mass spectrometry fragments when each bond is broken, either individually or in combination [1].

    - SCREEN: 5.3.1: 00:06-00:29 Video Editor: please speed up

  - Then compare all of the possible fragmentations of the muropeptide structure to the tandem mass spectrometry chromatogram. To confirm the muropeptide annotation, the mass-to-charge ratio peaks of multiple fragments should be found in the tandem mass spectrometry chromatogram with a very minimal mass-to-charge ratio alignment window [1].

    - SCREEN: To be provided by Authors: Fragmentations being compared to chromatogram

- Muropeptide Global Change Modification Assessment

  - To assess the global changes in muropeptide modifications, edit the .csv file of the statistically significant high fold change muropeptides [1] to include a single column for each muropeptide modification [2].

    - WIDE: Talent opening .csv file

    - SCREEN: 6.1.2: 00:04-00:18

  - Populate this column with a designation for each muropeptide annotated [1] and upload the modified .csv file into Perseus [2].

    - SCREEN: 6.1.2: 00:19-00:40 Video Editor: please speed up

    - SCREEN: 6.2-6.4: 00:04-00:34 Video Editor: please speed up

  - Under Annotate Rows, click Categorically Annotate Rows and add datafiles to each experimental parameter [1].

    - SCREEN: 6.2-6.4: 00:37-01:15 Video Editor: please speed up

  - Then, under test, click on two sample tests to perform a student’s t-test and click 1D to perform 1D annotation [1].

    - SCREEN: 6.2-6.4: 01:16-01:44 Video Editor: please speed up

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see?

2.1.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success?

2.1.-2.10. The presence of peptidoglycan modifying enzymes can alter the composition quickly, therefore, great care should be taken during preparation to maintain consistency.

3.1.-3.4. During feature extraction, using the recursive algorithim increases m/z peak detection accuracy by identifying and comparing features across all the data files.

# Results

- Results: Representative Muropeptide Fragmentation and Identification and Peptidoglycan Composition Analysis

  - An increased detection sensitivity of mass spectrometry machinery coupled with high-powered peak recognition software [1] has improved the ability to isolate, monitor, and analyze substance compositions of complex samples in very minute detail [2].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize figure key below x-axis

  - Associating each mass-to-charge peak extracted from the mass spectrometry data with a particular muropeptide is facilitated by cross-referencing with a database of known and predicted muropeptide structures [1].

    - LAB MEDIA: Figure 4 graph only

  - The fragmentation tandem mass spectrometry chromatogram for each extracted feature [1] can be compared to the fragmentation profile of the muropeptide proposed using the database [2].

    - LAB MEDIA: Figure 4 graph only Video Editor: please emphasize red peaks

    - LAB MEDIA: Figure 4 Video Editor: please add grey inset

  - Volcano plots [1] can be used to highlight muropeptides that demonstrate a statistically significant high magnitude of abundance change between the tested conditions [2].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5A Video Editor: please emphasize green and orange points outside of vertical lines

  - When examined together, multiple muropeptides possessing the same modification [1] can be examined for a trend toward one experimental condition [2] and the entire group can be assessed for significance [3].

    - LAB MEDIA: Figure 5A

    - LAB MEDIA: Figure 5A Video Editor: please emphasize green data points

    - LAB MEDIA: Figure 5B Video Editor: please emphasize green rows

  - Tracking a muropeptide modification in this way can identify a particular enzymatic activity that is affected by the experimental parameter [1].

    - LAB MEDIA: Figure 5B

  - In addition, outliers from this trend may reveal enzymatic activities with a particular specificity or biological function [1].

    - LAB MEDIA: Figure 5A Video Editor: please emphasize orange data points

# Conclusion

- Conclusion Interview Statements

  - Neil Greenwood: This procedure examines biochemical changes and biological variations in polymers, thereby providing insight into the enzymatic activity working on PG in vivo [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Erin Anderson: Examining PG composition in very fine detail will aid in the understanding of complex cellular structures, which has implications for many critical physiological processes [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera