## Sheet1
Name of Material/ Equipment | Company | Catalog Number/Identifier | Comments/Description
1x PBS | Gibco | 10010023
10x HBSS | Gibco | 14065-056
12-well Plate | FALCON | 353043 | Coating not required
6-well Plate | FALCON | 353046 | Coating not required
anti-AKT | Cell Signaling | 2920S
Antibiotic Antimycotic Solution (100x), Stabilized | Sigma-Aldrich | A5955
anti-FOXO1 | Cell Signaling | 97635S
anti-GAPDH | Cell Signaling | 2118S
anti-p-AKT (S473) | Cell Signaling | 9271L
anti-PEPCK | Santa Cruz | SC-166778
anti-p-FOXO1 (S256) | Cell Signaling | 84192S
Cell Strainer, 70 µm | CELLTREAT | 229483
Closed IV Catheter, 24 Gauge 0.75 IN | Becton Dickinson | 383511
DMEM, no glucose, no glutamine, no phenol red | ThermoFisher Scientific | A1443001
EnzyChrom Glucose Assay Kit | BioAssay Systems | EBGL-100
Fetal Bovine Serum (FBS) | Hyclone | SH30071.03
Forskolin | MilliporeSigma | F3917-10MG
Glucagon | Sigma-Aldrich | G2044
Goat Anti-mouse IgG Secondary Antibody | LI-COR | 926-68070
Goat Anti-rabbit IgG Secondary Antibody | LI-COR | 926-32211
GraphPad Prism 8 | GraphPad Software | NA
Hepatocyte Wash Medium | Gibco | 17704-024
IBMX | Cell Signaling | 13630S
Insulin | Lilly | NDC 0002-8215-01
Ketamine HCL (100 mg/mL) | Hospira Inc | NDC 0409-2051-05
L-Glutamine | Gibco | 25030081
Liver Digest MA2:D30edium | Gibco | 17703-034 | Aliquot within tissue culture hood to 25 mL each in 50 mL tube, and keep in -20 oC freezer
Liver Perfusion Medium | Gibco | 17701-038
Pen Strep | Gibco | 15140122
Percoll | GE Healthcare | 17-0891-01
Peristaltic Pump | Gilson | Minipuls 2 | Capable of pumping at 4 mL/min
Petri Dish | Fisherbrand | 08-757-12
Refrigerated Centrifuge | Sorvall | Legend RT | Capable to centrifuge 50 mL tube at 4 oC
Sodium L-Lactate | Sigma-Aldrich | L7022
Sodium Pyruvate | Gibco | 11360070
Syringe Filter, PVDF 0.45 µm 30mm diameter | CELLTREAT | 229745
Syringe, 0.5 mL | Becton Dickinson | 329461
Syringe, 60 mL | Becton Dickinson | 309653
Trypan Blue Solution, 0.4% | Gibco | 15250061
Tube, 15 mL | Corning | 430052
Tube, 50 mL | Corning | 430290
Water Bath Tank | Corning | CLS6783 | Or any water bath tank capable of heating up to 45 oC
William’s E Medium (GlutaMAX Supplement) | Gibco | 32551020
Xylozine (100 mg/mL) | Vetone Anased LA | NDC13985-704-10

## DV-IDENTITY-0 (hidden)
#VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | AAAAAH384Q8=