# Submission ID #: 61813

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18853013

Title: Heterologous Expression and Functional Analysis of Aedes aegypti Odorant Receptors to Human Odors in Xenopus Oocytes

Authors and Affiliations: Xin Wang1*, Zhou Chen1,2*, Yifan Wang1, Feng Liu1,3, Shanshan Jiang1, and Nannan Liu1

*These authors contributed equally to the work

1Department of Entomology and Plant Pathology, Auburn University

2Departments of Biochemistry & Biophysics, and Cellular & Molecular Pharmacology, University of California, San Francisco

3Department of Biological Sciences, Vanderbilt University

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Nannan Liu

# liunann@auburn.edu

# Co-Authors:

xzw0083@auburn.edu

zzc0012@auburn.edu

yzw0093@auburn.edu

feng.liu@Vanderbilt.edu

szj0083@auburn.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 53

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Xenopus Oocyte Collection

  - After confirming a lack of response to pedal reflex [1-TXT], use clean cotton balls to wipe and remove 10% povidone-iodine solution across the frog ventral area two times [2] and use a disposable scalpel to make a 10-15-millimter incision in the abdominal skin lateral to the midline [3].

    - WIDE: Talent pinching toe Videographer: More Talent than frog in shot TEXT: Anesthesia: 20-30 min ethyl 3 amino-benzoate methanesulfonate salt 1 g/1 L ultra-purified water

    - Skin being wiped, with povidone-iodine solution container visible in frame

    - Skin incision being made

  - Make a second incision in the fascia-muscle layer [1] and use forceps to extract an ovarian lobe from the abdomen [2].

    - Fascia-muscle incision being made

    - Ovary being extracted

  - Use scissors to excise the ovary at the body wall level [1] and continue to extract and remove the ovaries until approximately 200 eggs have been harvested [2], placing the materials into washing buffer as they are collected [3-TXT].

    - Ovary being excised

    - Ovary being extracted/excised

    - Talent placing tissue into buffer TEXT: See text for all buffer and solution preparation details

  - When all of the eggs have been obtained, use absorbable sutures to close both layers of incisions [1] and place the frog in 1 liter of recovery solution until fully recovered before returning the animal to the frog facility [2].

    - Suture being placed

    - Talent transferring frog from solution to frog facility TEXT: Repeat extraction every 2 mo for ≤4 extractions

- Enzymatic Defolliculated Digestion and Oocyte Culture

  - After collection, separate the oocytes into small pieces [1] and transfer all of the oocytes into a digestion solution for a 40-60-minute incubation at ambient temperature [2].

    - WIDE: Talent separating oocytes

    - Talent transferring oocytes to solution, with solution container visible in frame

  - At the end of the incubation, examine the samples under a microscope to determine whether 80% of the oocytes have been fully defolliculated [1-TXT].

    - Talent at microscope, examining oocytes TEXT: If <80% defolliculation, incubation in 10 min intervals until most oocytes ready

  - Rinse the defolliculated oocytes in sequence 5 times in 10 milliliters of 1x Ringer’s solution [1], washing buffer [2], and modified Barth’s saline to remove the immature and poor-quality oocytes [3].

    - Talent adding oocytes to Ringer’s solution, with stock Ringer’s solution container visible in frame

    - Talent adding oocytes to buffer, with washing buffer container visible in frame

    - Talent adding oocytes to saline, with saline container visible in frame

  - After the last wash, transfer all of the healthy, good quality stage five and stage six oocytes with a clear white-dark division and no visually obvious damage [1] into a 90-millimeter Petri dish containing modified Barth’s saline [2].

    - LAB MEDIA: Figure 1D

    - Talent adding oocytes to dish, with saline container visible in frame

  - Discard the bad quality oocytes [1].

    - LAB MEDIA: Figure 1E

  - Then place the digested oocytes into an insect growth chamber for about 24 hours at 18 degrees Celsius before microinjection [1].

    - Talent placing oocytes into chamber

- Complementary RNA (cRNA) Microinjection and Odorant Receptor (OR) and OR Co-Receptor Expression

  - For cRNA microinjection, first submerge a metal matrix in Barth’s saline in a 100- x 15-millimeter Petri dish [1] and place the oocytes onto the matrix [2-TXT].

    - WIDE: Talent submerging matrix, with saline container visible in frame

    - Talent adding oocytes to matrix TEXT: Discard oocytes that do not meet size requirement

  - Arrange the oocytes within the spaces of the matrix with the vegetal poles facing to the right [1] and use a micropipe puller to pull a fresh capillary for each sample [2-TXT].

    - Oocytes being arranged

    - Talent pulling pipette TEXT: 1-mm OD x 0.5-mm ID 100 mm length

  - Use a micropipette beveler to sharpen the capillaries to a 25-degree angle [1] and mount the capillary tube onto the nanoliter injector [2].

    - Talent sharpening capillary

    - Talent mounting capillary onto injector

  - After thawing on ice, press the Fill button on the injector to fill the capillary tube with the premixed odorant receptor and odorant co-receptor cRNA [1] and press Empty to discharge a small volume of mixture to ensure that the capillary tube is not blocked [2].

    - Talent filling tube, with cRNA mixture tube and/or ice visible inf rame

    - Empty being pressed/cRNA being discharged

  - After 5 seconds, inject approximately 23 nanoliters of premixed cRNA into the first oocyte [1].

    - Oocyte being injected

  - When all of the oocytes have been injected, store the oocytes in a sterile 24-well cell culture plate containing modified Barth’s saline for 3-7 days at 18 degrees Celsius [1].

    - Talent placing oocytes/matrix into plate, with saline container visible in frame

- Whole-Cell Current Recording Setup

  - To set up a two-electrode voltage-clamp system for recording whole-cell currents, fill pulled glass capillaries with 3-molar potassium chloride [1-TXT] and switch on the Oocyte Clamp and Digidata Digitizer [2].

    - WIDE: Talent loading capillary TEXT: 1.2-mm OD x 0.94-mm ID 750-mm length

    - Talent turning on machine

  - Open the software [1] and click Record [2] and turn on the switch for the ND96 (N-D-ninety-six) buffer flow [3] and the pump for the waste buffer [4].

    - Talent opening software, with monitor visible in frame

    - SCREEN: To be provided by Authors: Record being clicked

    - Talent turning on switch

    - Talent turning on pump

  - To conduct a pre-test, insert microelectrodes into the flowing buffer [1] and press the Vm and Ve Electrode Test buttons to check the resistance of the microelectrodes [2]. Vm should be less than 40 millivolts and Ve should be greater than 40 microamps [3].

    - Talent inserting electrode(s) into buffer

    - Talent pressing button(s)

    - SCREEN: To be provided by Authors: Shot of Vm and Ve values Video Editor: please emphasize Vm and Ve output when mentioned as necessary/appropriate

  - If the values are appropriate, switch off the ND96 buffer flow and waste pump [1] and place each oocyte into a perfusion chamber filled with ND96 buffer [2].

    - Talent switching off flow and/or pump

    - Talent placing oocyte(s) into chamber

  - Use a glass capillary to carefully position the oocytes with the vegetal poles facing up [1] and slowly insert the electrodes into the first oocyte [2].

    - Oocyte being positioned

    - Electrode being inserted

  - Adjust the Vm and Ve parameters to 0 [1], change the Clamp from OFF to FAST [2], and adjust the Gain to approximately minus 80 millivolts [3].

    - Talent adjusting Vm and Ve to 0

    - Talent changing Clamp from OFF to FAST

    - Talent adjusting Gain

  - Then check the value of Ve, which should be constant [1-TXT].

    - SCREEN: To be provided by Authors: Shot of Ve value TEXT: If not constant, replace faulty components with new capillaries

- Data Acquisition and Analysis

  - For whole-cell current recording, first resume the flow of the ND96 buffer and turn on the waste pump [1].

    - WIDE: Talent turning on flow and/or pump

  - Next, switch off the ND96 buffer [1] and flow the odorant solution of interest [2] while recording the peak value [3].

    - Talent switching off buffer

    - Talent flowing odorant solution, with odorant solution container visible in frame

    - SCREEN: To be provided by Authors: Peak value being recorded

  - To obtain the response of the odorant receptor gene to the test odorant, subtract the baseline value from the peak value [1].

    - SCREEN: To be provided by Authors: Baseline value being subtracted from baseline value

  - After 10 seconds, switch to the ND96 buffer [1] until the current trace recovers from the previous stimulation [2-TXT].

    - Use 6.1.1. Talent switching on ND96 buffer

    - SCREEN: To be provided by Authors: Trace recovering from stimulation TEXT: Repeat for each oocyte

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 155. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Xenopus Oocyte Responses to Human Odorants

  - To perform their function [1], each odorant receptor [2] needs to be co-expressed with an odorant co-receptor to form heteromeric ligand-gated ion channels [3].

    - LAB MEDIA: Figure 4 cell membrane graphic

    - LAB MEDIA: Figure 4 cell membrane graphic Video Editor: please emphasize OR55 text and/or black channels in graphic

    - LAB MEDIA: Figure 4 cell membrane graphic Video Editor: please emphasize ORCO text and/or red channels in graphic

  - Once bound by specific ligands [1], the heteromeric ion channels expressed on the cell membranes become activated and open [2], allowing an influx of cations such as calcium into the cell [3].

    - LAB MEIDA: Figure 4 cell schematic Video Editor: please emphasize Ligand text and black bands in cell membrane

    - LAB MEDIA: Figure 4 cell schematic Video Editor: please emphasize space between black band(s) and red band(s)

    - LAB MEDIA: Figure 4 cell schematic Video Editor: please emphasize blue cations and Cations text

  - This produces an inward or occasionally outward current [1] that can be detected by recording electrodes inserted into the cell [2].

    - LAB MEDIA: Figure 4 cell schematic Video Editor: please emphasize dark red arrows and -80 mV text and corresponding current schematic

    - LAB MEDIA: Figure 4 cell schematic and voltage schematic Video Editor: please emphasize two-electrode voltage-clamp schematic

  - In this representative analysis [1], oocytes injected with AaOR55 only [2] or Aa-odorant co-receptor only demonstrated no response to either of the two plant-derived chemical compounds [3] or to the human odorant benzaldehyde was observed [4].

    - LAB MEDIA: Figure 5

    - LAB MEDIA: Figure 5 Video Editor: please emphasize AaOR55 data line under alpha-Terpinene and Citronellal

    - LAB MEDIA: Figure 5 Video Editor: please emphasize AaOrco data line under alpha-Terpinene and Citronellal

    - LAB MEDIA: Figure 5 Video Editor: please emphasize AaOR55 and AaOrco data lines under Benzaldehyde

  - Oocytes injected with both AaOR55 and AaOrco, however, displayed a dose-dependent response to the human odorant [1], suggesting that AaOR55 is at least one of the molecular targets for benzaldehyde in Ae. aegypti [2].

    - LAB MEDIA: Figure 5 Video Editor: please emphasize AaOR55-AaOrco data line under Benzaldehyde

    - LAB MEDIA: Figure 5

  - In addition, AaOR55-AaOrco-expressing oocytes that were bathed in higher concentrations of benzaldehyde elicited stronger responses [1], indicating that more heteromeric ion channels were activated in these oocytes [2].

    - LAB MEDIA: Figure 5 Video Editor: please emphasize 0.5 x 10-4 and 10-4 AaOR55 and AaOrco peaks under Benzaldehyde

    - LAB MEDIA: Figure 5

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.