# Submission ID #: 61824

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18856368

Title: A Multi-Cue Bioreactor to Evaluate the Inflammatory and Regenerative Capacity of Biomaterials Under Flow and Stretch

Authors and Affiliations: Suzanne E. Koch1,2, Eline E. van Haaften1,2, Tamar B. Wissing1,2, Lizzy A. B. Cuypers1, Jurgen A. Bulsink1, Carlijn V. C. Bouten1,2, Nicholas A. Kurniawan1,2,*, and Anthal I. P. M. Smits1,2,*

*These authors contributed equally

1Department of Biomedical Engineering, Eindhoven University of Technology

2Institute for Complex Molecular Systems (ICMS), Eindhoven University of Technology

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

Nicholas A. Kurniawan

n.a.kurniawan@tue.nl

# Anthal I.P.M. Smits

# a.i.p.m.smits@tue.nl

# Co-Authors:

s.e.koch@tue.nl

e.e.v.haaften@tue.nl

t.b.wissing@tue.nl

l.a.b.cuypers@student.tue.nl

j.a.bulsink@tue.nl

c.v.c.bouten@tue.nl

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 57

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Fill out both required statements.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Bioreactor Setup

  - To set up the bioreactor, in a sterile laminar flow cabinet, thread a 5-0 prolene suture into one end of a piece of silicone tubing tube and out of the other [1].

    - WIDE: Talent inserting suture into tubing

  - Make a small knot on both sides of the tube, leaving approximately 10 centimeters of wire on both knots [1], and make a third knot at the end of the two 10 cm left-over wires [2].

    - Knot being made at end of tube, with 10 cm of wire visible in frame as possible

    - Third knot being made

  - After removing the suture needle and any free threads, trim the edges of the silicone tubing into a triangular shape [1].

    - Tubing being trimmed

  - Dip the electrospun scaffold in 30% ethanol [1] and place the scaffold over one end of free suture wire [2].

    - Scaffold being dipped into ethanol

    - Talent placing scaffold over wire

  - Next, gently stretch both sides of the silicone tubing and the 10-centimeter suture knot [1] while a second researcher uses tweezers with a smooth inner tip to gently slide the electrospun scaffold over the tubing [2].

    - Tubing and knot being stretched

    - Scaffold being slid over tubing

  - Slowly release the stretch on the silicone tubing, while simultaneously smoothing the electrospun scaffold with the tweezers [1-TXT] and dip the scaffold and silicone tubing in ultrapure water two times [2].

    - Stretch being released/scaffold being smoothed TEXT: Some wrinkling may occur that will disappear during pre-stertch

    - Scaffold being dipped

  - Use a male Luer plug to close the flow outlet of the upper part of the bottom compartment [1] and push the pressure conduit with holes through the bottom compartment [2].

    - Plug being inserted into outlet

    - Conduit being pushed through bottom compartment

  - Place a silicone O-ring around the lower end of the pressure conduit to prevent leakage [1] and screw the lower part of the bottom compartment to the upper part of the bottom compartment to secure the pressure conduit [2], making sure that the lower engraved groove of the pressure conduit is approximately 3-5 millimeters above the edge of the adapter bushing of the bottom compartment [3].

    - O-ring being placed

    - Lower and upper parts of compartment being attached

    - Shot of groove 3-5 mm about adapter bushing Video Editor: please emphasize distance and/or bushing when mentioned

  - Pull the silicone tube with the electrospun scaffold over the pressure conduit [1] and make a knot with the suture wire at the lower end of the electrospun scaffold at the location of the engraved groove on the pressure conduit [2].

    - Tube being pulled over conduit

    - Knot being made in wire

  - Make a second knot at the opposite side to tightly secure the silicone tubing with the electrospun graft [1] and, placing a scissor clamp equipped with a rule at the upper end of the silicone tube [2].

    - Knot being made

    - Clamp and ruler being placed

  - Pull the scissor clamp upwards until the lower end of the ruler reaches the height of the lower end of the scaffold [1] and gently pull on the electrospun scaffold to remove any wrinkles [2].

    - Clamp being pulled upward

    - Scaffold being pulled

  - Use suture wire to make two knots at both ends of the scaffold at the upper engraved groove of the pressure conduit [1].

    - Knot being made

  - When both knots have been made, release the scissor clamp [1] and use a knife to remove any excess silicone tubing, leaving 20-30% of the screw thread covered with the tubing to prevent leakage when the nose cone is mounted on the screw thread [2].

    - Clamp being released

    - Tubing being cut

  - Screw the nose cones on the screw thread of the pressure conduits with holes for the dynamic samples [1] and place a glass tube and top compartment onto the flow culture chamber [2].

    - Nose cone being screwed onto screw thread

    - Tube and compartment being placed onto culture chamber

  - Dip the pressure conduit, tubing, and scaffold one time in 30% ethanol and two times in ultrapure water to pre-wet the setup [1].

    - Setup being dipped in ethanol, with ethanol and water containers visible in frame

  - Place the glass tube over the pressure conduit [1] and push gently on the bottom compartment to secure the tube in place [2].

    - Talent placing tube over conduit

    - Talent pressing compartment

  - Then place a silicone O-ring, flow straightener, and adapter bushing on the top compartment [1] and secure the compartment over the open end of the glass tube [2-TXT].

    - Talent placing ring and/or straightener and/or bushing onto top compartment

    - Talent securing compartment over tube TEXT: Repeat construction for each flow chamber

- Cell Seeding

  - For cell seeding onto the scaffold, in a sterile laminar flow cabinet, dry the pre-wetted electrospun scaffold with a vacuum [1] and remove the male Luer plug from the flow outlet [2].

    - WIDE: Talent drying scaffold with vacuum

    - Talent removing plug

  - Open the white Luer cap [1] and place an ethanol-soaked tissue in front of the flow outlet [2].

    - Cap being opened/medium being removed

    - Talent placing tissue in front of outlet

  - Place a vacuum Pasteur pipet onto the electrospun scaffold to remove as much medium as possible [1] and add fibrinogen solution at a 1:1 ratio with the thrombin-supplemented cell suspension [2].

    - Talent removing medium with pipet

    - Talent adding fibrinogen to cell suspension, with fibrinogen container visible in frame

  - Pipet the solution up and down one time [1] and immediately drip the solution over the full length of the scaffold [2].

    - Solution being pipetted one time

    - Talent dripping solution over scaffold

  - When all of the cells have been delivered, slowly moves the scaffold from left to right and up and down to achieve an even distribution of the cells [1].

    - Scaffold being moved/cells being distributed

  - When both sides of the scaffold have been coated, carefully place the seeded construct into the flow culture chamber [1] and place the flow chamber into the incubator [2].

    - Scaffold being placed into flow chamber

    - Talent placing chamber into incubator

- Bioreactor and Pump System Coupling

  - To couple the bioreactor to the pump system, place the flow culture chamber on one of the eight screw threads on the bioreactor base [1] and place a silicone O-ring between the bioreactor base and the white Luer connector [2].

    - WIDE: Talent placing chamber onto screw thread

    - Talent placing O-ring between base and connector

  - Tighten the white Luer connector from the bottom compartment [1] and place a hose clip on the medium tubing [2].

    - Talent tightening connector

    - Talent placing clip onto tubing

  - Remove the white Luer cap covering the flow inlet of the top compartment of the flow culture chamber [1] and remove the female Luer coupler of the medium tubing [2].

    - Talent removing cap

    - Talent removing coupler

  - Connect the medium tubing with one side of the flow inlet on the top compartment [1] and the other side with the flow outlet at the bottom compartment [2].

    - Talent connecting tubing to flow inlet

    - Talent connecting tubing to flow outlet

  - Transfer the complete setup from the laminar flow cabinet to the incubator [1] and connect the fluidic units to the air pressure tubing and electric cable [2].

    - Talent placing setup into incubator

    - Talent connecting units to tubing and cable

  - Start the software [1] and initialize the pumps [2]. Start the medium flow for the samples one by one [3].

    - Talent starting software

    - Talent initializing pump(s)

    - Talent starting medium flow

  - Then change the strain pump parameters to the desired settings [1] and start the strain [2].

    - Talent setting strain pump settings, with monitor visible in frame

    - Strain pump starting

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 206. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Biomaterial Inflammatory and Regenerative Capacity Evaluation Under Multi-Cue Bioreactor-Induced Flow and Stretch Conditions

  - The monitoring of stretch [1] and wall shear stress over long-term culture periods [2] shows that these values can be maintained at relatively constant levels over a period of up to 20 days [3].

    - LAB MEDIA: Figures 3C and 3D Video Editor: please emphasize Figure 3C

    - LAB MEDIA: Figures 3C and 3D Video Editor: please emphasize Figure 3D

    - LAB MEDIA: Figures 3C and 3D Video Editor: please emphasize red line in both graphs

  - Three days after seeding, immunofluorescent staining [1] reveals a homogenous distribution of monocyte-derived macrophages [2] and myofibroblasts throughout the scaffold [3].

    - LAB MEDIA: Figure 4B

    - LAB MEDIA: Figure 4B Video Editor: please emphasize green signal

    - LAB MEDIA: Figure 4B Video Editor: please emphasize red signal

  - After 20 days of co-culture [1], cyclic stretch results in the deposition of more numerous and thicker collagen type one fibers [2], while in the combined hemodynamic load group, the cyclic stretch effect is overruled by shear stress, resulting in a less pronounced collagen type one deposition [3].

    - LAB MEDIA: Figure 4C

    - LAB MEDIA: Figure 4C Video Editor: please emphasize cyclic stretch image

    - LAB MEDIA: Figure 4C Video Editor: please emphasize combined image

  - After 8 days of macrophage monoculture, fiber erosion and fiber cleavage are observed in all of the hemodynamic loading regimes [1], with the most pronounced resorption observed in the static group [2] and the least pronounced resorption observed in the shear stress group [3].

    - LAB MEDIA: Figure 4D

    - LAB MEDIA: Figure 4D Video Editor: please emphasize static image

    - LAB MEDIA: Figure 4D Video Editor: please emphasize shear stress image

  - Both cyclic stretch [1] and shear stress impact the cytokine secretion profile of the co-culture setup [2].

    - LAB MEDIA: Figure 5A Video Editor: please emphasize cyclic stretch rows

    - LAB MEDIA: Figure 5A Video Editor: please emphasize shear stress rows

  - Interestingly, the combined effects of both loads show either dominance of one of the two loads [1] or synergistic effects of both loads [2].

    - LAB MEDIA: Figure 5B Video Editor: please emphasize CC+ SS data boxes in IL-6 and MCP-1 graphs

    - LAB MEDIA: Figure 5B Video Editor: please emphasize CC + SS data box in IL-10 graph

  - Co-culture experiments also show that the mechanical environment and resulting loading-dependent inflammatory environments modulate the phenotype of the myofibroblasts [1].

    - LAB MEDIA: Figure 6A Video Editor: please add/emphasize brackets and asterisks

  - Furthermore, the gene expression patterns of contractile marker alpha smooth muscle actin correlate with protein synthesis [1].

    - LAB MEDIA: Figure 6B

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one statement.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.