## Sheet1
Table 1: Functional description of bioreactor main features, corresponds with indicated parts in Figure 1A-D.
Bioreactor parts | Functional description
Stretch application
Pneumatic cylinder | Actuates Teflon bellow.
Teflon bellow | Loads the hydraulic reservoir.
Hydraulic reservoir | Can be connected with up to 8 flow culture chambers, is filled with demi water, applies pressure to the silicone mounted constructs.
Screw thread | Connection between the flow culture chamber and hydraulic reservoir. The pressure inlet for the silicone mounted constructs.
White luer connector | Used to screw the flow culture chamber tight to one of the eight screw threads on the hydraulic reservoir/bioreactor base.
Pressure conduit with small holes | Directly connected with water in hydraulic reservoir. When the hydraulic reservoir is pressurized, the pressure conduits fill the space in between the silicone tube (that is mounted on the pressure conduit) with water, pushing the silicone tubing outwards, resulting in a circumferential stretch on the silicone mounted graft from inside.
Silicone tubing | To mount the electrospun graft on the pressure conduit, is circumferentially stretched from inside.
Flow application
Ibidi pump system | Used to control the flow in the flow culture chambers.
Top and bottom compartment with flow inlet and outlet | Connects the flow culture chamber into the flow loop.
Glass tube | Contains the pressurized scaffold in the center and allows perfusion of the scaffolds.
Flow straightener | Stabilizes the flow in a relatively short settling length.
Nose cone | Distributes the flow evenly.
Adapter bushing | To fix the glass tube.
Silicone O-ring | To prevent leakage of medium.