## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
1 M MgCl2 | Sigma | #M1028
1- cell culture vessels | Techne F7610 |  | Used for spinner cultures. Never stir the empty spinner bottles. When spinner bottles are in the cell culture incubator, always keep the lateral valves of spinner bottles slightly open to facilitate the equilibration of media with incubator’s atmosphere. After use, fill the spinner bottles immediately with tap water to avoid drying of remaining cells on the bottle walls. Wash the bottles with deionised water, add app 200 ml of deionised water and autoclave. Under a sterile cell culture hood remove the water and allow the bottles to dry completely, still under the hood, for several hours. Never use detergents for cleaning the spinner bottles because any trace amounts of the detergent can be deleterious to the cells.
1.5 and 2 mL tubes
14 mL round-bottom tubes
15 cm diameter sterile culture dishes
15 mL screw-cap tubes
2-mercaptoethanol | Sigma | #M3148 | 2-mercaptoethanol is toxic and should be used under the hood.
4-(2-aminoethyl)-benzenesulfonyl fluoride | Sigma | #A8456
40% Acrylamide | Bio-Rad | #161-0140
5-, 10- 20 mL syringes
5 mL, 10 mL, 25 mL sterile pipettes
50 mL screw-cap tubes
Ammonium persulfate (APS) | Sigma | #A3678
Anti-acetylated tubulin antibody, 6-11B-1 | Sigma | #T6793 | dilution: 1/2,000
Anti-alpha-tubulin antibody, 12G10 | Developed by J. Frankel and M. Nelson, obtained from the Developmental Studies Hybridoma Bank, developed under the auspices of the NICHD, and maintained by the University of Iowa |  | dilution: 1/500
Anti-detyrosinated tubulin antibody | Merck | #AB3201 | dilution: 1/1,000
Anti-glutamylated tubulin antibody, GT335 | AdipoGen | #AG-20B-0020 | dilution: 1/20,000
Anti-polyglutamylated tubulin antibody, polyE | AdipoGen | # AG-25B-0030 | dilution: 1/20,000
Anti-tyrosinated tubulin antibody, YL1/2 | Abcam | #ab6160 | dilution: 1/1,000
Aprotinin | Sigma | #A1153
Balance (0.1 – 10 g)
Beckman 1-l polypropylene bottles |  |  | For collecting spinner cultures
Beckman Avanti J-26 XP centrifuge |  |  | For collecting spinner cultures
Biological stirrer | Techne MCS-104L |  | Installed in the cell culture incubator (for spinner cultures), 25 rpm for Hela S3 and HEK 293 cells
Bis N,N’-Methylene-Bis-Acrylamide | Bio-Rad | #161-0201
Blender IKA Ultra-Turrax |  |  | For lysing brain tissue, use 5-mm probe, with the machine set at power 6 or 7. Blend the brain tissue 2-3 times for 15 s on ice.
Bovine serum albumin (BSA) | Sigma | #A7906
Bromophenol blue | Sigma | #1.08122
Carboxypeptidase A (CPA) | Sigma | #C9268 | Concentration: 1.7 U/µl
Cell culture hood
Cell culture incubator set at 37 °C, 5% CO2
Dimethyl sulfoxide (DMSO) | Sigma | #D8418 | DMSO can enhance cell and skin permeability of other compounds. Avoid contact and use skin and eye protection.
DMEM medium | Life Technologies | #41965062
DTT, DL-Dithiothreitol | Sigma | #D9779
EDTA | Euromedex | #EU0007-C
EGTA | Sigma | #E3889
Ethanol absolute | Fisher Chemical | #E/0650DF/15
Fetal bovine serum (FBS) | Sigma | #F7524
French pressure cell press | Thermo electron corporation | #FA-078A | with a #FA-032 cell; for lysing big amounts of cells. Set at medium ratio, and the gauge pressure of 1,000 psi (corresponds to 3,000 psi inside the disruption chamber).
Glycerol | VWR Chemicals | #24388.295
Glycine | Sigma | #G8898
GTP | Sigma | #G8877
Heating block | Stuart | #SBH130D
Hela cells |  | ATCC® CCL-2™
Hela S3 cells | ATCC | ATCC® CCL-2.2™
Hydrochloric acid (HCl ) | VWR | #20252.290
Inverted microscope |  |  | With fluorescence if cell transfection is to be verified
Isopropanol | VWR | #20842.298
jetPEI | Polyplus | #101
JLA-8.1000 rotor |  |  | For collecting spinner cultures
KOH | Sigma | #P1767 | KOH is corrosive and causes burns; use eye and skin protection.
L-Glutamine | Life Technologies | #25030123
Laboratory centrifuge for 50 mL tubes | Sigma | 4-16 K
Leupeptin | Sigma | #L2884
Liquid nitrogen
Micro-pipettes p2.5, p10, p20, p100, p200 and p1000 and corresponding tips
Micropestles | Eppendorf | #0030 120.973
Mouse brain tissue |  |  | Animal care and use for this study were performed in accordance with the recommendations of the European Community (2010/63/UE). Experimental procedures were specifically approved by the ethics committee of the Institut Curie CEEA-IC #118 (authorization no. 04395.03 given by National Authority) in compliance with the international guidelines.
Needles 18G x 1 ½” (1.2 x 38 mm) | Terumo | #18G
Needles 20G x 1 ½” (0.9 x 38 mm) | Terumo | #20G
Needles 21G x 4 ¾” (0.8 x 120 mm) | B.Braun | #466 5643
Parafilm
PBS | Life Technologies | #14190169
Penicillin-Streptomycin | Life Technologies | #15140130
pH-meter
Phenylmethanesulfonyl fluoride (PMSF) | Sigma | #P7626 | PMSF powder is hazardous. Use skin and eye protection when preparing PMSF solutions.
PIPES | Sigma | #P6757
Pipette-boy
Rotors | Beckman 70.1 Ti; TLA-100.3; and TLA 55
SDS-PAGE electrophoresis equipment | Bio-Rad | #1658001FC
SDS, Sodium dodecyl sulphate | VWR | #442444H | For preparing Laemmeli buffer
SDS, Sodium dodecyl sulphate | Sigma | #L5750 | For preparing 'TUB' SDS-PAGE gels
Sonicator | Branson | #101-148-070 | Used for lysing cells grown as adherent cultures. Use 6.5 mm diameter probe, set the sonicator at “Output control” 1, “Duty cycle” 10% and time depending on the cell type used.
Tabletop centrifuge for 1.5 mL tubes | Eppendorf | 5417R
TEMED, N, N, N′, N′-Tetramethylethylenediamine | Sigma | #9281
Trichostatin A (TSA) | Sigma | #T8552
Triton X-100 | Sigma | #T9284
Trizma base (Tris) | Sigma | #T1503
Trypsin | Life Technologies | #15090046
Ultracentrifuge rotors |  | TLA-55, TLA-100.3 and 70.1 Ti rotors | Set at 4°C or 30°C based on the need of the experiment
Ultracentrifuge tubes | Beckman | #357448 | for using with TLA-55 rotor
Ultracentrifuge tubes | Beckman | #349622 | for using with TLA-100.3 rotor
Ultracentrifuge tubes | Beckman | #355631 | for using with 70.1 Ti rotor
Ultracentrifuges | Beckman | Optima L80-XP (or equivalent) and Optima MAX-XP (or equivalent) | Set at 4°C or 30°C based on the need of the experiment
Vortex mixer
Water bath equipped with floaters or tube holders |  |  | Set at 30°C