# Submission ID #: 61847

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18863383

Title: Array Tomography Workflow for the Targeted Acquisition of Volume Information Using Scanning Electron Microscopy

Authors and Affiliations: Tilman Franke1 and Irina Kolotuev2

1Thermo Fisher, 82152 Planegg, Germany

2Universite de Lausanne, Bâtiment Biophore, Quartier Sorge, CH-1015 Lausanne, Switzerland

# Corresponding Author:

# Irina Kolotuev

# irina.kolotueva@unil.ch

# Co-Authors:

tilman.franke@thermofisher.com

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

Videographer: Please record all SCREEN shots as back up

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   No

Protocol Length

Number of Shots: 47

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Irina Kolotuev: Electron microscopy analysis is frequently complex and we believe that our protocol facilitates the processing and acquisition of the EM data from the large sample surface and intermediate volumes [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

  - Tilman Franke: Our protocol helps find target structures in serial sections. Data recording is limited to what’s necessary. Compared with data acquisition in tissue blocks, recording time is reduced and data analysis easier [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL:

  - Irina Kolotuev: Given the overall ease of the approach, we believe that our technique can be used to address not only scientific questions but also as a diagnostic tool [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

- Array Generation

  - To generate an array for analysis, first clamp the sample onto an ultramicrotome holder [1] and use a razor blade to roughly trim the resin around the sample [2].

    - WIDE: Talent clamping sample onto holder

    - Talent trimming resin

  - Use a diamond trimming tool to fine trim the sample [1] and use knives with 20- or 90-degree edge inclinations to ensure that the top and bottom surfaces of the block are parallel to the knife's cutting edge [2].

    - Sample being fine trimmed

    - Top and/or bottom of block being trimmed

  - *OPTIONAL? Mix xylene and glue in a 3:1 proportion [1] and use an eyelash attached to a toothpick to apply the mixture to the top and the bottom edges of the trimmed block [2].

    - Talent mixing solution, with xylene and glue containers visible in frame

    - Mixture being applied to block

  - While the mixture is drying, use a wafer cleaving tool to cut a piece of wafer to the appropriate size for the analysis [1-TXT].

    - Wafer being cut TEXT: e.g., 2 cm x 4 cm for light and electron microscopy

  - Clean the wafer in distilled water to get rinse away any debris [1] and clean the surface with plasma after the wafer is dry [2].

    - Talent rinsing wafer

    - Talent cleaning surface with plasma

- Sample Sectioning

  - To prepare an array tomography knife, use foamy sticky tape to attach a needle to the bottom of a histo-jumbo knife [1] and place the knife into the ultramicrotome holder at 0 degrees [2].

    - WIDE: Talent taping needle to knife

    - Talent placing knife into holder

  - Adjust the edge of the knife parallel to the block surface [1] and bring the trimmed block to the edge of the knife in a position ready for sectioning [2].

    - Knife edge being adjusted

    - Block being brought to knife edge

  - Place the sample into the knife basin [1] and fill the basin with water to the same level as the knife edge [2].

    - Talent placing sample into basin

    - Talent filling basin with water

  - Then let the diamond edge of the knife humidify properly, using the attached syringe to withdraw water as necessary [1].

    - Edge humidifying/water being withdrawn

- Array Sectioning and Transfer

  - For array sectioning, set the microtome to a cutting range of 50-100 nanometers and a cutting speed of 0.6-1 millimeters/second [1] and begin sectioning to obtain a ribbon long enough to cover a targeted z-volume [2].

    - WIDE: Talent setting cutting parameters to 100 nm, 1mm/s, visible on the dial

    - Talent beginning sectioning

  - Depending on the block size, homogeneity of the tissue, and type of resin, the ribbon will approximately be straight [1]. Use a clean, non-sticky tip of an eyelash glued onto a toothpick to detach the ribbons from the knife edge [2].

    - Shot of ribbon/ribbon being acquired

    - Ribbon being detached

  - Use the eyelash to gently move the ribbon over the center of the support medium and CAN use chloroform or a heating pen to stretch the section as necessary [1-TXT].

    - Ribbon being moved over support medium and being stretched if neccessary TEXT: Caution: Stretching may induce breaking and/or deformation

  - After stretching, retract the syringe to start draining the water [1]. For more delicate ribbons or a slower water retraction, detach the syringe from the hose to let the water drip [2].

    - Syringe being retracted

    - Syringe being detached/water dripping

  - When the water level reaches the wafer level, gently push the ribbon to the center of the basin [1] and continue draining until all of the remaining water is completely removed from the basin [2].

    - Ribbon being pushed to center of basin

    - Water being drained

  - When the sample has completely dried, transfer the array to a tightly closed box to protect it from dirt contamination [1] and place the box in a 60-degree Celsius oven for at least 30 minutes [2].

    - Talent placing array into box

    - Talent placing box into oven

- Scanning Electron Microscopy (SEM)

  - To acquire an overview map of SEM (S-E-M Scanning electron microscopy) images that reveals section locations on the wafer, use the built-in optical camera to acquire an SEM image that covers a ribbon of sections [1]. To create a mosaic, click and drag the camera image of the sample and start the Automatic Acquisition [2].

    - WIDE: Talent acquiring image, with monitor visible in frame

# Videographer: Please record all SCREEN shots as back up

    - SCREEN: To be provided by Authors TF: Camera image being dragged and clicked, then Automatic Acquisition being started

  - Use the Section Finder Auto Detection function to locate sections of interest [1]. If the overview images do not show clear regions of interest, acquire higher resolution images of the sections and use the Section Preview function to create and acquire the images automatically [2].

    - SCREEN: To be provided by Authors: Section Finder Auto Detection function being clicked/ROI being located

    - SCREEN: To be provided by Authors: Higher resolution image being acquired, then Section Preview function being clicked/images being acquired

  - To determine the optimal imaging settings, activate the Live Imaging in the microscope control software and navigate to one region of interest. Then adjust the imaging settings until the images show clear regions of interest but without an excessively long image acquisition according to the manufacturer’s guidelines [1].

    - SCREEN: To be provided by Authors: Live Imaging being activated, then imaging settings being altered/ROIs being visualized

- Imaging Region Definition

  - If only a few sections need to be imaged, use Zoomable Viewer to view all of the acquired images in their original relative locations [1].

    - WIDE: Talent selecting Zoomable Viewer/viewing sections, with monitor visible in frame

  - Once a section that should be imaged at high resolution has been identified, click and drag to create an imaging region. Then select high resolution imaging settings and store the settings in a template [1-TXT].

    - SCREEN: To be provided by Authors: Imaging region being created, high resolution imaging settings being selected, then settings being stored TEXT: Re-use template for subsequent sections

  - To find particularly small or hard to detect rare events, use the high resolution imaging settings on every tenth section or on one section per ribbon to manually create an imaging region and acquire the images [1].

    - SCREEN: To be provided by Authors: Talent using settings on section(s)/imaging region being created, then image being acquired

  - Then review the images and mark sections that contain the region of interest [1].

    - Talent reviewing images/marking sections OR SCREEN: To be provided by Authors: Images being reviewed/sections being marked

  - To acquire images in more than ten consecutive sections, zoom to the image of interest and click Start Position Refinement to increase the precision of registered section locations [1].

    - SCREEN: To be provided by Authors: Image being zoomed to, then Start Position Refinement being clicked/registered section location precision being increased

  - To define an imaging region, click and drag on any section while holding down the Alt key and select Create Tile Set Array from the pop-up context menu. The software will create imaging regions in the same relative location in all of the sections that have been found or previously marked [1-TXT].

    - SCREEN: To be provided by Authors: Section being click/dragged, then Create Tile Set Array being selected, imaging regions being created TEXT: Optional: Use Section Span slide to limit imaging to specific section range

  - Then set up pixel count, pixel size, tiling layout, and pixel dwell time in each image series as needed. When all of the imaging series have been created and set up, the series will all be listed in a job cue [1].

    - SCREEN: To be provided by Authors: Settings being entered, then series being listed in job cue

- Auto Function Configuration and Image Acquisition

  - To configure the auto function, create a separate image series for auto functions as demonstrated [1] and move the image series to a position on the section that contains high-contrast structures [2].

    - WIDE: Talent creating image series, with monitor visible in frame

    - SCREEN: To be provided by Authors: Image series being moved

  - Set the image series to 1024 x 884 pixels and select a pixel size corresponding to the highest resolution used in the image series. In the list of auto functions, check Auto Focus and Auto Stigmator [1].

    - SCREEN: To be provided by Authors: Image series pixels being set, pixel size being selected, functions being checked

  - Select By Section in the acquisition sequence controls and confirm that the auto functions image is the first item in the list. Then click Run to start the image acquisition [1].

    - SCREEN: To be provided by Authors: By section being selected

# Results

- Results: Representative Targeted Acquisition of Volume Information

  - Low-resolution acquisition can be performed manually or automatically directly on selected parts of the section, or an entire section, using single or mosaic imaging, followed by stitching [1].

    - LAB MEDIA: Figure 4E left image

  - Images from the selected area can then be acquired using high-resolution parameters [1] to visualize mitochondria, nuclei, and microvilli, for example [2].

    - LAB MEDIA: Figure 4E

    - LAB MEDIA: Figure 4E Video Editor: please sequentially emphasize Figures 4Ei, 4Eii, and 4Eiii

  - After the automatic acquisition of resolved mosaic maps of selected, several regions of interest can be cropped out or used to define additional local imaging areas within the regions [1].

    - LAB MEDIA: Supplementary movie 1: 00:10-00:28

  - Although different specialized cell types in the Drosophila gut are randomly distributed, they can be visually distinguished after screening the images using high-resolution parameters either from single sections or as a collection of serial images [1].

    - LAB MEDIA: Figure 4G

  - After the alignment, the stacks can be rendered using different software solutions [1].

    - LAB MEDIA: Supplementary movie 2 Video Editor: please speed up

  - Array tomography analysis allows many sequential sections to be generated on a single wafer [1] and to be screened using low-resolution parameters to localize the general areas of interest [2].

    - LAB MEDIA: Figure 5Aii

    - LAB MEDIA: Figure 5Aiii Video Editor: please emphasize arrows

  - These areas can be targeted for further analysis using advanced acquisition parameters [1].

    - LAB MEDIA: Figures 5Aiv and 5Av

  - For example, mitotic divisions in the notum are not easy to localize on the ultrastructural level [1] as the cells are relatively large compared to the abscission zone [2].

    - LAB MEDIA: Figure 5Bi

    - LAB MEDIA: Figure 5Bi and 5Bii

  - Using this method, however, the automatic medium-resolution overview images of the leaps of 20-40 sections can be used to localize the dividing cells [1].

    - LAB MEDIA: Figure 5Biii Video Editor: please sequentially add/emphasize white arrows

# Conclusion

- Conclusion Interview Statements

  - Irina Kolotuev: Overall, the procedure provides a more straightforward EM data analysis. We encourage the viewers to invest in mastering the array generation and familiarize themselves with the MAPS-related program steps [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Tilman Franke: Few research topics require the ultrastructural analysis of the entire animal or a complete organ. Our method helps with the rapid localization of specific cells and their interaction partners in tissues [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera