# Submission ID #:  61849

# Scriptwriter Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18863993

# Title:   Studying the Activity of Neuropeptides and Other Regulators of the Excretory System in the Adult Mosquito

# Authors and Affiliations:

Aryan Lajevardi*, Farwa Sajadi*, Andrew Donini, Jean-Paul V. Paluzzi

Department of Biology, York University, Toronto, ON, Canada

*These authors contributed equally.

# Corresponding Authors:

Jean-Paul V. Paluzzi		(paluzzi@yorku.ca)

# Email Addresses for All Authors:

aryanlaj@my.yorku.ca

farwa@my.yorku.ca

adonini@yorku.ca

paluzzi@yorku.ca

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  YES

If Yes, can you record movies/images using your own microscope camera?

NO

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Nikon SMZ-745T

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

4. Filming location: Will the filming need to take place in multiple locations?   YES

If Yes, how far apart are the locations? Most filming will be done in Lumbers 221 but SIET measurements will be completed in LSB-436 (adjacent building, ~2-3 min walk).

Current Protocol Length

Number of Steps:  25

Number of Shots:  43

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Jean-Paul Paluzzi: The protocol describes techniques that can be utilized by small animal physiologists to elucidate the role of neuropeptides and other hormonal factors that regulate the digestive and/or excretory system.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Jean-Paul Paluzzi: These techniques allow for measurements of micro-sized biological samples that would otherwise not be possible using techniques designed specifically for larger animal models, including for example, rodents and teleosts.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 5.9.1.

OPTIONAL:

  - Jean-Paul Paluzzi: This method can provide insight into the endocrine regulation of the gut including transporting epithelia as well as smooth muscle associated with the gastrointestinal tract in insects and similarly sized non-insect species.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. B-roll: 6.3.1

# Introduction of Demonstrator on Camera

  - Jean-Paul Paluzzi: Demonstrating the insect ‘renal’ tubule procedure will be Farwa Sajadi, a PhD candidate from my laboratory. Additionally, a former graduate student from my lab, Aryan Lajevardi, will be demonstrating the hindgut-focused protocol.

    - INTERVIEW: Author saying the above.

    - Farwa Sajadi looks up from workbench or desk or microscope and acknowledges the camera.

    - Aryan Lajevardi looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

- Setting Up the Ramsay Assay

  - Begin by preparing the Ramsay and contraction assay dishes for the experiments [1]. Use a pipette and fill wells with up to 20 microliters of solution [2-TXT]. For unstimulated controls, fill the wells with 20 microliters of Aedes saline-Schneider’s medium [3].

    - WIDE: Establishing shot of talent at the lab bench.

    - Talent filling a few wells. TEXT: 18 µL of 1X Aedes saline:Schneider’s medium and 2 µL of hormone/drug

    - Talent filling a control well, with the medium container in the shot.

  - Once all wells are filled, pour hydrated mineral oil into the assay dish until the wells and Minutien pins are submerged [1].

    - Talent pouring oil into the assay dish.

  - After immersing the tubule in the well, pick up the proximal end of the tubule with forceps, remove it from the bathing droplet, and wrap the end around the pin [1]. Wrap the tubule around the pin twice, keeping the length of tubule remaining in the bathing droplet consistent with the other tubules [2]. Videographer: This step is difficult and important!

    - SCOPE: Talent picking up a tubule and wrapping it around a pin.

    - Properly wrapped tubule.

- Filling the Ion-Selective and Reference Microelectrode for ISME and SIET

  - To make a sodium-selective microelectrode, use a 1-milliliter syringe to backfill the electrode with 100 millimolar sodium chloride. Ensure the backfill solution fills until the tip of the electrode [1]. If air bubbles appear, gently flick the microelectrode or remove the solution and re-fill [2]. Videographer: This step is important!

    - SCOPE: Talent backfilling the electrode.

    - SCOPE: Talent flicking the microelectrode with bubbles.

  - Dip a 10-microliter pipette tip into the sodium-selective ionophore solution [1]. Line up the electrode perpendicular to the pipette, then place a gloved finger over the bottom of the tip to create pressure and expel a small drop of ionophore. Carefully touch the drop of ionophore to the microelectrode tip, making sure not to break it [2-TXT]. Videographer: This step is important!

    - SCOPE: Talent dipping the pipette tip.

    - SCOPE: Talent expelling a drop of ionophore and touching it to the microelectrode. TEXT: Fill to 150–300 µm

  - Fill a small beaker halfway with 100 millimolar sodium chloride [1] and place some modeling clay onto the inside at the top of the beaker [2]. After the ionophore has been taken up, place the electrode tip-down onto the wall of the beaker, letting the tip sit within the sodium chloride. Keep ISME in the beaker until it is ready to use [3].

    - Talent filling a beaker with NaCl.

    - Talent placing clay on in the beaker.

    - Talent putting the electrode in the beaker.

  - To make the ISME reference electrode, backfill an electrode with 500 millimolar potassium chloride and store it in a beaker [1].

    - Reference electrode in a beaker.

- Calibrating Electrodes for ISME and ISME Recordings

  - Coat the electrode tips using a solution of approximately 3.5% polyvinyl chloride dissolved in tetrahydrofuran to avoid displacement of the ionophore when submerged in paraffin oil [1].

    - Talent coating an electrode tip.

  - To calibrate the sodium electrode, place 10-microliter droplets of sodium chloride standard concentrations onto the edge of the Ramsay dish with the incubated Malpighian tubules [1-TXT]. Place the standard droplets 2 centimeters apart, with the higher concentration on top [2].

    - Talent placing a droplet. TEXT: 200 mM NaCl and 20 mM + 180 mM LiCl

    - Properly placed droplets.

  - Insert both the reference electrode and ion-selective electrode over the chloride silver wires [1] and fasten them securely using electrode holders that are attached to micromanipulators [2].

    - Talent inserting an electrode over the wires.

    - Talent fastening the electrode.

  - Navigate both the electrodes toward the 200 millimolar sodium chloride droplet using the micromanipulators, ensuring that the electrode tips do not touch the bottom of the dish [1]. Turn on the electrometer to start recording and allow the reading to stabilize [2]. Videographer: This step is important!

    - Talent navigating the electrodes.

    - Talent turning on the electrometer and starting the recording.

  - Record the reading and continue to the next standard [1].

    - Talent navigating the electrodes to the next drop.

  - After acquiring measurements of the fluid secretion rate, carefully move the reference and ion-selective electrodes into the secreted droplet using the micromanipulators [1]. Turn on the recording and allow the reading to stabilize, then record [2].

    - Talent moving the electrodes into the droplet.

    - Talent turning on the recording.

- SIET Measurements

Videographer: This section will be filmed in the second location (LSB436)

  - Turn on the IPA-2 Ion-Polarographic Amplifier, the light microscope, and the computers [1].

    - Talent turning on components of the imaging setup.

  - Place the sodium-selective microelectrode on a holder consisting of a silver chloride wire and attach it into the female connector jack [1]. Using a syringe, fill the reference electrode holder with fresh 3 molar potassium chloride [2].

    - Talent placing the microelectrode on a holder.

    - Talent filling the reference electrode with potassium chloride.

  - Remove one reference electrode from the beaker with the potassium chloride, placing one finger at one end and tilting the glass capillary towards this finger to prevent the agar from falling out [1].

    - Talent removing the electrode from the beaker.

  - Carefully place one end into the holder, ensuring that no bubbles form. If there is a bubble, remove the reference electrode, re-fill the holder with 3 molar potassium chloride and repeat [1]. Place the electrode holder into the female connector jack [2].

    - Talent placing the electrode into the holder.

    - Talent placing the electrode into the female connector jack.

  - Following calibration, dissect the organ. Place the poly-L-lysine dish with the dissected sample on the microscope stage [1] and insert the tip of the reference electrode inside the saline. Submerge the tip of the ion selective microelectrode in the saline, taking care not to break the tip [2].

    - Talent placing the dish on the microscope stage.

    - Talent inserting the tip of the electrode into the saline.

  - Use the manual adjustment knobs to adjust the microelectrode position while looking under the light microscope [1]. Adjust the vertical position of the microelectrode such that its tip is on the same plane as the organ or tissue. Then, turn the motor switch to Enable [2]. Videographer: This step is difficult and important!

    - Talent using the manual adjustment knobs.

    - Talent turning on the motor switch to Enable.

  - Using the computer arrow keys, move the microelectrode horizontally to a position 3 millimeters away from the tissue to measure background recordings [1]. When ready, begin recording by pressing F5. Obtain five measurements of background activity [2].

    - Talent moving the electrode to collect background measurements, with the computer screen clearly visible. Authors: Please follow our screen capture guidelines and upload the video files to your project page: https://www.jove.com/account/file-uploader?src=18863993

Videographer: Please film the screen as a backup.

    - Talent initiating recording.

  - Move the microelectrode tip close to the tissue, taking care not to pierce the organ. Reduce the keyhit sensitivity to place the microelectrode tip 2 micrometers directly to the right, perpendicular to the tissue [1]. Videographer: This step is important!

    - Talent positioning the microelectrode tip.

  - Obtain three recordings at each site along the rectal pad to identify the site of greatest ion activity, then obtain baseline saline measurements at the site displaying greatest activity [1].

    - Talent recording measurements at a site along the rectal pad.

- Isolated Hindgut Bioassay

  - To record hindgut contractions, fill one of the wells in the dish with a known volume of Aedes saline [1]. Following dissection, carefully transfer the dissected hindgut attached to the midgut into a well in another dish, making sure not to pinch the ileum [2].

    - Talent filling a well with saline.

    - Talent transferring the dissected hindgut to the well.

  - Submerge the gut in the saline inside the well [1], and place Minutien pins into the midgut and rectum [2]. The ileum should not be under tension and spontaneous contractions originating at the pyloric valve at the anterior ileum should be observed [3]. Videographer: This step is important!

    - Talent submerging the gut.

    - SCOPE: Talent placing pins into the midgut and rectum.

    - SCOPE: Spontaneous contractions.

  - Connect a video camera to the stereoscopic microscope, then place the dish containing the dissected organ under the microscope and record a video for 2 minutes [1-TXT].

    - Talent placing the dish under the microscope and recording. TEXT: Baseline Condition

# Results

- Results: In vitro Fluid Secretion Rate, Na+ Concentration and Transport Rate of Adult Female A. aegypti MTs

  - Application of DH31 against unstimulated Malpighian tubules results in a significant increase in fluid secretion rate, confirming its role as a diuretic hormone in Aedes mosquitoes [1]. When tubules are treated with AedaeCAPA-1, a reduction in secretion rate is observed in DH31-stimulated Malpighian tubules [2].

    - LAB MEDIA: Figure 1 A. Video Editor: Emphasize the DH31 bar.

    - LAB MEDIA: Figure 1 A. Video Editor: Emphasize the DH31 + AedaeCAPA-1 bar.

  - Ion-selective electrodes were used to measure sodium concentrations in the secreted droplets. Treatment of DH31 on the MTs had no effect on the sodium concentration in the secreted droplet [1]. However, with the application of AedaeCAPA-1, the sodium concentration in the secreted fluid was significantly increased [2].

    - LAB MEDIA: Figure 1 B.

    - LAB MEDIA: Figure 1 B. Video Editor: Emphasize the DH31 + AedaeCAPA-1 bar.

  - Additionally, compared with unstimulated controls, DH31 led to a significantly greater sodium transport rate [1], whereas AedaeCAPA-1 abolished this increase in DH31-stimulated tubules [2].

    - LAB MEDIA: Figure 1 C. Video Editor: Emphasize the DH31 bar.

    - LAB MEDIA: Figure 1 C. Video Editor: Emphasize the DH31 + AedaeCAPA-1 bar.

  - The SIET was used to assess changes in sodium transport along the rectal pad epithelia of adult female mosquitoes [1]. A leucokinin analog was used to examine changes in sodium absorption, which resulted in a four-fold decrease in sodium absorption compared to saline control [2].

    - LAB MEDIA: Figure 2.

    - LAB MEDIA: Figure 2. Video Editor: Emphasize the Drosokinin bar.

  - To assess the role of a neuropeptide, pyrokinin-2, on ileal motility, a Rhodnius prolixus analog was used, which was previously shown to activate the A. aegypti PK2 receptor, enriched in the mosquito ileum [1]. Relative to baseline levels, PK2 significantly inhibits ileal contractions [2].

    - LAB MEDIA: Figure 3.

    - LAB MEDIA: Figure 3. Video Editor: Emphasize the RhoprPK2 bar.

# Conclusion

- Conclusion Interview Statements

  - Jean-Paul Paluzzi: When performing a Ramsay assay with Malpighian tubules and measuring ion or fluid secretion rates, it is imperative that tubules aren’t damaged during dissection or transfer into the assay dish.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll: 2.1 and 5.1

  - Jean-Paul Paluzzi: Following the Ramsay assay, specific membrane transporters can be targeted either pharmacologically or molecularly through reverse-genetics techniques to discern their specific contribution to transepithelial transport of solutes in this ‘simple’ epithelium.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.