# Submission ID #:  61851

# Scriptwriter Name: Domnic Colvin

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18864603

# Title:   Tethered Bilayer Lipid Membranes to Monitor Heat Transfer Between Gold Nanoparticles and Lipid Membranes

# Authors and Affiliations:

Amani Alghalayini1,2, Lele Jiang1, Xi Gu3, Guan Heng Yeoh3, Charles G. Cranfield1,2, Victoria Timchenko3, Bruce A. Cornell2,4, Stella M. Valenzuela1, 2, 5

1School of Life Sciences, University of Technology Sydney, Sydney, New South Wales, Australia

2ARC Research Hub for Integrated Devices for End-user Analysis at Low-levels (IDEAL), Faculty of Science, University of Technology Sydney, NSW, Australia

3School of Mechanical and Manufacturing Engineering, The University of New South Wales, Sydney, New South Wales, Australia

4Surgical Diagnostics Pty Ltd., Roseville, Sydney, Australia

5Institute for Biomedical Materials and Devices, University of Technology Sydney, Sydney, New South Wales, Australia

# Corresponding Authors:

# Stella Valenzuela (S.M. Valenzuela) (stella.valenzuela@uts.edu.au)

# Email Addresses for All Authors:

amani.alghalayini@uts.edu.au

lele.Jiang@uts.edu.au

xi.gu@unsw.edu.au

g.yeoh@unsw.edu.au

Charles.Cranfield@uts.edu.au

v.timchenko@unsw.edu.au

# brucec.sdx@gmail.com

# stella.valenzuela@uts.edu.au

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

If Yes, can you record movies/images using your own microscope camera?

No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interview Statements are read by JoVE’s voiceover talent.

4. Filming location: Will the filming need to take place in multiple locations?   Yes

If Yes, how far apart are the locations? 13 km (~20 minutes by car)

Current Protocol Length

Number of Steps:  20

Number of Shots:  32

# Introduction

NOTE to VO Talent: Please record the introduction and conclusion statements

- Introductory Interview Statements

  - This protocol offers a nanomaterial-electrode interface that mimics natural cell membranes, making it possible to determine the effect of localized heat transfer from irradiated gold nanoparticles on the integrity of a biological membrane. The nanoparticle and photothermal effects can be explored in real time on model cell membranes [1].

    - 2.9.1., 3.3.2. and 4.7.

  - This technique uses a biomimetic membrane system to observe and interrogate photothermal effects on a biological system, resulting from the heat generated due to the interaction of gold nanoparticles with light, by measuring the conductance and capacitance changes across the model cell membrane [1].

    - 4.5. and 4.6.

OPTIONAL:

  - The use of nanoparticles and photothermal therapy is being widely pursued in the area of cancer. Therefore, this method provides direct information on how this approach affects cells [1].

    - 4.7.2.

  - This platform provides valuable data to design strategies for thermal therapies that permit optimization of the laser parameters, particle size, particle coatings, and composition [1].

    - 3.3, 3.4., and 3.5.

# Introduction of Demonstrator on Camera

  - Demonstrating the procedure will be Amani, a postdoctoral research fellow from Dr. Valenzuela’s laboratory [1].

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

- Assembling the First Monolayer Coated Slide

  - To begin, carefully take off one coplanar gold electrode slide from its container using tweezers, taking care to not contact the patterned areas where the tBLMs will form [1-TXT].

    - Talent taking off gold electrode slide from the container. TEXT: tBLMs-Tethered bilayer lipid membranes

  - Air dry the slide for 1 to 2 minutes to remove any residual ethanol [1], then place the gold electrode over a dry surface with the patterned gold surface facing up [2].

    - Talent air drying the slide.

    - Talent placing the gold electrode over a dry surface.

  - Peel the transparent adhesive layer cover from a thin laminate [1] and place it over the 6 channels to define each well [2]. Use a pressure roller to release any air between the slide and transparent adhesive layer [3]

    - Talent peeling the transparent adhesive layer from thin laminate.

    - Talent placing the adhesive layer on the 6 channels.

    - Talent using pressure roller on the adhesive layer and slide.

  - Within 1 to 2 minutes, introduce the second lipid bilayer to the assembled first monolayer coated electrode for self-assembly [1].

    - Talent introducing second lipid bilayer to the first layer.

  - Add 6 microliters of 3 millimolar lipids of interest to the first well of the six well slide without touching the edge of the micropipette tip to the gold surface, which can damage the tethered chemistries on the electrode [1].

    - Talent adding lipids of interest to the first well.

  - Introduce 6 microliters of the lipid mixture to the other wells with a 10 second gap between each addition [1]. Videographer: This step is important!

    - Talent adding lipid mixture to other wells.

  - Incubate each well for exactly 2 minutes at room temperature [1].  Exchange the lipid mixture over the electrodes with a buffer such as PBS, spacing the times for the addition and buffer exchange 10 second apart so that each well is incubated with the lipid for exactly 2 minutes [2].

    - Talent incubating each well at room temperature.

    - Talent adding PBS to the lipid mixture over the electrodes.

  - Wash the electrodes 3 more times with 50 microliters of PBS buffer, always leaving 50 microliters of buffer over the electrodes and not allowing them to dry [1]. Videographer: This step is important!

    - Talent washing the electrodes with PBS buffer.

  - Insert the prepared electrode slide into an AC (spell out) impedance spectrometer. Make sure that the spectrometer is connected to a computer running the software via a USB port [1-TXT]. Open the software [2], click Setup and open Hardware [3].

    - Talent inserting the prepared electrode slide into the spectrometer. TEXT: AC-alternate current, USB-Universal serial bus

    - WIDE: Talent at the computer. Videographer: Obtain a few shots of talent clicking the mouse and typing on the keyboard to use as b-roll throughout the video.

    - SCREEN: 61851_1.4.2.mp4. 00:02-00:15.

  - Set the hardware settings to use 25 millivolts peak-to-peak AC excitation and set the frequencies between 0.5 and 10,000 Hertz with two steps per decade for rapid impedance measures. Press ok [1], then click the Setup menu and open Model [2].

    - SCREEN: 61851_1.4.4.mp4. 00:03-00:17.

    - SCREEN: 61851_1.4.5.mp4. 00:03-00:08.

  - Use an equivalent circuit model that describes the tethering gold electrode as a constant phase element in series with the electrolyte buffer as a resistor and a parallel resistor-capacitor network to describe the lipid bilayer, then press OK [1].

    - SCREEN: 61851_1.4.6.mp4. 00:02-00:09.

  - Press the Start button in order to start a real-time measurement of membrane capacitance and membrane conduction [1-TXT].

    - SCREEN: 61851_1.4.7.mp4. 00:02-00:05. TEXT: Cm = 12.5 nF to 15.5 nF for 10% tethered chemistries

  - After running the protocol and finishing the experiment, save the data [1]. Repeat the measurement with the next well [2].

    - SCREEN: 61851_1.4.8.mp4. 00:02-00:08.

    - SCREEN: 61851_1.4.9.mp4. 00:02-00:10.

- Laser Irradiation

  - Use an optics table to set up the experiment to reduce unwanted vibrations and perform experiments in a light-proof box to minimize laser hazard [1].

    - WIDE: Optics table and light proof box.

  - Place the impedance reader, where the gold slide is connected, on an XYZ stage [1] and elevate it such that it sits in the path of the laser source [2].

    - Talent placing the impedance reader on the stage.

    - Talent setting the elevation of the reader in the path of the laser.

  - Use coarse-fine focusing microscopic gearing to control the height of the laser source to achieve the appropriate precision [1]. Target the laser path along the longitudinal axis of the electrode slide and allow the selected tuned laser to stabilize [2]. Videographer: This step is important!

    - Talent adjusting the height of the laser source using coarse-fine focusing of microscope gearing.

    - Talent targeting the laser path along the axis of the electrode slide.

  - Before beginning, assess the laser power output using a power-meter to ensure only very low wattages are delivered to the tBLMs. Adjust either the laser path or the angle of the electrode such that the laser passes through the liquid covering the electrode and is just visible, evenly, at the gold surface [2]. Videographer: This step is important!

    - Talent assessing the laser power output using power-meter.

    - Talent adjusting the laser path and angle of electrode.

  - Adjust the laser beam light position for each experiment by raising or lowering the laser beam source using the fine adjustment while observing changes in membrane conductance [1].

    - Talent adjusting the laser beam light position.

  - Lock the knob to secure the position of the laser path when there are no conductance changes observed due to interaction of the laser with the underlying gold electrode [1].

    - Talent locking the knob to secure the laser path position.

  - Prepare the laser beam light alignment and add gold nanoparticles of interest to the PBS buffer, where the tBLMs are immersed while the laser is switched OFF [2].

    - Talent preparing the laser beam light alignment.

    - Talent adding GNPs to PBS buffer.

# Results

- Analysis of the tBLM Model’s Alignment and Measurement of its Corresponding Membrane Conductance Arising from Laser Illumination

  - The coplanar gold electrode slide with six wells was ultimately defined by the addition of a thin transparent adhesive layer [1].

    - LAB MEDIA: Figure 1A.

  - The tBLM model consists of a spacer and molecules tethered to the gold substrate surface to form the first layer [1] and the non-tethered lipids in the second layer [2].

    - LAB MEDIA: Figure 1B. Video editor highlight and focus on the blue tethered and spacer molecules.

    - LAB MEDIA: Figure 1B. Video editor highlight and focus on the upper bilayer lipid membrane.

  - Schematic representation of the different positions of horizontal laser alignment [1] and the normalized conductance recordings over time corresponding to the different alignment positions are shown here [2].

    - LAB MEDIA: Figure 2A.

    - LAB MEDIA: Figure 2B.

  - The changes in membrane conductance at positions 1 and 2 are due to the heat from interactions of the laser with nanostructures within the sputtered bulk gold layer [1].

    - LAB MEDIA: Figure 2B. Video editor focus on the irregular peaks of the normalized conductance graph at position 1 and 2.

  - Focusing the horizontal laser light directly towards the gold electrode causes an increase in membrane conductance [1].

    - LAB MEDIA: Figure 2B. Video editor focus on the peaks of position 1 and 2. Also, show images of “position 1 and 2” from Figure 2A in the inset.

  - The precise laser position revealed negligible variation to the membrane conductance recordings during periods of laser ON and laser OFF [1].

    - LAB MEDIA: Figure 2B. Video editor focus on the stable conductance at position 3. Also, show image of “position 3” from Figure 2A in the inset.

  - The addition of streptavidin-conjugated 30 nanometer gold nanoparticles to tBLMs showed a clear difference between the laser ON and OFF periods [1], as well as distinct increases in conductance amplitude during the laser ON phase [2].

    - LAB MEDIA: Figure 2B. Video editor focus on the variation in conductance in the ON and OFF phase at position 4. Also, show image of “position 4” from Figure 2A as an inset.

    - LAB MEDIA: Figure 2B. Video editor focus on the increased conductance in the ON phase at position 4. Also, show image of “position 4” from Figure 2A as an inset.

# Conclusion

NOTE to VO Talent: Please record the introduction and conclusion statements

- Conclusion Interview Statements

  - Careful and precise alignment of the laser path towards the buffer surrounding the bilayer lipid membrane is a critical step in this protocol [1].

    - 2.6.

  - The thermal predictive model can be used to provide the mathematical determination of the amount of localized heat generated by each GNP [1].

    - 4.3.2.

  - This technique determines the efficiency of heat delivery within biological tissues and highlights the role of targeted irradiated GNP hyperthermia treatments in vivo [1].

    - 4.4. and 4.6.