# Submission ID #: 61859

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18867043

Title: Assessing Cardiac Reprogramming Using High Content Imaging Analysis

Authors and Affiliations: Zhentao Zhang1,2,3 and Young-Jae Nam1,2,3

1Department of Medicine, Division of Cardiovascular Medicine, Vanderbilt University Medical Center

2Department of Cell and Developmental Biology, Vanderbilt University

3Vanderbilt Center for Stem Cell Biology, Vanderbilt University

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

Young-Jae Nam

Young-jae.nam@vumc.org

# Zhentao Zhang

# zhentao.zhang@vumc.org

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 26

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- High Content Imaging

  - For high content imaging, turn on the imaging system [1] and open the associated software [2].

    - WIDE: Talent turning on system

    - Talent opening software, with monitor visible in frame

  - Log into the system and select Run a Plate [1].

    - SCREEN: To be provided by Authors: System being logged into, then Run a Plate being selected

  - Click Open Door-Eject Plate to open the door [1] and place the plate into the instrument [2].

    - SCREEN: To be provided by Authors: Open Door-Eject Plate being clicked

    - Talent putting plate into instrument

  - Adjust the orientation of the plate as necessary [1] and click Close Door-Load Plate to close the door [2].

    - Shot of plate being adjusted

    - Talent clicking close door-load plate and door closing

  - Click Load Plate Settings, select a template protocol, and click Load From DB (D-B) [1].

    - SCREEN: To be provided by Authors: Load plate settings being clicked, protocol being selected, then Load from DB being clicked

  - Click Acquisition Setup. In the Plate Acquisition Setup window, click Configure. In the Objective and Camera tab, select 10x objective. In the Plate tab, select a 24-well plate [1].

    - SCREEN: To be provided by Authors: Acquisition setup being clicked, Configure being clicked, Objective and camera tab being opened, 10x objective being selected, Plate tab being opened, and 24-well plate being selected

  - In the Sites to Visit tab, select the number of columns and rows to set the number of imaging sites and set the distance between each imaging site. In the Acquisition tab, set the number of wavelengths to 3 [1].

    - SCREEN: To be provided by Authors: Sites to visit tab being opened, number of columns and rows being selected, distance between each imaging site being set, acquisition tab being opened, and number of wavelengths being set

  - In the Wavelengths tab, select DAPI, FITC, and Texas Red. In the Run tab, click Calculate [1].

    - SCREEN: To be provided by Authors: Wavelengths tab being opened, then DAPI, FITC, and Texas Red being selected, then Run tab being opened and Calculate being clicked

  - Set the focus offset for DAPI and click Auto Expose to automatically set up the exposure time for the other wavelengths. Then click Acquire Plate to begin imaging the selected sites [1].

    - SCREEN: To be provided by Authors: DAPI focus offset being set, Auto Expose being clicked, then Acquire Plate being clicked/sites being imaged

- High Content Imaging Analysis

  - Once high content imaging is completed, open the Screening menu [1] and select Review Plate Data and Select Plate [2].

    - WIDE: Talent opening menu, with monitor visible in frame

    - SCREEN: To be provided by Authors: Review plate data and Select Plate being selected

  - In the Select Plate for Review window, open the folder and select the plate saved in the database [1].

    - SCREEN: To be provided by Authors: Folder being opened, then plate being selected

  - Click Run Analysis and select a template setting. Click Configure Settings, Number of Wavelengths, and select three wavelengths [1].

    - SCREEN: To be provided by Authors: Run analysis being clicked, template setting being selected, configure settings and number of wavelengths being clicked, and three wavelengths being selected

  - Use the Line tool to measure the width across the short axis of a cell and use this information to set the Approximate minimum and Approximate maximum widths to include most of cells in the selected imaging site [1].

    - SCREEN: To be provided by Authors: Tool being selected, width being measured, and min and max width being set

  - Click Preview to check whether nearly all of the nuclei are selected. The selected nuclei will exhibit a white color, while the unselected nuclei will remain blue. If necessary, make adjustments to the Approximate minimum and Approximate maximum widths [1].

    - SCREEN: To be provided by Authors: Preview being clicked, Shot of selected and unselected nuclei, then adjustments being made

  - To set Intensity Above Local Background, place the mouse cursor inside and outside of a cell. The intensity value will appear at the bottom of the window [1].

    - SCREEN: To be provided by Authors: Cursor being placed inside of cell, then cursor being placed outside of cell

  - Slightly reduce the intensity of a dim cell to evenly exhibit the intensity throughout the whole area of each cell and define this value as the Intensity Above Local Background value [1-TXT].

    - SCREEN: To be provided by Authors: Intensity being reduced, then value being defined TEXT: Repeat for each channel

  - In the Screening menu, select Plate Data Utilities and click Run Analysis in the Plate Data Utilities window to select the plate [1].

    - SCREEN: To be provided by Authors: Select Data Utilities being selected, then Run Analysis being clicked

  - In the Settings field, select the saved setting for analysis and Add to Auto Run List and click OK to run the analysis [1].

    - SCREEN: To be provided by Authors: Saved setting being selected, then Add to Auto Run List being selected and OK being clicked

  - When the analysis is complete, open the Screening menu and select Plate Data Utilities again. In the Plate Data Utilities window, click Export Measurements to export the analysis results [1].

    - SCREEN: To be provided by Authors: Screening menu being opened and Plate Data Utilities and Export Measurements being clicked

  - Click Cell and Image Measurements and OK. In the Export Measurements Wizard - Step 1 page, select the plate and click Next. In the Export Measurements Wizard - Step 2 page, click Finish [1].

    - SCREEN: To be provided by Authors: Cell and Image Measurements and OK being clicked, plate being selected, Next being clicked, and Finish being clicked

  - In the Configure Data Export page, select the data types and click OK. In the Export as text file page, select the destination to save the file and click OK [1].

    - SCREEN: To be provided by Authors: Data types being selected, OK being clicked, destination being selected, and OK being clicked

  - Then open the file in spreadsheet. The results will be presented by each site. Use the Pivot Table analysis tool to summarize the data for all of the sites [1].

    - SCREEN: To be provided by Authors: File being opened in spreadsheet, results being presented, then tool being used to summarize data

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 65. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative High Content Imaging Analysis

  - Induced cardiomyocyte-like cells are defined as alpha-actinin Titin-eGFP (E-G-F-P) double-positive cells [1].

    - LAB MEDIA: Figure 1 image Video Editor: emphasize top red and green images TEXT: eGFP: enhanced green fluorescent protein

  - High content imaging analysis [1] shows that approximately 26% of cells exhibit both cardiac markers following M-G-T-H construct transduction [2], while about 1% of empty vector transduced control cells are double-positive [3].

    - LAB MEDIA: Figure 1

    - LAB MEDIA: Figure 1 Video Editor: emphasize M-G-T-H data bar in third graph

    - LAB MEDIA: Figure 1 Video Editor: emphasize Control data bar in third graph

  - Here, individual induced cardiomyocyte-like cells can be visualized in 10x images acquired via high content imaging [1].  Each image represents an individual imaging site per each channel [2].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please sequentially emphasize images from left to right

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.