- 61859_screenshot_1.mp4

  - 2.2.1 System being logged into, then Run a Plate being selected (00:01 – 00:20)

  - 2.3.1 Open Door-Eject Plate being clicked (00:20 – 00:24)

  - 2.4.2 Talent clicking close door-load plate and door closing (00:28 – 00:30)

  - 2.5.1 Load plate settings being clicked, protocol being selected, then Load from DB being clicked (00:32 – 00:39)

- 61859_screenshot_2.mp4

- 2.6.1 Acquisition setup being clicked, Configure being clicked, Objective and camera tab being opened, 10x objective being selected, Plate tab being opened, and 24-well plate being selected (00:00 – 00:17)

- 2.7.1 Sites to visit tab being opened, number of columns and rows being selected, distance between each imaging site being set, acquisition tab being opened, and number of wavelengths being set (00:18 – 00:30)

- 2.8.1 Wavelengths tab being opened, then DAPI, FITC, and Texas Red being selected, then Run tab being opened and Calculate being clicked (00:31 – 01:10)

- 2.9.1 DAPI focus offset being set, Auto Expose being clicked, then Acquire Plate being clicked/sites being imaged (01:11 – 01:30)

- 61859_screenshot_3.mp4

- 3.1.2 Review plate data and Select Plate being selected (00:00 – 00:09)

- 3.2.1 Folder being opened, then plate being selected (00:10 – 00:14)

- 61859_screenshot_4.mp4

- 3.3.1 Run analysis being clicked, template setting being selected, configure settings and number of wavelengths being clicked, and three wavelengths being selected (00:45 – 01:04)

- 3.4.1 Tool being selected, width being measured, and min and max width being set (01:06 – 01:27)

- 3.5.1 Preview being clicked, Shot of selected and unselected nuclei, then adjustments being made (01:28 – 01:52)

- 61859_screenshot_5.mp4

- 3.6.1 Cursor being placed inside of cell, then cursor being placed outside of cell (00:01 – 00:13)

- 3.7.1 Intensity being reduced, then value being defined (00:13 – 00:36)

- 61859_screenshot_6.mp4

- 3.8.1 Select Data Utilities being selected, then Run Analysis being clicked (00:06 – 00:12)

- 3.9.1 Saved setting being selected, then Add to Auto Run List being selected and OK being clicked (00:30 – 00:49)

- 61859_screenshot_7.mp4

- 3.10.1 Screening menu being opened and Plate Data Utilities and Export Measurements being clicked (00:01 – 00:09)

- 3.11.1 Cell and Image Measurements and OK being clicked, plate being selected, Next being clicked, and Finish being clicked (00:10 – 00:29)

- 3.12.1 Data types being selected, OK being clicked, destination being selected, and OK being clicked (00:31 – 00:55)

- 61859_screenshot_8.mp4

- 3.13.1 File being opened in spreadsheet, results being presented, then tool being used to summarize data (00:02 – 01:07)