## Combined
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
100 mM Tris-HCl, pH 8.5 | Fisher Scientific | BP152-1 | Maintain at 4˚C
60 x 15 mm Dish, Nunclon Delta | ThermoFisher Scientific | 174888
6-well cell culture plate | ThermoFisher Scientific | 140675
Aceotnitrile, MS grade | Pierce | TS-51101
Acetic Acid | Sigma Aldrich | 1099510001
Acetone | Sigma Aldrich | 34850-1L
Ammonium biocarbonate (ABC) | ThermoFisher Scientific | A643-500 | Prepare a stock 50 mM ABC solution, stable at room temperature for up to one month.
Bel-Art™ HiFlow Vacuum Aspirator Collection System | Fisher Scientific | 13-717-300 | Not essential, serological pipettes can be used to remove media.
C18 resin | 3M Empore | 3M2215
Cell Scrapers | VWR | 10062-906 | Not essential, other methods to release macrophage cells can be used.
Centrifugal vaccuum concentrator | Eppendorf | 07-748-15
Complete Filtration Unit | VWR | 10040-436
Connical falcon tubes (15 mL) | Fisher Scientific | 05-539-12
Countess II Automated Cell Counter | ThermoFisher Scientific | AMQAX1000 | Not essential, haemocytometer can be used as an alternative.
CytoTox 96 Non-Radioactive Cytotoxicity Assay | Promega | G1780
Dithiothreitol (DTT) | ThermoFisher Scientific | R0861 | Prepare bulk stock solution of 1 M DTT, flash frozen and stored at -20 ˚C until use. Discard after each use (do not freeze-thaw repeatedly).
DMEM, high glucose, GlutaMAX Supplement | ThermoFisher Scientific | 10566016
Fetal Bovine Serum (FBS) | ThermoFisher Scientific | 12483020 | Heat inactivate by incubating at 60°C for 30 minutes. Prepare 50 ml aliquots and flash freeze. Thaw prior to media preparation
Haemocytometer | VWR | 15170-208
HEPES | Sigma Aldrich | H3375 | Prepare 40 mM HEPES/8 M Urea in bulk stock solution, flash frozen, store at -20˚C until use. Discard after each use (do not freeze-thaw repeatedly).
High-performance liquid chromatography system | ThermoFisher Scientific | LC140 | Gradient length is based on sample complexity, recommended 120 min gradient for infectome samples.
High-resolution mass spectrometer | ThermoFisher Scientific | 726042
Iodoacetamide (IAA) | Sigma Aldrich | I6125 | Prepare 0.55 M bulk stock solution, flash frozen, store at -20˚C until use. Discard after each use (do not freeze-thaw repeatedly).
L-glutamine | ThermoFisher Scientific | 25030081 | Can be aliquot and frozen for storage. Thaw prior to media preparation.
LoBind Microcentrifuge tubes | Eppendorf | 13-698-794
MaxQuant | https://maxquant.org/ |  | MaxQuant is a public platform that offers tutorials, such as the MaxQuant Summer School, outlining the computational analysis steps of large MS data sets
Microcentrifuge | Eppendorf | 13864457
PBS buffer | ThermoFisher Scientific | 10010023
Penicillin : Streptomycin 10k/10k | VWR | CA12001-692 | Can be aliquot and frozen for storage. Thaw prior to media preparation.
peptide separation columns | ThermoFisher Scientific | ES803
Perseus Software | http://maxquant.net/perseus/
Phosphate Buffered Saline | VWR | CA12001-676 | Puchase not required. PBS can also be prepared but sterile filteration must be performed before use.
Pierce BCA Protein Assay | ThermoFisher Scientific | 23225
Pipette, Disposable Serological (10 mL) | Fisher Scientific | 13-678-11E
Pipette, Disposable Serological (25 mL) Basix | Fisher Scientific | 14955235
Probe sonciator | ThermoFisher Scientific | 100-132-894
Protease inhibitor cocktail tablet | Roche | 4693159001
Sodium dodecyl sulfate | ThermoFisher Scientific | 28364 | 20% (w/v)
Spectrophotometer (Nanodrop) | ThermoFisher Scientific | ND-2000
STAGE tipping centrifuge | Sonation | STC-V2
Thermal Shaker | VWR | NO89232-908
Trifluoroacetic acid | ThermoFisher Scientific | 85183
Trypsin/Lys-C protease mix, MS grade | Pierce | A40007 | Maintain at -20 ˚C.
Ultrasonic bath | Bransonic | A89375-450 | Stored in cold room (4C)
Urea | Sigma Aldrich | U1250-1KG | Prepare 40 mM HEPES/8 M Urea in bulk stock solution, flash frozen, store at -20 ˚C until use. Discard after each use (do not freeze-thaw repeatedly).
Yeast-extract peptone dextrose broth | BD Difco | BM20

## DV-IDENTITY-0 (hidden)
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #VALUE! | #VALUE! | AAAAAH384Q8=