# Submission ID #: 61895

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18878023

Title: Microfluidic Co-Culture Models for Dissecting the Immune Response in In Vitro Tumor Microenvironments

Authors and Affiliations: Adele De Ninno1, Francesca Romana Bertani1, Annamaria Gerardino1, Giovanna Schiavoni2, Martina Musella3, Claudia Galassi3, Fabrizio Mattei2, Antonella Sistigu3,4, and Luca Businaro1

1 CNR Institute for Photonics and Nanotechnology

2 Dept. of Oncology and Molecular Medicine, Istituto Superiore di Sanità

3Istituto di Patologia Generale, Università Cattolica del Sacro Cuore

4Tumor Immunology and Immunotherapy Unit, IRCCS Regina Elena National Cancer Institute

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Authors:

# Adele De Ninno

# adele.deninno@cnr.it

# Antonella Sistigu

# antonella.sistigu@gmail.com

# Co-Authors:

bertanifrancescaromana@gmail.com

annamaria.gerardino@cnr.it

giovanna.schiavoni@iss.it

martinamusella90@gmail.com

galassi.claudia@virgilio.it

fabrizio.mattei@iss.it

luca.businaro@cnr.it

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 28

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- 2D Chip Cell Plating

  - Before beginning a co-culture experiment, activate the stored chips with oxygen plasma for a few seconds [1] and immediately hydrate the reservoirs with deionized water [2-TXT].

    - WIDE: Talent treating chip(s)

    - Talent adding water to reservoir(s) TEXT: See text for tumor cell loading details

  - To add the PBMC (P-B-M-C), carefully replace the water in the upper left-hand and lower wells with 1 × 105 resuspended in 10-20 microliters of growth medium added next to each channel opening [1-TXT].

    - Talent adding cells to reservoir, with medium container visible in frame TEXT: PBMC: peripheral blood mononuclear cells

  - Allow the cells to settle for 5 minutes [1] before gently replacing the water in wells 3 and 4 with 1 × 106 PBMC resuspended in 50 microliters of growth medium per well [2-TXT].

    - Talent setting timer, with chip visible in frame

    - Talent adding cells to well(s), with medium container visible in frame TEXT: See text for all medium preparation details

  - When all of the cells have been added, fill all six of the reservoirs of each chip with up to 100-150 microliters of growth medium [1] and check that the cells have been correctly distributed within each culture compartment [2].

    - Talent adding medium to well(s), with medium container visible in frame

    - LAB MEDIA: Figures 1D and 1E Video Editor: please emphasize cells in Tumor and Intermediate chambers

  - Then place the chips into the incubator for at least 1 hour allow the system to stabilize before the time-lapse recording [1-TXT].

    - Talent placing chip TEXT: Refresh medium every 3 d

- Unlabeled Cancer and Immune Cell Time-Lapse Acquisition

  - For time-lapse imaging of the unlabelled cancer and immune cells, warm up a microscope equipped with an incubation system and video recording to 37 degrees Celsius and 5% carbon dioxide for at least 2 hours [1] before placing three chips onto each of four microscope slides [2].

    - WIDE: Talent turning on microscope warmer

    - Talent placing chip(s) onto slide(s)

  - When the microscope is ready, center the microchannel array between the tumor and the central compartment to select the window of observation [1] and set the optimal frame rate and time duration to the appropriate parameters for the experiment and cell types under study [2].

    - WIDE: Talent selecting window of observation, with monitor visible in frame

    - SCREEN: To be provided by Authors: Frame rate and time duration being set

  - Then image the cells for the appropriate experimental time period [1].

    - LAB MEDIA: Timelapse movie Video Editor: please speed up or show any 10-s clip

- 3D Immuno-Competent Cancer On-Chip Model

  - Before beginning a 3D immune-competent cancer on-chip model assay, gently pipet live-compatible fluorescent dye-stained melanoma cells suspended in matrix solution on ice to obtain a homogenous distribution of the cells [1-TXT] and add the appropriate dose of epigenetic tumor treatment of interest [2-TXT].

    - WIDE: Talent gently pipetting cells on ice, with matrix solution and dye container visible in frame TEXT: Caution: Avoid bubbles

    - Talent adding treatment to tube TEXT: e.g., interferon (IFN)-alpha2b or IFN-alpha2b + 5-aza-2'-deoxycytidine (DAC)

  - Place the microfluidic device on ice [1] and use cold, 10-microliter micropipette tips to slowly inject the treated tumor cell-matrix solution into the left and right gel ports [2], applying gentle pressure to push the matrix solution from one side of the channel to the other [3].

    - Talent placing device on ice

    - Talent adding solution to port

    - Solution being pushed across channel

  - When all of the tumor cells have been loaded, place the device into the incubator in the upright position for 30 minutes [1].

    - Talent placing device into incubator

  - While the gel is solidifying, resuspend 1 x 106 PBMC labelled with a contrasting fluorescent dye in 10 microliters of complete DMEM [1].

    - Talent resuspending cells in medium, with medium and dye container visible in frame

  - After matrix gelation, fill the medium channels of all six reservoirs with 50-100 microliters of culture medium [1].

    - Talent adding medium to well(s)

  - After Authors: how long between loading the wells with medium and loading the cells?, aspirate the medium from each well [1] and, placing the tip near the inlet of one medium channel [2], use moderate pressure to gently inject 10 microliters of PBMCs into the upper central well [3].

    - Talent aspirating medium

    - Tip being placed near inlet

    - PBMCs being injected

  - Inject 50-100 microliters of medium into each of the four wells of lateral channels [1], 40-90 microliters of medium into the upper central well [2], and 50-100 microliters of medium into the lower central well [3].

    - Medium being injected into lateral channel

    - Medium being injected into upper central well

    - Medium being injected into lower central well

  - When all of the wells have been loaded, use a microscope to confirm that the PBMC distribution has remained confined to the central chamber [1].

    - LAB MEDIA: Figure 7A

  - Then carefully place the device on a level surface in the cell culture incubator until imaging [1].

    - Talent placing device into incubator

  - To calculate the extent of the fluorescently stained live immune cells infiltration, image the device at specific time points of interest by phase contrast microscopy [1], taking care to set the microscope to the appropriate parameters for imaging without saturation of the fluorescence signals of interest [2].

    - Talent at microscope, imaging cells

    - SCREEN: To be provided by Authors: Imaging parameters being adjusted

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 160. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative PBMC Migratory Profiles and Selective Recruitment

  - The movement of leukocytes through suitably built microchannel bridges in the microfluidic platform toward their target cells can be tracked by video microscopy [1].

    - LAB MEDIA: Timelapse movie Video Editor: please speed up or show any 10-s clip

  - In this tracking analysis [1], individual PBMCs were challenged with dying, doxorubicin-treated [2] or live, PBS-treated cancer cells [3].

    - LAB MEDIA: Figure 6A

    - LAB MEDIA: Figure 6A Video Editor: please emphasize left panel

    - LAB MEDIA: Figure 6A Video Editor: please emphasize right panel

  - Relevant chemotaxis values and migration plots were automatically generated [1] and a different migratory profile for the immune cells was observed [2] when co-loaded with breast cancer cells exposed to doxorubicin or PBS [3].

    - LAB MEDIA: Figures 6A and 6B

    - LAB MEDIA: Figures 6A and 6B Video Editor: please emphasize left graph in Figure 6B

    - LAB MEDIA: Figures 6A and 6B Video Editor: please emphasize right graph in Figure 6B

  - When the PBMCs were confronted with apoptotic cancer cells [1], they crossed microchannels toward the dying and dead cells [2] but did not cross to live untreated cells [3].

    - LAB MEDIA: Figures 6A-6C

    - LAB MEDIA: Figures 6A-6C Video Editor: please emphasize left graph in Figure 6C

    - LAB MEDIA: Figures 6A-6C Video Editor: please emphasize right graph in Figure 6C

  - In this analysis, a novel 3D immuno-competent tumor model was used to quantify the recruitment of immune cells [1] in response to anti-cancer combinations of epigenetic drugs [2].

    - LAB MEDIA: Figure 7B Video Editor: please emphasize green signal in left and right of image

    - LAB MEDIA: Figure 7B Video Editor: please emphasize IFN and DAC + IFN texts

  - Red dye labelled PBMCs were then distributed homogenously into the central fluidic chamber [2].

    - LAB MEDIA: Figure 7B Video Editor: please emphasize red signal in middle of image

  - The ability of the two tumor masses to attract the PBMCs was then compared [1], with the PBMCs being robustly recruited in this experiment into the right-side microchannel [2].

    - LAB MEDIA: Figures 7B and 7C

    - LAB MEDIA: Figures 7B and 7C Video Editor: please sequentially emphasize grey data bars from 24-72 h

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.