# Submission ID #: 61903

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18880463

Title: Neutron Crystallography Data Collection and Processing for Modelling Hydrogen Atoms in Protein Structures

Authors and Affiliations: Gabriela C. Schröder1,2 and Flora Meilleur1,2

1Department of Molecular and Structural Biochemistry, North Carolina State University

2Neutron Scattering Division, Oak Ridge National Laboratory

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

Flora Meilleur

fmeille@ncsu.edu

# Co-Authors:

# gcschrod@ncsu.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 43

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Crystal Harvesting and Mounting

  - For crystal harvesting, open the sealed sandwich containing the protein crystals in a 9-well large volume siliconized glass plate [1] and use a micropipette to transfer 10-20 microliters from the crystallization reservoir solution onto the glass slide [2-TXT].

    - Talent opening sandwich

    - Talent adding solution to slide TEXT: See text for all solution and buffer preparation details

  - Use an appropriately sized microloop to harvest a crystal [1] and place the crystal in the drop of reservoir solution drop [2].

    - Crystal being harvested

    - Crystal being placed into drop

  - For crystal mounting, fill one end of a 2-millimeter-diameter, 50-millimeter-length quartz capillary with reservoir buffer by capillary action [1] and use a mounting loop to gently place the crystal into the reservoir buffer within the quartz capillary [2].

    - Capillary being filled

    - Crystal being placed into capillary

  - Tap the tube to move the reservoir buffer and crystal down the capillary [1] and use a long, thin pipette to aspirate the solution from around the crystal [2].

    - Tube being tapped

    - Solution being aspirated

  - Use a thin paper wick to dry the capillary walls [1] and add 20-50 microliters of deuterated buffer solution to the end of the capillary [2].

    - Wall(s) being dried

    - Solution being added to end of capillary Videographer/Video Editor: Shot will be used again

  - Use a heat wand to melt a portion of beeswax [1] and gently insert the capillary in the beeswax until an airtight seal has formed [2-TXT].

    - Beeswax being melted

    - Capillary being inserted Videographer/Video Editor: Shot will be used again TEXT: Re-melt and re-insert capillary as necessary

  - Replace the deuterated buffer with 20-50 microliters fresh deuterated buffer at days 2, 6, and 10 after crystal mounting [1] and reseal the capillary with fresh melted beeswax after each vapor exchange as demonstrated [2].

    - Use 2.5.2. Solution being added

    - Use 2.6.2. Capillary being sealed with beeswax

- Room Temperature Data Collection

  - After at least two weeks, use putty to secure the quartz capillary onto a goniometer mounted onto a sample stick [1] and secure the stick to the instrument sample stage [2].

    - WIDE: Talent securing capillary to stick

    - Talent securing stick to stage

  - Open the data acquisition program on the beamline control computer [1] and click the Setup tab to set up the data collection strategy [2-TXT].

    - Talent opening program, with monitor visible in frame

    - SCREEN: To be provided by Authors: Setup tab being clicked TEXT: See text for parameter setup details

  - Open the Optics graphic user interface and click 2.78 for the lambda minimum and 4.78 for the lambda maximum to set the quasi-Laue range for the data collection [1].

    - SCREEN: To be provided by Authors: Optics GUI being opened, then 2.78 and 4.78 being clicked

  - Click Start Scan to initiate the data collection [1]. Then collect a corresponding X-ray dataset on the same crystal [2].

    - SCREEN: To be provided by Authors: Start Scan being clicked, then corresponding X-ray dataset being collected

- Cryo Data collection

  - For cryo data collection, remove the wax plugs from both ends of the capillary [1] and wash the crystal into a 20-microliter drop of reservoir solution in the sitting drop well of a crystallization plate [2].

    - WIDE: Talent removing plug(s)

    - Talent washing crystal onto plate, with solution container visible in frame

  - After washing, immerse the crystal in an ascorbate soaking solution for two hours [1] before mounting the crystal in a microloop attached to a cryo crystal mount [2].

    - Crystal being placed into solution, with solution container visible in frame

    - Crystal being mounted

  - Immerse the mounted crystal in cryoprotectant for 10 seconds [1] before plunging the crystal and cryo mount into liquid nitrogen [2].

    - Crystal being immersed, with cryoprotectant container visible in frame

    - Crystal being plunged into LN2

  - When the crystal is frozen, mount the crystal on a MaNDi sample stage fitted with a cryo-stream [1-TXT] and open the data collection software [2].

    - Talent mounting crystal TEXT: MaNDi: Macromolecular Neutron Diffractometer

    - Talent opening software, with monitor visible in frame

  - Click the center of the crystal to center it in the field of view and click Table to set the data collection strategy [1].

    - SCREEN: To be provided by Authors: Crystal center being clicked, Table being opened

  - Then click Submit to start the data collection [1].

    - SCREEN: To be provided by Authors: Submit being clicked

- Structure Refinement

  - For joint X-ray and neutron data refinement, first open CCP4 (C-C-P-four) [1-TXT] and select Convert to-modify-extend MTZ (M-T-Z) program to match the R-free data flags of the neutron data to those of the X-ray data [2].

    - WIDE: Talent opening CCP4, with monitor visible in frame TEXT: https://www.ccp4.ac.uk

    - SCREEN: To be provided by Authors: Convert to/modify/extend MTZ being selected, R-free data flags being matched

  - Next, open the Phenix software package and click ReadySet [1].

    - SCREEN: To be provided by Authors: Package being opened, then ReadySet being clicked

  - For structure refinement, in the Refinement tab, open the phenix.refine program to set up the refinement using both the X-ray and neutron data. In the Configure tab, input the PDB file from the X-ray structure and upload the MTZ file from the neutron data [1].

    - SCREEN: To be provided by Authors: Refinement tab being opened, phenix.refine being opened, Configure tab being opened, PDB file being entered, MTZ file being uploaded

  - Assign the MTZ file data as “Neutron data” and “Neutron R-free”. Upload the MTZ file from the X-ray data and assign it as “X-ray data” and “X-ray R-free” [1].

    - SCREEN: To be provided by Authors: Data being assigned, MTZ file being uploaded, Data being assigned

  - Confirm that the standard refinement strategy is selected and increase the number of cycles to five [1].

    - SCREEN: To be provided by Authors: Standard refinement strategy being confirmed, number of cycles being increased

  - Select All parameters, Advanced, and Hydrogens, change the Hydrogen refinement model to individual, and turn off the Force riding adp [1].

    - SCREEN: To be provided by Authors: All parameters, Advanced, Hydrogens being selected, Hydrogen refinement model being changed, and Force riding adp being turned off

  - Then search for “nuclear”, select Use the nuclear distances for X-H-D, and click Run to initiate the refinement [1].

    - SCREEN: To be provided by Authors: Nuclear being searched, Use nuclear distances being selected and Run being clicked

- Model Building

  - For model building, in Phenix, click Open in Coot [1] to visualize the X-ray electron density and neutron scattering length density maps [2].

    - WIDE: Talent clicking Open in Coot, with monitor visible in frame

    - SCREEN: To be provided by Authors: X-ray and neutron density maps being show

  - Select the refinement files and open the .mtz file. For both the Amplitudes and Phases options, select the 2FOFCWT_no_fill_neutron data from the dropdown menus to open the FoFcWT_neutron data [1].

    - SCREEN: To be provided by Authors: Files being selected, Mtz file being opened, then Amplitude and Phases FoFc neutron data options being selected

  - Perform visual inspection of the residues to determine whether the model fits the data and analyze the different density map peaks of the hydrogen-deuterium to determine the correct orientation and occupancy of all of the exchangeable sites [1].

    - SCREEN: To be provided by Authors: Shot of residues, then density maps being analyzed, and H/D orientation and occupancy being determined

  - Then reorient the water molecules according to the neutron density and hydrogen bond interactions and adjust the positions of the protein residue hydrogen-deuterium exchangeable sites [1].

    - SCREEN: To be provided by Authors: Molecule(s) being reoriented, then position(s) being adjusted

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 201. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Neutron Crystallography Data Collection and Processing

  - Hydrogenated protein crystals grown in water-based buffer [1] measure approximately 1000- by 900-microns [2].

    - LAB MEDIA: Supplemental Figure 4

    - LAB MEDIA: Supplemental Figure 4 Video Editor: please outline/emphasize crystals with numerical text

  - The crystals can be mounted in quartz capillaries [1] for vapor exchange with deuterium oxide-based buffer for three weeks before neutron diffraction data collection [2].

    - LAB MEDIA: Figure 4E

    - LAB MEDIA: Figure 4F

  - The same crystal can be used to collect a room temperature X-ray diffraction dataset at a 1.90-angstrom resolution [1].

    - LAB MEDIA: Figure 17 image

  - Comparison of the electron density map of residues such as serine and tryptophan [1] and the corresponding neutron scattering length density maps [2] allows evaluation of the protonation states at hydrogen-deuterium exchangeable sites from neutron protein diffraction [3].

    - LAB MEDIA: Figure 7 Video Editor: please emphasize Electron density maps

    - LAB MEDIA: Figure 7 Video Editor: please emphasize Neutron SLD maps

    - LAB MEDIA: Figure 7

  - Map overlays of electron and neutron scattering length density maps for water molecules indicate that, while hydrogen bond interactions can be inferred from X-ray data [1], neutrons provide clear information about the positions of these hydrogen bonds [2].

    - LAB MEDIA: Figure 8

    - LAB MEDIA: Figure 8 Video Editor: please emphasize Map overlay image

  - Neutron scattering length density omit maps can also be generated to determine protonation states and hydrogen-deuterium side-chain orientations [1].

    - LAB MEDIA: Figure 9

  - Neutron scattering length density maps in which non-exchangeable hydrogen atoms are attached to carbon appear incomplete when compared to their electron density map counterparts [1].

    - LAB MEDIA: Figure 13A

  - It is therefore preferable to perform a joint refinement of a sample with both X-ray and neutron data in which the X-ray data can be used to determine the position of the protein backbone [1].

    - LAB MEDIA: Figures 13A and 13B Video Editor: please emphasize map

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.