# Submission ID #: 61903

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18880463

Title: Neutron Crystallography Data Collection and Processing for Modelling Hydrogen Atoms in Protein Structures

Authors and Affiliations: Gabriela C. Schröder1,2 and Flora Meilleur1,2

1Department of Molecular and Structural Biochemistry, North Carolina State University

2Neutron Scattering Division, Oak Ridge National Laboratory

# Corresponding Author:

Flora Meilleur

fmeille@ncsu.edu

# Co-Authors:

# gcschrod@ncsu.edu

## Author Questionnaire

- Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  Y

If you require a microscope for your technique but can record movies/images through your microscope with your own camera, please indicate Yes here: Y  If yes, please capture and upload these files to your project page as soon as feasibly possible.

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Y, 4 miles

Protocol Length

Number of Shots: 43

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Gabriela Schröder: Neutron crystallography is a structural technique for determining hydrogen atom positions in biological macromolecules. Neutron structures reveal protonation states and water molecule orientations to elucidate reaction mechanisms and binding interactions [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED:

  - Gabriela Schröder: In contrast to X-ray diffraction, neutron diffraction has the advantage of being a non-destructive technique. Therefore, proteins with photosensitive groups or metallocenters can be studied without suffering radiation damage [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# Protocol

- Crystal Harvesting and Mounting

  - For crystal harvesting, open the sealed sandwich containing the protein crystals in a 9-well large volume siliconized glass plate [1] and use a micropipette to transfer 10-20 microliters from the crystallization reservoir solution onto a glass slide [2-TXT].

    - Talent opening sandwich box

    - Talent adding solution to glass slide TEXT: See text for all solution and buffer preparation details

  - After evaluating the structure of the crystals with a light microscope [1], use an appropriately sized microloop and the microscope to harvest one crystal [2] and to place the crystal in the drop of reservoir solution [3].

    - Talent at microscope, evaluating crystal

    - SCREEN: To be provided by Authors: Crystal being harvested as seen through the microscope camera

    - SCREEN: To be provided by Authors: Crystal being placed into drop as seen through the microscope camera

  - For crystal mounting, fill one end of a 2-millimeter-diameter, 50-millimeter-length quartz capillary with reservoir buffer by capillary action [1] and use a mounting loop to gently place the crystal into the reservoir buffer within the quartz capillary [2].

    - Capillary being filled Videographer: Important step

    - Crystal being placed into capillary Videographer: Important step

  - Tap the tube to carefully move the reservoir buffer and crystal to the capillary center of the capillary without damaging the crystal [1] and use a long, thin pipette and the microscope to aspirate the solution from around the crystal [2].

    - Tube being tapped Videographer: Important/difficult step

    - SCREEN: To be provided by Authors:  Solution being aspirated with a long, thin pipette as seen through microscope camera

  - Use a thin paper wick to dry the capillary walls [1] and add 20-50 microliters of deuterated buffer solution to the end of the capillary [2].

    - SCREEN: To be provided by Authors: Wall(s) being dried as seen through microscope camera

    - Solution being added to end of capillary Videographer: Important step

  - Use a heat wand to melt a portion of beeswax [1] and gently insert the capillary into the melted beeswax until an airtight seal has formed [2-TXT].

    - Beeswax being melted

    - Capillary being inserted and sealed Videographer/Video Editor: Shot will be used again TEXT: Re-melt and re-insert capillary as necessary

  - Replace the deuterated buffer with 20-50 microliters fresh deuterated buffer at days 2, 6, and 10 after crystal mounting [1] and reseal the capillary with fresh melted beeswax after each vapor exchange as demonstrated [2].

    - Talent removing or adding capillary solution

    - Use 2.6.2. Capillary being sealed with beeswax

- Room Temperature Data Collection

  - After at least two weeks of vapor exchange, use putty to secure the quartz capillary onto the neutron diffractometer goniometer mounted onto a sample stick [1] and secure the stick to the instrument sample stage [2].

    - WIDE: Talent securing capillary to stick Videographer: Important step

    - Talent securing stick to stage Videographer: Important step

  - Open the data acquisition program on the beamline control computer [1] and click the Setup tab to set up the data collection strategy [2-TXT].

    - Talent opening program, with monitor visible in frame

    - SCREEN: To be provided by Authors: Setup tab being clicked TEXT: See text for parameter setup details

  - Open the Optics graphic user interface and click 2.78 for the lambda minimum and 4.78 for the lambda maximum to set the quasi-Laue range for the data collection [1].

    - SCREEN: To be provided by Authors: Optics GUI being opened, then 2.78 and 4.78 being clicked

  - Click Start Scan to initiate the data collection [1]. After neutron data collection, collect a corresponding X-ray dataset on the same crystal at the same temperature [2].

    - SCREEN: To be provided by Authors: Start Scan being clicked.

    - Crystal mounted on a home source X-ray diffractometer for data collection

- Cryo Data collection

  - For cryo data collection, remove the wax plugs from both ends of the capillary [1] and wash the crystal into a 20-microliter drop of reservoir solution in the sitting drop well of a crystallization plate [2].

    - WIDE: Talent removing plug(s) Videographer: Important step

    - Talent washing crystal onto plate, with solution container visible in frame Videographer: Important step

  - After washing, use a microloop to collect the crystal [1] and immerse the crystal in an ascorbate soaking solution for two hours [2] before mounting the crystal in a microloop attached to a cryo crystal mount [3].

    - Talent using a microloop to pick up the crystal with solution container visible in frame

    - SCREEN: To be provided by Authors: Crystal being placed into soaking solution, as seen through microscope camera

    - Crystal being mounted

  - Immerse the mounted crystal in cryoprotectant for 10 seconds [1] before plunging the crystal and cryo mount into liquid nitrogen [2].

    - Crystal being immersed, with cryoprotectant container visible in frame

    - Crystal being plunged into LN2

  - When the crystal is frozen, quickly but carefully mount the crystal on the Macromolecular Neutron Diffractometer sample stage under cryo steam without warming the crystal or knocking it out of the microloop [1-TXT] and open the data collection software [2].

    - Talent mounting crystal Videographer: Difficult step

    - Talent opening software, with monitor visible in frame

  - Click the center of the crystal to center it in the field of view [1] and click Table to set the data collection strategy [2-TXT].

    - SCREEN: To be provided by Authors: Crystal center being clicked,

    - SCREEN: To be provided by Authors: Table being opened. TEXT: See text for parameter setup details

  - Then click Submit to start the data collection [1]. Diffracted neutrons will become visible in real time as they are detected by the Macromolecular Neutron Diffractometer time of flight detectors [2].

    - SCREEN: To be provided by Authors: Submit being clicked

    - SCREEN: To be provided by Authors: Time of flight detectors displaying diffracted neutrons.

- Structure Refinement

  - For joint X-ray and neutron data refinement, first open CCP4 (C-C-P-four) [1-TXT] and select the Convert to-modify-extend MTZ (M-T-Z) program to match the R-free data flags of the neutron data to those of the X-ray data [2].

    - WIDE: Talent opening CCP4, with monitor visible in frame TEXT: https://www.ccp4.ac.uk

    - SCREEN: To be provided by Authors: Convert to/modify/extend MTZ being selected, R-free data flags being matched

  - Next, open the Phenix software package [1] and click ReadySet [2]. Upload the protein coordinate file, select Add hydrogens to model if absent, H/D at exchangeable sites, H elsewhere, and Add deuteriums to solvent molecules [3].

    - Talent opening Phenix software package, with monitor visible in frame

    - SCREEN: To be provided by Authors: Package being opened, then ReadySet being clicked

    - SCREEN: To be provided by Authors:  ReadySet options being inserted

  - For structure refinement, in the Refinement tab, open the phenix.refine program to set up the refinement using both the X-ray and neutron data. In the Configure tab, input the PDB file from the solved X-ray structure and upload the MTZ file from the neutron data [1].

    - SCREEN: To be provided by Authors: Refinement tab being opened, phenix.refine being opened, Configure tab being opened, PDB file being entered, MTZ file being uploaded

  - Assign the MTZ file data as “Neutron data” and “Neutron R-free”. Upload the MTZ file from the X-ray data and assign it as “X-ray data” and “X-ray R-free” [1].

    - SCREEN: To be provided by Authors: Data being assigned, MTZ file being uploaded, Data being assigned

  - Confirm that the standard refinement strategy is selected and increase the number of cycles to five [1].

    - SCREEN: To be provided by Authors: Standard refinement strategy being confirmed, number of cycles being increased

  - Select All parameters, Advanced, and Hydrogens, change the Hydrogen refinement model to individual, and turn off the Force riding adp (A-D-P) [1].

    - SCREEN: To be provided by Authors: All parameters, Advanced, Hydrogens being selected, Hydrogen refinement model being changed, and Force riding adp being turned off

  - Then search for “nuclear”, select Use the nuclear distances for X-H-D, and click Run to initiate the refinement [1].

    - SCREEN: To be provided by Authors: Nuclear being searched, Use nuclear distances being selected and Run being clicked

- Model Building

  - For model building, in Phenix, click Open in Coot [1] to visualize the X-ray electron density and neutron scattering length density maps and adjust the contour level to 1 rmsd [2]. Select the Display Manager and delete the neutron 2Fo-Fc (two-F-O-minus-F-C) neutron scattering length density map [3].

    - WIDE: Talent clicking Open in Coot, with monitor visible in frame

    - SCREEN: To be provided by Authors: X-ray and neutron density maps being displayed

    - SCREEN: To be provided by authors: Neutron density map being deleted

  - Click Open MTZ and select the refinement files to open the neutron data .mtz file. For both the Amplitudes and Phases options, select no_fill_neutron data from the dropdown menus to open the unfilled neutron scattering length density maps and set the contour level to 1 root-mean-square deviation [1].

    - SCREEN: To be provided by Authors: Files being selected, Mtz file being opened, then Amplitude and Phases of the Fo-Fc no fill neutron data being selected

  - Perform visual inspection of the residues to determine whether the model fits the data and analyze the different density map peaks of the hydrogen-deuterium to determine the correct orientation and occupancy of all of the exchangeable sites [1].

    - SCREEN: To be provided by Authors: Shot of residues, then density maps being analyzed, and H/D orientation and occupancy being determined

  - Then reorient the water molecules according to the neutron density and hydrogen bond interactions and adjust the positions of the protein residue hydrogen-deuterium exchangeable sites [1]. Perform additional rounds of interactive model building and refinement [2] to obtain a complete structure [3].

    - SCREEN: To be provided by Authors: Molecule(s) being reoriented, then position(s) being adjusted

    - SCREEN: To be provided by Authors: Final model of protein following several rounds of refinement displayed.

    - Talent at computer with final model of protein structure.

## Protocol Script Questions

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

2.3.-2.5., 3.1., 4.1.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

2.4. in which the crystal is moved down the capillary while in buffer. The crystal must be carried to the center of the capillary which can be challenging since the crystal may stick to the end of the wall and need to be nudged with a tool such as a very thin glass rod. This puts the crystal in danger of being crushed. To ensure success, we plan to work gently but also have multiple crystals in case there are complications.

4.4. in which the crystal is frozen in liquid nitrogen and then mounted on the MaNDi sample stage. This is difficult because the distance from the sample preparation area to the MaNDi detector is several meters and the crystal must be handled carefully and quickly to ensure that it does not get knocked out of the cryo-loop or warm up.

# Results

- Results: Representative Neutron Crystallography Data Collection and Processing

  - Hydrogenated protein crystals grown in water-based buffer [1] measure approximately 1000- by 900-microns [2].

    - LAB MEDIA: Supplemental Figure 4

    - LAB MEDIA: Supplemental Figure 4 Video Editor: please outline/emphasize crystals with numerical text

  - As observed in this Figure, after several days of neutron diffraction data collection at a 2.30-angstrom resolution, an X-ray diffraction dataset was collected on the same crystal [1].

    - LAB MEDIA: Figure 5 Video Editor: please sequentially add/emphasize 1, 4, and 16 hour images

  - Peaks in FO-FC neutron scattering length density maps [1] provide valuable information about the orientation of residues such as asparagine [2]. Positive peaks in FO-FC neutron scattering length density omit maps are also very informative for determining the protonation states of residues with titratable groups such as histidine [3]

    - LAB MEDIA: Figures 12A-12C Video Editor: please emphasize Figure 12A

    - LAB MEDIA: Figures 12A-12C Video Editor: please emphasize Figure 12B

    - LAB MEDIA: Figures 12A-12C Video Editor: please emphasize Figure 12C

  - Map overlays of electron and neutron scattering length density maps for water molecules indicate that [1], while hydrogen bond interactions can be inferred from X-ray data [2], neutrons can provide clear information about the positions of these hydrogen bonds [3].

    - LAB MEDIA: Figure 8

    - LAB MEDIA: Figure 8 Video Editor: please emphasize Figure 8A

    - LAB MEDIA: Figure 8 Video Editor: please emphasize Figures 8B and 8C

  - Neutron scattering length density omit maps can be used to determine hydrogen-deuterium side-chain functional group orientations [1].

    - LAB MEDIA: Figure 9

  - Neutron scattering length density maps in which non-exchangeable hydrogen atoms are attached to carbon appear incomplete [1] when compared to their electron density map counterparts [2].

    - LAB MEDIA: Figures 13A and 13B Video Editor: please emphasize Figure 13A

    - LAB MEDIA: Figures 13A and 13B Video Editor: please emphasize Figure 13B

  - It is therefore preferable to perform a joint refinement of a sample with both X-ray and neutron data in which the X-ray data can be used to determine the position of the protein backbone [1].

    - LAB MEDIA: Figures 13A and 13B Video Editor: please emphasize protein backbone in Figure 13B

# Conclusion

- Conclusion Interview Statements

  - Gabriela Schröder: Neutron protein crystallography requires large crystals. Care should be taken during crystal handling and mounting to avoid damage to the crystal, which can easily crack, compromising the data quality [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (2.3.-2.5.)

  - Gabriela Schröder: Neutron protein crystallography provides insight into the protein reaction mechanism, potentially revealing catalytically relevant residues or water molecules, the roles of which can be further probed by kinetics, mutagenesis, or spectroscopy [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera