## Sheet1
Name of material/ equipment | Company | Catalog number | Comments/description
Materials
B20-type iron germanium single crystal |  |  | Investigated material
Software
Aberration correction software | CEOS | 2.21.49 | Software for aberration corrections
Gatan microscopy suite (GMS) | Gatan | 3.41 | Software for controlling Gatan K2 IS camera
Holoworks | Holowerk | 6.0 beta | Software for hologram reconstruction
Technical equipment
Cu Omniprobe grid | Omniprobe | AGJ420 | Support grid for TEM lamella
DC high voltage power supply | Fug Elektronik | HCL 14M-1250 | Biprism voltage supply and controller | DC High voltage power supply | HCL | 14M-1250 | Biprism voltage supply and controller | DC High voltage power supply | HCL | 14M-1250 | Biprism voltage supply and controller | DC High voltage power supply | HCL | 14M-1250 | Biprism voltage supply and controller
Direct electron counting detector | Gatan | GATAN K2 IS | Lorentz images and hologram acqusition
Double tilt liquid-nitrogen-cooled TEM specimen holder | Gatan | GATAN model 636 | Specimen holder
Focused ion beam scanning electron microscope | Thermo Fisher Scientific | FEI Helios NanoLab 460F1 FIB-SEM | Specimen preparation
Temperature controller for liquid-nitrogen-cooled TEM specimen holder | Gatan | GATAN model 1905 | Specimen temperature controller
Transmission electron microscope | Thermo Fisher Scientific | FEI Titan G2 60-300 FEG TEM | Lorentz microscopy and electron holography