# Submission ID #:  61908

# Scriptwriter Name: Domnic Colvin

# Project Page Link:  https://www.jove.com/account/file-uploader?src=18881988

# Title:   Fecal (micro) RNA Isolation

Authors and Affiliations:

Fyonn H. Dhang,1,2 Howard L. Weiner1,2 Shirong Liu,1,2

1Ann Romney Center for Neurologic Diseases, Department of Neurology, Partners Multiple Sclerosis Center, Brigham and Women’s Hospital and Harvard Medical School, Boston, MA, USA

2Evergrande Center for Immunologic Diseases, Harvard Medical School and Brigham and Women’s Hospital, Boston, MA, USA

☒   All author names and affiliations are correct.

# Corresponding Authors:

# Shirong Liu	(sliu22@bwh.harvard.edu)

# Email Addresses for All Authors:

# fdhang@partners.org

# hweiner@rics.bwh.harvard.edu

# sliu22@bwh.harvard.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  No

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   NO

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  17

Number of Shots:  39

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Howard L. Weiner: We have found microRNAs in the feces. Many investigators asked how to isolate RNAs in the fecal samples to study microRNAs. So, here we provide the protocol.

REQUIRED: What is the main advantage of this technique?

  - Shirong Liu: This protocol isolate RNA from the feces with high quality and quantity. It minimizes RNAs from living microbes. I would emphasize that we DO NOT use Lysis/Binding Buffer in this protocol.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Fyonn H. Dhang: This protocol is very straight forward

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Shirong Liu: Demonstrating the procedure will be Fyonn H. Dhang, a Senior Technical Research Assistant from my laboratory. He is very experienced in isolating RNAs from fecal specimen.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Feces resuspension and organic extraction

  - Begin by resuspending 25 to 100 milligrams of fecal samples in 600 microliters of sterile 1x DPBS in a 2-milliliter microcentrifuge tube [1].

    - Talent adding DPBS to the fecal sample.

  - Incubate the tube containing the sample at room temperature for 30 minutes [1]. Then, mash the mixture with a 1-milliliter pipette tip [2] and vortex well [3].

    - Talent incubating the tube.

    - Talent mashing the mixture with tip.

    - Talent vortexing the tube.

  - Resuspend the mixture in a homogenizer with a setting for one cycle at 4000 rotations per minute for 45 seconds to optimize and increase the quantity and quality of RNA [1].

    - Talent adding the mixture in the homogenizer.

  - Add 600 microliters of acid-phenol-chloroform solution to the sample [1] and vortex the mixture for 60 seconds [2]. Alternatively, to optimize and increase quantity of RNA in the yield, mix with a homogenizer [3-TXT].

    - Talent adding acid-phenol: chloroform to the sample.

    - Talent vortexing the solution.

    - Talent adding the sample in homogenizer for better yield of RNA. TEXT: one cycle at S4000 and 45 s

  - Centrifuge the sample for 15 minutes at 10,000 times g at room temperature to separate the aqueous and organic phase [1]. Repeat the centrifugation until the interphase is compact [2].

    - Talent centrifuging the sample.

    - Talent repeating the centrifugation.

  - Transfer the upper aqueous phase carefully without disturbing the lower phase to a new 2-milliliter microcentrifuge tube with a hinge cap [1].

    - Talent transferring the aqueous phase in microcentrifuge tube.

- Final RNA isolation

  - Add ACS grade 100% ethanol at 1.25 times the volume of the acquired aqueous phase [1] and vortex for 3 seconds [2]. Place the filter cartridge into the collection tubes [3]

    - Talent adding 100% ethanol to the sample.

    - Talent vortexing the mixture.

    - Talent placing the filter cartridge on the collection tubes.

  - Load 600 microliters of each of the sample solution in the filter cartridge provided in the micro RNA isolation kit [2].

    - Talent adding each sample mixture to the filter cartridge.

  - Centrifuge at 10,000 times g for 90 seconds to filter the mixture through the cartridge [1], then discard the filtrate [2]. Repeat this until the entire volume of the mixture is filtered through the same filter membrane in successive applications [3].

    - Talent centrifuging the filter tube assembly.

    - Talent discarding the obtained filtrate in the collection tube.

    - Talent adding more sample to the filter.

  - After all the sample is filtered, add 700 microliters of micro RNA wash solution 1 into the same filter cartridge [1]. Centrifuge for 60 seconds to filter the wash solution through the filter cartridge [2].

    - Talent adding miRNA wash solution 1 to the filter tube.

    - Talent centrifuging the tube.

  - Discard the filtrate [1] and place the filter cartridge on the same collection tube [2].

    - Talent discarding the obtained filtrate.

    - Talent placing the same filtrate on the same collection tube.

  - Wash the filter cartridge with 700 microliters of Wash solution 2/3 prepared in ACS grade 100% ethanol [1], and centrifuge at 10,000 times g for a minute [2]. Discard the obtained filtrate from the collection tube [3] and place the filter cartridge into same collection tube [4].

    - Talent washing filter with 700 µL of Wash solution 2/3.

    - Talent centrifuging the filter.

    - Talent discarding the obtained filtrate.

    - Talent placing the same filtrate on the same collection tube.

  - Wash the filter cartridge with 500 microliters of Wash solution 2 / 3 [1] and centrifuge at 10,000 times g for a minute [2]. Discard the obtained filtrate from the collection tube and place the filter cartridge into the same collection tube [3].

    - Talent washing filter with 500 µL of Wash solution 2/3.

    - Talent centrifuging the filter.

    - Talent discarding the obtained filtrate.

  - Wash the filter cartridge with 250 microliters of Wash solution 2/ 3 prepared in ACS grade 100% ethanol [1], and centrifuge at 10,000 times g for a minute [2]. Discard the obtained filtrate from the collection tube and place the same filter cartridge into same collection tube [3].

    - Talent washing filter with 250 µL of Wash solution 2/ 3.

    - Talent centrifuging the filter.

    - Talent discarding the obtained filtrate.

  - Finally, transfer the filter cartridge into a new collection tube [1] and spin the assembly for 5 minutes to remove the residual fluid [2].

    - Talent transferring the cartridge to new collection tube.

    - Talent spinning the assembly.

- Elution of the RNA with nuclease-free water

  - Transfer the filter cartridge into a new collection tube [1], then add 50 microliters of nuclease-free water to the center of the filter [2] and cap the tube [3].

    - Talent transferring the filter cartridge to a new tube.

    - Talent adding nuclease-free water to the filter.

    - Talent capping the tube.

  - Incubate the tube at room temperature for 10 minutes [1], then spin the tube for 5 minutes at 8,000 times g to recover the RNA into a new collection tube [2].

    - Talent incubating the tube at RT.

    - Talent putting the tube in the centrifuge and closing the lid.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

2.1.

2.3.

2.6.

3.9.

4.2.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Step 2.6. To ensure success, make sure the phases are obvious and only transfer the upper aqueous phase without disturbing the lower phase, even at the cost of a reduced volume of aqueous phase transferred.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 95. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- The electrophoresis assay and nanodrop results of the extracted RNA.

  - A chip-based electrophoresis assay of RNA suggests that representative RNA isolates from mouse and human feces are low in or lack of 18S and 28S rRNA compositions, and the size of RNA isolates falls in the small RNA region [1].

    - LAB MEDIA: Figure 1A. Video editor emphasize on the peaks.

  - A further small RNA electrophoresis with the chip-based electrophoresis revealed that a large portion of the RNAs are of microRNA size [1].

    - LAB MEDIA: Figure 1B. Video editor emphasize on the peak zone highlighted between the dotted lines.

  - The purity of the extracted RNA was high as indicated by the absorbance ratio of 2.0 for 260 and 280 nanometer wavelengths and 1.8 ratio value for absorbance at 260 and 230 nanometers [1].

    - LAB MEDIA: Table 1. Video editor emphasize on the rows D and E.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.