# Submission ID #: 61914

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18883818

Title: Building a Simple and Versatile Illumination System for Optogenetic Experiments

Authors and Affiliations: Phillip Kyriakakis1, Lourdes Fernandez de Cossio2, Patrick Wade Howard1, Sivleng Kouv1, Marianne Catanho1, Vincent J. Hu3, Robert Kyriakakis1, Molly E. Allen1, Yunhan Ma4, Marcelo Aguilar-Rivera1, and Todd P Coleman1

1Department of Bioengineering, University of California, San Diego

2University of California, San Diego

3Department of Mathematical Computational, and Systems biology, University of California, Irvine

4Department of Biomedical Engineering, Duke University

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Phillip Kyriakakis

# pkyriaka@ucsd.edu

# Co-Authors:

l4fernandezdecossiog@health.ucsd.edu

phoward@ucsd.edu

sikouv@ucsd.edu

mcatanho@eng.ucsd.edu

huvj@hs.uci.edu

rkyriakakis@gmail.com

meallen@eng.ucsd.edu

yunhan.ma@duke.edu

mia003@eng.ucsd.edu

tpcoleman@ucsd.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 64

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Electrical Circuit Construction

  - To build an electrical circuit, clip the printed circuit board onto the “helping hands” [1] and insert the ground negative jumper wires into the a1 and a3 pinholes, the power supply plus number 7 jumper wires into the a7 pinhole, and the d2 jumper wire into the d6 pinhole [2].

    - WIDE: Talent clipping PCB to hands

    - Talent inserting wire(s) into pinhole(s)

  - Bend the terminals 45 degrees [1] and add flux [2]. After soldering, trim the backs of the wires [3].

    - Terminal(s) being sent

    - Flux being added

    - Shot of soldered wire, then wire being trimmed

  - Connect the other end of the resistor to the ground [1] and insert the other end of the soldered female wire-to-wire connector into the a5 hole [2].

    - Talent connecting resistor to ground

    - Connector being inserted into a5 hole

  - Connect the connector to the ground [1] and solder the connection [2].

    - Connecting being connected to ground

    - Connector being soldered

  - Then crimp the ends of the wire-to-wire connectors [1] and push the crimped ends through the rectangular connector [2].

    - End(s) being crimped

    - End(s) being pushed through connector

- Light Emitting Diode (LED) Construction

  - To build the LEDs, first strip about 5 millimeters from the wire ends [1] and use a flux pen to apply flux [2].

    - WIDE: Talent stripping wire(s)

    - Talent applying flux

  - Heat the wire from below while adding solder from the top [1] and use the flux pen to place flux onto the surface contact of the LED base [2].

    - Wire being heated/Solder being added

    - Flux being added to base

  - Place a generous amount of solder over 4-5 millimeters of the large soldering tip [1] and use the tip to heat the LED base at the contact [2].

    - Solder being placed onto tip

    - Tip heating base

  - After a few seconds, drag the solder across the contact [1]. Repeat the application on the other contact [2] and use hair clips to clip the black wire onto the contact cathode [3].

    - Solder being dragged across contact

    - Solder being applied to other contact

    - Wire being clipped onto contact cathode

  - Place a generous amount of solder onto the large soldering tip [1] and press the tip onto the wire until the solder on the LED base melts [2].

    - Solder being placed onto tip

    - Tip being placed onto wire/solder melting on base

  - Hold down the wire [1] and remove the soldering iron while holding the wire in place [2].

    - Wire being held

    - Iron while wire being held in place

  - Place a small amount of solder paste onto the pads for the LED connections [1] and use forceps to place the LED over the pads [2].

    - Paste being placed onto pad(s)

    - LED being placed over pads

  - Hold the red wire on the anode [1] and use a hair clip to clip the wire [2].

    - Wire being held on anode

    - Wire being clipped

  - Place a generous amount of solder onto the large soldering tip [1] and press the tip onto the wire until the solder on the LED base and the solder paste under the LED melts. The melted paste will become silver in color [2].

    - Solder being placed

    - Tip being pressed onto wire/paste turning silver

  - Select the length of LED wire needed for the set up [1] and strip the wires and a male wire-to-wire connector [2].

    - Talent selecting wire

    - Talent stripping wire and/or connector

  - Add flux to the wires [1] and place a 3.18-millimeter shrink tube over the wire-to-wire connector and a 4.76-millimeter shrink tube over the wires [2].

    - Talent adding flux

    - Talent placing shrink tube over wires, with tube-covered connector visible in frame

  - Use a “helping hands” to clip the wire-to-wire connector [1] and twist the connector end with one wire [2].

    - Connector being clipped

    - Connector and wire being twisted

  - Solder the materials together [1] and attach the other wire to the setup in the same manner [2].

    - Wire/connector being soldered

    - Wire being twisted around wire/connector setup

  - Place the 3.18-millimeter shrink tubes over the solder [1] and shrink the tubes onto the wires [2].

    - Tube(s) being placed over solder

    - Tube(s) being shrunk

  - Place the 4.76-millimeter shrink tube over the 3.18-millimeter shrink tubes [1] and shrink the tubes over the setup [2].

    - Tube being placed over tubes

    - Tube(s) being shrunk

  - Then clip the LED wires the “helping hands” with tape under the wires [1].

    - Wires being clipped

  - Next, mix epoxy according to the manufacturer’s instructions [1] and spread the epoxy over the top of the soldered LED [2].

    - Talent mixing epoxy, with epoxy kit visible in frame

    - Epoxy being spread onto LED

  - After allowing the epoxy to cure overnight, cut a small piece of touch fastener [1] and press the fastener against the back to the LED for 30 seconds [2].

    - Fastener being cut

    - Fastener being pressed

  - Use a high-speed rotary tool to make a notch on the lid of a black box [1] and build a mounting for a single LED through a privacy film [2].

    - Notch being made

    - Mounting being built

  - Using the spade drill bit, drill a 1.75-centimeter hole through the top of the box where the LED will be placed [1] and use a high-speed rotary tool to make a notch on one side of the hole to make room for the LED wire [2].

    - Hole being drilled

    - Notch being made

  - Tape a 25-30-millimeter piece of privacy film into the inside of the black box covering the hole that the LED will illuminate through [1] and place the LED outside of the black box on top of the hole with the privacy film [2].

    - Film being taped into box

    - LED being placed outside of box

  - Fix the LED in place with electrical tape [1] and drill four, 0.83-centimeter holes 3.81 centimeters apart into the lid of the box [2].

    - Talent taping LED in place

    - Hole(s) being drilled

  - Use a high-speed rotary tool to cut a 1.19- x 1.90-centimeter rectangular hole in the top-left corner [1] and use a spade drill bit to drill a 1.75-centimeter hole into the box [2].

    - Hole being cut into top-left corner

    - Hole being drilled into box

  - After filing, insert a grommet into the 1.75-centimeter hole [1].

    - Grommet being inserted

  - For the computer-controlled LEDs, sandpaper the area where the microcontroller will be glued in the box as well as the bottom side of the microcontroller holder [1].

    - Box being sanded, with holder visible in frame

  - Snap the microcontroller onto the holder [1] before securing the holder in the black box [2] and epoxy the holder and the box together [3].

    - Microcontroller being snapped onto holder

    - Holder being secured

    - Epoxy being applied

  - Then use sandpaper to sand the bottom of two clips and the area in the black box where the circuit will be placed [1] and secure the clips inside the box with the epoxy [2].

    - Clip being sanded

    - Clip being placed onto epoxy in box

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 106. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative LED-Controlled Phytochrome B (PhyB) Expression Analysis

  - In samples transfected to express phytochrome B but no plasmid to produce phycocyanobilin [1], luciferase gene expression and leakiness increases with the amount of reporter DNA [2].

    - LAB MEDIA: Figure 6A Video Editor: please emphasize top construct

    - LAB MEDIA: Figure 6C Video Editor: emphasize black, pink, and green data lines

  - In addition, when the entire phytochrome B gene switch, including the printed circuit board-chromophore producing plasmid, are illuminated for Far-red light [1], luciferase expression also increases with the increasing reporter construct amounts in the transfection mix [2].

    - LAB MEDIA: Figures 6C and 6D

    - LAB MEDIA: Figures 6C and 6D Video Editor: please emphasize black data lines in Figure 6D graph

  - Similarly, when the light-sensitive cells are illuminated with red light, luciferase expression also increases with increased reporter amount [1].

    - LAB MEDIA: Figures 6C and 6D Video Editor: please emphasize red data line

  - When comparing induction levels of the red light treated-cells to the far-red light treated-cells [1], a small decrease in the fold activation is found with increasing amounts of reporter [2].

    - LAB MEDIA: Figure 6E

    - LAB MEDIA: Figure 6E Video Editor: please emphasize data line

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one statement.

- The statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.