- 61953_screenshot_1

    - Localizer exam parameters being set

- 61953_screenshot_2

    - Refined localizer exam parameters being set for axial stack

- 61953_screenshot_3

    - Refined localizer exam parameters being set for coronal stack

- 61953_screenshot_4

2.3.1	Refined localizer exam parameters being set for sagittal stack

- 61953_screenshot_5

3.1.2	Shot of descending aorta in localizer exam

- 61953_screenshot_6

3.2.1	Shot of ascending aorta in localizer exam

- 61953_screenshot_7

3.2.1	Shot of main pulmonary artery in localizer exam

- 61953_screenshot_8

3.3.1	Shot of ductus arteriosus in localizer exam

- 61953_screenshot_9

3.4.1	Shot of superior vena cava in localizer exam

- 61953_screenshot_10

3.5.1	Slice being prescribed and moved to intersect (descending aorta) perpendicularly

3.6.1	Scan parameters to a radial phase contrast MRI acquisition, a 1.3- x 1.3- x 5-cubic millimeter resolution, echo time of 3.25 milliseconds, resolution time of 5.75 milliseconds, field-of-view of 240- x 240-square millimeters, 1 slice, 100-150 centimeter/second velocity encoding according to vessel of interest, through plane, radial views velocity encoding direction, and 1500 per encode, free breathing

- 61953_screenshot_11

3.7.1	Verify the prescription based on the initial time-averaged reconstruction performed and displayed on the MRI console for descending aorta

- 61953_screenshot_12

3.7.1	Verify the prescription based on the initial time-averaged reconstruction performed and displayed on the MRI console for ascending aorta

- 61953_screenshot_13

3.7.1	Verify the prescription based on the initial time-averaged reconstruction performed and displayed on the MRI console for ductus arteriosus

- 61953_screenshot_14

3.7.1	Verify the prescription based on the initial time-averaged reconstruction performed and displayed on the MRI console for main pulmonary artery

- 61953_screenshot_15

3.7.1	Verify the prescription based on the initial time-averaged reconstruction performed and displayed on the MRI console for superior vena cava

- 61953_screenshot_16

4.1.1	Files being loaded into software 00:00 – 00:19

    - ROI being drawn 00:19 – 00:40

- 61953_screenshot_17

4.2.1	ROI being copied onto next phase and ROI being adjusted 00:00 – 00:16

4.2.1	Flow measurement being recorded 00:16 – 00:22