## Slide 1
Screen Captured Shots for Article 61955

## Slide 2
4.2.2.
100x
100 µm

## Slide 3
4.3.1.a.
600x
10 µm

## Slide 4
4.3.1.b.
600x
10 µm
Sacrificial region

## Slide 5
4.3.1.c.
4000x
2 µm

## Slide 6
4.3.1.d.
4000x
2 µm
Charging

## Slide 7
4.4.1.a.
600x
10 µm

## Slide 8
4.4.1.b.
Site of interest
600x
10 µm

## Slide 9
4.7.1.a.
500x
10 µm

## Slide 10
4.7.1.b.
500x
10 µm
Cured region
Charging reduced

## Slide 11
5.2.1.a.
2000x
5 µm

## Slide 12
5.2.1.b.
2000x
5 µm
Feature of interest

## Slide 13
5.2.1.c.
1750x
5 µm
Feature of interest

## Slide 14
5.2.1.d.
1750x
Milling window created
5 µm

## Slide 15
5.3.1.
1750x
Side window created and placed
5 µm

## Slide 16
5.4.1.
1750x
Side window resized
5 µm

## Slide 17
5.5.1.a.
1750x
Bulk window resized and finalized
5 µm
Feature of interest

## Slide 18
5.5.1.b.
1750x
Trench begins to form
5 µm
Feature of interest

## Slide 19
5.6.1.a.
Checking the trench conditions throughout bulk milling
2000x
5 µm

## Slide 20
5.6.1.b.
Checking the trench conditions throughout bulk milling
2000x
5 µm

## Slide 21
5.6.1.c.
Checking the trench conditions throughout bulk milling
2000x
5 µm

## Slide 22
5.7.1.
Confirm trench has milled below feature of interest
2000x
5 µm
Feature of interest
Depth of trench

## Slide 23
5.8.1.
Ion current lowered to 0.92 nA
1750x
5 µm

## Slide 24
5.9.1.a.
1750x
5 µm
Feature of interest located
Cleaning window placed

## Slide 25
5.9.1.b.
1750x
5 µm
Cleaning window resized

## Slide 26
5.10.1.a.
1750x
5 µm
Cleaning cross section milled to proper z-depth

## Slide 27
5.10.1.b.
2000x
5 µm
Depth of trench
Cleaning cross section milled to proper z-depth

## Slide 28
6.1.2
Sample oriented in EDX software

## Slide 29
6.2.2
Process time set

## Slide 30
6.3.1.a.
Microscope setup tab opened

## Slide 31
6.3.1.b.
Deadtime measured

## Slide 32
6.3.1c.
Deadtime adjusted

## Slide 33
6.4.1.b.
Image setup tab opened
Adjust image resolution and bit depth

## Slide 34
6.4.1.a.
Image acquired

## Slide 35
6.5.1
Adjust EDX parameters before data acquisition

## Slide 36
6.6.1.a.
EDX area selected

## Slide 37
6.6.1.b.
EDX mapping

## Slide 38
6.6.1.c.
EDX data saved