Please note that the reviewers raised some significant concerns regarding your method and your manuscript. Please revise the manuscript to thoroughly address these concerns. Additionally, please describe the changes that have been made or provide explanations if the comment is not addressed in a rebuttal letter. We may send the revised manuscript and the rebuttal letter back to peer review.


Editorial comments:
Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. Please define all abbreviations at first use.

REPLY: Done.
2. Please provide an email address for each author.

REPLY: Done.
3. Unfortunately, there are sections of the manuscript that show overlap with previously published work. Please revise the following lines: 37-40 (up to “(SAM) and”).

REPLY: Done
4. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.
For example: Duchefa Biochemie, Agilent 6460 series, MASSHUNTER software (Agilent Technologies), Polaris 5 C18A column, Hypercarb column (Thermo Fisher Scientific),

REPLY: We removed the commercial symbols and add the information in the Table of materials and reagents.

5. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol. Any text that cannot be written in the imperative tense may be added as a “Note.” However, notes should be concise and used sparingly. Please include all safety procedures and use of hoods, etc.

REPLY: Done.

6. Please note that your protocol will be used to generate the script for the video and must contain everything that you would like shown in the video. Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

REPLY: Actually, our protocol focuses on the sample pre-treatment and the data analysis after data collection. Considering the button clicks for software actions, different mass spectrum (e.g. Agilent, Waters, Thermo Fisher) use different software, and audients can use any of them. So it is useless to show such details. Concerning the values for settings, we show the settings for HPLC separation and MS detection in Table 1, Table 2, and Table 3, which are suitable for any kind of HPLC and MS machine.

7. Please remove the embedded Table from the manuscript. All tables should be uploaded separately to your Editorial Manager account in the form of an .xls or .xlsx file. Only the title and a description should appear after the Representative Results of the manuscript text.

REPLY: We removed the embedded Tables.

8. 3.5: Please cite Table 3.

REPLY: Done.

9. 4.1: What were the concentrations? Please add the information in line 175 to this step.

REPLY: Done.

10. 4.2: Please specify that this is done via the HPLC component of your LC-MS setup.

REPLY: No, it is done by Mass spectrum, and we add this note in Step 4.2 now.

11. After including a one line space between each protocol step, highlight up to 3 pages of protocol text for inclusion in the protocol section of the video. This will clarify what needs to be filmed.

REPLY: Done.

12. Please remove the embedded figure(s) from the manuscript. All figures should be uploaded separately to your Editorial Manager account as vector image files to ensure high resolution throughout production: (.psd, ai, .eps.). Only the title and a description should appear after the Representative Results of the manuscript text.

REPLY: We removed the embedded Figures.

13. As we are a methods journal, please add to the Discussion the following with citations:
a) Any modifications and troubleshooting of the technique
b) The significance with respect to existing methods

REPLY: We added.

14. Please sort the Materials Table alphabetically by the name of the material.
REPLY: Done


____________________________________
Reviewers' comments:
Reviewer #1:
Manuscript Summary:
This paper deals with an analytical method of 13 nucleosides and nucleotides in plant materials. It describes all the steps : from plant collection to metabolites extraction, lyophilisation, resuspension and LC-MS/MS analysis MRM mode. The samples are analyzed using two LC-MS/MS methods, nucleosides are separated on a C18 column, whereas nucleotides are separated on a Hypercarb column. MRM areas are measured for each peak, calibration is performed by matrix-matched calibration to avoid matrix effect biases.
Warnings were displayed for the main steps and risks. Concerns about the accuracy of quantification by using standards, matrix-matched calibration curves and their ranges were appropriately raised. The method seems to be efficient, and has already been used in several papers by the authors. But it is not clear if it is the most efficient method, when comparing it to literature.

Major Concerns:
The method is not clearly presented in the context of the existing literature : plenty of papers have been published specifically about the separation and quantification of nucleosides/nucleotides by LC-MS/MS in MRM mode (Seifar et al, Anal Biochem, 2018 ; Guo et al, J Chromatogr A, 2013 ; Moravcova et al, J Chromatogr, 2014 ; Zong et al, Molecules, 2015 ; Zhou et al, J Sep Sci, 2019 ; Qu et al, J Sep Sci, 2019). The authors should have cited some of these technical papers; a presentation of the various approaches that were used and their pros and cons was expected: isotopically-labelled internal standards or not, chromatography types (HILIC, Hypercarb, C18, ion pair chromatography) and retention, MS analyzers (triple quadrupole or triple quadrupole linear ion trap).

REPLY: Thanks for your suggestion. We cited and briefly presented several new technical papers in “INTRODUCTION” section.

More specifically, it is not clear why the authors use two different chromatography analyses, one for nucleotides, the other for nucleosides, whereas several papers propose a one-shot approach. Please justify, as it doubles the time of use of an expensive LC-MS/MS.
REPLY: Because C18 column is relatively cheap and the performance of it is quite stable, it is, in our hand, used for nucleosides separation. However, it is not good at nucleotides separation. For example, AMP and IMP can not be separated in C18 but can be distinguished in Hypercarb column. More importantly, these two compounds have similar precursor ions, so it is also difficult to distinguish by the mass spectrum. Similar case is UMP and CMP. So, we normally employ an hypercarb column to quantify nucleotides in our samples.

Minor Concerns:
Fig 1: please replace « profiles » with « spectra » and « mother ions » with « precursor ion »

REPLY: Done.

Please replace the sentence « MS/MS profiles of mother ions and product ions detected… » with « MS/MS spectra of precursor ion m/z 282, detected … »

REPLY: Done

Table 3: One decimal digit should be enough for mother ion mass
REPLY: Done


Reviewer #2:
Manuscript Summary:
In the summary, the author used statistical terminology "precise" and "reproducible", however the methods and results presented were not clearly demonstrating it.

Major Concerns:
1) Do you used ambient temperature centrifuge or refrigerated one?

REPLY: The metabolites were extracted at 4℃. We add this information in the protocol. Thanks for reminding.

2) Why a reverse phase column C18 for nucleosides was chosen and a Hypercarb for nucleotides?

REPLY: Because C18 column is relatively cheap and the performance of it is quite stable, it is, in our hand, used for nucleosides separation. However, it is not good at nucleotides separation. For example, AMP and IMP can not be separated in C18 but can be distinguished in Hypercarb column. More importantly, these two compounds have similar precursor ions, so it is also difficult to distinguish by the mass spectrum. Similar case is UMP and CMP. So, we normally employ an hypercarb column to quantify nucleotides in our samples.

3) It is not clear whether the two column used separately or coupled. Please show the separation profiles of these two columns.

REPLY: Two column are used separately. Now, we add the separation profiles in Fig.1.

4) Please detail the condition for HPLC, e.g. column temperature, type of solvent (ultrapure grade or MS/MS grade? MS/MS grade is usually hypergrade for LC-MS, while ultrapure is for normal HPLC).

REPLY: The information was added in the protocol.

5) Please detail the MS interface condition and MS analysis condition that produced such results, e.g. ionization method, range of detection, type of scan (Q1/Q3, or SIM), positive or negative modes, collision energy, event time, scan speed, etc., since this is a method journal.

REPLY: We add the more details in Table 3.

6) How do you get the Figure 2? Which chromatography condition do you used?

REPLY: We used C18 column for separation. The chromatography condition was shown in Table 1.

7) Calibration curve is for showing the instrument response. Please clearly discuss sensitivity, accuracy (%), precision (% CV), stability (temperature wise), and % recovery, in order to be consistent with manuscript summary
REPLY: Done.

Minor Concerns:
1) Please clearly define between buffer (pH is sustained) and solvent mixtures (no additional compound that sustains pH).

REPLY: Done, we revised.

2) To ensure wide-range readers understand what is going on, please briefly clarify what do we expect from initial separation step in sample preparation? What is in the suspension?

REPLY: We add information in step 2.2.

3) line 85, please specify "metabolites", since only nucleoside/nucleotide is discussed

REPLY: We changed.

4) Give technical detail, e.g. ratio v/v/v

REPLY: Done.

5) line 117/118/124/125... "Mobile phase A: 10 mM..." please use "=" in order to differentiate the use punctuation for addressing ratio

REPLY: We changed.