## Sheet1
Name of Material/Equipment | Company | Catalog Number | Comments/Description
Advanced Peltier System | TA Instruments | 402500.901 | Enviromental control device
ARES-G2 Rheometer | TA Instruments | 401000.501 | Rheometer
Brookfield Silicone Fluid, 12500cP | AMTEK Brookfield | 12500 cps | Viscosity standard liquid
OSP Slotted Bob, 33 mm | TA Instruments | 402796.902 | Bob, upper geometry
OSP Slotted Double Gap Cup, 34 mm | TA Instruments | 402782.901 | Double wall cup, lower geometry
Pipette (1 – 10 mL) | Eppendorf | 3120000089 | To load test materials
Pipette (100 – 1,000 µL) | Eppendorf | 3123000063 | To load test materials
Pipette Tips (0.5 – 10 mL) | Eppendorf | 022492098 | To load test materials
Pipette Tips (50 – 1,000 µL) | Eppendorf | 022491555 | To load test materials
Spatula | VWR | 82027-532 | To load test materials
TRIOS | TA Instruments | v4.3.1.39215 | Rheometer software