## Sheet1
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
30G x 1/2 needles | BD | 305106 | for catheters
5 1/2" straight forcep hemostat | McKesson | 487377 | in situ bladder fixation
ACE 600 Sputter coater | Leica |  | SEM sample processing
aluminum SEM stub | Ted Pella | 16111 | SEM sample processing
Calcium chloride | EMS | 12340 | in situ bladder fixation
conductive carbon adhesive tab | Ted Pella | 16084-1 | SEM sample processing
Conductive silver paint | Ted Pella | 16034 | SEM sample processing
CPD 300 Critical Point Drier | Leica |  | SEM sample processing
Cytofunnel metal clip | Simport | M964B | cytospun urinalysis
Ethanol | EMS | 15050 | SEM sample processing
Glucose | Sigma | G7528 | for NYCIII G. vaginalis growth media
glutaraldehyde | EMS | 16320 | in situ bladder fixation
Hema 3 staining kit | Fisher | 23123869 | cytospun urinalysis
HEPES | Cellgro | 25-060-Cl | for NYCIII G. vaginalis growth media
iridium | Ted Pella | 91120 | SEM sample processing
isofluorane |  |  | mouse anaesthesia
kanamycin | Gibco | 11815024 | add to UPEC LB selective plates (50 ug/mL)
Luria-Bertani agar | BD | DF0445174 | UPEC growth plates
Luria-Bertani broth | BD | DF0446173 | UPEC growth media
Merlin FE-SEM | Zeiss |  | scanning electron microscope
Milli-Q Water Purifier | Millipore | IQ-7000 | SEM sample processing
NaCl | Sigma | S3014 | for NYCIII G. vaginalis growth media
Olympus Vanox AHBT3 microscope | Olympus |  | cytospun urinalysis
osmium tetroxide | EMS | 19170 | SEM sample processing
paraformaldehyde | EMS | 15710 | in situ bladder fixation
polyethylene tubing | Intramedic | 427401 | for catheters
Proteose Peptone #3 | Fisher | DF-122-17-4 | for NYCIII G. vaginalis growth media
PTFE coated double edge razor blade | EMS | 72000 | cutting bladders for SEM
Shandon Cytocentrifuge | Thermo Scientific | A78300002 | cytospun urinalysis
Shandon cytofunnel filter | Simport | M965FWDV | cytospun urinalysis
Shandon Double cytofunnel | Simport | M964-1D | cytospun urinalysis
Shandon double cytoslides (coated) | Thermo Scientific | 5991055 | cytospun urinalysis
sodium cacodylate trihydrate | EMS | 12310 | in situ bladder fixation
spectrophotometer | BioChrom | 80-3000-45 | measuring bacterial OD600
streptomycin | Gibco | 11860038 | add to G. vaginalis NYCIII selective plates (1 mg/mL)
tuberculin slip tip syringe | BD | 309659 | for catheters
Yeast Extract | Fisher | DF0127-17-9 | for NYCIII G. vaginalis growth media