## Sheet1
Crystallized sample | CCA-adding enzyme | CCA-adding enzyme + CMPcPP
Crystal analysis
X-ray beamline | SLS – X06DA | SLS – X10SA
Wavelength (Å) | 1.000 | 1.000
Temperature (K) | 293 | 293
Detector | Pilatus 2M-F | Pilatus 6M
Crystal-detector distance (mm) | 300 | 400
Crystals collected | 6 | 14
Crystals selected | 5 | 5
Rotation range per image (°) | 0.1 | 0.2
Exposure time per image (s) | 0.1 | 0.1
No. of images selected | 1000 | 540
Total rotation range (°) | 100 | 108
Space group | P43212 | P43212
a, c (Å) | 71.5, 293.8 | 71.4, 293.6
Mean mosaicity (°) | 0.04 | 0.04
Resolution range (Å) | 46 – 2.54 (2.6 – 2.54) | 48 – 2.3 (2.4 – 2.3)
Total No. of reflections | 176105 (9374) | 232642 (32937)
No. of unique reflections | 23922 (1598) | 34862 (4066)
Completeness (%) | 90.6 (84.6) | 99.5 (100.0)
Redundancy | 7.5 (6.0) | 6.7 (8.1)
〈I/σ(I)〉 | 8.1 (1.3) | 6.9 (0.7)
Rmeas (%) § | 18.6 (126.0) | 18.0 (231.2)
CC1/2 (%) £ | 98.7 (55.0) | 98.7 (46.9)
Overall B factor from Wilson plot (Å2) | 57.4 | 60.6
Crystallographic refinement
No. of reflections, working set / test set | 23583 / 1180 | 34840 / 3405
Final Rcryst (%) / Rfree (%) | 18.8 / 21.4 | 20.0 / 22.9
No. of non-H atoms: overall / protein / ligand / solvent | 2998 / 2989 / 0 / 9 | 3057 / 2989 / 29 / 10
R.m.s. deviations for bonds (Å) / angles (°) | 0.009 / 1.23 | 0.010 / 1.22
Average B factors (Å2): overall / protein / ligand / solvent | 60.1 / 60.1 / 0 / 52.7 | 62.5 / 62.6 / 60.1 / 55.5
Ramachandran plot: most favored (%) / allowed (%) | 98.1 / 1.9 | 97.2 / 2.8
PDB id | 6IBP | 6Q52