Editorial comments:
Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.

We have proofread the version and corrected accordingly.

2. Please format the manuscript as: paragraph Indentation: 0 for both left and right and special: none, Line spacings: single. Please include a single line space between each step, substep and note in the protocol section. Please use Calibri 12 points and one-inch margins on all the side.

Editorial changes performed.

3. Please adjust the numbering of the Protocol to follow the JoVE Instructions for Authors. For example, 1 should be followed by 1.1 and then 1.1.1 and 1.1.2 if necessary. Please refrain from using bullets or dashes.

Protocols numbering was adjusted according to instructions.

4. Unfortunately, there are sections of the manuscript that show overlap with previously published work. Please revise the following lines: 240-244, 261-264, 291-296, Figure 5’s legend (“magnetic stripes…200 µm”

The lines were revised as you can see in the new manuscript. The new lines are 215-220, 232-233, 251-255 and 509-517 accordingly.

5. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents. For example: B-351 developer, Orion AJA Int., MPMS SQUID (Quantum Design, Inc.), BioTek Synergy 4 Hybrid Microplate Reader etc

All materials and equipment names have been moved to the table of materials. All commercial language was removed.

7. Line 209: what do you mean by collagen type I rat tail? If you are using animals in this study, please add an ethics statement indicating approval of your study design and experiments by appropriate institutional ethics committees at the beginning of the protocol.

We are not using animals in the study. This refers to a solution that we purchase. We changed text to 'collagen type 1 (solution from rat tail)'.

8. Line 264: Do you use trypan blue to count viable cells or are you counting cells based on uptake of MNPs? Please clarify.

Please reference the relevant viability assay for MNP-loaded cells (lines 277-306) if this is what is used at this stage.

Regarding line 264 (now 233): In this step we perform regular cell counting with a camera in order to seed cells in plate and examine their differentiation and viability.

Regarding line 277 (now 243): We used two viability assays for the MNPs loaded cells. protocol 3.1 refers to XTT and 3.2 to Presto Blue.

9. Please clarify when the XTT and Prestoblue assays are used.

We preform viability assays for cells with MNPs (after uptake) to check for what concentrations the MNPs are not toxic to the cells. We do not perform this procedure routinely.  We modified line 418 to clarify this issue:" The viability of MNPs-loaded PC12 cells for different concentrations of MNPs are evaluated and verified using XTT and Presto Blue assays".

10. Lines 341-346: If you don’t plan to show how to use a Gauss meter or calculate the medium’s viscosity, cell diameter, and cell velocity for filming the video, please cite references to allow readers to replicate these techniques.

We found that this methodology, while interesting, is more complicated to most researchers, and does not provide much data. For sake of clarity and focus on the important methods we removed it from the revised manuscript.

11. After including a one-line space between each protocol step, highlight up to 3 pages of protocol text for inclusion in the protocol section of the video. This will help determine what needs to be filmed.

The protocols we would like to film are:

1. Magnetic platform fabrication (1.1 and 1.2),

2. Characterization of magnetic device via transport measurements,

4. Collagen coating protocol

5.1. Cellular MNPs uptake

7. Cell differentiation and growth on magnetic platform

12. Please remove the embedded figures from the manuscript. All figures should be uploaded separately to your Editorial Manager account. Please include only the figure legends (figure titles and a description) after the Representative Results of the manuscript text.

Figures were removed and figures legends were removed to the correct section according to the instructions.

13. Please ensure that the references appear as the following: [Lastname, F.I., LastName, F.I., LastName, F.I. Article Title. Source. Volume (Issue), FirstPage–LastPage (YEAR).] For more than 6 authors, list only the first author then et al. Please make volume numbers bold and remove the abbreviated journal names; journal names should be written fully with the first letter of each word in the name capitalized.

All references were corrected.

Reviewers' comments:

We thank the reviewer for the relevant comments that helped us improve our paper. The response to all comments, and the related paper modifications appear below.

Reviewer #1:
Manuscript Summary:
Q: This work entitled: "Fabrication of Magnetic Devices for Micron-Scale Organization of Neuronal Networks" describes an innovative protocol to fabricate magnetic micro features on a glass carrier utilizable for patterning cells, specifically PC12 cell lines. The design and fabrication of the magnetic micro features are innovative, highly relevant to neuronal cell growth studies and other cell patterning applications. They are easy to handle and the protocol introduce here is timely. Before publication of this protocol, however, a few major and few minor concerns must be addressed.

We thank the reviewer for recognizing the relevance and innovative quality of our research.

Major Concerns:
Q: Title: The paper describes the fabrication of magnetic micropatterns / features /attracting elements for the organization of neuronal networks in vitro. It is not really a device. The title should be adjusted.

According to the reviewer's comment, we agree with the need to correct the title and changed 'device' to 'Platforms'.

Q: Similarity: The paper is very similar to the work published by the same author: https://doi.org/10.1002/admi.202000055 A clear statement is needed in the introduction and conclusion how this work here is different from the already published work.

The focus of this paper is on providing all the protocols and the know-how to enable researchers to use the methodologies. These were used by us in previous studies and are now summarized according to the guidelines of JoVE.

Q: Summary: Micro-electrodes are mentioned here, however, this is highly confusing as no electrical field is used to induce / operate the magnetic patterns.

Changed to ‘micro-patterned platform’

Q: Abstract: Line 48 - 50 this is an overstatement as literature does show single cell positioning through PLL patterns and other methods.

The abstract has been modified, stating that single cell positioning is scarce. A reference to the PLL method was added in the intro. We do not claim that ours is the only reported method, rather that these methods are rare. We believe that the flexibility offered by using magnetic forces (e.g., turning them on and off, and not chemically modifying the surface) is an important addition to researchers' toolkit.

Q: Intro: Line 71 - 74 a variety of references are missing who have used magnetic attracting elements for neuronal studies.

We added references 13-17 and 32-35 that represent prior knowledge. According to the reviewer recommendation, we cite Gahi et al., Tay et al., Kunze et al. and Roet et al. and more.

Q: Line 82 what is a strong magnetic force, here, in this context?

The meaning in strong magnetic force is that the remanent magnetization of the magnetic patterns is significant (equals the saturation of 270 emu/cm3) so the magnetic force is stable and do not require an external magnetic field. For clarify, we changed in the text to “effective attraction forces” (line 101).

Q: Main text: Line 503: The usage of a device is confusing.

Changed to 'platforms' to avoid confusion throughout the text.

Q: Line 512: The usage of electrode is confusing

Changed to ‘cross-shape device’ and directed readers to the inset figure.

Q: Additional information about the nano-particles are needed (size, coating, biologically active, surface charge).

We add additional information about the particles (lines 400-407)

‘Fluorescent iron oxide (γ-Fe2O3) magnetic nanoparticles (MNPs) were prepared according to a previous publication57. The MNPs were synthesized by nucleation. The particles preparation includes six-layered thin films of iron oxide covalently conjugated to rhodamine isothiocyanate (RITC) and coated with Human Serum Albumin (HSA). The MNPs dry diameter size is 15+-3 nm with zeta potential of -45, according to TEM measurement.’

Q: How long were cells incubated with the nanoparticles?

The cells were incubated for 24 hours. This is mentioned in line 409 after the description of the particles. No changes were made.

Q: Was their incubation time with and without the magnetic field? What was the exact experimental procedure for aligning nanoparticle loaded PC12 cells on the magnetic features? How long was the magnetic field applied? How long were cells grown in vitro. Was the magnetic field applied during the entire duration?

To clarify, cell uptake is done without any magnetic fields. Otherwise, the MNPs would be attracted to the magnets instead of entering the cells. We are concerned that talking about fields during uptake will confuse the readers.

We emphasize, since the magnetic multi-layers are stable, there is no need for an external field during plating or growth.

To clarify, we added to the text (line 430): ‘Cells were seeded and left to settle down and adhere to the substrate. Every 2 days, cells were treated with fresh medium and NGF as describe in protocol 7.’

The cells grow on the substrate between 3-8 days (depending on the goal of the experiment), in each image we note the time. The magnetic field is permanent from the magnetic pattern so is applied during the entire growth time.

Q: Fig.1 A: Scale bars for all images are needed. 1B: What is the height of the final magnetic structure?

We added scale bars in Fig. 1A. The height is mentioned in line 382. We added it to the legend for clarity.

Q: Line 541 - 543: This has been shown in numerous previous publications in the same field, hence what Reference is it based on?

We found that this methodology, while interesting, is more complicated to most researchers, and does not provide much data. For sake of clarity and focus on the important methods, we removed it from the revised manuscript.

Q: Fig.5 D: Scale bar needed.

Done.

Q: References: Reference 63 and 55 are identical, same for 57 and 62; the citation of patents needs to be corrected and the pre-print reference needs to be updated or replaced with the fully published version

The identical references were removed, and the references list was corrected according to JoVE instructions.

Q: The two major issues are the high similarity to an already published article from the same group and missing references covering the modulation of neuronal growth and function, interaction with nanoparticles and magnetic element fabrication and applications with neurons in vivo and in vitro (e.g., Gahl et al.; Tay et al., Kunze et al., Christianzen et al., Roet et al., and additional)

We commented about the similarity issue above. We thank the reviewer for pointing out relevant papers. We added some of the suggested and others we thought may be relevant. They now appear as refs. Number 16-19 and 32 in the modified manuscript.

Minor Concerns:
Q: Line 357: What is ICP?

Inductively coupled plasma. It is now also defined in the protocol.

Q: Line 658: Space before comma

Changed. 


Reviewer #2:
The manuscript titled "Fabrication of Magnetic Devices for Micron-Scale Organization of Neuronal Networks" is well written and provides insights into a novel way of guiding neuronal growth in vitro and possibly in vivo in the future. Methods offer a detailed explanation of the methodology developed during this research, and results showed the rigor and validity of the experiments. Few minor points need to be addressed, which will improve the readability of the manuscript and make it ready for publishing.

We thank the reviewer for the relevant comments that helped us improve our paper. The response to all comments, and the related paper modification appears below.

1. Title and Abstract
Q: * A short and informative title was provided. It briefly explained the main accomplishment of the manuscript.

The title was corrected following the reviewer's comment.

Q: * The abstract organization can be improved by sequentially providing the introduction, main methods used, and the main results. Authors are recommended to improve the organization of the abstract to enhance readability.

We edit the abstract according to the recommendation. The new abstract includes an introduction, main methods, and results as you can see in lines 45-64.

2. Introduction
Q: * The introduction is relatively short, and authors should summarize how other researchers have provided patterning to the growing neurons in a little bit more detail.

The introduction has been expanded with more details on other researchers on patterning of neurons, the relevant references appear in numbers 1-5.

Additionally, we added a new paragraph which summarizes previous works on neurons and magnetic manipulation as you can see in lines 76-88.

Q: * Can this technique work for other cell types? Please explain that if it is possible.

We examine this method on PC12 only, but as we noted and cite in the introduction, there are many publications of cells with MNPs, so our method is suitable for other cells too.

Q: * A brief literature search provides a reference on how other researchers have used magnetic particles with neurons. Please include those as well.

We cite the relevant references. Numbers 32-35.

Q: * Please also provide a brief overview of the results produced during research at the end of the introduction section.

we added to the introduction a brief overview of the results, lines 98-108.

3. Methods
Q: Methods are well explained step-by-step. The study can be repeated independently based on the instructions provided in the methods section.

Thank you.

4. Results
Q: * Please explain the reasoning behind creating multilayers of Co80Fe20 and Pd?

In order to attract magnetic elements to the patterns the magnetization should be perpendicular to the substrate. Multilayers of magnetic materials and Pd (or Pt) is a common way to induce a perpendicular magnetic easy axis, with remnant magnetic field similar to the saturation field, which means we do not need to use external fields in the experiments, and the MNPs loaded cells attract to the entire pattern (not only to the edges). We cite our previous work when we do not use magnetic multilayers, for comparison (Ref number 22). The use of a CoFe alloy results in a ferromagnetic material that can reach higher saturation magnetization (due to Fe), while maintaining perpendicular magnetism (due to Co).

To clarify, we add some changes in the text. (lines 380-386)

Q: * It looks like that the rhodamine nanoparticles are present at the outside periphery of the cells (Fig 2B). Are the particles inside the cells or just sticking to the outer part of the soma?

The particles are inside the cell but outside the nuclei. This is demonstrated by the staining. As is evident the Rhodamine has low fluorescence from where the nucleus is located. If the particles were outside, we would have seen a constant Rhodamine signal. If NPs exists in the entire cell except the nucleus, then there would be more fluorescence inside the cell but out of the nucleus – which is what we see (nucleus position is marked with DAPI).

We modify the text in lines 408-417.

Q: * Neurites from the soma of PC12 is not visible in Fig 3A. Will it be possible to provide other images where it is easier to visualize?

The florescence in figure 3a (left) is from the Rhodamine of the nanoparticles. There are a few neurites that clearly have MNPs. However, if the concentration of the particles inside the neurites is low it will be difficult to observe them. So, we do not expect to be able to see them in long elongated neurites. We added arrows to draw attention to these places in the image and added in the caption " Arrows show differentiated neurites with internalized MNPs.".

Q: * Does the MNPs transport into neurites when the cells are differentiating? Please provide some example images. How are the neurites guided into the magnetic patterns if the MNPs are not getting transported into the neurites?

The results show that the neurites are influenced by the magnetic pattern and grow accordingly so it indicates that the MNPs transport to them. Moreover, it can be seen from image 3a that the particles transport to the neurites after differentiation. As written above, we added arrows in the image and added in the caption " Arrows show differentiated neurites with internalized MNPs.".

Q: * What happens to the neurites if the magnetic field is removed? Do they still keep on growing on the patterns, or they come out of the patterns and start growing throughout the substrate?

Since the magnetic field that guide the neurites is from the magnetic pattern, and not from external source, it is not simple to “turn it off”. In principle, it is possible to de-magnetize and re-magnetize the pads by applying an external field modulation sequence, thus turning on and off the magnetic forces for additional control. Actually, one of our current studies is on this issue.

Q: * Does it look like that the cells were plated a low density? Please explain.

This is correct. We plate the cells at low density since we wanted to study effects of the substrate on single cells. A high density would result in interconnections (and chemical cueing). This will hamper our ability to perform statistical analysis, e.g. Sholl analysis, for single cells.

Q: * Have you tested the growth of PC12 cells on the un-magnetized substrate but with patterns? How do the neurites grow on such a substrate?

We showed in the article that cells without MNPs treatment that grow atop our magnetic platforms do not attract to the magnetic patterns and the neurites develop randomly (figures 4 and 5). This control sample indicate that the effect is related to the magnetic attraction and not comes from topography or chemical effects. The comparison to cells growing atop platforms with patterns from non-magnetic material will not provide the control for testing the ability of MNPs to direct neurites, which is the aim of this method. In general, we and others have studied growth of neuron-like cells on non-magnetic patterns, and for thicknesses <20nm there is nearly no affect.

Q: * Did the MNPs show no cytotoxicity for all the concentration of MNPs used?

The concentrations we tested don’t show toxicity for the cells but high enough so the cells after uptake attract to magnetic field. The final concentration we work with during all experiments is 0.25 mg/ml (which is considered reasonable), noted in line 410.

Q: * How long the magnetization last after removing the external magnets?

The magnetization of the magnetic pattern is stable duo to the coercivity of the magnetic multilayers, so the magnetization does not change unless external magnetic fields are applied (or by heating the substrate to a few hundred C). We measured the magnetic platforms after a few weeks and the magnetization did not change.

5. Discussion
Q: * Please only discuss the results which are presented in this manuscript. Please remove the details from line 632-635. Please provide the results if that discussion is considered essential.

The purpose in this discussion is to emphasis the importance of performing viability test and magnetic characterization when choosing MNPs. There are several commercial MNPs but not all of them are suitable for this experiment. Researchers planning to use our protocol must have this information, or we are setting them up for failure.

Reviewer #3:
Manuscript Summary:
Q: Thank you for assigning me to review the manuscript "Fabrication of Magnetic Devices for Micron-Scale Organization of Neuronal Networks". The authors Sharoni et al. report about their method to fabricate magnetic patterns on substrates such as glass, that can be used to control the position of cell attachment. Further, they show that the neurite growth takes preferentially place along with the magnetic patterns. As the cell viability and the response to NGF seems to remain unchanged, the magnetic patterning can be used to position cells in a defined location which could enhance the reproducibility in some applications.

We thank the reviewer for reviewing our manuscript and useful comments.

Major Concerns:
Q: The presented method is interesting as the positioning of the cells seems to work very efficiently. Therefore, the manuscript could be helpful for many labs with different aims. Although the main information of the manuscript is convincing, several aspects raise major and minor concerns and need to be revised before the manuscript can be published.
* The language of the manuscript needs to be improved. It is partially difficult to understand the content as the language is not precise enough. In addition, spelling errors and inconsistent use of abbreviations hamper the reading experience. Examples:
I) Inconsistent and incomprehensible usage of the abbreviations MNP and MNPs: the plural MNPs is often falsely used e.g.: line 231: cellular MNPs uptake and viability. The authors should check carefully where the plural or singular should be used.
II) Lines 85-88: The magnetized cells show a strong attraction of soma to the patterns during plating, and the neurites developing process, which develops nicely, also grow preferentially according to the predesigned structures. 
III) Line 266: MNPs loaded cells plating and differentiation. 
IV) Line 534: After MNPs cellular uptake, the cells are suspended in a plastic plate with regular medium. 
V) And more…

We edited the paper for grammatical and spelling errors, corrected the aforementioned errors and others. We thank the reviewer for pointing these out.

Q: * The term „neural network" is used throughout the manuscript. A key property of a network is the interconnection of the separate units and their functional transmission of signals or information. In the manuscript, basically, the neurite outgrowth of single cells is shown but not if they form a type of network. Either the term "neural network" should be avoided, or necessary experiments to prove the network formation has to be performed.

We agree with the reviewer and changed the title of the manuscript to “interconnected neurons” instead of neural network. In addition, we modified the text and avoid the use of neural network.

Q: * Line 284 ff.: It is written, that for the viability assay MNP concentrations in the range of 0.1-0.5 mg/ml were measured. If this is true, the positive control of cells without MNPs is missing and needs to be performed. For a convincing viability assay, it is important to know how the viability is for cells without the substance that should be tested as it represents the viability in normal conditions.

Of course viability tests for control sample with no MNPs are important. Control samples were measured, and all the results were normalized to the control, as presented in figures 3c and 3d in the viability assay results. This has been clarified in the protocol, lines 245 and 268 (revised version): "Cultivate the PC12 cells with MNPs at different concentrations (0.1 mg/mL, 0.25 mg/mL and 0.5 mg/mL in basic growth medium) and cultivate cells without MNPs for control sample in triplicate in a flat 96-well plate, each well should have a total volume of 100 μL."

Q: * Line 327 ff.: The method of the "characterization by constant velocity measurements" is not convincing. How long after seeding the cells into the dish has the measurement been performed? What is the impact of external factors such as motions caused by touching the dish or moving the stage of the microscope? How can the exact position of the dish be located to apply the proper value for the magnetic field gradient?

We found that this methodology, while interesting, is more complicated to most researchers, and does not provide much data. For sake of clarity and focus on the important methods we removed it from the revised manuscript completely.

Q: * Line 83: "MNPs are loaded into PC12 cells via incubation, …". What is the mechanism for MNP uptake? Are the MNPs afterward present in the cytoplasm or inside endosomes?

According to this study and others performed in our lab, we believe that the MNPs transfer the cell via endocytosis, and are present inside of the membrane but outside the nuclei.

We added to the discussion: The internalization mechanism of MNPs into cells have been previously investigated 46. Cells uptake MNPs via endocytosis according to their size, shape, and surface chemistry. In previous studies we examined different types of MNPs uptake with neurons24. We found that coated MNPs uptake into the cells better then uncoated MNPs. As we display in Figure 3B and 3A, MNPs internalized into the cells' cytoplasm but outside the nuclei, and transfer to the neurites during the developing process. Additionally, we have shown that MNPs conjugated to NGF that activated NGF pathway also have been internalized into cells via endocytosis47, 48.

Minor Concerns:
Q: * Line 114 ff.: Sonication bath (70% power): unprecise information as the model of the sonification bath is not mentioned. What are the frequency and amplitude?

Our sonication bath is from KUDOS company. Model: SK3210HP. Frequency of 53kHz and ultrasonic power of 135W. All the details now appear in the Table of Materials section.

Q: * Line 114 ff.: What are the specifications of the glass slides

We use microscope slides of BAR-NAOR company. Pre-cleaned 26x76 mm and thickness of 1.0-1.2mm. All the details now appear in the Table of Materials.

Q: * Example: line 135, 136, ff.: Inconsistent use of chemical symbols (Co80Fe20) vs. full names (Palladium)

Corrected to chemical symbols only. Lines: 130-133.

Q: * Misleading mentioning of product names: line 209: …collagen type 1 rat tail… as only the collagen is used which was isolated by the manufacturer from rat tails, the addition "rat tail" should be written before "collagen " or in brackets

Changed to: “collagen type 1 (solution from rat tail)”

Q: * Line 206 ff.: Concentrations and molarities, etc. should are usually written in front of the substance name (HCl 0.01 M vs. 0.01M HCl; PBS 1x vs. 1x PBS, etc.)

Changes have been made throughout the paper.

Q: * Line 235: …penicillin streptomycin… The authors should indicate that it is not a single substance but a mixture of penicillin and streptomycin (e.g. penicillin/streptomycin)

Done. Line 210.

Q: * Line 240 ff.: Grow cell suspension in a culture flask… The authors should specify if surface-treated or non-treaded flasks were used. Even with the article number in the table, it is not possible to identify. Which size was used? What happened to the cells after 8 days? How was the passaging for the maintenance culture performed?

We use non-treated culture flask with vent cap, size of 75 cm2, 250ml. All the details are now clearly mentioned in the attached table. After 8 days, the cells reproduce to a point of high density in the flask so they need to be treated, the procedure is to split them. Since PC12 cells grow in suspension and do not attach to the flask, transferring to the maintenance culture is performed with a regular pipette.

Text was modified to clarify these issues. Lines 215-219: “Grow cells in a non-treated culture flask with 10 mL of basic growth medium; every 2-3 days add 10 mL of basic growth medium to the flask, after 8 days split cells. For cellular uptake, transfer the cell suspension to a centrifuge tube using regular pipette; centrifuge cells for 8 min at 200 x g and RT. Discard the supernatant.”

Q: * Line 247 ff.: Suspend the cells in 3 mL of fresh differentiation medium. In this section, it seems that no NGF was added to the differentiation medium. The authors should explain why they used the differentiation medium without NGF. Doe the incubation for 24 h in low serum conditions (differentiation medium) without NGF addition on the cell viability compared

The uptake process is performed with differentiation medium but without NGF since we want the cells to differentiate, but not to attach to the plate and start to grow neurites. After incubation of 24 h with the MNPs, we seed the MNPs loaded cells with differentiation medium and NGF to initiate neurite growth, as detailed in the protocol. The viability test examines the toxicity of the MNPs for the cells, so we test the cells after 24 h of incubation with the particles without the presence of NGF.

Q: * Line 375: what is a "large magnet". What are the magnetic properties of the magnet?

As mentioned above we removed this section from the revised manuscript.

Q: * Line 384: It is not clear if 50 ng/ml is the final concentration or the concentration of the NGF stock solution.

50 ng/ml is the final concentration of the NGF in the plate. The concentration of the NGF stock is mentioned in the Table of materials. For clarify, we changed in the text: “After 24 h, add 1:100 fresh murine β-NGF (final concentration of 50 ng/mL).” (line 238)

Q: * Line 387: The network is formed usually after 8 days. When is the network formed the other cases? What factors influence network formation and are considered here as "usually"?

In PC12 cells network formation is observed within 6-8 days. We changed the text accordingly (line 241).

Q: * Line 433: How are the measured "intersections" are defined?

We map the dendritic branching of cells using a dedicated software, ImageJ. The "intersections" are related to the branching points, referring to the number of branches crossing a circle with a specific radius from the cell center. The term "intersections" is the convention used in Sholl analysis and is an important morphological characteristic.

Q: * Line 534: What is meant by "regular medium"?

Changed to basic growth medium. The preparation protocol detailed in line 208.

Q: * Line 539: What determines the "drag force"?

This section was removed (as explained above).

Q: * Figure 1 B: The orientation of the microscope picture is not clear. Is the brighter gray area the first CoFe/Pd layer and the dark gray area the lower CoFe/Pd or the glass? Or does the microscopic picture show the xy-orientation, while the sketch shows the xz-orientation? Is the CoFe/Pd pattern an elevated structure on the glass or are the spaces between the pattern filled with some substrate?

In this study the pattern is elevated (a total of 18nm) above the substrate. We modified Fig. 2B so the SEM image and cartoon are aligned and believe the image is clear now. The brighter gray area is the CoFe/Pd multilayers and the dark gray is the glass substrate.

Q: * Figure 2 D: descriptions of the axis of the graph are missing. Which magnification is used to capture the images?

This section was removed (as explained above).

Q: * Figure 3: A) Scale bar is difficult to identify.

Scale bar size added to the figure legend.

Q:  C+D) what is the normalized control in these graphs?

The control is PC12 cells without MNPs and the results are normalized to this. (100% is for cells without MNPs)

To clarify, we modify the text in line 425: “The results are normalized to the control measurement of PC12 cells without MNPs.”

Q: * Figure 4: B) DAPI-staining is hardly visible.

We improved the image. See the new attached figures.

Q:  C) The label "MNPS" should be changed to "MNPs".

Done.

Q: D+E) The layout of both graphs should be harmonized. Now, the order of "+MNPs" and "-MNPs" are presented in the opposite order.

Done.

Q: * Lines 613-615: It is written that the technique could be in principle used for "implanted and in-vivo therapeutic applications". Would it be possible to give an outlook for an in vivo application that facilitates this technique? Is the CoFe/Pd biodegradable within the organism? Does the method only work with monolayers of cells? How would these cells integrate into the neighboring tissue?

The in vivo application we envision is related to bio-interfacing therapeutic solutions such as flexible electrodes array for measuring and inducing electrical activity. Our design improves neuron to electrode interface by attracting cells preferentially to electrodes and may increase signal to noise ratio. It is possible to design our multilayers atop biocompatible substrate that will be suitable for therapeutic applications (see ref 42 43). It may be possible to develop similar magnetic platforms which are biodegradable, but this is not part of our research scope.

We modified in the text (line 535):” in principle it is possible to prepare the devices atop other biocompatible materials that are suitable for in-vivo therapeutic applications such as flexible electrodes array for neuronal recording and stimulation”

Q: * Lines 640-646: Although an unbiased statistical analysis has high importance, it should be taken for granted and is not needed to be mentioned in the discussion.

We wanted to emphasis the importance of unbiased statistical analysis in this experiment, but we agree that it is essential for any research, so we removed this part from the discussion.

Q: * Lines 824 ff.: literature 54 and 55 are mentioned again as 62 and 63.

The references list has been revised and the duplicate was removed.

Q: * Recent publications demonstrate magnetic patterning and should be therefore mentioned and included in the discussion. Examples: Goranov et al., 2020, Scientific Reports; Bongaerts et al., 2020, IJMS; …

According to the reviewer recommendation, we cite Goranov et al., 2020, Scientific Reports; Bongaerts et al., 2020, IJMS; in references number 17 and 13 accordingly.

Q: * Material/Equipment list: As ImageJ was used, the corresponding publication should be cited.

We added the following citation:  Abramoff, M.D., Magalhaes, P.J., Ram, S.J. "Image Processing with ImageJ". Biophotonics International, volume 11, issue 7, pp. 36-42, 2004. (ref num 36)

Q: * Which permanent magnets were used?

This section was removed (as explained above).

Reviewer #4:
Manuscript Summary:
This manuscript describes the protocol for the fabrication of a cell culture substrate with magnetic patterns and protocols for the characterization of cell positioning and neurite outgrowth in magnetic nanoparticle-loaded PC12 cells on this substrate. The protocols and the representative results are sufficiently detailed and clear. However, there is room for improvement in terms of language and style as well as the results presented.

We thank the reviewer for the relevant comments that helped us improve our paper. The language and style of the manuscript have been revised and modified. The response to all comments, and the related paper modification appear below.

Major Concerns:
Q: 1. Panels of Fig. 1 need to be better referenced in the manuscript text: Fig. 1A should be referenced in the protocol section, as claimed in line 504. In fact the reader is informed on the details of the linear geometry later in the text (lines 555-556), but not informed on the hexagonal geometry. This information could be provided in the caption of Fig. 1.

In figure 1A, we display different geometric shapes that we design and fabricate. The parameters of the patterns are mentioned when the results are displayed. The missing parameters for the hexagons now appear in line 438: " hexagonal geometry of 200 µm long sides and the lines' width is 50 µm." and in line 469: "The long side of the hexagon is 200 µm and the lines' width is 10 µm, the circles diameter is 30 µm."

Also, protocol 2.1 mentions a cross-shaped electrode and refers to Fig. 1B for the deposition of the multilayered substrate; however, the reader only sees the cross-shaped electrode in the inset of Fig. 1C. It would be better to provide a photograph of this electrode with bonded wires (as described in protocol 2.3).

The mention for the cross-shaped electrode changed to Figure 1C inset in the protocol and the image replaced to a photograph of the electrode with bonded wires, according to the reviewer recommendation.

Q: 2. The introduction has over-citation. Providing 17 citations for previous studies (line 70) is not very helpful, considering that the authors do not discuss any of the studies cited (which is normal in a protocol article). Same comment on the 19 citations given for the medical uses of magnetic nanoparticles (line 77). There are many good review papers for both subjects the authors could cite.

The references have been revised, see update list.

Q: 3. In protocol 6.2, the authors estimate the Fe concentration per cell by ICP measurements. Can the authors estimate the number of nanoparticles per cell from this concentration value? It would be easier to compare with the number of particles per cell they estimated in protocol 6.1 by magnetically-induced particle movement.

We found that this methodology, while interesting, is more complicated to most researchers, and does not provide much data. For sake of clarity and focus on the important methods we removed it from the revised manuscript.

Q: 4. The authors confirm by z-test that cell landing to circular magnetic areas are statistically not random (line 571). They should conduct a similar statistical test to confirm that the same is true on hexagonal patterns.

We performed statistical analysis for the hexagon pattern and confirm that the results are similar to the results of the lines.

We added this information to the text in line 452: “Statistical analysis for the hexagons also indicates that the measurement is not derived from arbitrary cell landing (One-Sample z-test, p<1*10-6, n=370).”

Q: 5. The authors demonstrate the orientation of the PC12 neurites with the magnetic patterns (Fig. 5). The authors also demonstrate that loading of PC12 cells with magnetic nanoparticles does not affect the neurite elongation behavior on glass coverslips (Fig. 3B). However, a key piece of information is missing: If and how does magnetic patterning affect neurite elongation? This can be easily answered by analyzing the dataset obtained to generate Fig. 5B. The authors should show if constraining the neurites on magnetic patterns increases their elongation rate (or total length) as observed for linear geometric constraints, or decreases their elongation rate (or total length) as one could imagine that the neurite needs to act against magnetic forces in the -z direction, or these two effects cancel each other.

The suggestion of the referee is very good, and we plan to apply it in our future studies. In the current study this is difficult to perform since, while the average cell concentration is not very high, once they are attracted to the magnetic lines, their effective concentration is much higher. This results in neurites extending toward cells, and much fewer instances where the total (undisturbed) length could be extracted and analyzed with statistical significance.

Q: 6. There are many redundancies in the protocol making it bulky. These include basic dilutions, e.g., collagen (lines 212-214), PBS 1x (lines 216, 226, 393), 30% ethanol (lines 221-222), 4% PFA (line 394), concentration calculations (lines 253-256), and environment- or software-specific task (lines 118 and 441, respectively).

The protocols revised and modified according to the reviewer suggestions and the JoVE editorial guidelines. However, some of the lines are easier to understand by giving specific quantities, such as 4% PFA preparation.

Minor Concerns:
Q: 1. The numbering style of the protocol is poor. In section 1, the authors use letters for the second level, for the remaining sections they use numbers. Apart from this discrepancy, tabs are also not uniform, making the protocol hard to follow. The authors could use different typeface for different levels, or use extended numbering, e.g., 5.3.1.6.

The numbering style of the protocol has been corrected according to JoVE guidelines, see revised manuscript.

Q: 2. Section 5 could be better organized. Protocols 5.3.1.1-4 and 5.3.2.1-4, and 5.3.1.10 and 5.3.2.7 are identical. A better organization could save space and probably one level of sub-sectioning.

Duplicates have been removed.

Q: 3. Consider revising sentences starting in lines 80, 532, 580, and 640 for clarity.

Line 80: abstract was rewritten.

Line 532 and 640 removed from text.

Line 580 modified, now appears in line 458: “In contrast, the control measurement of cells without MNPs, show neurites growth across the platform regardless of the magnetic patterns.”

Q: 4. What does PMS stand for in line 290?

The reaction solution contains PMS. We added to the protocol:  N-methyl dibenzopyrazine methyl sulfate (line 251)

Q: 5. Terminology: Biological hood (line 110) - biosafety cabinet; rounds (line 119) - rotations; dish (line 228) - glass slide; suspend (lines 244, 247, 263) - resuspend; MNPs moment (line 542) - MNPs; cell suspension (line 240) - cells; hemocytometer cell counter (line 250) - hemocytometer.

We thank the reviewer for the terminology corrections. We incorporated the requested changes, and additional grammatical errors, during editing of the manuscript.

Q: 6. Typos: Technic (line 92) - technique; manufacture (line 212) - manufacturer; preform (line 268) - perform; triplicates (lines 285, 315, 361) triplicate; incubated (line 320) incubate; decrease (line 537) - decreases; rigors (line 640) - rigorous or rigor depending on what the authors are trying to say.

All the corrections have been performed.

Q: 7. Protocols 1.a.2 and 1.a.3 should end with period.

Done.

Q: 8. Protocol 1.b.4 needs space between numbers and units.

Done.

Q: 9. Abbreviation of ICP comes before the term itself (lines 357 and 367). Abbreviation of AHE in Fig. 1 caption should be spelled out.

The ICP full name now appears in lines 280 and 415 before the abbreviation. The abbreviation of AHE was removed from the figure caption.

Q: 10. In sentence starting in line 536, the authors could provide the nature of the function between the field gradient and the distance between nanoparticle and the magnet. Is the variation of field gradient significant over the area where the imaging was done considering the distance between the sample and the permanent magnet is likely much larger than the distances taken by the cell under force?

This section was removed (as explained above).

Q: 11. Consider replacing the order of "-MNPs" and "+MNPs" in Fig. 4E to be consistent with Fig. 4C and Fig. 4D.

Done.

Q: 12. Consider stating that there is statistical significance (or not) in panels Fig. 3C, 3D, 4D, and 4E.

Added to figures caption: " There is no statistical significance in both analyses."

Q: 13. In parts of the text there is inconsistent use of verb tenses.

The text has been revised and modified.

Q: 14. The authors should describe how they recovered plated cells into suspension, e.g., trypsinization (in line 261 and similar).

Since PC12 cells do not attach to the flask in medium growth and develop in suspension, we transfer the cells suspension using a regular pipette.

For clarity, we changed in the text line 217: " For cellular uptake, transfer the cell suspension to a centrifuge tube using a regular pipette."