# Submission ID #: 62028

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18918588

Title: Fluorescent Leakage Assay to Investigate Membrane Destabilization by Cell-Penetrating Peptide

Authors and Affiliations: Karidia Konate1, Quentin Seisel1, Eric Vivès1, Prisca Boisguérin1, and Sébastien Deshayes1

1Centre de Recherches de Biologie cellulaire de Montpellier, CRBM-CNRS, UMR-5237, University of Montpellier

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Sébastien Deshayes

# sebastien.deshayes@crbm.cnrs.fr

# Co-Authors:

karidia.konate@crbm.cnrs.fr

quentin.seisel@live.fr

eric.vives@umontpellier.fr

prisca.boisguerin@crbm.cnrs.fr

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as reasonably possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

4. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your script can be filmed in one day, the Introduction, Protocol, and Conclusion sections are restricted to 55 shots (i.e., designated as 1.1.1., 1.2.1., etc).

Protocol Length

Number of Shots: 32

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Large Unilamellar Vesicle (LUV) Preparation

  - To prepare LUVs for their use as cell membrane mimics for a fluorescence leakage assay, use a Hamilton glass syringe to mix phosphatidylcholine, sphingomyelin, and cholesterol at a 4:4:2 molar ratio [1-TXT].

    - WIDE: Talent mixing materials, with material containers visible in frame TEXT: See text for all solution preparation details

  - Use a rotary evaporator to evaporate the methanol-chloroform under vacuum [1] for 46-50 minutes at 60 degrees Celsius until a dried lipid film has formed [2].

    - Solution being evaporated

    - Shot of dried lipid film

  - To reconstitute the multilamellar vesicles, resuspend the dried lipid film with 1 milliliter of lipid hydration solution [1] and vortex thoroughly until the dried lipid film has dissolved [2].

    - Talent adding solution to film, with solution container visible in frame

    - Talent vortexing solution TEXT: Small lipid aggregates will negative impact LUV generation

  - After confirming that all of the lipid has been incorporated and that no film is left on the sides of the flask [1], freeze and thaw the vesicles five times for 30 seconds in liquid nitrogen and 2 minutes in a Authors: What temperature water bath? water bath per cycle [2].

    - Talent checking flask

    - Talent transferring flask from LN2 to water bath or similar representative shot

  - After the last cycle, insert one filter support into each of two, HEPES buffer-treated PTFE (P-T-F-E) extruder pieces placed in the metal extruder canister [1-TXT] and place a 0.1-micron pore HEPES humidified polycarbonate membrane onto the top of one filter support [2].

    - Talent adding filter support(s) to extruder piece(s)

    - Talent placing membrane onto filter support

  - Screw the two metal extruder canisters together [1] and place the assembled extruder into the holder [2].

    - Talent screwing canisters together

    - Talent placing extruder into holder

  - Introduce a 1-milliliter syringe into the appropriate hole at the extremity of each PTFE extruder piece [1] and use a 1-millilier syringe loaded with 1 milliliter of HEPES buffer to check the extruder for leaks or other problems [2].

    - Talent connecting syringe to hole

    - Talent flushing buffer into extruder

  - Then deliver the MLV sample to the extruder in the same manner [1] and passage the sample from one syringe to the other through the polycarbonate membrane at least 21 time to obtain uniform LUVs [2].

    - Talent connecting syringe OR Talent flushing syringe

    - Sample being extruded

- LUV Purification

  - To purify the LUVs, add the freshly extruded LUVs onto a liquid chromatography column [1] and let the vesicles enter the cross-linked dextran gel [2].

    - WIDE: Talent adding LUV to column

    - LUV entering column Videographer/Video Editor: can skip if no visual able to be obtained

  - Continuously add HEPES buffer 2 to the column [1] and begin eluting approximately 2 milliliters of HEPES buffer 2. The free yellow ANTS (A-N-T-S) and DPX (D-P-X) solution will migrate slower than the liposomes [2-TXT]. After 1 milliliter has been eluted, start collecting the purified LUVs in 1.5-milliliter tubes [3].

    - Talent adding buffer to column

    - Solution being eluted Video Editor: please emphasize yellow solution when mentioned if possible/visible TEXT: ANTS: 8-aminonaphthalene-1, 3, 6-trisulfonic acid; DPX: and p-xylene-bispyridinium bromide

    - Eluate being collected

  - When the drops of eluate become opalescent, change the tube to recover the LUV-containing fraction [1].

    - Shot of drops being opalescent/tube being switched

  - When the drops are no longer opalescent, elute another 500 microliters in a separate fraction before stopping the elution [1].

    - Drops becoming non-opalescent/Tube being switched

- LUV Size and Homogeneity Characterization

  - To determine the LUV size and polydispersity index, indicate the viscosity of the solvent and the polystyrene semi-micro cuvette to be used in the experiment in the dynamic light scattering system [1] and add 500 microliters of the LUV solution to the cuvette [2].

    - WIDE: Talent indicating viscosity, with monitor visible in frame

    - Talent loading solution into cuvette

  - Then load the cuvette onto the instrument [1] and measure the size distribution in terms of mean size of the particle distribution and the homogeneity [2].

    - Talent loading cuvette onto instrument

    - SCREEN: To be provided by Authors: Size and PdI being measured

- Fluorescence Leakage Assay

  - To measure the fluorescence leakage, dilute the LUVs in 1 milliliter of HEPES buffer 2 to a 100-micromolar final concentration [1] and add a magnetic stirrer to facilitate homogenization of the solution during the experiment [2].

    - WIDE: Talent adding buffer to LUV, with buffer container visible in frame

    - Talent adding stirrer

  - Measure the LUVs alone during the first 100 seconds to assess the background fluorescence [1] before measuring the leakage as an increase in fluorescence intensity upon the addition of aliquots of peptide solution over the next 900 seconds [2-TXT].

    - SCREEN: To be provided by Authors: Leakage being measured in LUV alone during first 100 seconds

    - SCREEN: To be provided by Authors: Leakage being measured after peptide addition TEXT: Repeat measurement for each concentration from 0.1-2.5 micromolar

  - To measure 100% fluorescence leakage as a positive control, add 1 microliter of Triton X-100 to the LUVs to solubilize the vesicles [1], resulting in a complete unquenching of the probe during the last 100 seconds of the analysis [2].

    - Talent adding Triton X-100, with Triton X-100 container visible in frame

    - SCREEN: To be provided by Authors: Leakage being measured after Triton X-100 addition

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 198. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Fluorescence Leakage Analysis

  - In the absence of peptides, no fluorescence leakage is observed from small interfering RNA-loaded nanoparticles [1].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize black data line from 0-100 s

  - The addition of free tryptophan- and arginine-rich amphipathic peptides onto the LUVs induces a significant increase in fluorescence [1], revealing an important LUV leakage and ANTS release [2].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize dashed Peptide line

    - LAB MEDIA: Figure 2 Video Editor: please emphasize data points right at about/after 100 s

  - After 15 minutes, a leakage of approximately 67% is obtained in the presence of 2.5-micromolar tryptophan- and arginine-rich amphipathic peptide [1] compared to the positive control [2].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize black data line and/or add 67.9 text

    - LAB MEDIA: Figure 2 Video Editor: please emphasize black data line after 1000 s

  - In contrast, when tryptophan- and arginine-rich amphipathic peptides is assembled at the same concentration with small interfering RNA to form peptide-based nanoparticles, the leakage is 1.5-fold weaker [1] compared to the free peptide [2].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize grey data line and/or 44.1 text

    - LAB MEDIA: Figure 2 Video Editor: please emphasize grey data line after 1000 s

  - When conjugated peptides are used [1], no leakage is observed in the absence of peptides [2].

    - LAB MEDIA: Figure 3

    - LAB MEDIA: Figure 3 Video Editor: please emphasize data lines before dashed Peptide line

  - Fifteen minutes after the injection of 2.5-micromolar Penetratin conjugated to a protein-protein interfering peptide, no significant fluorescence increase is detected [1], whereas the addition of 2.5-micromolar tryptophan- and arginine-rich amphipathic peptide conjugated to a protein-protein interfering peptide induces a net leakage characterized by very strong fluorescence signal [2].

    - LAB MEDIA: Figure 3 Video Editor: please emphasize grey data line from 100-1000 s

    - LAB MEDIA: Figure 3 Video Editor: please emphasize black data line from 100-1000 s

  - These results indicate that the fluorescence leakage assay can be used to reveal the ability of some cell-penetrating peptides to develop peptide-membrane interactions, which could lead to a more or less pronounced membrane permeability [1].

    - LAB MEDIA: Figure 3

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will deliver the statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.