# Submission ID #:  62042

# Scriptwriter Name: Mithila Boche

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18922858

# Title:   A step-by-step guide to Mosquito Electroantennography

# Authors and Affiliations:

Chloé Lahondère

Department of Biochemistry; The Fralin Life Science Institute; The Global Change Center; Department of Entomology and the Center for Emerging Zoonotic and Arthropod-Borne Pathogens; Virginia Polytechnic Institute and State University, Blacksburg, VA, USA

☐   All author names and affiliations are correct.

# Corresponding Authors:

Chloé Lahondère                                  lahonder@vt.edu

# Email Addresses for All Authors:

# lahonder@vt.edu

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  Enter Yes or No.

If Yes, can you record movies/images using your own microscope camera?

Enter Yes or No.

If your protocol involves microscopy but you are not able to record movies/images with your microscope camera, JoVE will need to use our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope.

Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Enter Yes or No.

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until videographer steps away (≥6 ft/2 m) and begins filming, then the interviewee removes the mask for line delivery only. When take is captured, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out. Statements removed completely.

4. Filming location: Will the filming need to take place in multiple locations?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

To ensure that your script can be filmed in one day, the Protocol section is restricted to 55 shots (shots are the 3-digit numbers like 2.1.1, 2.1.2…etc)

Current Protocol Length

Number of Steps:  19

Number of Shots:  47

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which authors will memorize and then deliver on camera.

- Enter the full name of the author who will deliver the statement.

- If possible, each author should deliver no more than two statements.

- Fill out both required statements, one optional statement may also be selected.

- Answer in full sentences, in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.

    - INTERVIEW: Author saying the above.

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Odor storage and electrode holder- capillary preparation

  - To begin, prepare the odorant mixtures and a solvent control in 1.5-milliliter amber vials [1] and store the vials at -20 degrees Celsius to prevent compound degradation [2]. Pipette 10 microliters of solution on to a piece of filter paper loaded inside a labeled glass syringe [3-TXT]. Isolate the mosquitoes on the day of the experiment [4].

    - WIDE: Establishing shot of talent carrying mixtures in a tray in his hands.

    - Talent placing the mixtures in the deep freezer.

    - Talent adding solution on a filter paper. TEXT: Filter paper-0.5 cm x 2 cm

    - Shot of mosquitoes in a container.

  - Working under the microscope, gently break the tip of 2 borosilicate capillaries with filaments using a pair of forceps [1-TXT].

    - SCOPE: Talent breaking the tip of capillary. TEXT: I.D: 0.78 mm, O.D: 1 mm

  - Ensure that the electrode holders are clear inside with no borosilicate debris [1]. Then, perform chloridization by soaking the silver wires of the electrode holders in pure bleach for 5 minutes until the wires turn matte dark grey [2].

    - Clear electrode holder.

    - Talent soaking silver wires in the bleach.

  - Loosen the rubber stopper [1] and fill the inside of the capillary with 10% saline solution using a 20-gauge needle [2].

    - Talent loosening the stopper.

    - Talent filling saline solution in capillary.

  - After soaking, rinse the silver wires with de-ionized water [1] and insert them in the two capillaries [2]. Keep the tip of the wire less than 1 millimeter from the tip of the capillary [3].

    - Talent rinsing silver wires.

    - Talent inserting silver wires in the capillary.

    - ECU: Shot of the silver wire in capillary.

  - Pass the capillary through the rubber ring inside the electrode holder without breaking it [1] and gently tighten the rubber stopper after verifying that no air bubbles are present [2].

    - Talent passing capillary through the rubber ring.

    - Talent tightening the rubber stopper.

  - Use the capillary with the wider opening on the reference electrode holder [1] and the smaller opening on the recording electrode holder [2]. Leave the two mounted electrode holders on a wet cleaning wipe to prevent the tip from drying out until ready to mount the head [3].

    - Talent placing capillary end on the reference electrode holder.

    - Talent placing capillary end on the recording electrode holder.

    - Talent placing electrode holder on a wipe.

- EAG ring preparation

  - Ensure that the air table is up, that there is no blockage in the airline, and that the air is on [1]. Verify that the tank of medical air is still full to avoid changing it in the middle of the experiment [2] and confirm that there are bubbles in the humidifier [3].

    - Shot of the air table, with talent turning the airflow on.

    - Shot of the air tank and gauge/flowmeter.

    - Shot of the humidifier.

  - Turn on the medical air gas tank [1] and check the level of the two flowmeters [2].

    - Talent turning on the medical air gas tank.

    - Shot of the flowmeters.

  - Turn on the computers, the software applications, and the valve power supply [1], then verify the internet connection for the software application to work [2]. Deliver a control pulse to verify that the valve delivering the pulses is functional [3].

    - Talent turning on the computer and valve supply.

    - Shot of the internet signal.

    - A shot of control pulse being delivered.

- Mosquito head preparation and mounting

Authors: Are any of the steps below performed under a microscope? If so, please double-check to make sure that all shots (3-digit numbers such as 4.1.1, 4.1.2, etc) that should be performed under the microscope are labeled SCOPE.

  - Place an aluminum plate on ice with a piece of wet cleaning wipe over it [1]. Put a small dollop of electrode gel in a corner [2]. Place a mosquito cup on ice to let the mosquito cool down [3].

    - Talent placing an aluminum plate with wet wipe on the ice.

    - Talent placing electrode gel on wipe.

    - Talent placing mosquito cup on ice.

  - Clip the tip of each antenna of the mosquito with micro scissors [1]. Use forceps to drag the mosquito next to the electrode gel dollop [2] and dip each antenna’s tip gently in the gel [3].

    - ECU: Talent clipping an antenna with micro scissors.

    - Talent placing mosquito near electrode gel.

    - ECU: Talent dipping antenna’s tip in the gel.

  - Using forceps, pull the mosquito antennae out while maintaining them next to each other [1]. Chop the head of mosquito using micro scissors [2].

    - ECU: Talent pulling out antennae.

    - SCOPE: Talent chopping mosquito’s head with micro scissors.

  - Gently dip the tip of the reference electrode in the gel [1] and place it in contact with the neck, letting the head stick to it [2]. Move the electrode holders under the EAG microscope [3] and place the reference head electrode on a micromanipulator [4].

    - Talent dipping tip of the electrode in the gel.

    - ECU: shot of the head sticking on electrode.

    - Talent moving electrode holders under the microscope.

    - SCOPE: Talent placing reference head electrode on a micromanipulator.

  - Use the micromanipulator to place the recording electrode as close as possible to the antennae tips [1]. Connect both electrode holders to the amplifier [2], then insert the antennae tips in the recording electrode [3].

    - SCOPE: Talent placing recording electrode close to the antennae tips using micromanipulator.

    - Talent connecting electrode holders to the amplifier.

    - SCOPE: Talent inserting antennae tip in the electrode.

  - Place the airline tubing close to the mosquito head preparation at a distance of 1 centimeter [3].

    - Talent placing airline tubing near head preparation.

- Recordings and data analysis

  - Turn on the amplifier and the noise reducer [1] and ensure that the baseline signal is not noisy [2].

    - Talent turning on the amplifier and noise reducer.

    - SCREEN: Shot of the baseline signal. Authors: Would you like to provide screen capture videos for the SCREEN shots? If so, please use our screen capture guidelines and upload the video files to your project page: https://www.jove.com/account/file-uploader?src=18922858.

  - Once the noise level is satisfying, insert the first odor syringe to test in the airline hole [1] and close the Faraday cage [2]. Click ‘Record’ on the EAG software to deliver the pulse [3].

    - Talent inserting the odor syringe in the airline hole.

    - Talent closing Faraday cage.

    - SCREEN: Talent clicking record on EAG software.

  - Measure EAG responses as amplitude in millivolts [1], then proceed with the next odor or concentration [2].

    - SCREEN: Talent measuring EAG responses.

    - Talent inserting the odor syringe in the airline hole.

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 163 (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Results: Olfactory mediated behaviors of mosquito species from various genera

  - This experiment successfully demonstrates that mosquito species can exhibit variable olfactory responses to different chemicals [1]. There was an absence of response to the mineral oil, which was used as a negative control [2].

    - LAB MEDIA: Figure 3B.

    - LAB MEDIA: Figure 3B. Video Editor: emphasize on first two graphs labelled as unfiltered and odor pulses.

  - Error in the results due to electrical noise can be reduced by grounding the elements to the Faraday cage using alligator clips [1].

    - LAB MEDIA: Figure 3B. Video Editor: emphasize on last last graph labelled as ‘Filtered’.

  - The response threshold to the same odorant can vary in magnitude for different species of mosquitoes [1]. For example, Toxorhynchites rutilus septentrionalis mosquitoes produce very large EAGs in comparison to Aedes aegypti, Anopheles Stephensi and Culex quinquefasciatus [2].

    - LAB MEDIA: Figure 3C.

    - LAB MEDIA: Figure 3C. Video Editor: emphasize on a graph in first line labelled as Toxorhynchites rutilus septentrionalis.

  - A large deflection in response to the positive control benzaldehyde was noticed [1] while there was a lack of response to the negative control mineral oil [2]. These behavioral reactions are shown in a bar diagram [3].

    - LAB MEDIA: Figure 3C. Video Editor: emphasize on graphs in the first line.

    - LAB MEDIA: Figure 3C. Video Editor: emphasize on graphs in the last line.

    - LAB MEDIA: Figure 4 A.

  - Additionally, altering olfactory mediated behaviors of a mosquito species with changing concentrations of a chemical were demonstrated by plotting a dose-response curve [1], demonstrating that EAG allows for testing chemicals at very low concentrations [2].

    - LAB MEDIA: Figure 4 B.

    - LAB MEDIA: Figure 4 B. Video Editor: emphasize on concentration ‘10-6’ in the first graph.

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Answer one or two of the prompts below.

- Limit the statements to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the interview statements during filming.

- Indicate the full name of the author who will deliver each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: (Enter step numbers referred to.) Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.

Thank you for addressing our questions. We will incorporate your answers and suggestions, and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.