# Submission ID #: 62045

# Scriptwriter Name: Bridget Colvin

Project Page Link: http://www.jove.com/files_upload.php?src=18923773

Title: Serial Block-Face Scanning Electron Microscopy (SBF-SEM) of Biological Tissue Samples

Authors and Affiliations: Justin A. Courson1, Paul T. Landry1, Thao Do1, Eric Spehlmann2, Pascal J. Lafontant2, Nimesh Patel1, Rolando E. Rumbaut3,4, and Alan R. Burns1,4

1University of Houston, College of Optometry

2DePauw University, Department of Biology

3Center for Translational Research on Inflammatory Diseases (CTRID), Michael E. DeBakey Veterans Affairs Medical Center

4Baylor College of Medicine, Children’s Nutrition Center

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

# Justin A. Courson

# JACourso@central.uh.edu

# Co-authors:

ptlandry@uh.edu

thaodo927@gmail.com

ericspehlmann_2021@depauw.edu

pascallafontant@depauw.edu

nbpatel@central.uh.edu

rrumbaut@bcm.edu

# arburns2@central.uh.edu

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  Y

If you require a microscope but can record movies/images through your microscope with your own camera, please indicate Yes here: Enter Yes or No.

If you require a microscope but you do not have a camera, JoVE will need to record the microscope images using our scope kit (through a camera port or one of the oculars). Please list the make and model of your microscope here: Enter make and model of microscope.

2. Software: Does the part of your protocol being filmed demonstrate software usage?  N

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Protocol Length

Number of Shots: 42

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Tissue Processing

  - After osmium tetroxide incubation, treat the tissue with 1% aqueous uranyl acetate at 4 degrees Celsius overnight [1-TXT].

    - WIDE: Talent placing tissue into uranyl acetate, with UA container visible in frame TEXT: See text for full tissue and solution preparation details

  - The next morning, wash the tissue five times for 3 minutes per wash in room temperature double distilled water [1] and transfer the tissue into 60-degree Celsius Walton’s lead aspartate solution for 30 minutes at 60 degrees Celsius [2].

    - Talent washing tissue

    - Talent placing tissue into solution, with solution container visible in frame

  - At the end of the incubation, dehydrate the tissue in an ascending ice-cold acetone series [1-TXT] followed by a 10-minute incubation in room temperature 100% acetone [2].

    - Talent placing tissue in 30% acetone, with acetone series visible in frame TEXT: i.e., 30%, 50%, 70%, 95% x2, 100% x3

  - At the end of the incubation, embed the tissue into 1:3 ratio of hard mixed resin and acetone for 4 hours [1] followed by an 8-hour or overnight incubation in a 1:1 ratio of resin to acetone solution [2] and an overnight incubation in a 3:1 ratio of resin to acetone solution [3].

    - Talent placing tissue into 1:3 solution, with acetone and resin containers visible in frame

    - Talent placing tissue into 1:1 solution, with acetone and resin containers visible in frame

    - Talent placing tissue into 3:1 solution, with acetone and resin containers visible in frame

  - The next morning, incubate the tissue in fresh 100% resin for one 4-8-hour, one overnight, and one 4-hour incubation at room temperature [1].

    - Talent placing tissue into resin, with resin container visible in frame

  - The next morning, use a wooden stick to mix a small amount of resin with carbon black powder until the resin is saturated with the powder but is still fluid and does not become grainy [1]. The resin should resemble thick ink and be able to slowly drip without visible clumps [2].

    - Resin being mixed, with resin and carbon black containers visible in frame

    - Shot of black ink-looking resin dripping from stick

  - Place the tissue sample in a silicone rubber mold [1] and capture an image for later reference of the sample orientation within the resin block [2].

    - Tissue being oriented

    - Talent taking picture

  - When the sample is in place, cover the tissue in the carbon black saturated resin at the tip of the silicone mold [1] and place a label indicating the experimental and tissue details in the mold at the opposite end of the resin [2].

    - Resin being added to mold

    - Label being placed

  - Then place the mold into a 65-degree Celsius oven at an incline for approximately 1 hour [1].

    - Talent placing mold into oven

  - When the carbon black-infused resin has sufficiently cured, remove the mold from the oven [1] and, beginning with an empty well, fill the remainder of the mold with clear resin, taking care that the label remains visible [2-TXT].

    - Talent removing mold from oven

    - Mold being filled with clear resin TEXT: If carbon black resin begins to bleed into clear resin, cure sample for an additional 15 min

  - When the sample has been covered with clear resin, place the silicone mold back into the 65-degree Celsius oven not on an incline for 48 hours [1].

    - Talent placing mold into oven

- Block Preparation

  - To prepare the block for imaging, place the resin-embedded specimen onto a microtome chuck with the tapered end sticking approximately 5-6 millimeters out of the chuck [1].

    - WIDE: Talent placing specimen onto chuck

  - Lock the specimen in place with the set screw [1] and place the specimen under a heat lamp [2].

    - Talent locking specimen in place

    - Talent placing specimen under heat lamp

  - After several minutes, place the chuck into a stereomicroscope holder [1] and use a new double-edged razor blade to make thin sections parallel to the block face until the tissue is visible [2], which will be less reflective and granular compared to the portions of the resin that are devoid of tissue [3-TXT].

    - Talent placing chuck into holder

    - SCOPE: Sections being made

    - SCOPE: Shot of less reflective and granular section of resin TEXT: Use sample image for tissue location reference

  - Secure an aluminum specimen pin in the trimming pin holder [1] and make several deep, crisscrossing scratches in the face of the pin to provide a larger surface area for the glue used to hold the specimen in place [2].

    - Talent securing pin in trimming pin holder

    - Pin face being scratched

  - Carefully push the razor 1-2 millimeters straight down into the resin block [1] before making a second, perpendicular cut of equal depth into the block to trim away the excess resin from the tissue sample to that the block is approximately 3 millimeters in diameter by 2-3 millimeters in height [2].

    - Razor being pressed into block

    - Razor being pressed into block

  - After this initial trimming, warm the block under the heat lamp again [1] and use a new double-edged razor blade to cut off the top of the resin block roughly 1 millimeter below the trimmed portion in a single smooth cut [2].

    - Talent placing block under lamp

    - SCOPE: Top of block being removed

  - Place the trimming pin holder containing the cut aluminum pin in the stereomicroscope receptacle [1] and apply a thin layer of cyanoacrylate glue to the pin face such that it completely covers the pin without forming a visible meniscus [2].

    - Talent placing holder into receptacle

    - Glue being applied

  - Use forceps to press the trimmed piece of tissue block onto the center of the specimen pin face for several seconds and allow the glue to set for several minutes [1].

    - Tissue being pressed into pin face/glue setting

  - When the glue has thoroughly dried, locate the tissue on the raised portion of the resin block and use a double-edged razor to trim the raised portion of the resin containing the tissue sample to an area no larger than 1-square millimeter [1].

    - SCOPE: Shot of tissue, then raised portion being trimmed

  - Slowly and carefully remove as much excess resin as possible, leaving the block slightly longer in one dimension [1] and use a final, metal file to angle the excess resin in the area outside of the raised portion containing the tissue sample down toward the edge of the pin [2].

    - SCOPE: Resin being removed

    - SCOPE: Resin being angled

  - Remove resin particles and dust from the prepared sample [1] before applying a thin coat of silver paint [2-TXT] and gold sputtering to the entire sample block surface [3].

    - SCOPE: Particles/dust being removed

    - SCOPE: Silver pain being applied TEXT: Dry paint at RT O/N

    - SCOPE: Shot of gold sputtered block surface

  - After coating, trim any excess silver paint from the block faces surface [1] and place the mounted and trimmed block in the bulbous end of a custom-made transfer pipette tube with the appropriate experiment label attached [2].

    - Paint being trimmed

    - Block being placed into tube

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 199 (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative Serial Block-Face Scanning Electron Microscopy (SBF-SEM) Imaging

  - Using SBF-SEM (S-B-F-S-E-M) imaging [1], a network of elastin-free microfibril bundles have been identified within the adult mouse cornea [2].

    - LAB MEDIA: Figure 5

    - LAB MEDIA: Figure 5 Video Editor: please emphasize white fibrils in Figure 5A

  - This network is organized in distinct layers [1], with the fibers closely associated with keratocytes, even lying within shallow invaginations on the keratocyte surface [2].

    - LAB MEDIA: Figure 5 Video Editor: please emphasize fibrils in Figure 5B

    - LAB MEDIA: Figure 5 Video Editor: please emphasize arrows in Figure 5A/fibrils within green and orange/yellow grooves in Figure 5A

  - Application of this protocol [1] has led to the discovery of a previously unknown population of central corneal nerves [2] that fuse with basal epithelial cells at the stromal-epithelial border [3].

    - LAB MEDIA: Figure 6

    - LAB MEDIA: Figure 6 Video Editor: please emphasize purple nerves

    - LAB MEDIA: Figure 6 Video Editor: please emphasize green cell layer

  - SBF-SEM imaging of the central cornea [1] reveals the presence of limbal vasculature [2], nerve bundles [3], and associated cells [4] that can be manually segmented for 3D reconstruction [5].

    - LAB MEDIA: Figures 7A and 7B

    - LAB MEDIA: Figures 7A-7C Video Editor: please emphasize red vessel in Figure 7C

    - LAB MEDIA: Figures 7A-7C Video Editor: please emphasize blue nerve bundle in Figure 7C

    - LAB MEDIA: Figures 7A-7C Video Editor: please emphasize yellow and magenta cells in Figure 7C

  - Some pitfalls of this imaging procedure include [1] using a too long pixel dwell time, resulting in a wavy and distorted image [2], small discharges of electrons from the block-face, leading to rapid contrast changes and lines [3], knife scratches on the block face due to a damaged knife or debris accumulation on the edge of the knife [4] …

    - LAB MEDIA: Figure 10

    - LAB MEDIA: Figure 10 Video Editor: please emphasize Figure 10A

    - LAB MEDIA: Figure 10 Video Editor: please emphasize white arrow in Figure 10B

    - LAB MEDIA: Figure 10 Video Editor: please emphasize black arrows in Figure 10C

  - … artefacts from an extended electron beam focus on the block face while the sample is still in the imaging chamber [1], improper tissue fixation, leading to the separation of cellular structures and connective tissue [2], and image skipping as a result of a large amount of charging within the tissue or resin block [3].

    - LAB MEDIA: Figure 10 Video Editor: please emphasize black arrow in Figure 10D

    - LAB MEDIA: Figure 10 Video Editor: please emphasize black arrow in Figure 10E

    - LAB MEDIA: Figure 10 Video Editor: please emphasize black arrows in Figure 10F

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.