## Tabelle1
Table of Materials
Name of Material/ Equipment | Company | Catalog Number | Comments/Description
CardioMed Flowmeter | Medistim AS, Oslo, Norway | CM4000 | Flowmeter for Flow-Probe Femoral Artery
CardioMed Flow-Probe, 5mm | Medistim AS, Oslo, Norway | PS100051 | Flow-Probe Femoral Artery
COnfidence probe, | Transonic Systems Inc., Ithaca, NY, USA | MA16PAU | Flow-Probe Aorta
16 mm liners
DIVA Sevoflurane Vapor | Dräger Medical, Lübeck, Germany |  | Vapor
Hotline Level 1 Fluid Warmer | Smiths Medical Germany GmbH, Grasbrunn, Germany | HL-90-DE-230 | Fluid Warmer
Infinity Delta | Dräger Medical, Lübeck, Germany |  | Basic Monitoring Hardware
Infinity Hemo | Dräger Medical, Lübeck, Germany |  | Basic Pressure Monitoring and Pulmonary Thermodilution Hardware
LabChart Pro | ADInstruments Ltd., Oxford, UK | v8.1.16 | Synchronic Laser-Doppler, Blood Pressure, ECG and Blood-Flow Aquisition Software
LiquoGuard 7 | Möller Medical GmbH, Fulda, Germany |  | Cerebrospinal Fluid Drainage System
Millar Micro-Tip Pressure Catheter (5F, Single, Curved, 120cm, PU/WD) | ADInstruments Ltd., Oxford, UK | SPR-350 | Pressure-Tip Catheter Aorta
moor VMS LDF | moor Instruments, Devon, UK |  | Designated Laser-Doppler Hardware
moor VMS Research Software | moor Instruments, Devon, UK |  | Designated Laser-Doppler Software
Perivascular Flow Module | Transonic Systems Inc., Ithaca, NY, USA | TS 420 | Flow-Module for Flow-Probe Aorta
PiCCO 2, Science Version | Getinge AB, Göteborg, Sweden | v. 6.0 | Blood Pressure and Transcardiopulmonary Monitoring Hard- and Software
PiCCO 5 Fr. 20cm | Getinge AB, Göteborg, Sweden |  | Thermistor-tipped Arterial Line
PowerLab | ADInstruments Ltd., Oxford, UK | PL 3516 | Synchronic Laser-Doppler, Blood Pressure, ECG and Blood-Flow Aquisition Hardware
QuadBridgeAmp | ADInstruments Ltd., Oxford, UK | FE 224 | Four Channel Bridge Amplifier for Laser-Doppler and Invasive Blood Pressure Aquisition
Silverline | Spiegelberg, Hamburg, Germany | ELD33.010.02 | Cerebrospinal Fluid Drainage
SPSS statistical software package | IBM SPSS Statistics Inc., Armonk, New York, USA | v. 27 | Statistical Software
Twinwarm Warming System | Moeck & Moeck GmbH, Hamburg, Germany | 12TW921DE | Warming System
Universal II Warming Blanket | Moeck & Moeck GmbH, Hamburg, Germany | 906 | Warming Blanket
VP 3 Probe, 8mm length (individually manufactured) | moor Instruments, Devon, UK |  | Laser-Doppler Probe
Zeus | Dräger Medical, Lübeck, Germany |  | Anesthesia Machine