# Submission ID #: 62057

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18927433

Title: Cardiac Response to beta-Adrenergic Stimulation Determined by Pressure-Volume Loops Analysis

Authors and Affiliations: Rebekka Medert1,2*, Lucas Bacmeister1,2,3*, Sebastian Segin1,2,4*, Marc Freichel1,2, and Juan E. Camacho Londoño1,2

*These authors contributed equally

1Pharmakologisches Institut, Ruprecht-Karls-Universität Heidelberg

2DZHK (German Centre for Cardiovascular Research), partner site Heidelberg/Mannheim

Current address: Universitäres Herz- und Gefäßzentrum UKE Hamburg

Current address: Department of Anesthesiology, University Hospital RWTH Aachen

☐   All author names are spelled correctly, and the affiliations are correct (city/state/country information not included in video title page).

# Corresponding Author:

Juan E. Camacho Londoño

juan.londono@pharma.uni-heidelberg.de

# Co-authors:

rebekka.medert@pharma.uni-heidelberg.de

l.bacmeister@uke.de

sebastian.segin@gmx.de

marc.freichel@pharma.uni-heidelberg.de

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  N

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y

If Yes, we will need you to record using screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible.

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☐ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

☐ 	Interviewees self-record interview statements outside of the filming date. JoVE can provide support for this option.

☐ 	Interview Statements are read by JoVE’s voiceover talent.

☐ 	Author interview statement opt out (interview statements removed completely from paper).

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   Enter Yes or No.

If Yes, how far apart are the locations? Click to enter distance between locations.

- To ensure that your protocol can be filmed in one day, the protocol is restricted to 25 steps and/or 55 shots.

Protocol Length

Number of Shots: 50

# Introduction

- Introductory Interview Statements

Your answers to these questions will become author interview statements, which will be incorporated into the script. Authors will memorize the statements and then deliver them on camera.

- Enter the full name of the author who will deliver the statement on camera.

- Each author should deliver no more than two statements.

- Fill out both required statements. One optional statement may also be selected.

- Please answer in full sentences in a style suitable for being spoken aloud.

- Limit the length of each statement to 30 words or fewer.

- Answers will be edited for length, clarity, and consistency with journal style guidelines.

REQUIRED: Why is your protocol significant? OR What key questions can this method help answer?

  - Enter author name.: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

REQUIRED: What is the main advantage of this technique?

  - Enter author name: Click here to answer question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Do the implications of this technique extend toward the therapy (or diagnosis) of a particular disease, disability, or challenge? How so?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Are there any specific areas of research that this method could provide insight into? OR Can this method be applied to any other systems?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: How would you expect an individual who has never performed this technique to struggle? Do you have any advice to offer to somebody who is trying this technique for the first time?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

OPTIONAL: Why is visual demonstration of this method critical?

  - Enter author name: Click here if you choose this question. Please write in a style that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Has any author been assigned more than two statements? ☐ No

# Introduction of Demonstrator on Camera

Complete this statement ONLY if any of the individuals who will be demonstrating the procedure on camera will not be delivering an Introductory Interview Statement.

  - Enter name of author who will introduce demonstrator: Demonstrating the procedure will be Click here to enter name of demonstrator(s)., a Click here to enter demonstrator job title. from my laboratory. Include additional demonstrators as needed.[1][2].

    - INTERVIEW: Author saying the above

    - The named demonstrator(s) looks up from workbench or desk or microscope and acknowledges the camera

Ethics Title Card

  - Procedures involving animal subjects have been approved by the Institutional Animal Care and Use Committee (IACUC) or equivalent body at insert Institutional Name.

# Protocol

Please review this section to make sure that it accurately describes your protocol. Use Track Changes when making edits or revisions.

- The one-digit numbers represent sections of the video. The text will appear onscreen.

- The two-digit numbers (e.g. 2.1., 2.2.) represent steps of your protocol. The text will be recorded by a professional voiceover talent.

- The three-digit numbers (e.g. 2.1.1., 2.2.2.) represent the shots that our videographer will capture at your lab.

Please use this draft script to help you prepare for filming day.

- Filming should take no more than 10 minutes per step. If a step will take more than 10 minutes, prepare the product from that step in advance.

- Femoral Cannulation

  - After confirming a lack of response to pedal reflex [1-TXT], disinfect the left hindlimb of the anesthetized mouse with 70% ethanol [2-TXT] and make an incision to expose the left femoral vein [3].

    - WIDE: Talent pinching toe Videographer: More Talent than mouse in shot TEXT: TEXT: Anesthesia: 0.1 mg/kg Buprenorphine + 10 mg/kg etomidate i.p. + 1-2% isoflurane

    - Hindlimb being wiped

    - Incision being made

  - Blast the epigastric artery and vein with a cautery [1] and place a suture distal to the catheter access to ligate the femoral vein [2].

    - Vessels being blasted

    - Suture being placed

  - Pass a suture under the femoral vein [1] and prepare a knot cranial to the puncture site [2].

    - Suture being inserted

    - Knot being looped

  - Puncture the femoral vein with a prepared microtube attached to a 1-milliliter syringe [1-TXT] and secure the tube inside the vessel with the knotted suture [2].

    - Vein being punctured TEXT: See text for microtube preparation details

    - Tube being secure

  - To counteract any fluid loss, use an automatic syringe pump to infuse of 0.9% sodium chloride supplemented with 12.5% albumin at a 15 microliter/minute infusion rate [1] and hydrate the exposed tissue with pre-warmed 0.5% sodium chloride [2-TXT].

    - Saline being infused

    - Tissue being hydrated TEXT: Keep tissue hydrated throughout procedure

- Thoracotomy

  - To access the thorax, rinse the thorax with 70% ethanol [1] and incise the skin just beneath the xyphoid process [2].

    - WIDE: Talent rinsing thorax Videographer: More Talent than mouse in shot

    - Incision being made

  - Bluntly separate the pectoral muscles from the chest wall [1] and use forceps to lift the xyphoid process to allow the chest wall to be cut until the diaphragm is fully visible [2].

    - Muscles being separated

    - Xyphoid being lifted/diaphragm being cut

  - Incise the diaphragm from below to expose the cardiac apex [1] and use forceps to carefully remove the pericardium [2].

    - Diaphragm being incised/cardiac apex being exposed

    - Pericardium being removed

  - Perform a limited costotomy on the left side [1] and pass a suture beneath the inferior caval vein to allow downstream preload reduction [2].

    - Representative shot of costotomy being performed

    - Suture being passed below vein

  - Using a 25-gauge cannula, gently puncture the cardiac apex [1] and replace the cannula with a pressure volume catheter until all of the electrodes are within the ventricle [2].

    - Apex being punctured

    - Catheter being placed

  - Then gently adjust the position of the catheter until rectangular shaped loops are obtained [1][2].

    - Catheter position being adjusted Videographer: Frame to allow inset from 4.6.2.

    - SCREEN: To be provided by Authors: Pressure volume loop being adjusted as catheter is adjusted Video Editor: please include as inset in 4.6.1.

- Pressure Volume Loop (PVL) Measurement

  - To acquire pressure volume loop measurements, perform an on-line analysis of the cardiac function parameters of interest [1] and wait until a steady-state cardiac function is obtained [2].

    - WIDE: Talent analyzing function, with monitor visible in frame

    - SCREEN: To be provided by Authors: Parameters being measured, then parameters reaching steady state

  - Stop the respirator at the end-expiratory position [1] and record the baseline parameters [2].

    - Talent stopping respirator

    - SCREEN: To be provided by Authors: Baseline parameters being recorded

  - After 3- 5 seconds, use forceps to lift the suture beneath the inferior caval vein to obtain preload independent parameters [1] and turn on the ventilator [2].

    - Suture being lifted

    - Talent turning on ventilator

  - Wait at least 30 seconds for the second occlusion until the hemodynamic parameters are stabilized [1].

    - SCREEN: To be provided by Authors: Occlusion parameters stabilizing

  - After obtaining the measurements under basal conditions, mount an isoproterenol-loaded syringe onto the syringe pump [1-TXT].

    - Syringe being mounted TEXT: Perform 2 baseline + 2 two vena cava occlusion measurements for each step of dose response protocol

  - Wait at least 2 minutes until a new steady-state cardiac function is observed [1] before stopping the respirator at the end-expiratory position [2] and recording the baseline parameters [3].

    - SCREEN: To be provided by Authors: Steady-state function being measured

    - Talent stopping respirator

    - SCREEN: To be provided by Authors: Shot of baseline parameters being recorded

  - After 3-5 seconds, lift the suture beneath the inferior caval vein to obtain preload independent parameters [1] and wait at least 30 seconds for the second occlusion [2].

    - Suture being lifted

    - SCREEN: To be provided by Authors: Second occlusion being recorded

  - Then mount the syringe containing the next isoproterenol concentration [1] and repeat the baseline and preload independent parameters recordings [2-TXT].

    - Talent loading syringe

    - Talent at computer, recording cardiac function, with monitor visible in frame TEXT: Reposition catheter to remove isoproterenol dose change-induced artefacts as necessary

- PVL Parallel-Conductance Calibration

  - To perform a parallel-conductance calibration, after the last isoproterenol dose-response measurement, connect a syringe loaded with a 15% sodium chloride solution to the femoral cannula [1] and carefully infuse 5 microliters of the hypertonic solution until the pressure volume loop slightly shifts to the right [2][3].

    - WIDE: Talent connecting syringe

    - Solution being infused Videographer: Frame to allow inset from 6.1.3.

    - SCREEN: To be provided by Authors: PVL shifting to right Video Editor: Include as inset in 6.1.2.

  - Wait until the loops return to the steady-state [1] before stopping the respirator at end-expiration [2] and immediately injecting a 10-microliter bolus of 15% sodium chloride [3-TXT].

    - SCREEN: To be provided by Authors: Loops returning to steady-state

    - Talent stopping respirator

    - Bolus being injected TEXT: Inject within 2-3 s

  - Then check whether the pressure-volume loop has largely broadened and shifted to the right [1].

    - SCREEN: To be provided by Authors: PVL broadening and shifting

- PVL Conductance-to-Volume Calibration

  - To perform a conductance-to-volume ratio, wait 5 minutes until the hypertonic saline bolus is completely diluted [1] before removing the catheter [2] and using a 1-milliliter syringe equipped with a 21-gauge cannula to remove at least 600 microliters of blood from the left ventricle of the beating heart [3-TXT].

    - WIDE: Talent setting timer or checking watch/clock

    - Catheter being removed

    - Blood being aspirated TEXT: Sacrifice according to institutional guidelines

  - Then transfer the blood into a pre-warmed calibration cuvette in a 37-degree Celsius water bath with cylinders of a known volume [1] and place the pressure-volume catheter centrally into each cylinder to allow recording of the conductance [2].

    - Talent adding blood to cuvette

    - Talent placing catheter into cylinder

## Protocol Script Questions

# Authors: Please use the step numbers from the script above (not step numbers from the manuscript) when answering the questions below. Please do not include steps that will be screen-captured and do not list entire sections.

A. Which steps from the protocol are the most important for viewers to see? Please list 4 to 6 individual steps.

Click here to list 4 to 6 individual steps, using the step numbers from the protocol section of the video script.

B. What is the single most difficult aspect of this procedure and what do you do to ensure success? Please list 1 or 2 individual steps from the script above.

Click here to list 1 or 2 individual steps, using the step numbers from the protocol section of the video script.

# Results

Please review this section to make sure that it accurately reflects your findings.

- Use Track Changes when making edits or revisions.

- If you would like the video to include different results, please revise this section.

- When revising, please keep the length of the voiceover below 200 words. Current word count: 185. (Voiceover is the text that follows the two-digit numbers.)

- Please note that the video cannot include voiceover without an accompanying visual.

- Notes in blue italics are for JoVE’s video editor.

- Results: Representative PVL Analysis

  - Using this open-chest, pressure volume loop measurement method [1], if the catheter is correctly placed within the ventricle, a full cardiac cycle will be represented by a rectangular-shaped pressure-volume loop [2].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2A Video Editor: please emphasize pressure volume loop

  - As illustrated, systole begins with a phase of isovolumetric contraction, during which both cardiac valves are closed [1].

    - LAB MEDIA: Figure 2A Video Editor: please emphasize dp/dtmax equation on right side of loop

    - LAB MEDIA: Figure 2A Video Editor: please emphasize Closure Aortic valve text and arrow

  - When the ventricular pressure exceeds the aortic pressure [1], the aortic valve opens and blood is pumped into the aorta during the ejection phase [2].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2A Video Editor: please emphasize upper horizontal edge of loop and Opening Aortic valve text and arrow

  - Subsequently, when the aortic pressure exceeds the ventricular pressure [1], the aortic valve closes and diastole begins [2].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Closure Aortic valve arrow and text

  - During the isovolumetric relaxation [1], the ventricular pressure falls until the atrial pressure exceeds the ventricular pressure and the mitral valve opens [2].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Isometric relaxation text and dp/dtmin text

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Opening Mitral valve text

  - Passive diastolic filling, characterized by the end-diastolic pressure-volume relationship, then takes place until the next cardiac cycle begins [1].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Filling and End-diastolic pressure texts

  - Since it is capable of determining cardiac function independent of cardiac preload [1], pressure volume analysis can provide detailed insight into cardiac function [3] and cardiac contractility [3].

    - LAB MEDIA: Figures 3B and 3C

    - LAB MEDIA: Figures 3B and 3C Video Editor: please sequentially emphasize Figure 3B graphs from top left to bottom right

    - LAB MEDIA: Figures 3B and 3C Video Editor: please sequentially emphasize Figure 3B graphs from top left to bottom right

  - For example, in this analysis, isoproterenol induced a significant effect on each measured cardiac function [1] and cardiac contractility parameter [2].

    - LAB MEDIA: Figures 3B and 3C Video Editor: please emphasize Heart rate, Stroke volume, Cardiac output, and Stroke Work data lines

    - LAB MEDIA: Figures 3B and 3C Video Editor: please emphasize PRSW and dp/dtmax data lines

  - In contrast, a reduction in the diastolic parameters was observed in response to increasing isoproterenol concentrations [1].

    - LAB MEDIA: Figures 3B and 3C Video Editor: please emphasize Tau and dp/dtmin data lines

# Conclusion

- Conclusion Interview Statements

Below are prompts for interview statements that can be used to further emphasize the significance of your protocol.

- Please answer one or two of the statements.

- Each statement is limited to 30 words.

- Answer the questions in full sentences; you will need to memorize and deliver the sentences as spoken interview statements during filming.

- Indicate the full name of the author who will give each statement.

# What is the most important thing to remember when attempting this procedure? Please indicate the steps (e.g., 2.4., 2.5.) in the Protocol section of the script that this advice applies to.

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera (Enter step numbers referred to.)

# Following this procedure, what other methods can be performed? What questions would these additional methods answer?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

# After its development, did this technique pave the way for researchers to explore new questions within a specific scientific field? If so, how?

  - Enter author name: Click here to answer. Please use language that you will be comfortable memorizing and speaking aloud. Limit length to 30 or fewer words. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera

Is each interview statement 30 words or fewer? ☐ Yes

Thank you for addressing our questions. We will incorporate your answers and suggestions and send you the final script before your filming day. You will also receive detailed preparation instructions in the email accompanying the final script.