# Submission ID #: 62057

# Scriptwriter Name: Bridget Colvin

Project Page Link: https://www.jove.com/account/file-uploader?src=18927433

Title: Cardiac Response to beta-Adrenergic Stimulation Determined by Pressure-Volume Loops Analysis

Authors and Affiliations: Rebekka Medert1,2*, Lucas Bacmeister1,2,3*, Sebastian Segin1,2,4*, Marc Freichel1,2, and Juan E. Camacho Londoño1,2

*These authors contributed equally

1Pharmakologisches Institut, Ruprecht-Karls-Universität Heidelberg

2DZHK (German Centre for Cardiovascular Research), partner site Heidelberg/Mannheim

# Corresponding Author:

Juan E. Camacho Londoño

juan.londono@pharma.uni-heidelberg.de

# Co-authors:

rebekka.medert@pharma.uni-heidelberg.de

lucas@bacmeister.name

sebastian.segin@gmx.de

marc.freichel@pharma.uni-heidelberg.de

## Author Questionnaire

1. Microscopy: Does your protocol demonstrate the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or similar?  Y

2. Software: Does the part of your protocol being filmed demonstrate software usage?  Y, all done

3. Interview statements: Considering the Covid-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group?

☒ 	Interviewees wear masks until the videographer steps away (≥6 ft/2 m) and begins filming. The interviewee then removes the mask for line delivery only. When the shot is acquired, the interviewee puts the mask back on. Statements can be filmed outside if weather permits.

3. Filming location: Will the filming need to take place in multiple locations (greater than walking distance)?   No

Protocol Length

Number of Shots: 50

# Introduction

- Introductory Interview Statements

  - Rebekka Medert: Our modified open-chest approach, in which we include ventilation with positive end-expiratory pressure, is significant to assess and analyze in vivo cardiac function in mice under increasing ß-adrenergic stimulation [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 3.2

  - Rebekka Medert: The procedure can be used to address both baseline parameters of intrinsic, load-independent cardiac function and the adrenergic reserve in genetically modified mice or upon interventions [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera Suggested B roll: 4.2.2., 4.5.1., 4.6.3.

Ethics Title Card

  - All animal experiments were approved and performed according to the regulations of the Regional Council of Karlsruhe, and the University of Heidelberg and conform to the guidelines from Directive 2010/63/EU of the European Parliament on the protection of animals used for scientific purposes.

# Protocol

- Femoral Cannulation

  - After confirming a lack of response to pedal reflex [1-TXT], disinfect the left hindlimb of the anesthetized mouse with 70% ethanol [2] and make an incision to expose the left femoral vein [3].

    - WIDE: Talent pinching toe Videographer: More Talent than mouse in shot  TEXT: Anesthesia: 0.1 mg/kg Buprenorphine + 10 mg/kg etomidate i.p. + 1-2% isoflurane

    - Hindlimb being wiped

    - Incision being made

  - Blast the epigastric artery and vein with a cautery [1]. To better see the femoral vein, the field of vision is spanned by a suture through the abdomen, then a suture is placed distal to the catheter access to ligate the femoral vein [2]. Videographer: This step is important!

    - Vessels being blasted

Added shot: suture trough the tissue is spanned over the abdomen and fixed on the heating plate

    - Suture distal to the catheter access being placed

  - Pass a suture under the femoral vein [1] and prepare a knot cranial to the puncture site [2]. Videographer: This step is important!

    - Suture being inserted

    - Knot being looped

  - Puncture the femoral vein with a prepared microtube attached to a 1-milliliter syringe [1-TXT] and secure the tube inside the vessel with the knotted suture [2]. Videographer: This step is difficult and important!

    - Vein being punctured TEXT: See text for microtube preparation details

    - Tube being secure

  - To counteract any fluid loss, use an automatic syringe pump to infuse of 0.9% sodium chloride supplemented with 12.5% albumin at a 15 microliter per minute infusion rate [1] and hydrate the exposed tissue with pre-warmed 0.9% sodium chloride [2-TXT].

    - Saline being infused

    - Tissue being hydrated TEXT: Keep tissue hydrated throughout procedure

- Thoracotomy

  - To access the thorax, rinse the thorax with 70% ethanol [1] and incise the skin just beneath the xyphoid process [2].

    - WIDE: Talent rinsing thorax Videographer: More Talent than mouse in shot

    - Incision being made

  - Bluntly separate the pectoral muscles from the chest wall [1] and use forceps to lift the xyphoid process to allow the chest wall to be cut until the diaphragm is fully visible [2].

    - Muscles being separated

    - Xyphoid being lifted/diaphragm being cut

  - Incise the diaphragm from below to expose the cardiac apex [1] and use forceps to carefully remove the pericardium [2].

    - Diaphragm being incised/cardiac apex being exposed

    - Pericardium being removed

  - Perform a limited costotomy on the left side [1] and pass a suture beneath the inferior caval vein to allow downstream preload reduction [2]. Videographer: This step is important!

    - Representative shot of costotomy being performed

    - Suture being passed below vein

  - Using a 25-gauge cannula, gently puncture the cardiac apex [1] and replace the cannula with a pressure volume catheter until all of the electrodes are within the ventricle [2]. Videographer: This step is important!

    - Apex being punctured

    - Catheter being placed

  - Then, gently adjust the position of the catheter [1] until rectangular shaped loops are obtained [2]. Videographer: This step is difficult!

    - Catheter position being adjusted Videographer: Frame to allow inset from 4.6.2.

    - SCREEN: 62057_screenshot_ capture_0_3.6.2.mp4. 0:10 – 1:22. Video Editor: speed up the video as necessary

- Pressure Volume Loop (PVL) Measurement

  - To acquire pressure volume loop measurements, perform an on-line analysis of the cardiac function parameters of interest [1] and wait until a steady-state cardiac function is obtained [2].

    - WIDE: Talent analyzing function, with monitor visible in frame

    - SCREEN: 62057_screenshot_capture_1_4.1.2.mp4. 0:01 – 0:10.

  - Stop the respirator at the end-expiratory position [1] and record the baseline parameters [2].

    - Talent stopping respirator

    - SCREEN: 62057_screenshot_capture_2_4.2.2.mp4. 0:01 – 0:14.

  - After 3- 5 seconds, use forceps to lift the suture beneath the inferior caval vein to obtain preload independent parameters [1] and turn on the ventilator [2].

    - Suture being lifted

    - Talent turning on ventilator

  - Wait at least 30 seconds for the second occlusion until the hemodynamic parameters are stabilized [1].

    - SCREEN: 62057_screenshot_capture_3_4.4.1.mp4. 0:01 – 0:23.

  - After obtaining the measurements under basal conditions, mount an isoproterenol-loaded syringe onto the syringe pump [1-TXT].

    - Syringe being mounted TEXT: Perform 2 baseline + 2 two vena cava occlusion measurements for each step of dose response protocol

  - Wait at least 2 minutes until a new steady-state cardiac function is observed [1] before stopping the respirator at the end-expiratory position [2] and recording the baseline parameters [3].

    - SCREEN: 62057_screenshot_capture_4_4.6.1.mp4. 0:02 – 1:45. Video Editor: speed up the video as necessary

    - Talent stopping respirator

    - SCREEN: 62057_screenshot_capture_5_4.6.3.mp4. 0:01 – 0:10.

  - After 3-5 seconds, lift the suture beneath the inferior caval vein to obtain preload independent parameters [1] and wait at least 30 seconds for the second occlusion [2].

    - Suture being lifted

    - SCREEN: 62057_screenshot_capture_6_4.7.2.mp4. 0:01 – 0:23.

  - Then mount the syringe containing the next isoproterenol concentration [1] and repeat the baseline and preload independent parameters recordings [2-TXT].

    - Talent loading syringe

    - Talent at computer, recording cardiac function, with monitor visible in frame

- PVL Parallel-Conductance Calibration

  - To perform a parallel-conductance calibration, after the last isoproterenol dose-response measurement, connect a syringe loaded with a 15% sodium chloride solution to the femoral cannula [1] and carefully infuse 5 microliters of the hypertonic solution [2] until the pressure volume loop slightly shifts to the right [3].

    - WIDE: Talent connecting syringe

    - Solution being infused Videographer: Frame to allow inset from 6.1.3.

    - 62057_screenshot_capture_7_5.1.3-5.3.1.mp4. 0:01 – 0:18. Video Editor: Include as inset in 6.1.2.

  - Wait until the loops return to the steady-state [1] before stopping the respirator at end-expiration [2] and immediately injecting a 10-microliter bolus of 15% sodium chloride [3-TXT].

    - SCREEN: 62057_screenshot_capture_7_5.1.3-5.3.1.mp4. 0:19 – 0:29.

    - Talent stopping respirator

    - Bolus being injected TEXT: Inject within 2-3 s

  - Then check whether the pressure-volume loop has largely broadened and shifted to the right [1].

    - SCREEN: 62057_screenshot_capture_7_5.1.3-5.3.1.mp4. 0:30 – 0:41.

- PVL Conductance-to-Volume Calibration

  - To perform a conductance-to-volume ratio, wait 5 minutes until the hypertonic saline bolus is completely diluted [1] before removing the catheter [2] and using a 1-milliliter syringe equipped with a 21-gauge cannula to remove at least 600 microliters of blood from the left ventricle of the beating heart [3-TXT].

    - WIDE: Talent setting timer or checking watch/clock

    - Catheter being removed

    - Blood being aspirated TEXT: Sacrifice according to institutional guidelines

  - Then transfer the blood into a pre-warmed calibration cuvette in a 37-degree Celsius water bath with cylinders of a known volume [1] and place the pressure-volume catheter centrally into each cylinder to allow recording of the conductance [2].

    - Talent adding blood to cuvette

    - Talent placing catheter into cylinder

# Results

- Results: Representative PVL Analysis

  - Using this open-chest, pressure volume loop measurement method [1], if the catheter is correctly placed within the ventricle, a full cardiac cycle will be represented by a rectangular-shaped pressure-volume loop [2].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2A Video Editor: please emphasize pressure volume loop

  - As illustrated, systole begins with a phase of isovolumetric contraction [1], during which both cardiac valves are closed [2].

    - LAB MEDIA: Figure 2A Video Editor: please emphasize dp/dtmax equation on right side of loop

    - LAB MEDIA: Figure 2A Video Editor: please emphasize Closure Aortic valve text and arrow

  - When the ventricular pressure exceeds the aortic pressure [1], the aortic valve opens, and blood is pumped into the aorta during the ejection phase [2].

    - LAB MEDIA: Figure 2A

    - LAB MEDIA: Figure 2A Video Editor: please emphasize upper horizontal edge of loop and Opening Aortic valve text and arrow

  - Subsequently, when the aortic pressure exceeds the ventricular pressure [1], the aortic valve closes, and diastole begins [2].

    - LAB MEDIA: Figure 2

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Closure Aortic valve arrow and text

  - During the isovolumetric relaxation [1], the ventricular pressure falls until the atrial pressure exceeds the ventricular pressure and the mitral valve opens [2].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Isometric relaxation text and dp/dtmin text

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Opening Mitral valve text

  - Passive diastolic filling, characterized by the end-diastolic pressure-volume relationship, then takes place until the next cardiac cycle begins [1].

    - LAB MEDIA: Figure 2 Video Editor: please emphasize Filling and End-diastolic pressure texts

  - Since it is capable of determining cardiac function independent of cardiac preload [1], pressure volume analysis can provide detailed insight into cardiac function [2] and cardiac contractility [3].

    - LAB MEDIA: Figures 3B and 3C

    - LAB MEDIA: Figures 3B and 3C Video Editor: please sequentially emphasize Figure 3B graphs from top left to bottom right

    - LAB MEDIA: Figures 3B and 3C Video Editor: please sequentially emphasize Figure 3B graphs from top left to bottom right

  - For example, in this analysis, isoproterenol induced a significant effect on each measured cardiac function [1] and cardiac contractility parameter [2].

    - LAB MEDIA: Figures 3B and 3C Video Editor: please emphasize Heart rate, Stroke volume, Cardiac output, and Stroke Work data lines

    - LAB MEDIA: Figures 3B and 3C Video Editor: please emphasize PRSW and dp/dtmax data lines

  - In contrast, a reduction in the diastolic parameters was observed in response to increasing isoproterenol concentrations [1].

    - LAB MEDIA: Figures 3B and 3C Video Editor: please emphasize Tau and dp/dtmin data lines

# Conclusion

- Conclusion Interview Statements

  - Lucas Bacmeister: A precise catheter placement within the left ventricle is crucial to generate reproducible loops without artifacts. To optimize catheter placement, we prefer the open-chest approach.[1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 3.5 and 3.6.

  - Lucas Bacmeister: Following PVL measurements, allometric indices can be determined, and tissue can be isolated to identify molecular and histopathological alterations caused by treatments and/or genetic modifications. [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B roll: 4.1.2.

  - Lucas Bacmeister: This technique paves the way to analyze ß-adrenergic reserve in mouse models under normal and pathological conditions and may be used as a template for testing other stimuli [1].

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera