[image: image1.wmf]

KLINIKUM DER UNIVERSITÄT MÜNCHEN
Seite 5 von 11

	Klinikum der Universität München · Medizinische Klinik und Poliklinik I
Marchioninistr. 15 · 81377 München
	
	Ruibing Xia
Telefon
+49 (0)89 4400 - 0
Ruibing.Xia@med.uni-muenchen.de

www.klinikum.uni-muenchen.de www.med1.klinikum.uni-muenchen.de

Postanschrift:
Medizinische Klinik u. Poliklinik I

Marchioninistr. 15

D-81377 München



	Nam Nguyen, Ph.D.


Manager of Review

JoVE
	
	

	Ihr Zeichen:


	Unser Zeichen: Xia

	
	06.11.2020


Dear Dr. Nguyen,

thank you very much for your kind and constructive comments and your invitation to re-submit our revised manuscript to JoVE. Please find enclosed a point-by-point response to the reviewers’ comments.

Editorial comments:
Changes to be made by the Author(s):

1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues.
We thank you for the comments. The manuscript has been proofread very carefully, and spelling or grammar issues are changed at tracking mode. Please check them in the revised manuscript enclosed.


2. Please ensure that all text in the protocol section is written in the imperative tense as if telling someone how to do the technique (e.g., “Do this,” “Ensure that,” etc.). The actions should be described in the imperative tense in complete sentences wherever possible. Avoid usage of phrases such as “could be,” “should be,” and “would be” throughout the Protocol.
Thank you for the comment. The protocol has been modified accordingly.

3. Please specify all surgical tools used to make the incisions.
We apologize for not mentioning every surgical tool at each step. We added this information as follows:

[…] 2.4 When the toe-pinch reflex is undetectable, a clear cut from the jugulum to the symphysis is made using iris scissors to remove fur and skin. Another cut from left to right underneath the ribs is made using iris scissors to carefully open the abdomen. The xiphoid is lifted a little bit using curved forceps to allow cutting the diaphragm from left to right without injuring any organs. The rib cage is then cut in medial axillary line on both sides using iris scissors to flip it cranially and to allow access to the heart.

2.5 Inferior vena cava and descending thoracic aorta are cut at the level of the diaphragm using iris scissors. […]

4. Please highlight up to 3 pages of the Protocol (including headings and spacing) that identifies the essential steps of the protocol for the video, i.e., the steps that should be visualized to tell the most cohesive story of the Protocol. Remember that non-highlighted Protocol steps will remain in the manuscript, and therefore will still be available to the reader.
5. Please ensure that the highlighted steps form a cohesive narrative with a logical flow from one highlighted step to the next. Please highlight complete sentences (not parts of sentences). Please ensure that the highlighted part of the step includes at least one action that is written in imperative tense.
We highlighted parts of the protocol as suggested.


6. Please combine Tables 1-3 into one single Table of Materials and Equipment.
Thank you for the comment. We have combined Tables 1-3 into one single Table “Materials and Equipment” and replaced the original tables with the new combined table.

7. Please specify any limitations of the protocol in the discussion.
Thank you for your comment that is very helpful for us. It shows that our manuscript and especially our discussion was not written well enough. Two paragraphs discussing  potential limitations of the protocol were added as follows:
Discussion Section:

[…] The SAN and AVN might be easy to distinguish after staining with a specific antibody. To localize the SAN and AVN by their anatomical landmarks, however, might need some practice before the correct microdissection can be performed. […]
[…] Whole-mount in situ staining, confocal imaging and 3D reconstruction is an invaluable and powerful technique for researchers from various fields. However, the method also has some limitations: (i) it requires specialized equipment such as a confocal microscope that is not commonly available at every institution, (ii) as mentioned above, microdissection of specialized anatomic structures such as the SAN or AVN but also confocal imaging and post-imaging processing requires intensive practicing and experienced personnel, (iii) success of the method highly relies on the quality of the antibodies used and may therefore be very challenging in some cases. Also, (iv) 3D reconstruction can be difficult to achieve and may require intensive troubleshooting to optimize the procedure. For example, optimal intervals have to be set during image acquisition since sections spaced too far apart will leave gaps and might not allow an adequate 3D reconstruction of the anatomy. Sections that are too close may cause oversampling and bleaching due the excessive illumination and will take a long time to complete one image. Finally, (v) the major limitation of confocal microscopy is the imaging depth which means that if samples’ thickness is beyond the maximum operating depth of the confocal microscope, the further fluorophore cannot be detected. […]

And two references were added:

14 Rysevaite, K. et al. Immunohistochemical characterization of the intrinsic cardiac neural plexus in whole-mount mouse heart preparations. Heart Rhythm. 8 (5), 731-738, (2011).

15 Acar, M. et al. Deep imaging of bone marrow shows non-dividing stem cells are mainly perisinusoidal. Nature. 526 (7571), 126-130, (2015).


8. Please spell out journal titles in the references.
All the journal titles were fully spelled.
Reviewers' comments:
Reviewer #1:
Manuscript Summary:
In this manuscript, Xia and colleagues describe a protocol for dissection of mouse sinoatrial node and atrioventricular node tissue for whole-mount immunostaining. They detail a relatively simple and straightforward technique that should be easily adopted by any lab interested in conducting mouse studies of the cardiac conduction system.

Major Concerns:
None

Minor Concerns:
A few clarifications are needed:
1) For Notes #2: how long is a "longer time at room temperature"?
Thank you for the comment. We changed the manuscript as follows to avoid misunderstanding:

[…] NOTES: […] #2. The dilution of antibodies should be done shortly before incubation. Avoid to leave the diluted antibodies at room temperature. […]

2) Step 2.5: Please provide more details for the LV perfusion step. Was a closed circuit system used?
We thank the reviewer for pointing towards this issue. No, we performed the perfusion by simply injecting PBS directly into the LV using a syringe, and no closed circuit system was used. This method has also been described by some other researchers1.

3) Step 2.8: Is washing of the heart sample required prior to putting on the dissection microscope stage?
Thank you for the comment. After harvesting the heart, it was put directly into cold PBS for the following microdissection. We changed this part of the manuscript: 

[…] 2.8 The heart is put directly into a dissection dish filled with ice cold PBS under the dissecting microscope. […]

4) For each step requiring fixation or washing (e.g. 2.10, 2.11, 2.12, 3.1, 3.2), please state how the samples should be incubated? Are rocking or stirring required?
Thank you very much for the comment. For the fixation and antibody incubation, no rocking or stirring is required. The sample is directly put into the corresponding buffer at 4°C. We clarified our manuscript as follows:

[…] 2.12 […] NOTE: For the fixation and dehydration in step 2.10, 2.11 and 2.12, the samples are left at 4°C without further stirring or rocking. […]

[…] 3.7 […] NOTES: #1. For the blocking, permeabilization, antibodies incubation and DAPI staining in step 3.1, 3.2, 3.4 and 3.6, leave the samples at steady state in the 4°C, no stirring is required. […] 

5) For the dissection of SAN and AVN starting from whole heart, it would be helpful to include a cartoon diagram of the heart to show which regions are pinned to the petri dish along with the dissection plane. The images from the dissection microscope are difficult to visually in 3D space.
Thank you for the comments. We added an illustration as Figure 2 to make our microdissection procedures easier to understand.

6) It was not clear from the protocol that the SAN and AVN images would be derived from the same piece of tissue. Please clarify this point earlier in the text.
Thank you very much for this comment. We used the same heart for the imaging of both SAN and AVN. In order to avoid the misunderstanding, we clarified our manuscript as follows:

[…] 4.2 Loading the heart. The same heart sample can be used for imaging of both SAN and AVN sequentially. For SAN imaging the heart can be directly loaded whereas for AVN imaging microdissection has to be performed before. […]


7) The authors state that "confocal laser scanning microscopy" was used to capture images, but no details are provided. I would suggest that at least some details regarding instrument specifications are added to the protocol, and a discussion of the various types of confocal imaging should be provided in the Discussion section. Also, are there special considerations during image acquisition to enable proper 3D reconstruction by the Imaris software package?
The reviewer’s comments are highly appreciated. As the image analysis is beyond the scope of the protocol, we limited the length of this part in our manuscript. However, we believe that adding some more details will make the manuscript easier to understand. And indeed, this specific issue about confocal imaging and usefulness of 3D construction was not extensively discussed in our original manuscript. We improved our manuscript and discussed the confocal imaging by adding the following paragraph:
Protocol section:

[…] 4.6
For taking images, we use the Carl Zeiss LSM800 with Airyscan Unit and the software ZEN 2.3 SP1 black. 

4.7
Plate “BP420-480 + LP605” was chosen for the excitation of Alexa Fluor 647 conjugated anti-HCN4. The master gain varied from 650-750.

4.8
An overview image of the whole SAN and AVN region is taken by using “Tile Scan” function. Then the HCN4-positive region is selected by clicking and adding a square on the overview image around the area of interest that will be scanned.

4.9
The parameters, including plates and master gain for the remaining channels (Alexa Fluor 488 and DAPI) of the confocal microscope are also checked and set as described in step 4.7.

4.10
The focus is slowly adjusted from top to bottom of the sample to preview the whole sample and to set the “First” and “Last” for the Z-stack range. An optimal interval for the Z-stack based on the thickness of the optical sample is set. We use an 20x objective, and 0.8-1 µm as the interval for Z-stack.

4.11
 After all the parameters are properly set, the whole area of the SAN and AVN is scanned.

4.12
 3D reconstruction of the images is done using the software Imaris version 8.4.2.

4.12.1
“Images processing-> baseline subtraction” is used to remove background staining.

4.12.2
Surface creation onto setting for selected channel and region of interest is selected for processing.…]
Discussion section:

[…] We used the confocal laser-scanning microscope (LSM) with the Airyscan detector, which can offer a distinct advantage in obtaining images with superior quality. Using a widefield imaging microscope can only offer tissue-level information but lacks cellular resolution. On the other hand, the widefield microscope carries a risk of high background.[12] By using Airyscan detector from ZEISS for confocal LSM, improved resolution and signal-to-noise ratio (SNR) can be acquired, compared to the traditional one pinhole-and-detector confocal imaging system.[13] […]
[…] 3D reconstruction can be difficult to achieve and may require intensive troubleshooting to optimize the procedure. For example, optimal intervals have to be set during image acquisition since sections spaced too far apart will leave gaps and might not allow an adequate 3D reconstruction of the anatomy. Sections that are too close may cause oversampling and bleaching due the excessive illumination and will take a long time to complete one image. Finally, (v) the major limitation of confocal microscopy is the imaging depth which means that if samples’ thickness is beyond the maximum operating depth of the confocal microscope, the further fluorophore cannot be detected. […]
And two references were added:

12
Shaw, P. J. in Handbook Of Biological Confocal Microscopy 10.1007/978-0-387-45524-2_23  (ed James B. Pawley)  453-467 (Springer US, 2006).

13
Huff, J. The Airyscan detector from ZEISS: confocal imaging with improved signal-to-noise ratio and super-resolution. Nature Methods. 12 (12), i-ii, (2015).

Reviewer #2: 

Manuscript Summary:

The authors present a detailed method for locating the sinoatrial node (SAN) and atrioventricular node (AVN) in intact cardiac tissue, thus allowing the study of these regions within their 3D anatomical structure. The authors compare this method to 2D imaging techniques, which require sectioning tissue in thin slices and eliminates both anatomical markers for locating the SAN or AVN, and the potential to study their relationship to any surrounding tissue. The authors detail how to harvest the tissue, identify the relevant structures, and stain and image the regions of interest.

Major Concerns:

Discussion on the relevance or usefulness of the 3D reconstructions is lacking, despite the 3D assessment of the SAN and AVN being critical components of the authors’ justification for the whole-mount preparation. Panel C of Figures 4 and 5 are the most visually-striking in the protocol, and the discussion should include how those 3D reconstructions could be leveraged.

We thank the reviewer for pointing towards this important issue. To address this issue, we added a paragraph to the discussion:
Discussion Section:
[…]The shapes and position of SAN and AVN are presented as 3D reconstruction and additional virtual section planes derived from 3D reconstruction can enhance the interpretation of histological sections, whereas conventional histology allows only a 2D assessment of the anatomy with the inherent risk of non-detection of small but relevant structures. Moreover, 3D reconstruction provides the opportunity to examine anatomical structures of interest transmurally and within the intact microenvironment, for example intrinsic autonomic nervous plexi innervating the heart.[14] Whole-mount in situ staining and 3D reconstruction allows to investigate the cellular environment as well as the specific cell types and their orientation. Furthermore, regional and cell-type specific protein expression can be visualized and may further support western blot and proteomics analyses.[15] […]
[…]3D reconstruction can be difficult to achieve and may require intensive troubleshooting to optimize the procedure. For example, optimal intervals have to be set during image acquisition since sections spaced too far apart will leave gaps and might not allow an adequate 3D reconstruction of the anatomy. Sections that are too close may cause oversampling and bleaching due the excessive illumination and will take a long time to complete one image. Finally, (v) the major limitation of confocal microscopy is the imaging depth which means that if samples’ thickness is beyond the maximum operating depth of the confocal microscope, the further fluorophore cannot be detected. […]

And two references were added:

14 Rysevaite, K. et al. Immunohistochemical characterization of the intrinsic cardiac neural plexus in whole-mount mouse heart preparations. Heart Rhythm. 8 (5), 731-738, (2011).

15 Acar, M. et al. Deep imaging of bone marrow shows non-dividing stem cells are mainly perisinusoidal. Nature. 526 (7571), 126-130, (2015).
This reviewer does not identify any instances of scientific inaccuracy, and commends the authors for assembling a rigorous and detailed protocol. The following comments focus on avoiding confusion in following the protocol.

While the authors generally demonstrate a strong command of the English language, a thorough proofread is necessary to avoid instances of confusing language. Examples of such include:

- Line 80: “is a method that allows to study”
Thank you for the considerable comment. The manuscript has modified as followes:
[…] Whole-mount immunofluorescence staining is a method used to study anatomical structures in situ while preserving the integrity of the surrounding tissue. […]

- Line 127-128: “The appropriate antibody dilution should be tested with comparable tissue samples performing a conventional immunofluorescent staining.” (This reviewer assumes the authors mean, “by performing.”)

The manuscript has modified accordingly.
Line 217: Please clarify the phrase "a few drops." Is the goal to displace all air within the cavity?
We thank the reviewer for pointing to that issue. The reviewer is correct, one goal is to remove all the air from the cavity, but another goal is to fully cover the sample. To avoid any misunderstanding changes were made in Step 4.2.1.2 and step 4.2.2.3 as follows:
[…] 4.2.1.2 […]PBS is added onto the heart to displace all air within the cavity until the heart is fully covered with PBS (usually a few drops of PBS are sufficient). […]
[…] 4.2.2.3 […] PBS is added onto the heart to displace all air within the cavity until the heart is fully covered with PBS (usually a few drops of PBS are sufficient). […]
Line 251: Please clarify how much the heart should be "squished," or such squishing avoided, when attaching the coverslip. Is a flat imaging plane necessary or vital for proper imaging, and in which direction should the user err (i.e. Too deep a cavity, or too shallow in 4.1 - line 208)?
Thank you for the comment. The heart should not be squished too much, as long as there are no air bubbles between the sample and the coverslip. Based on our experience, a flat imaging plane will increase the efficiency of confocal imaging. In order to clarify the sample loading, we rephrase the steps as follows:
[…] 4.1 […] NOTE: We recommend to make a shallow groove, as this would be easier to acquire a flat imaging plane, and to adjust the space and avoid air bubbles between the sample and the coverslips in step 4.4. […]

[…] 4.4 […] NOTE: Make sure that the regions of interest are not folded and covered during pressing the back side of the plasticine. A flat imaging plane without sample overcompression is necessary for conserving the anatomy and for proper confocal imaging of the samples.. […]
Line 272: Figures for SAN and AVN are misidentified as Figs. 3 and 4, should be Figs. 4 and 5, respectively.

We apologize for the mistake and corrected figure labels.
Minor Concerns:

Figure 2: This reviewer appreciates the difficulty of identifying anatomical structures on a mouse heart under magnification, and notes the authors' excellent use of notation to identify relevant regions. Still, the images are somewhat disorienting. Perhaps a 3D cartoon model of the full heart in the relevant orientation for A/B would be helpful in better orienting the reader.

We agree with the reviewer that a 3D cartoon would be very helpful to help the reader understanding the anatomy of SAN and AVN. However, since we are not professional graphic designers we are not able to draw a 3D comic. Instead of a 3D comic we added a 2D illustration as new Figure 2 to our manuscript. We hope that this figure will also improve orientation. Furthermore, the video that will be linked to the article will show the whole process of the microdissection and will therefore allow the reader/viewer to easily understand where exactly SAN and AVN are located.

Line 136: Please clarify how achievement of full anesthesia is confirmed while in incubation chamber (Unlikely to be a concern for experienced mouse handlers, but should be noted nonetheless).

Thank you for pointing to this issue. We clarified this by adding a NOTE to this step:
[…] 2.2 […] NOTE: Full anesthesia is confirmed by the loss of the postural reaction and righting reflex by gently rolling the chamber until the mouse is placed on its back. […]
Line 204: (3. NOTE): Is there a maximum recommended time frame before sample/signal degradation, or is "a few days" simply the extent of the authors' experience storing the samples?

Thank you for the comment. The time frame we mentioned for the preservation of stained samples is derived from our experience working with sections preserved with mounting medium, which can help to prevent the degradation of the fluorophore. For those sections, they can be stored at 4°C for several months.
For whole-mount stained samples we unfortunately cannot provide an exact time frame until the samples are preserved. Since the whole-mount stained samples are kept in PBS at 4°C we can only recommend to scan the sample as soon as possible.
Line 263: It may be helpful for the authors to note the laser intensity and/or gain used to acquire the images, as a starting/reference point for the user.
Thank you for the comment. Required laser intensity depends on the concentration of antibodies used for staining. For our manuscript, we diluted the antibodies 1:200. If lower antibody concentration is used, a higher laser intensity for the imaging might be necessary. We added the parameters we used for the confocal imaging as follows:
[…] 4.7 Plate “BP420-480 + LP605” was chosen for the excitation of Alexa Fluor 647 conjugated anti-HCN4. The master gain varied from 650-750.

4.8 An overview image of the whole SAN and AVN region is taken by using “Tile Scan” function. Then the HCN4-positive region is selected by clicking and adding a square on the overview image to around the area of interest that will be scanned.

4.9 The parameters, including plates and master gain, for the remaining channels (Alexa Fluor 488 and DAPI) of the confocal microscope are also checked and set as in step 4.7. […]

Line 266: While step-by-step instructions of Imaris software are beyond the scope of this protocol, it would be helpful for the authors to include a useful resource for the software in a note following 4.9.
Thank you very much for the comment. Indeed, a detailed description how to use Imaris software is beyond the scope of this protocol.  However, we would like to offer a few simple steps for using Imaris and added the following paragraphs:
[…] 4.12 3D reconstruction of the images is done using the software Imaris version 8.4.2.

4.12.1  “Images processing-> baseline subtraction” is used to remove background staining.
4.12.2 Surface creation onto setting for selected channel and region of interest is selected for processing. […]

Reviewer #3: 

Manuscript Summary:

The authors describe a whole-mount procedure to immune-label the two key "upstream" components of the cardiac conduction system (CCS), the SA and AV nodes. The staining looks great, the technique is definitely one that people in the field will want to learn how to do, and overall I think that this is a great contribution to the JoVE stable of videos.

We thank the reviewer for this very kind comment.

Major Concerns:

1) The title of the paper refers only to the whole-mount staining, but clearly the microscopy and the subsequent 3D-reconstructions associated with it are mentioned at several points in the text:

a) In the abstract

b) In the introduction, where confocal microscopy is even specified as the fourth and final goal of the protocol

c) in the protocol

d) in the figures, results are shown

However, the description of both the confocal procedure and the 3D reconstruction is limited to 2 sentences? Points 4.8 and 4.9, respectively. I will leave it up to the JoVE editors how to deal with this, but clearly one would not be able to reproduce the entire protocol without having more details about both the confocal conditions as well as the parameters chosen for 3D reconstruction. In addition, the authors should submit a movie that will allow the viewer to appreciate the 3rd dimensionality of their reconstruction, this is standard practice.

We thank the reviewer for pointing towards this important issue. To make the title more consistent with the abstract and the content of the manuscript, we replace our title with the following one:

TITLE: 

Whole-Mount Immunofluorescence Staining, Confocal Imaging and 3D Reconstruction of the Sinoatrial and Atrioventricular Node in the Mouse
Furthermore, we added some more paragraphs about confocal microscopy to the protocol:

PROTOCOL:

[…] 4.6
For taking images, we use the Carl Zeiss LSM800 with Airyscan Unit and the software ZEN 2.3 SP1 black. 

4.7
Plate “BP420-480 + LP605” was chosen for the excitation of Alexa Fluor 647 conjugated anti-HCN4. The master gain varied from 650-750.

4.8
An overview image of the whole SAN and AVN region is taken by using “Tile Scan” function. Then the HCN4-positive region is selected by clicking and adding a square on the overview image around the area of interest that will be scanned.

4.9
The parameters, including plates and master gain for the remaining channels (Alexa Fluor 488 and DAPI) of the confocal microscope are also checked and set as described in step 4.7.

4.10
The focus is slowly adjusted from top to bottom of the sample to preview the whole sample and to set the “First” and “Last” for the Z-stack range. An optimal interval for the Z-stack based on the thickness of the optical sample is set. We use an 20x objective, and 0.8-1 µm as the interval for Z-stack.

4.11
 After all the parameters are properly set, the whole area of the SAN and AVN is scanned.

4.12
 3D reconstruction of the images is done using the software Imaris version 8.4.2.

4.12.1
“Images processing-> baseline subtraction” is used to remove background staining.

4.12.2
Surface creation onto setting for selected channel and region of interest is selected for processing. […]
We also added two movies as suggested by the reviewer.

2) It would be useful for those in the audience who do have experience with antibody stainings to comment upon / explain the various concerns:

1) High triton concentration: 1% incubation with both primary and secondary antibodies is a very high concentration.

We thank the reviewer for the comment. Triton X-100 is the most popular detergent for improving the penetration of the antibody. According to the datasheet the recommended working concentration of Triton X-100 is 0.1–0.5% (v/v, in PBS) for permeabilization. For staining of frozen sections we also use 0.5%, but for whole-mount staining a higher concentration of 1% helps to obtain more efficient antibody staining as demonstrated before.


2 ADDIN EN.CITE  Therefore, we added a NOTE to our protocol:

PROTOCOL:

[…] 3.2[…] NOTE: […] #3. Higher concentration of Triton X-100 may help obtain more efficient antibody staining as demonstrated before[10], but concentration might be determined individually. […]
REFERENCES:

10 Hulsmans, M. et al. Macrophages Facilitate Electrical Conduction in the Heart. Cell. 169 (3), 510-522 e520, (2017).
2) Autofluorescence of myocardial tissue: Myocardial tissue can deliver a very high level of autofluorescence, but the images the authors present show very little autofluorescence.

The reviewer mentioned a valid point. We appreciate this comment. We did observe autofluorescence signals showing the morphology of myocardial tissue when we scanned the samples. For that reason, we use the “baseline subtraction” during the image analysis with the Imaris software to remove the background staining of the images in order to show the SAN and AVN regions more prominent.
We assume that the “very little autofluorescence” the reviewer mentioned refers to the clean background showed in Figure 5. This, however, is the plasticine used for covering the connecting tissue around AVN, which does not show any fluorescence.
3) Could points 1) and 2) be connected to each other?

According to our experience with various triton concentrations (0.5% for frozen sections, 1% for whole-mount staining) we could not see a clear correlation between triton concentration and the degree of autofluorescence. A literature research on this topic also did not show any report on that. So, although a potential relationship is very unlikely, it cannot be fully excluded at the moment.
4) Concentration of antibodies seems to be high for both primary and secondary antibodies, could the authors comment upon this?
According to the information on the datasheets of the antibodies, we tested the optimal concentration of each antibody with frozen sections. During these initial experiments it turned out that only with higher antibody concentration (higher than 1:400) appropriate images could be obtained. Therefore we decided to use higher concentrations of antibodies than recommended by the manufacturer. 
5) Showing the results of a control staining without primary antibody?

Thank you for the comments. We added an additional Figure 7 showing a control staining without primary antibody 
3) What about the entire downstream portion of the cardiac conduction system? The authors do not even mention the bundle of His, the Purkinje fibers, the moderator band, etc etc. I can imagine that readers of this article would be very interested, potentially, in seeing whether this whole mount method is effective for these downstream components of the CCS. At least at late embryonic stages, HCN4 should label the entire CCS.
The reviewer’s comment is highly appreciated. Indeed, the bundle of His and Purkinje fibers are also important parts of the cardiac conduction system (CCS), but are not the focus of our group and therefore, we have not sufficient experience in microdissecting bundle branches for example. Therefore, we thought it might be more appropriate to focus on our research field and demonstrate the technique on SAN and AVN as an example. Although we did not try so far, we believe that whole-mount staining of lower CCS parts is possible as well but will need an optimized microdissection of the respective parts, as the major limitation of confocal is the imaging depth.

Minor Concerns:

1) Although the anatomical terminology used by the authors is going to be familiar to clinicians and those who study heart function, it is going to be lost on everyone else. From an American perspective, you won't even find the triangle of Koch or the tendon of Todaro in standard anatomy textbooks, that is really a cardiologist's specialty term. But as far as I understand the protocol, the user will need to really understand the location of specialized structures in order to properly dissect and then mount the heart specimens for proper imaging. Not sure how specialized the lingo can get in a broad-interest journal like JoVE. The authors could point out these structures in their video of course.
We thank the reviewer for the comment. Indeed, we admit that this microdissection procedure might be difficult for researchers who do not specialize in cardiology or the anatomy of the cardiovascular system. Therefore, we hope that our protocol in combination with the video could help a little bit for clarifying the complex cardiac anatomy. 

1
Pinto, A. R., Chandran, A., Rosenthal, N. A. & Godwin, J. W. Isolation and analysis of single cells from the mouse heart. J Immunol Methods. 393 (1-2), 74-80, (2013).

2
Hulsmans, M. et al. Macrophages Facilitate Electrical Conduction in the Heart. Cell. 169 (3), 510-522 e520, (2017).



öffentl. Verkehr: 
U6, 56, 266, 269 oder N41 bis Haltestelle Klinikum Großhadern


