## Sheet1
Full scan mass range (Dalton) | 70-900
FTMS (Orbitrap analyzer) full scan resolution | 6.0 x 104
FTMS (Orbitrap analyzer) HCD resolution | 7500
FTMS full scan AGC target | 1.0 x 106
FTMS MSn AGC target | 5.0 x 104
Ion trap (LTQ) MSn AGC target | 1.0 x 104
Ion Source type | Heated Electrospray Ionization
Capillary Temperature (°C) | 275
Source heater Temperature (°C) | 250
Sheath Gas Flow | 10
Aux Gas flow | 5