# Submission ID #:  62062

# Scriptwriter Name: Madhulika Pathak

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18928958

# Title:   Semi-Quantitative Determination of Dopaminergic Neuron Density in the Substantia Nigra of Rodent Models using Automated Image Analysis

# Authors and Affiliations:

Darren M O’Hara1,2*, Minesh Kapadia1,2, Susan Ping1,2, Suneil K Kalia1,2,3, Lorraine V Kalia1,2,4,5,6

1Krembil Research Institute, Toronto Western Hospital, University Health Network, Toronto, Canada.

2Department of Laboratory Medicine and Pathobiology, University of Toronto, Toronto, Canada.

3Department of Surgery, Division of Neurosurgery, University of Toronto, Toronto, Canada.

4Department of Medicine, Division of Neurology, University of Toronto, Toronto, Canada.

5Department of Medicine, Division of Neurology, Edmond J. Safra Program in Parkinson's Disease and the Morton and Gloria Shulman Movement Disorders Clinic, Toronto Western Hospital, University Health Network, Toronto, Canada.

6Tanz Centre for Research in Neurodegenerative Diseases, University of Toronto, Toronto, Canada.

# Corresponding Authors:

Darren M O’Hara	(darren.ohara@uhnresearch.ca)

# Email Addresses for All Authors:

# minesh.kapadia@uhnresearch.ca

susan.ping@mail.utoronto.ca

suneil.kalia@utoronto.ca

lorraine.kalia@utoronto.ca

darren.ohara@uhnresearch.ca

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees self-record interview statements. JoVE can provide support for this option.

4. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  25

Number of Shots:  43

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Darren O’Hara: Estimation of the number of dopaminergic neurons in the substantia nigra is a key outcome measure in Parkinson’s disease research. This protocol can significantly shorten the workload required to estimate neuron number.

    - 62062 interviews/JoVE_Script00845914.mov.00:00:00-00:00:13

  - Darren O’Hara: This method provides a time efficient and accurate process for detecting changes in dopaminergic neuron number, and is suitable for determination of the effect of interventions on cell survival.

    - 62062 interviews/JoVE_Script00854558.mov. 00:00:00-00:00:10. Suggested B-roll: 2.3.1 and 2.3.2

OPTIONAL:

  - Darren O’Hara: This method could be easily adapted to provide accurate counts of neurons in different brain regions while maintaining efficiency and cost advantages over traditional stereological protocols.

    - 62062 interviews/JoVE_Script00856400.mov.00:00:00-00:00:11. Suggested B-roll: 4.5.1

Ethics Title Card

  - All procedures were approved by the University Health Network Animal Care Committee and performed in accordance with guidelines and regulations set by the Canadian Council on Animal Care.

# Protocol

- Confocal Microscopy and Image Acquisition

  - To capture IHC images, use the software coupled to a confocal microscope at 10x magnification. Open the pinhole to 1.5 Airy unit to capture a wide plane totaling to 1.5 micrometers and set the focus on the injected side of the brain [1].

    - SCREEN: 3.1.2.mp4.0:00-0:21

  - On the Acquisition tab, check the Tile Scan imaging option and set the dimensions to 10 by 4 [1]. Under the Acquisition Mode panel, set the Zoom to 1.1 to avoid any stitching marks between tile scan images [2].

    - SCREEN: 3.2.1.mp4.0:00-0:21

    - SCREEN: 3.2.2.mp4.0:00-0:10

  - Set the Frame Size to 1024 by 1024 pixels [1] and the Averaging to 2 to ensure high quality image acquisition [2].

    - SCREEN: 3.3.1.mp4.0:00-0:09

    - SCREEN: 3.3.2.mp4.0:00-0:06

  - In the Channels panel, set track 1 to Alexa488 and track 2 to Alexa555 [1].

    - SCREEN: 3.4.1.mp4.0:00-0:08

  - Load the slide onto the stage and choose a section with strong TH staining. Click on Live on the acquisition panel [1].

    - SCREEN: 3.4.1.mp4.0:00-0:09

  - In the Channels panel, set the Laser Strength and Gain to levels that maximize signal and limit the background noise. Use the range indicator to ensure that the signals are not overexposed. Repeat this with multiple slides [1].

    - SCREEN: 3.6.1 and 3.6.2.mp4.0:00-0:50 Video editor: Speed this up.

  - On the Acquisition tab, check the Positions box [1].

    - SCREEN: 3.7.1.mp4. 0:00-0:05

  - To begin imaging, use the eyepiece and choose the first section showing positive TH staining, then set the focus at the point of interest and move the stage to the midline of the section. This saves the position in the x, y, and z axis and will image a tile scan capturing the whole section. Repeat this for all other slides, including an uninjected site [1].

    - SCREEN: 3.9.1.mp4. 0:00-1:40 Video Editor: please show time lapse from 0:00-1:40.

- Image Analysis and Quantitation

  - Separate image files using appropriate software and import them to automated image analysis software [1].

    - SCREEN: 4.1.1.mp4.0:00-0:17 Video editor: Speed this up.

  - Define a region of interest by selecting the Pen annotation tool to draw an annotation around the substantia nigra pars compacta [1].

    - SCREEN: 4.2.1.mp4.0:00-0:26 Video editor: Speed this up.

  - Move to the Analysis tab and select Real-Time tuning from the drop-down Analyze menu. This opens a separate window on the section image, allowing for real-time modification of analysis parameters [1].

    - SCREEN: 4.3.1.mp4. 0:00-0:14

  - Under the Analysis Magnification section, select the appropriate image zoom [1]. Under the Cell Detection section, select nuclear dye as the dye used for TH staining [2].

    - SCREEN: 4.4.1.mp4.0:00-0:07

    - SCREEN: 4.4.2.mp4.0:01-0:08

  - Adjust the Nuclear Contrast Threshold, Minimum Nuclear Intensity, Nuclear segmentation Aggressiveness, and Nuclear Size settings while carefully watching the Real-Time Tuning window. Repeat this process with multiple samples [1].

    - SCREEN: 4.5.1.mp4.0:00-1:30 Video editor: Speed this up.

  - Once an appropriate number of images have been sampled and Real-Time Tuning has been adjusted accordingly, save the analysis settings in the Settings Actions drop-down menu [1].

    - SCREEN: 4.6.1.mp4.0:00-0:20

  - Select all images to be analyzed and click on Analyze [1]. Choose the analysis setting that was just saved and in the Region of Analysis window [2], check the Annotation Layers box. Then, check Layer 1 and click on Analyze [3].

    - SCREEN: 4.7.1.mp4.0:00-10

    - SCREEN: 4.7.2.mp4.0:00-0:05

    - SCREEN: 4.7.3.mp4.0:00-0:12

  - Once complete, export the summary analysis data for all sections by selecting the option to export Object Analysis Data. This dataset could be used to examine changes in cell size in response to a toxin or therapeutic [1].

    - SCREEN: 4.8.1.mp4.0:00-0:24

# Results

- Results: Quantitation of Dopaminergic Neuron Density in Brain Sections Using Automated Image Analysis

  - Six weeks after adeno-associated virus, or AAV, injections, stereotactic injection of AAV expressing mutant A53T alpha-synuclein into the substantia nigra in the rat brain resulted in a significant reduction in the density of dopaminergic neurons [1-TXT].

    - LAB MEDIA: Figure 5 Video editor: Please highlight figure 5A TEXT: SNpc - substantia nigra pars compacta

  - The mean number of TH-positive neurons per millimeter squared in the substantia nigra of rats injected with AAV-A53T was significantly decreased as compared to that of rats injected with the AAV-empty vector [1]. Similar observations were made using unbiased stereology [2].

    - LAB MEDIA: Figure 5 Video editor: Please highlight figure 5B

    - LAB MEDIA: Figure 5 Video editor: Please highlight figure 5C and 5D

# Conclusion

- Conclusion Interview Statements

  - Darren O’Hara: When attempting this protocol, keep in mind that the software is only as useful as it is “trained” to be. Therefore, time and care must be taken to ensure a single cell is identified as a single cell.

    - 62062 interviews/JoVE_Script00859441.mov. 00:00:00-00:00:15. Suggested B-roll: 4.6.1

  - Darren O’Hara: The software can be adapted to determine the fluorescence intensity of other proteins of interest, such as alpha-synuclein, to determine if treatments can modulate protein levels.

    - 62062 interviews/JoVE_Script00863454.mov.00:00:00-00:00:11. Suggested B-roll: LAB MEDIA: Figure 5

  - Darren O’Hara: This technique has allowed for greater efficiency when testing the effect of multiple potential therapeutics on dopaminergic neuron density.

    - 62062 interviews/JoVE_Script00865956.mov.00:00:00-00:00:08.