# Submission ID #:  62062

# Scriptwriter Name: Madhulika Pathak

# Supervisor Name: Anastasia Gomez

# Project Page Link: https://www.jove.com/account/file-uploader?src=18928958

# Title:   Semi-Quantitative Determination of Dopaminergic Neuron Density in the Substantia Nigra of Rodent Models using Automated Image Analysis

# Authors and Affiliations:

Darren M O’Hara1,2*, Minesh Kapadia1,2, Susan Ping1,2, Suneil K Kalia1,2,3, Lorraine V Kalia1,2,4,5,6

1Krembil Research Institute, Toronto Western Hospital, University Health Network, Toronto, Canada.

2Department of Laboratory Medicine and Pathobiology, University of Toronto, Toronto, Canada.

3Department of Surgery, Division of Neurosurgery, University of Toronto, Toronto, Canada.

4Department of Medicine, Division of Neurology, University of Toronto, Toronto, Canada.

5Department of Medicine, Division of Neurology, Edmond J. Safra Program in Parkinson's Disease and the Morton and Gloria Shulman Movement Disorders Clinic, Toronto Western Hospital, University Health Network, Toronto, Canada.

6Tanz Centre for Research in Neurodegenerative Diseases, University of Toronto, Toronto, Canada.

# Corresponding Authors:

Darren M O’Hara	(darren.ohara@uhnresearch.ca)

# Email Addresses for All Authors:

# minesh.kapadia@uhnresearch.ca

susan.ping@mail.utoronto.ca

suneil.kalia@utoronto.ca

lorraine.kalia@utoronto.ca

darren.ohara@uhnresearch.ca

## Author Questionnaire

1. Microscopy: Does your protocol require the use of a dissecting or stereomicroscope for performing a complex dissection, microinjection technique, or something similar?  No

2. Software: Does the part of your protocol being filmed include step-by-step descriptions of software usage?  Yes

Please use screen recording software to capture the steps. If you use a Mac, QuickTime X also has the ability to record the steps. Please upload all screen captured video files to your project page as soon as possible: https://www.jove.com/account/file-uploader?src=18928958.

3. Interview statements: Considering the COVID-19-imposed mask-wearing and social distancing recommendations, which interview statement filming option is the most appropriate for your group? Please select one.

☒ 	Interviewees self-record interview statements. JoVE can provide support for this option. Authors: Based on our email communication, I’m assuming that this is the right answer, since you do not plan on using our videographer. Please correct me if that is not the case.

4. Filming location: Will the filming need to take place in multiple locations?   No

Current Protocol Length

Number of Steps:  25

Number of Shots:  43

# Introduction

- Introductory Interview Statements

REQUIRED:

  - Darren O’Hara: Estimation of the number of dopaminergic neurons in the substantia nigra is a key outcome measure in Parkinson’s disease research. This protocol can significantly shorten the workload required to estimate neuron number.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Darren O’Hara: This method provides a time efficient and accurate process for detecting changes in dopaminergic neuron number, and is suitable for determination of the effect of interventions on cell survival.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

OPTIONAL:

  - Darren O’Hara: This method could be easily adapted to provide accurate counts of neurons in different brain regions while maintaining efficiency and cost advantages over traditional stereological protocols.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

Ethics Title Card

  - All procedures were approved by the University Health Network Animal Care Committee and performed in accordance with guidelines and regulations set by the Canadian Council on Animal Care.

# Protocol

- Brain sectioning and immunohistochemistry

  - To begin, prepare a microtome by placing dry ice in the trough of the specimen stage, followed by 100% ethanol [1]. After the stage has cooled, squeeze optimal cutting temperature, or OCT, compound onto the stage until it forms a circle of 2 centimeters in diameter and 0.5-centimeter thickness [2].

    - Talent putting dry ice and ethanol in trough of specimen stage

    - Talent squeezing the OCT compound onto the stage

  - When it has partially frozen, carefully lower the brain onto the mound of OCT [1]. Add more dry ice to the stage to help the brain freeze [2]. Once the brain has turned a cream color, clear the stage of dry ice [3].

    - Talent lowering the brain onto the mound of OCT

    - Talent adding more dry ice to the stage

    - Talent clearing the stage

  - Poke a hole into the right side of the brain with a 25-gauge needle to distinguish the right and left hemispheres [1]. Serially cut 40-micrometer sections in the coronal plane [2-TXT].

    - Talent poking the hole in brain Videographer: This step is important!

    - Talent sectioning the brain TEXT: Beginning at bregma -3.8 and ending at bregma -6.8

  - Store six series in labeled tubes with anti-freeze solution. Each series should contain 12 brain sections [1-TXT]. Select one set of sections for immunohistochemical staining, and wash off anti-freeze solution with three 10-minutes washes in 0.2% PBS-T [2].

    - Talent putting the slides in anti-freeze solution containing tubes TEXT: Anti-freeze solutions: 40% PBS, 30% 2-ethoxyethanol, 30% glycerol

    - Talent washing the sections with PBS-T

  - Block for 1 hour at room temperature with gentle nutation in blocking solution [1-TXT], followed by incubation with rabbit anti-tyrosine hydroxylase, or TH, antibody and mouse anti-alpha-synuclein antibody in 2% normal goat serum in 0.2% PBS-T overnight at room temperature [2].

    - Nutating sections TEXT: 10% normal goat serum, 2% BSA in 0.2% PBS-T

    - Talent adding the antibody to the sections

  - Wash off primary antibody with three 5-minutes washes in 0.2% PBS-T [1], followed by a 1-hour incubation with goat anti-rabbit Alexa Fluor 488 secondary antibody and goat anti-mouse Alexa Fluor 555 secondary antibody in 2% NGS in 0.2% PBS-T [2-TXT].

    - Talent washing the sections with PBS-T

    - Talent adding the secondary antibody to the sections TEXT: Ensure protection from light and gentle nutation

  - Wash off secondary antibody with three 5-minutes washes in 0.2% PBS-T [1] and mount the complete set of sections on slides protected from light and dust using a narrow paintbrush [2]. Apply a coverslip with fluorescence mounting medium [3] and seal with clear nail varnish [4].

    - Talent washing off the sections

    - Talent mounting section on slide

    - Talent putting coverslip on slide

    - Talent sealing the coverslip

- Confocal microscopy and image acquisition

  - To capture IHC images, use the software coupled to a confocal microscope at 10x magnification [1]. Open the pinhole to 1.5 Airy unit to capture a wide plane totaling to 1.5 micrometers and set the focus on the injected side of the brain [2]. Authors: Please upload all screen captured video files to your project page as soon as possible: https://www.jove.com/account/file-uploader?src=18928958

    - WIDE: Talent working on computer next to the microscope

    - SCREEN: To be provided by the authors: Pinhole opened to 1.5 AU and focus adjusted

  - On the Acquisition tab, check the Tile Scan imaging option and set the dimensions to 10 by 4 [1]. Under the Acquisition Mode panel, set the Zoom to 1.1 to avoid any stitching marks between tile scan images [2].

    - SCREEN: To be provided by the authors: Acquisition tab is clicked and then Tile scan imaging option is checked, then 10 by 4 dimension is set

    - SCREEN: To be provided by the authors: Acquisition mode panel is opened and Zoom is set to 1.1

  - Set the Frame Size to 1024 by 1024 pixels [1] and the Averaging to 2 to ensure high quality image acquisition [2].

    - SCREEN: To be provided by the authors: Talent setting the Frame Size to 1024 by 1024 pixels

    - SCREEN: To be provided by the authors: Averaging option is set to 2

  - In the Channels panel, set track 1 to Alexa488 and track 2 to Alexa555 [1].

    - SCREEN: To be provided by the authors: Display Channels panel and set track 1 and track 2 to Alexa 488 and Alexa 555 respectively.

  - Load the slide onto the stage and choose a section with strong TH staining [1]. Click on Live on the acquisition panel [2].

    - Talent loading the slide and searching for desires section

    - SCREEN: To be provided by the authors: Select Live option in acquisition panel

  - In the Channels panel, set the Laser Strength and Gain to levels that maximize signal and limit the background noise [1]. Use the range indicator to ensure that the signals are not overexposed. Repeat this with multiple slides [2].

    - SCREEN: To be provided by the authors:  Talent setting the laser strength and gain settings in Channels panel

    - SCREEN: To be provided by the authors:  Talent using the range indicator

  - On the Acquisition tab, check the Positions box [1].

    - SCREEN: To be provided by the authors:  Position box is checked under acquisition tab

  - To begin imaging, use the eyepiece and choose the first section showing positive TH staining, then set the focus at the point of interest and move the stage to the midline of the section [1].

    - Talent moving the stage to midline

  - This saves the position in the x, y, and z axis and will image a tile scan capturing the whole section. Repeat this for all other slides, including an uninjected site [1].

    - SCREEN: To be provided by the authors:  Tile scan capturing started

- Image analysis and quantitation

  - Separate image files using appropriate software and import them to automated image analysis software [1].

    - SCREEN: To be provided by the authors:  Importing files to automated image analysis software

  - Define a region of interest by selecting the Pen annotation tool to draw an annotation around the substantia nigra pars compacta [1].

    - SCREEN: To be provided by the authors:  Taleng defining the region of interest using Pen annotation

  - Move to the Analysis tab and select Real-Time tuning from the drop-down Analyze menu. This opens a separate window on the section image, allowing for real-time modification of analysis parameters [1].

    - SCREEN: To be provided by the authors:  Talent moving the cursor to analysis tab and selecting analyze from drop-down menu, then selecting Real-time tuning

  - Under the Analysis Magnification section, select the appropriate image zoom [1]. Under the Cell Detection section, select nuclear dye as the dye used for TH staining [2].

    - SCREEN: To be provided by the authors: Talent selecting the image zoom under Analysis magnification section

    - SCREEN: To be provided by the authors:  Talent selecting nuclear dye under cell detection section

  - Adjust the Nuclear Contrast Threshold, Minimum Nuclear Intensity, Nuclear segmentation Aggressiveness, and Nuclear Size settings while carefully watching the Real-Time Tuning window. Repeat this process with multiple samples [1].

    - SCREEN: To be provided by the authors:  Talent adjusting multiple settings

  - Once an appropriate number of images have been sampled and Real-Time Tuning has been adjusted accordingly, save the analysis settings in the Settings Actions drop-down menu [1].

    - SCREEN: To be provided by the authors:  Talent saving the analysis settings in the Settings Actions menu

  - Select all images to be analyzed and click on Analyze [1]. Choose the analysis setting that was just saved and in the Region of Analysis window [2], check the Annotation Layers box. Then, check Layer 1 and click on Analyze [3].

    - SCREEN: To be provided by the authors:  Talent selecting all images to be analyzed and clicking on analyze

    - SCREEN: To be provided by the authors:  Talent selecting the saved analysis settings

    - SCREEN: To be provided by the authors:  Talent checking the annotation layer box, checking layer 1 and clicking on analyze

  - Once complete, export the summary analysis data for all sections by selecting the option to export Object Analysis Data. This dataset could be used to examine changes in cell size in response to a toxin or therapeutic [1].

    - SCREEN: To be provided by the authors:  Talent exporting the file using the option of export Object Analysis Data

  - Add the Total Cells from each section analyzed per animal and the total analyzed area. Divide the total number of cells by the total area analyzed to give the number of cells per millimeter squared in the substantia nigra pars compacta for each rat [1].

    - Talent sitting on the computer analyzing the data

# Results

- Results: Quantitation of dopaminergic neuron density in brain sections using automated image analysis

  - Six weeks after adeno-associated virus, or AAV, injections, stereotactic injection of AAV expressing mutant A53T alpha-synuclein into the substantia nigra in the rat brain resulted in a significant reduction in the density of dopaminergic neurons [1-TXT].

    - LAB MEDIA: Figure 5 Video editor: Please highlight figure 5A TEXT: SNpc - substantia nigra pars compacta

  - The mean number of TH-positive neurons per millimeter squared in the substantia nigra of rats injected with AAV-A53T was significantly decreased as compared to that of rats injected with the AAV-empty vector [1]. Similar observations were made using unbiased stereology [2].

    - LAB MEDIA: Figure 5 Video editor: Please highlight figure 5B

    - LAB MEDIA: Figure 5 Video editor: Please highlight figure 5C and 5D

# Conclusion

- Conclusion Interview Statements

  - Darren O’Hara: When attempting this protocol, keep in mind that the software is only as useful as it is “trained” to be. Therefore, time and care must be taken to ensure a single cell is identified as a single cell.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera. Suggested B-roll- 4.6

  - Darren O’Hara: The software can be adapted to determine the fluorescence intensity of other proteins of interest, such as alpha-synuclein, to determine if treatments can modulate protein levels.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.

  - Darren O’Hara: This technique has allowed for greater efficiency when testing the effect of multiple potential therapeutics on dopaminergic neuron density.

    - INTERVIEW: Named talent says the statement above in an interview-style shot, looking slightly off-camera.