Manuscript Reference Number: JoVE62076R1

Title: The preparation of chicken ex ovo embryos and chorioallantoic membrane vessels as in vivo model for contrast-enhanced ultrasound imaging and microbubble-mediated drug delivery studies

Authors: Bram Meijlink, Ilya Skachkov, Antonius F.W. van der Steen, Nico de Jong, Klazina Kooiman.

The authors thank the editor and reviewers for carefully reviewing the manuscript and providing constructive feedback, which has helped the authors improve the manuscript. We have revised the manuscript accordingly. Please find a point-by-point address to all reviewers’ comments below. The reviewer’s comments are listed in grey below, with our responses in black italic text. Corresponding changes in the original manuscript text have been highlighted in grey. All page and line numbers in the responses refer to the revised manuscript.

Response to editorial comments:

Editorial comments:
Changes to be made by the Author(s):
1. Please take this opportunity to thoroughly proofread the manuscript to ensure that there are no spelling or grammar issues. Please define all abbreviations at first use.

Response: We carefully and thoroughly went through the manuscript and have removed multiple spelling or grammar issues from the text. For example:

Revised text:
Line 36: “…new ultrasound pulsing schemes, or novel…”
Line 65: “…ultrasound imaging (CEUS)11-16. In addition, the model …”
Line 75: “…content out of the shell18, 20, 21. However, to …”
Line 86: “…three methods to take the egg content out …”
Line 92: “…and labor. We also detail a method to separate …”
Line 118: “Warm up a heating plate to 37 °C.”
Line 178: “…bottom after 2 min, turn the egg …”
Line 192 & 193: “…Put one side of the tissue paper on the embryo, drag the tissue paper to…”
Line 195: “…Visually check whether the embryo …”
Line 211: “…position and leave for another 1 h …”
Line 243: “Warm up a heating plate to 37 °C.”
Line 255: “…and leave for another 1 h …”
Line 265: “…egg in the 37 °C PBS and keep it submerged for 5 min. After 5… ”
Line 268 & 269: “…pull the two egg shell pieces apart …”
Line 270: “Then, gently drop the egg content into the weighing boat.”
Line 277 & 278: “…weighing boat holder and move to the desired …”
Line 331: “…forward along the vessel to reposition the needle.”
Line 416: “…added to the top of the embryo or CAM vessels, like a…”
Line 486: “…the visibility of the embryo and …”
Line 490 – 494: “…performing an injection (figure 7D). Besides this, the embryo and vessels can also dry out over time (figure 7E). This occurs when the egg content is not sprinkled with PBS. The drying out of the embryo can result in massive capillary obstructions (figure 7F) which …”
Line 527: “…explained in section 2.2 by separating …”
Line 593: “…black dotted circle (7-day old embryo). (D) Bleeding …”
Line 622 & 623: “…treatment. (B) Endothelial cell nuclei fluorescently stained before ultrasound treatment. (C) Fluorescent image of the stained targeted microbubbles …”
Line 638: “…withdrawing egg white; 2) create …”
Line 641: “…along the egg; 2) Keep the egg …”

Removed text:
Line 209, Removed: “…(144-168 h)…”; New text: “…experiment, take a 6 to 7-day old incubated egg and rotate…”
Line 253, Removed: “…(192 h)…”; New text: “…take an 8-day old incubated egg …”
Line 258, Removed: “…(192 h)…”; New text: “…an 8-day old incubated …”
Line 306, Removed: “…be…”. New text: “…microbubbles will concentrate…”
Line 635, Removed: “…chorioallantoic membrane …” New text: “…their CAM as an in vivo …”
Line 706, Removed: “…to…”; New text: “…CAM can be used for a …”

References:

11.	Daeichin, V., Bosch, J.G., Needles, A., Foster, F.S., van der Steen, A., de Jong, N. Subharmonic, non-linear fundamental and ultraharmonic imaging of microbubble contrast at high frequencies. Ultrasound in Medicine and Biology. 41 (2), 486–497 (2015).

12.	Maresca, D. et al. Imaging microvasculature with contrast-enhanced ultraharmonic ultrasound. Ultrasound in Medicine and Biology. 40 (6), 1318–1328 (2014).

18.	Yalcin, H.C., Shekhar, A., Rane, A.A., Butcher, J.T. An ex-ovo Chicken Embryo Culture System Suitable for Imaging and Microsurgery Applications. Journal of Visualized Experiments. (44), 4–7 (2010).

20.	Cloney, K., Franz-Odendaal, T.A. Optimized Ex-ovo Culturing of Chick Embryos to Advanced Stages of Development. Journal of Visualized Experiments. (95), 6–10 (2015).

21.	Dohle, D.S. et al. Chick ex ovo Culture and ex ovo CAM Assay: How it Really Works. Journal of Visualized Experiments. (33), 2–7 (2010).

Added references:

13.	Lindsey, B.D. et al. High Resolution Ultrasound Superharmonic Perfusion Imaging: In Vivo Feasibility and Quantification of Dynamic Contrast-Enhanced Acoustic Angiography. Annals of Biomedical Engineering. 45 (4), 939–948 (2017).

14.	Paproski, R.J., Jovel, J., Wong, G.K.S., Lewis, J.D., Zemp, R.J. Enhanced detection of cancer biomarkers in blood-borne extracellular vesicles using nanodroplets and focused ultrasound. Cancer Research. 77 (1), 3–13 (2017).

15.	Huang, C. et al. Short Acquisition Time Super-Resolution Ultrasound Microvessel Imaging via Microbubble Separation. Scientific Reports. 10, 1–13 (2020).

16.	Lowerison, M.R., Huang, C., Kim, Y., Lucien, F., Chen, S., Song, P. In Vivo Confocal Imaging of Fluorescently Labeled Microbubbles: Implications for Ultrasound Localization Microscopy. IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control. 67 (9), 1811–1819 (2020).

2. Please avoid abbreviations in your title: Contrast-Enhanced Ultrasound Imaging and Microbubble-Mediated Drug Delivery in Chicken Ex Ovo Embryo and Chorioallantoic Membrane Vessels

Response: We have changed the abbreviation ‘CAM’ to ‘chorioallantoic membrane’. Following the suggestion of reviewer 2, we have also added ‘preparation of’ to the title. The new title is:

Revised text:
Title: “The preparation of chicken ex ovo embryos and chorioallantoic membrane vessels as in vivo model for contrast-enhanced ultrasound imaging and microbubble-mediated drug delivery studies”

3. JoVE cannot publish manuscripts containing commercial language. This includes trademark symbols (™), registered symbols (®), and company names before an instrument or reagent. Please remove all commercial language from your manuscript and use generic terms instead. All commercial products should be sufficiently referenced in the Table of Materials and Reagents.
For example: CLINIcell; MicroMarker (VisualSonics); Vevo 2100 (VisualSonics); etc

Response: We have changed all the words ‘Vevo 2100’ to ‘preclinical animal ultrasound machine’. We have removed all the words ‘MicroMarker’, ‘Definity’, ‘Kocher’, ‘parafilm’, and ‘scotch’ (as in scotch tape). We have changed all the words ‘CLINIcell’ to ‘holder with acoustic membrane’ and introduced the description of it as follows:

Revised text:
Line 346 – 348: “Take a cell culture chamber consisting of a square plastic holder with two parallel 50 µm thick acoustically transparent polycarbonate membranes26, further referred to as holder with acoustic membrane. Close both ports with a lid.”

Reference:

26.	Beekers, I., van Rooij, T., van der Steen, A.F.W., de Jong, N., Verweij, M.D., Kooiman, K. Acoustic characterization of the CLINIcell for ultrasound contrast agent studies. IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control. 66 (1), 244–246 (2019).

4. Please note that your protocol will be used to generate the script for the video and must contain everything that you would like shown in the video. Please add more details to your protocol steps. Please ensure you answer the “how” question, i.e., how is the step performed? Alternatively, add references to published material specifying how to perform the protocol action. Please add more specific details (e.g. button clicks for software actions, numerical values for settings, etc) to your protocol steps. There should be enough detail in each step to supplement the actions seen in the video so that viewers can easily replicate the protocol.

Response: We have added more details in the protocol and have added more references on the injection.

Revised text:
Line 136: “Use the pointy back of the tweezers to make a second indent…”
Line 153 & 154: “NOTE 1: Make sure the needle is pointing down towards the bottom of the egg to prevent the chance of damaging the embryo and CAM. This step creates...”

Line 184: “…the yolk sack. Continue until the egg bulges out of the bottom opening.”
Line 185: “…holding the bottom of the egg close to the …”
Line 195: “Visually check whether the embryo is alive and CAM is intact…”
Line 227: “…PBS than the withdrawn volume during step …”
Line 233: “…and quickly reseal the gap with a piece of tape (figure 2D)…”
Line 264: “…small indents use the pointy back of the large tweezer (figure 1E)…”

Line 294: “…mixed before pipetting7.”
Line 337: “…glass needle is positioned correctly17.”
Line 378: “…from the weighing boat and visually inspect…”
Line 531: “…αVβ3-antibodies and stained with the fluorescent dye DiI7…”
Line 533 & 534 - “…was used to visualize sonoporation7. Both these...”

References:

7.	Skachkov, I., Luan, Y., van der Steen, A.F.W., De Jong, N., Kooiman, K. Targeted microbubble mediated sonoporation of endothelial cells in vivo. IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control. 61 (10), 1661–1667 (2014).

17.	Faez, T., Skachkov, I., Versluis, M., Kooiman, K., de Jong, N. In Vivo Characterization of Ultrasound Contrast Agents: Microbubble Spectroscopy in a Chicken Embryo. Ultrasound in Medicine and Biology. 38 (9), 1608–1617 (2012).

5. In the protocol, please include some of the steps mentioned in the representative results; if these will not be included in the video, you could cite references to help readers replicate the protocol: injecting fluorescent dye Dil, Hoechst 33342, PI, alphavbeta3-antibodies

Response: We have added more references on how to prepare the solution before the injection and how to correctly position the needle for injection. Besides this, we have added an extra reference on how to prepare stained and αVβ3-antibody targeted microbubbles and how to inject fluorescent dyes (like Hoechst 33342 and PI) into the CAM vessels.

Revised text:
Line 294: “…mixed before pipetting7.”
Line 337: “…glass needle is positioned correctly17.”
Line 531: “…αVβ3-antibodies and stained with the fluorescent dye DiI7…”
Line 533 & 534: “…was used to visualize sonoporation7. Both these...”

References:

7.	Skachkov, I., Luan, Y., van der Steen, A.F.W., De Jong, N., Kooiman, K. Targeted microbubble mediated sonoporation of endothelial cells in vivo. IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control. 61 (10), 1661–1667 (2014).

17.	Faez, T., Skachkov, I., Versluis, M., Kooiman, K., de Jong, N. In Vivo Characterization of Ultrasound Contrast Agents: Microbubble Spectroscopy in a Chicken Embryo. Ultrasound in Medicine and Biology. 38 (9), 1608–1617 (2012).

6. After including a one line space between each protocol step, make sure that up to 3 pages of protocol text are highlighted for inclusion in the protocol section of the video. This will clarify what needs to be filmed.

Response: By adding some extra ‘how to’ steps as suggested in point 4, we have had to delete some text and replaced some other text into a note to make sure the yellow highlighted text in the protocol steps fit onto 3 pages.

Moved to note:
Line 151 & 152, Moved and rephrased to note: “Make sure the needle is pointing down towards the bottom of the egg to prevent the chance of the embryo and CAM getting damaged.”
New note, Line 153-154: “NOTE 1: Make sure the needle is pointing down towards the bottom of the egg to prevent the chance of damaging the embryo and CAM. This step creates…”

Line 165 – 168, Moved to note: “…Make sure the edge of the opening in the shell does not go lower than the CAM. Besides this, do not penetrate the inner membrane and prevent sharp edges.”
New note, Line 169 – 172: “NOTE: Keep on moving the egg to maintain maximum visibility on the position of the embryo and CAM inside the shell. Make sure the edge of the opening in the shell does not go lower than the CAM. Besides this, do not penetrate the inner membrane and prevent sharp edges.”

Line 185 – 188, Moved to note: “…If the egg content does not come out, use the needle on the syringe to puncture the side opening again with the needle pointing upwards.”
New note, Line 189 & 190: “NOTE: If the egg content does not come out, use the needle on the syringe to puncture the side opening again with the needle pointing upwards.”

Removed text:
Line 130, Removed: “…(120 h)…”; New text: “…a 5-day old incubated …”
Line 130, Removed and replaced: “…the egg…”; New text: “…and transfer it to the…”
Line 131, Removed: “…during transfer…”; New text: “…same orientation with the date …”
Line 164, Removed: “…top of the…”; New text: “…egg white to the ultrasound gel …”
Line 188, Removed: “Keep the bottom of the egg close to weighing boat so the egg content…”; New text: “…(figure 1F) and gently drop the egg content into the weighing …”
Line 218, Removed “to prevent the chance of the embryo and CAM getting damaged.” New text: “…bottom of the egg.”
Line 222, Removed: “…top of the…”; New text: “…egg white to the ultrasound gel …”
Line 276: Removed: “…from the weighing boat.”; New text: “…excess PBS.”

7. Please sort the Materials Table alphabetically by the name of the material.

Response: We have put the Materials Table in alphabetical order.

Response to reviewer 1:
Reviewer #1:
Manuscript Summary:
Overall the manuscript was well written and easy to follow, particularly the protocol steps. As the authors correctly state, this manuscript would prove useful for researchers looking to utilize chick embryo and CAM as an in vivo model. The figures also did a good job to complement the text. There were only a few discussion points to expand upon or offer better clarity on (detailed under Major Concerns) as well as minor proofreading changes to make (detailed under Minor Concerns).

Major Concerns:
1. Regarding protocol step 1.2.2.3, if a hole is accidentally created and necessarily sealed with scotch tape, should another indentation be made instead? Step 1.2.2.5 utilizes this indent for the egg white withdrawal. If the accidental hole was made, this needle stick could be accomplished by puncturing the scotch tape, or it could be accomplished through any other indent made following 1.2.2.3. Any way should work as long as the egg white is withdrawn effectively and the penetrated shell is sealed again afterward. Is there any insight the authors could offer regarding this situation? Would the authors recommend another indentation or using the accidental (sealed) hole?

Response: No, if in step 1.2.2.3 a hole is accidentally created instead of an indent, another indent should not be made instead. In step 1.2.2.5 the same accidental hole sealed with scotch tape could indeed be used to withdraw the egg white by sticking the needle through scotch tape and then resealing the hole with scotch tape. We have included a note to step 1.2.2.5. to make this clear:

Added text:

Line 138 & 139: “… the indent too big and create a hole. If by accident a hole is created, seal the hole with tape and do not make another indent.”

Line 153 - 158: “NOTE 1: Make sure the needle is pointing down towards the bottom of the egg to prevent the chance of damaging the embryo and CAM. This step creates…”

NOTE 2: If you accidentally created a hole instead of an indent in step 1.2.2.3, puncture the tape with the needle for the withdrawal of the egg white. Reseal the puncture with another piece of tape.”

2. For step 1.4.2.3, at what height should the small indents be made? Other indentation steps included this information (top or 2/3 down the egg, for example). And for clarification, by "entire width", does this mean only one 180 deg of the egg shell is indented, not an entire ring of 360 deg? A visual depiction in a figure might be helpful here.

Response: The small indents should be made at 1/2 down the egg. We meant that the small indents should be made in a ring of 360° around the egg. We have incorporated this into the text of step 1.4.2.3. We did not include a visual depiction in a figure since this will become clear from the video:

Revised text:
Line 259 – 261: “Hold the egg horizontally and use the pointy back of the large tweezer (figure 1E) to make a small indent 1/2 down the egg. Continue making small indents in a ring pattern 360° round the egg shell. Use a spacing of ~10 mm between the indents.”

3. Microbubble concentration tends to be a very important aspect of an experiment to report. How do the waiting/concentration steps of 2.1.1.4 and 2.1.1.5 affect the concentration of the solution? As in, for a given prepared concentration of solution placed on the parafilm, what tends to be the resulting concentration within the glass tip needle tip? Further, if possible, could the authors comment on what working concentration this translates to post-injection, within the vasculature?

Response: The waiting/concentration steps increase the concentration of microbubbles with ~30%. We experimentally determined this for the F-type custom-made ultrasound contrast agent (Daeickin et al. 2017) by using a Multisizer 3 to assess the microbubble concentration. The in-vial concentration was around 6,0 x 108 microbubbles / mL. After the waiting/concentration steps of 2.1.1.4 and 2.1.1.5, the concentration was increased to around 8,0 x 108 microbubbles / mL. The concentrations in the embryo is dependent on total blood volume of the chicken embryo which are described in the discussion in line 664 & 665. Once injected into the embryo, the working concentration in the blood will be between 32 x 103 microbubbles / µL for 5-day old embryos and 19 x 103 microbubbles / µL for 6-day old embryos. We have added these numbers into the text:

Revised text:
Line 297- 300: “…For the F-type custom-made ultrasound contrast agent28, this concentration step will increase the to-be-injected microbubble concentration with ~30%. The post-injection concentration in the chicken embryo blood will be between 32 x 103 microbubbles / µL for 5-day old embryos and 19 x 103 microbubbles / µL for 6-day old embryos.”

Added reference:

28.	Daeichin, V. et al. Microbubble Composition and Preparation for Imaging: In Vitro and In Vivo Evaluation. IEEE TRANSACTIONS ON ULTRASONICS. 64 (3), 555–567 (2017).

4. Step 2.2.1.4 mentions cooling down the agarose/demi water solution to 37 deg C but step 2.2.1.3 does not state what the solution was originally heated to. Could the authors offer a temperature range used in the solution preparation step?

Response: We have included the temperature range to which the solution was original heated to in step 2.2.1.3. Since the agarose preparation is also described in step 2.3.3, we have also added the information of the temperatures in steps 2.3.3.2:

Revised text 2.2.1.3:
Line 352 – 356: “Prepare ~15 mL of 2% agarose in demi water solution by heating to between 80-95 °C in a small glass beaker. Cool the glass beaker with the dissolved agarose solution under a running cold water tab.
NOTE: If the agarose is too hot it will melt the acoustic membrane which will create an uneven surface.

Revised text 2.3.3.2:
Line 440 – 442: “2. Prepare a 2% agarose solution in demi water by heating the solution up to between 80-95 °C in a small glass beaker. Cool the glass beaker with the dissolved agarose solution under a running cold water tab.”

5. Protocol 2.3 detailing all the ultrasound imaging all reference acquiring the egg content by section 1.3. Is it correct to understand that to mean these techniques can only be applied to 6-7 day old embryos? In contrast, section 2.2.2.1 explicitly states that the egg content can be removed by section 1.2, 1.3, or 1.4. If it is true that 2.3 only applies to 6-7 day old embryos, could the authors comment on why this is the case?

Response: All the ultrasound imaging methods described in the protocol in 2.3 can be used with embryos taken out with the methods described in section 1.2, 1.3, or 1.4 and we have adjusted the text to reflect this:

Revised text:
Line 406: “…as described in section 1.2, 1.3, or 1.4. However, do...”
Line 427: “…described in section 1.2, 1.3, or 1.4.”
Line 439: “…as described in section 1.2, 1.3, or 1.4.”

6. For this embryo/CAM model overall, what vessel sizes could be expected, if known? How does this size distribution change, if at all, from 5 days versus 8 days old?

Response: The overall diameter size of the small capillaries is between 10-15 µm (Ribatti et al. 2001). The diameter size of the larger vessels is between 115-136 µm (Ribatti et al. 2001; DeFouw et al. 1989). We have implemented this in manuscript:

Revised text:
Line 88 - 90: “…day of the experiment. The CAM vessel size ranges from 10-15 µm in diameter, in the smaller capillaries of an 8-day old embryo24 to 115-136 µm in diameter in the larger vessel of 6 and 8-day old embryos24, 25 The three described methods only require…”

Added references:

24.	Ribatti, D., Nico, B., Vacca, A., Roncali, L., Burri, P.H., Djonov, V. Chorioallantoic Membrane Capillary Bed: A Useful Target for Studying Angiogenesis and Anti-Angiogenesis In Vivo. Anatomical Record. 324, 317–324 (2001).

25.	DeFouw, D.O., Rizzo, V.J., Steinfeld, R., Feinberg, R.N. Mapping of the Microcirculation in the Chick Chorioallantoic Membrane during Normal Angiogenesis. Microvascular research. 38, 136–147 (1989).

We have extensively searched the literature and to the best of our knowledge the vessel size distribution change is not described for 5-day to 8-day old embryos.

Minor Concerns:
7. Line 134 - "... the indent too* big and..."
8. Line 138 - "... penetrate the shell too* deep."
9. Line 206 - the only Note not stylized NOTE*
10. Line 218 - "... as possible but make* sure the edge..."
11. Line 254 - "... procedure, small cracks* can start to..."
12. Line 259 - "...the large hole* and gently open..."
13. Line 277 - "... beveled, break off* a small part..."
14. Line 337 - "... agarose is too* hot it will..."
15, Line 644 - "... reduced heart* rate and survival..."

Response to minor concerns: We have incorporated all the suggested changes.

Response to reviewer 2:
Reviewer #2: 
Manuscript Summary:
This manuscript described three methods for taking the content out of the egg shell between day 5 to 8 of incubation, how to inject cavitation nuclei into the CAM vascular system, how to separate the membrane containing the embryo and CAM from the rest of the egg content for optically transparent studies, and how to use the chicken embryo and CAM in a variety of short-term ultrasound experiments. The step-by-step protocol is clear to understand. The article is well-written and well-organized.

Major Concerns:
NA

Minor Concerns:
1. Suggestion: adding words like "preparation" into the title, for instance, "The preparation of chicken ex ovo embryo and CAM vessels as in vivo model…".

Response: We agree with the reviewer and have incorporated the word ‘preparation’ into the title. We have also changed the abbreviation ‘CAM’ to ‘chorioallantoic membrane’ according to the suggestion of the editor. The new title is:

Revised text:
Title: “The preparation of chicken ex ovo embryos and chorioallantoic membrane vessels as in vivo model for contrast-enhanced ultrasound imaging and microbubble-mediated drug delivery studies”

2. Please indicate the full version for "HH" when using it for the first time.

Response: We have changed the first HH in line 77 and 78 to Hamburger & Hamilton.

Revised text:
Line 77: “… after 3 days of incubation, i.e. Hamburger & Hamilton (HH) stage 19-2022, and continue the culture ex ovo …”

Reference:

22.	Hamburger, V., Hamilton, H. A Series Of Normal Stages In The Developent Of The Chick Embryo. Journal of Morphology. 88 (1), 231–272 (1951).

3. Please indicate in Figure 5B which is the 2L beaker and which is the 500mL beaker. It's hard to tell from the image.

Response: We have indicated the 2 L and 500 mL beaker using dashed lines in Figure 5B. We have also incorporated the small letter a & b to make a distinction between the two beakers.

Revised text:
Line 574 & 575: “… water bath. Dashed outline shows the 2 L glass beaker (a) with the 500 mL glass beaker (b) inside. (C) Setup …”

Revised image:

4. What do the arrows indicate in Figure 9?

Response: The arrows in figure 9A were meant to indicate some vessels. The arrows in figure 9C indicate corresponding vessels in the two images of figure 9C. Since the use of arrows can be confusing between the A and B images, we have removed the arrows in figure A, also because there are more vessels present in the image than indicated with the arrows.

Revised image:

Response to reviewer 3:
Reviewer #3: 
Manuscript Summary:
The manuscript, entitled: "The chicken ex ovo embryo and CAM vessels as in vivo model for contrast-enhanced ultrasound imaging and microbubble-mediated drug delivery studies," is an interesting manuscript to demonstrate how chicken embryo can be used in ultrasound imaging research. As a manuscript which is written particularly for the method, the manuscript is clear and easy to follow. I have some minor editing errors as shown below.

Major Concerns:
it is puzzling to me that how the method will be useful for general ultrasound imaging. Researchers in the field of microscopy may be a better audience. Particularly, high resolution microscopy (such as photoacoustic microscopy) for microvessel imaging field may find the method more attractive than field of contrast-enhanced ultrasound imaging and drug delivery. You may get a little more interest there although the overall interest from imaging field will not thrilling.

Response: We are convinced the chicken embryo model is useful for contrast-enhanced ultrasound imaging and drug delivery studies because we and others in the field have been and are using this in vivo model. At the moment we are working on two manuscripts for which this model was detrimental for the ultrasound imaging research questions we had. After having been approached by three different internally renowned ultrasound imaging groups to share our expertise on this model and teach them how to work with this model, we took the effort to write this manuscript so others can benefit from it too. Also, we now have incorporated more references of published contrast-enhanced ultrasound imaging articles using the chicken embryo model into our manuscript to reflect the broad interest in this model.

Revised text:
	Line 74: “…and 14 to 18-day old embryos13-16. Multiple …”

Added references:

13.	Lindsey, B.D. et al. High Resolution Ultrasound Superharmonic Perfusion Imaging: In Vivo Feasibility and Quantification of Dynamic Contrast-Enhanced Acoustic Angiography. Annals of Biomedical Engineering. 45 (4), 939–948 (2017).

14.	Paproski, R.J., Jovel, J., Wong, G.K.S., Lewis, J.D., Zemp, R.J. Enhanced detection of cancer biomarkers in blood-borne extracellular vesicles using nanodroplets and focused ultrasound. Cancer Research. 77 (1), 3–13 (2017).

15.	Huang, C. et al. Short Acquisition Time Super-Resolution Ultrasound Microvessel Imaging via Microbubble Separation. Scientific Reports. 10, 1–13 (2020).

16.	Lowerison, M.R., Huang, C., Kim, Y., Lucien, F., Chen, S., Song, P. In Vivo Confocal Imaging of Fluorescently Labeled Microbubbles: Implications for Ultrasound Localization Microscopy. IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control. 67 (9), 1811–1819 (2020).

Minor Concerns:
Line 138: "to deep"
Line 337: "to hot"
Line 423: "poor the agarose…"
Line 431: "example for"

Response: We have incorporated the suggested changes.

Revised text:
Line 142: “…too deep…”
Line 355: “…too hot…”
Line 443: “Pour the agarose…”
Line 451: “…for example…”

Line 431: not sure what is a 3D scanning? How are you going to do a 3D scanning

Response: We have modified the text and added a reference to clarify 3D scanning:

Revised text:
Line 451 & 452: “…when, for example, using a motor to mechanically move a two-dimensional transducer to make a three-dimensional scan (Figure 9B)11. When the …”

Reference:

11.	Daeichin, V., Bosch, J.G., Needles, A., Foster, F.S., van der Steen, A., de Jong, N. Subharmonic, non-linear fundamental and ultraharmonic imaging of microbubble contrast at high frequencies. Ultrasound in Medicine and Biology. 41 (2), 486–497 (2015).

Response to reviewer 4:
Reviewer #4:
Manuscript Summary:
This manuscript describes three techniques for removing the egg contents from fertilized chicken eggs at different stages of development (5-day, 6- to 7-day, and 8-day old) while keeping the chorioallantoic membrane (CAM) intact, along with a variety of techniques suited to contrast-enhanced ultrasound and optical-acoustic imaging of the chicken embryo. Specifically, the authors describe a microinjection technique for CAM vessels, the removal of the yolk sack, and use of a CLINIcell for optical imaging, and also present several examples of ultrasound imaging of the embryo. Furthermore, they also present some of the common pitfalls of CAM imaging and potential solutions to those issues.

In my opinion, the submitted manuscript has merit, particularly for the description of the variety of acoustic and optical imaging platforms. The protocols are described well, would benefit from a video presentation, and seem reasonable to implement. However, the advantage of the techniques for removing egg contents from older (greater than 3-day old) fertilized chicken eggs needs some more justification and/or clarification. For instance, the authors cite Martowicz et al. as an example of the ~50% attrition rate for ex ovo cultured chicken embryos. That study used 9-day old chicken embryos, which are a day older than the oldest chicks in this manuscript, and it is reasonable to assume that the attrition rate will increase with age. In conjunction with this, some clarification is required for the survival rates presented by the authors. In the Representative Results section, they list the survival for 8-day old embryos as 60%, which is scarcely better than the ~50% for ex ovo cultured chicks. In the Discussion section however, the survival for 8-day old embryos is listed as 80%. Furthermore, the limitations of this protocol can be better contextualized with other research in the field. For example, is the use of the CAM for tumor xenograft transplantation compatible with the methods presented in this manuscript?

Response: In theory, the methods presented in this manuscript can also be used for tumor xenograft transplantation. The grafting of the tumor is usually performed at day 8-9 of development (Martowicz et al. 2015; Paproski et al 2017; Sys et al. 2013). If the egg content is sterilely taken out of the shell as described in section 1.2, 1.3, or 1.4, a tumor could be grafted at this stage and the embryo and CAM could further be developed ex ovo. We have incorporated this in the text.

We have addressed all other points below.

Revised text:
Line 716 – 719: “...The tumors are typically grafted on the CAM vessels of 8 or 9-day old embryos1, 14, 45, for which the embryos is taken out of the egg shell at day 3 of incubation and further developed ex ovo. The methods described in this protocol could be used to grow embryos in ovo until the day of tumors grafting.”

Added references:

14.	Paproski, R.J., Jovel, J., Wong, G.K.S., Lewis, J.D., Zemp, R.J. Enhanced detection of cancer biomarkers in blood-borne extracellular vesicles using nanodroplets and focused ultrasound. Cancer Research. 77 (1), 3–13 (2017).

45.	Sys, G.M.L. et al. The In ovo CAM-assay as a Xenograft Model for Sarcoma. Journal of Visualized Experiments. 77, 1–7 (2013).

References:

1.	Martowicz, A., Kern, J., Gunsilius, E., Untergasser, G. Establishment of a Human Multiple Myeloma Xenograft Model in the Chicken to Study Tumor Growth, Invasion and Angiogenesis. Journal of Visualized Experiments. (99), 1–9, doi: 10.3791/52665 (2015).

This manuscript can be considered for publication in JoVE if the following comments can be addressed.

Major Concerns:
Introduction:
Page 1, lines 71-75:
"The majority of the previous chicken embryo studies involving ultrasound contrast agents used 5 to 6-day old incubated eggs, since at this stage the amount and variety of vessels in the CAM are abundant and the vessel size and structure allows for easier ultrasound contrast agent and cavitation nuclei injection 7, 11-13, 15."
This is too general of a statement, as other research groups have performed contrast-enhanced ultrasound imaging on older chicken embryos. For example, the Dayton group used 14-day old chicken embryos for their superharmonic perfusion imaging (PMID: 27832421), the Zemp group used day 14+ embryos for their nanodroplet cavitation experiments (PMID: 27793845), the Chen group (PMID: 32265457) and Song group (PMID: 32305910) used 18-day old  chicken embryos for their super-resolution ultrasound microbubble imaging, and Schellpfeffer and Kolesari (PMID: 22266227) performed CEUS on in ovo chicken embryos ranging from Day 8 to Day 19.
This statement should be rewritten to reflect that citations 7, 11-13, and 15 in this manuscript all reference work from the same group (de Jong and Kooiman).

Response: We agree with the reviewer and have modified the text. We did not include the Schellpfeffer and Kolesari paper since they used an in ovo model and our manuscript focusses on ex ovo models:

Revised text:
Line 72 - 74: “…egg shell18. Previous chicken embryo studies involving ultrasound contrast agents used 5 to 6-day old embryos7, 11, 12, 17, 19 and 14 to 18-day old embryos13-16. Multiple approaches…”
Line 83 & 84: “…beneficial especially for experiments on 5 to 8-day old embryos.”

References:

7.	Skachkov, I., Luan, Y., van der Steen, A.F.W., De Jong, N., Kooiman, K. Targeted microbubble mediated sonoporation of endothelial cells in vivo. IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control. 61 (10), 1661–1667 (2014).

11.	Daeichin, V., Bosch, J.G., Needles, A., Foster, F.S., van der Steen, A., de Jong, N. Subharmonic, non-linear fundamental and ultraharmonic imaging of microbubble contrast at high frequencies. Ultrasound in Medicine and Biology. 41 (2), 486–497 (2015).

12.	Maresca, D. et al. Imaging microvasculature with contrast-enhanced ultraharmonic ultrasound. Ultrasound in Medicine and Biology. 40 (6), 1318–1328 (2014).

17.	Faez, T., Skachkov, I., Versluis, M., Kooiman, K., de Jong, N. In Vivo Characterization of Ultrasound Contrast Agents: Microbubble Spectroscopy in a Chicken Embryo. Ultrasound in Medicine and Biology. 38 (9), 1608–1617 (2012).

18.	Yalcin, H.C., Shekhar, A., Rane, A.A., Butcher, J.T. An ex-ovo Chicken Embryo Culture System Suitable for Imaging and Microsurgery Applications. Journal of Visualized Experiments. (44), 4–7 (2010).

19.	Kokhuis, T.J.A. et al. Intravital microscopy of localized stem cell delivery using microbubbles and acoustic radiation force. Biotechnology and Bioengineering. 112 (1), 220–227 (2015).

Added references:

13.	Lindsey, B.D. et al. High Resolution Ultrasound Superharmonic Perfusion Imaging: In Vivo Feasibility and Quantification of Dynamic Contrast-Enhanced Acoustic Angiography. Annals of Biomedical Engineering. 45 (4), 939–948 (2017).

14.	Paproski, R.J., Jovel, J., Wong, G.K.S., Lewis, J.D., Zemp, R.J. Enhanced detection of cancer biomarkers in blood-borne extracellular vesicles using nanodroplets and focused ultrasound. Cancer Research. 77 (1), 3–13 (2017).

15.	Huang, C. et al. Short Acquisition Time Super-Resolution Ultrasound Microvessel Imaging via Microbubble Separation. Scientific Reports. 10, 1–13 (2020).

16.	Lowerison, M.R., Huang, C., Kim, Y., Lucien, F., Chen, S., Song, P. In Vivo Confocal Imaging of Fluorescently Labeled Microbubbles: Implications for Ultrasound Localization Microscopy. IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control. 67 (9), 1811–1819 (2020).

Page 1, line 79:
Is the increased risk of fatality for ex ovo culture really a substantial barrier to chicken embryo imaging research, considering the low cost of developing the model?

Response: The reviewer is correct that the cost of an egg itself is low. At the same time additional costs are needed for the ex ovo culture since this requires extra materials and equipment to culture the embryos under sterile conditions, such as antibiotics and large sterile incubators, and a person to check on the embryos during the days of ex ovo culture. Differences in the total vessel length between embryos grown in ovo and ex ovo have also been reported with the in ovo grown embryos having a larger total vessel length (Ribatti D 1995). We have added the difference in vessel length to the manuscript:

Revised text: 
Line 79 & 80: “…culture (~50%)1,18, the use of antibiotics18, 20, and decreased total vessel length in comparison to in ovo growth23.”

References:

1.	Martowicz, A., Kern, J., Gunsilius, E., Untergasser, G. Establishment of a Human Multiple Myeloma Xenograft Model in the Chicken to Study Tumor Growth, Invasion and Angiogenesis. Journal of Visualized Experiments. (99), 1–9 (2015).

18.	Yalcin, H.C., Shekhar, A., Rane, A.A., Butcher, J.T. An ex-ovo Chicken Embryo Culture System Suitable for Imaging and Microsurgery Applications. Journal of Visualized Experiments. (44), 4–7 (2010).

20.	Cloney, K., Franz-Odendaal, T.A. Optimized Ex-ovo Culturing of Chick Embryos to Advanced Stages of Development. Journal of Visualized Experiments. (95), 6–10 (2015).

Added reference:

23.	Ribatti, D. A morphometric study of the expansion of the chick vasculosa in shell-less culture. Journal of Anatomy. 186, 639–644 (1995).

Page 2, line 90:
"… making the CAM optically transparent for microscopy studies."
Is this step necessary for reflected microscopy imaging and/or optically tagged microbubble imaging? What about photoacoustic imaging?

Response: It is possible to perform reflected microscopy imaging and photoacoustic imaging as long as the light path and or laser path are not affected by the yolk, for example when all the imaging is performed from above. For this application, it is not needed to separate the membrane containing the embryo and CAM from the yolk. However, when the setup requires imaging from the bottom, the embryo can be made transparent with the described method in the protocol.

Revised text. 
Line 96 & 97: …the setup can also be made acoustically transparent26 allowing the combination of microscopy and ultrasound studies when the light path will be affected by the yolk.

Reference:

26.	Beekers, I., van Rooij, T., van der Steen, A.F.W., de Jong, N., Verweij, M.D., Kooiman, K. Acoustic characterization of the CLINIcell for ultrasound contrast agent studies. IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control. 66 (1), 244–246 (2019).

Protocol:
I think it would be worthwhile, given that the proceeding protocols depend on the embryo age, to add a statement to this section on the methods for estimating the embryonic development stage of chicken eggs. Many researchers who are using fertilized chicken eggs do not have control of the precise development stage of their egg delivery, which leads to a disperse cohort age.

Response: The exact stage of embryonic development can be confirmed using the paper of Hamburger and Hamilton (Hamburger & Hamilton, 1951). We have added this to the manuscript

Revised text:
Line 469 & 470: “…between the 5 and 8-day old embryos can be observed which concurs with Hamburger and Hamilton22. Both the size of the…”
Line 644 & 645: “…embryo vitality. To confirm the exact developmental stage of the embryo, the indication of Hamburger & Hamilton22 can be used.”

Reference:

22.	Hamburger, V., Hamilton, H. A Series Of Normal Stages In The Developent Of The Chick Embryo. Journal of Morphology. 88 (1), 231–272 (1951).

Page 2, line 107:
"Turning the eggs during incubation is not necessary."
This statement is surprising to me, as the conventional wisdom is that turning eggs during incubation improves hatchability. Further evidence is required to support this statement.

Response: We agree with the reviewer that turning the eggs improves hatchability and this is supported by literature, for example Elibol et al. Length of Egg Storage, and Frequency of Turning During Storage on Hatchability of Broiler Hatching Eggs. Poultry Science. 81 (7), 945–950, doi: 10.1093/ps/81.7.945 (2002). However, we take the egg content out of the shell well before hatching. Others have also not rotated the eggs for their experiments, for example Ribatti D, (1995) A morphometric study of the expansion of the chick area vasculosa in shell-less culture. J. Anat. 186 ( Pt 3):639-44. Besides, it is common for eggs not to be turned when a window has been made in the shell for the requirement of the study. For example for up to 14-day old embryos as published by Shumko et al., (1988) Vascular histodifferentiation in the chick chorioallantoic membrane: a morphometric study. Anat Rec 220:179-89.

Page 4, line 189-192:
"Check whether the embryo is alive and whether the CAM is intact by ensuring the heartbeat is still present, the vessels are intact and there is no bleeding, and there is no leakage of yolk. If one of these things is not correct, discard the embryo and CAM because it will not be viable"
Slight clarification needed: Is the viability rate, listed elsewhere, based on the total number of eggs per cohort? Or the total number of fertilized eggs?

Response: The viability rate listed elsewhere is based on the total number of fertilized eggs successfully extracted from the egg shell. We have added this to the manuscript.

Revised text:
Line 464 - 466: “…procedures. The viability rate is based on the total number of fertilized eggs successfully extracted from the egg shell. With…”

Page 4, line 221:
I'm curious as to why an injection of PBS is required in the protocol for 6-day and 7-day old embryos.

Response: Because the egg white (~160 cP) has a higher velocity than PBS (~1 cP) (Lang, E.R. & Rha, C., 1982), substituting egg white with PBS will reduce both tension and stress on the embryo and CAM while taking the egg content out of the shell. We have added this to the manuscript.

Revised text:
Line 230 – 232: “NOTE: Since egg white has a higher velocity (~160 cP)27 than PBS (~1 cP), substituting the egg white with PBS reduces both tension and stress on the embryo and CAM while taking the egg content out of the shell.”

Added reference:

27.	Lang, E.R., Rha, C. Apparent shear viscosity of native egg white. Journal of Food Science and Technology. 17, 595–606 (1982).

Page 6, line 278:
Some explanation should be provided as to why the mineral oil is needed in this step.

Response: The mineral oil is used as this is according to the manufacturer’s instruction of the needle injection system. We have added the following text to reflect this.

Revised text:
Line 287 & 288: NOTE: The mineral oil is added as per instruction of the manufacturer of the injection system we used.

Page 7, line 298-299:
"Always inject into one of the veins of the embryo. These are the vessels in which the blood flow moves towards the embryo."
It is also possible to identify the veins of the CAM based on the coloration of the blood in the vessels. It may be useful to the reader to demonstrate some low magnification images of the CAM surface with the appropriate injection sites identified.

Response: The reviewer is correct that it is possible to identify the veins of the CAM based on the coloration because veins are lighter in color than arteries due to the oxygenated blood. In addition, veins are always on top of arteries in the CAM, unless it is the anterior or posterior vitelline vein since this does not have any artery in its neighborhood. The text in the manuscript has been revised accordingly:

Revised text: 
Line 311 -314: "… flow moves towards the embryo. Veins are lighter in color than the arteries due to the oxygenated blood29. In addition, veins are always on top of the artery with two exceptions namely the anterior and posterior vitelline veins (i.e. the less branched veins, indicated with asterisks in Figure 6A,B) which do not have an artery in their surroundings."

Added reference:

29.	Mcferrin, H.E., Olson, S.D., Gutschow, M. V, Semon, J.A., Sullivan, D.E., Prockop, D.J. Rapidly Self-Renewing Human Multipotent Marrow Stromal Cells (hMSC) Express Sialyl Lewis X and Actively Adhere to Arterial Endothelium in a Chick Embryo Model System. PLoS ONE. 9 (8), 1–11 (2014).

Response: We agree with the reviewer that is it useful for the reader to demonstrate appropriate sites for injection and have added this to Figure 6A and Figure 6B. Besides this we have added the anterior or posterior vitelline veins with asterisks.

Revised text: 
Line 316: “…injection. Good injections sites have been indicated with arrowheads in Figure 6A,B. It…”
Line 581 – 584: "…The chorioallantoic membrane (CAM), embryo body (EB), anterior and posterior vitelline veins (*), and appropriate sites for injection (arrowheads) are indicated. (B) Egg content taken out of the shell after 6 days of incubation. The anterior and posterior vitelline veins (*) and appropriate sites for injection (arrowheads) are indicated. (C) Egg content taken …"

Page 8, lines 349-352:
Does cutting into the membrane of the yolk sack cause bleeding (e.g.: from the vitelline circulation) and/or reduce the viability of the embryo?

Response: No, cutting the yolk sack membrane will not create any bleeding as long as the embryo and vessels are not damaged in the process. Removing the membrane containing the embryo and CAM from the yolk sack will eventually affect the viability of the embryo, since the embryo is removed from its nutrition source. As described in the result and discussion section (line 456-459 & line 645-650), the viability time (from ~5 h down to ~2 h) and the heart rate (from ~190 bpm down to ~80 bpm) is reduced after separating the membrane containing the embryo and CAM from the yolk sack.

Page 8, lines 362-364:
Given that the CAM is the main site of gas-exchange for the embryo, is there a risk that submerging the CAM in PBS in this step will suffocate the embryo?

Response: Submerging the embryo in PBS will affect the gas-exchange of the embryo. However, in the time period in which we have used the embryos in our experiments (up to maximum 5 hours), we did not observe major changes in viability based on the heart beat.

Discussion:
Page 15, line 655:
"[Later stages of development] can prevent a successful injection in older embryos"
This is too strong of a statement, given the aforementioned research groups that performed contrast-enhanced ultrasound on day-14 and above embryos. Instead, this claim could be rephrased, or clarified, by stating that the vessel stiffness can complicate injections (or equivalent).

Response: We rephrased the sentence:

Revised text:
Line 681: “This can complicate a successful injection in older embryos.”

Page 16, line 671-672:
"The advantages are a higher survival rate of 90% for 5-day, 75% for 6-day, 50% for 7-day, and 80% for 8-day old incubated eggs..."
It was mentioned above that some clarification was needed for this statement, given that it conflicts somewhat with the numbers listed in the results section. Assuming these are the correct numbers, can the authors speculate as to why the 6- and 7-day old embryos have such a relatively poor survival rate? Furthermore, what are the approximate N numbers used by the authors to calculate these survival percentages?

Response: We have unfortunately made a textual mistake in Lines 44 and 698 in the abstract and discussion. The survival rate of the 8-day old embryos should have been 60%, which was mentioned correctly in the results section. We have adjusted this in the text. The survival of the 6-to-8-day old embryos is lower because the CAM starts to attach itself to the shell which leaves the CAM membrane more prone to rupture upon extraction. The approximate N numbers for the survival percentages were 150 for the 5-day old embryos and 10 for the 6-to-8 day old embryos.

Revised text:
Line 44: “…7-day, and 60% for 8-day old incubated eggs in comparison …”
Line 698: “…of 90% for 5-day, 75% for 6-day, 50% for 7-day, and 60% for 8-day old incubated…”
Line 701 & 702: “…The survival of the 6-to-8-day old embryos is lower because the CAM starts to attach itself to the shell21 which leaves the CAM membrane more prone to rupture upon extraction.”

Reference:

21.	Dohle, D.S. et al. Chick ex ovo Culture and ex ovo CAM Assay: How it Really Works. Journal of Visualized Experiments. (33), 2–7 (2010).

Minor Concerns:
Protocol:
Page 3, line 138: Typo. This should be "… do not penetrate the shell too deep".

Response: We have revised the text according to the suggestion of the reviewer.

Revised text:
Line 142: “…too deep…”

Page 4, line 211: Would this be multiple shell penetrations to withdraw 6mL of egg white using a 5mL syringe? If so, how many penetrations, and how should the hole be sealed between withdrawals?

Response: It is possible to withdraw up to 6 mL with the 5 mL syringe were using. This means that the total volume of 6 mL can be withdrawn in one penetration. We have added a note to this step to clarify this.

Added text: 
Line 219 & 220: “NOTE: With the 5 mL syringe we used, it is possible to withdraw up to 6 mL so only one penetration is needed.”

Page 6, line 282: "...of the mineral oil and the to-be-injected solution" should be hyphenated to make the meaning clearer.

We have hyphenated the text according to the suggestion of the reviewer:

Revised text:
Line 291 & 292 - “…and the to-be-injected solution.”

Page 10, line 423: Typo. This should be "Pour the agarose solution…"

Response: We have revised the text accordingly.

Revised text:
Line 443: “Pour the agarose…”

Representative Results:
Page 11, line 469: Approximately what volume of PBS should be sprinkled on the egg contents?

Response: One drop of PBS is ~30 µL. We have added this into the protocol:

Added text:
Line 194: “…a few drops of ~30 µL of PBS (37 °C) using a plastic Pasteur pipet.”
Line 201: “…put small drops of ~30 µL of 37 °C PBS on the embryo …”
Line 447 & 448: “…Add a few drops of ~30 µL of 37 °C PBS …”