## Folha1
Optical microscopy techniques | Imaging principle | Experimental goal and considerations
Widefield imaging | Uses fluorescence, reflected or transmitted light. | Ideal for a quick and general overview of the embryo (e.g. for screenings and to assess developmental stages and obvious phenotypes). The reduced depth-of-field, compared to the observable thickness at high magnifications does not allow accurate interpretation or analysis of 3D morphology.
Confocal (laser scanning; CLSM) | Uses laser scanning illumination and detection of fluorescence through a pinhole. | Allows imaging of optical slices of fluorescently-labelled samples, ideally with a strong signal. Imaging through a pinhole removes the signal from out of the depth-of-field, thereby allowing accurate discrimination of information in 3D. The acquisition is orders of magnitude slower than widefield, but with unparalleled contrast and 3D discrimination of morphology. High temporal resolution is not achievable because images are acquired 1-pixel at a time. Good for 3D imaging of fixed mouse embryos up to E9.5. Imaging through the whole presomitic mesoderm or somites requires tissue-clearing, because of light-scattering in deeper tissues. Phototoxicity and bleaching is a consideration. Photobleaching can, within limits, be compensated a posteriori. However, phototoxic effects in live samples cannot, and often are not easy to determine. This is more obvious if samples show low expression, and high-laser powers are needed.
Two-photon excitation fluorescence (TPEFM) | It uses pulsed near-infrared (NIR) laser excitation instead of visible laser illumination. | Although more expensive, slightly slower and difficult to operate than the CLSM, the TPEFM allows optical slicing through thicker samples. Resolution is also slightly lower than that obtained with CLSM, but the contrast in deeper tissues is considerably better. Good for live imaging of mouse embryos. TPEFM is often considered less phototoxic than the conventional confocal but requires high laser powers which may also have deleterious effects on cells and tissues. Ideal for 3D imaging of embryos up to E11.5; imaging through the whole presomitic mesoderm still requires tissue-clearing, though.
Confocal (spinning disk) | A form of confocal which, instead of a single laser, uses multiple point-like sources. | The use of multiple point-like structures allows faster creation of optical slices (several frames per second or stacks per minute are achievable) than CLSM. The acquisition is practically as fast as widefield, with reasonable 3D discrimination. However, it only allows imaging of the most superficial tissues of the mouse embryo. Allows more sensitive detection than CLSM, making it an alternative for embryos with low expression of fluorescence proteins.
Light-sheet / single plane (LSFM/SPIM) | Instead of widefield or point-like illumination, the sample is illuminated in one orthogonal plane at a time. In most configurations, it allows imaging from multiple angles. | Also requires fluorescently-labelled samples. Optical slices acquisition is extremely fast (multiple frames per second) and has reduced effects of phototoxicity or bleaching. However, if multiview is required, subsequent dataset pre-processing steps may require hours/days of computation. LSFM/SPIM allows better detection of lower expression levels than CLSM. Ideal for 3D imaging of in toto mouse embryos during gastrulation. Samples need to be mounted and maintained in suspension (unconventional preparation).
Optical projection tomography (OPT) | Optical slices are not detected but calculated from a series of widefield images of the whole embryo from different angles (the “projections”). | Ideal for 3D imaging of later stage mouse embryos/fetuses (>5mm), but only fixed and cleared. Has the advantage of producing 3D stacks of optical slices of both fluorescent and non-fluorescent samples. Datasets are isometric (hundreds of slices with equal resolution in all three dimensions) making it ideal for morphological analysis. Acquiring a projection dataset may require only a few minutes, followed by 15-30 min of reconstruction. It is possible to send samples for imaging remotely.
Optical Coherence Tomography (OCT) | Uses NIR illumination through the sample to obtain optical slices based on interference with light reflection. | OCT allows easy imaging through live tissue (a few millimeters deep into the sample without fluorescent contrast) with possibly a few dozen micrometers resolution. The acquisition is very fast (a few slices per second). Although it is a possible alternative for OPT, this technique is not commonly available.
Super-resolution (SN), atomic force (AFM) or near-field imaging (NSOM) | SR is normally based on single-molecule localization and AFM/NSOM on scanning surfaces at sub-diffraction resolutions (few nanometers). | Allows imaging at sub-diffraction level (<200nm resolution), often with the intent to detect single molecules or molecules at the cell surface. Not ideal for morphological analysis of large samples such as mouse embryos. The acquisition is typically a slow process (seconds to minutes per image).